Efficiency Primer

A household’s investment in energy efficiency is an effective and efficient way to decrease energy costs and save money. Heating appliances with low energy efficiency ratings can have a larger than expected impact on the household budget compared to heating appliances with higher efficiency levels.

For example, a household that uses 1,230 gallons of heating oil per year, at an oil price of $3.20 per gallon that upgrades to an 85% efficient boiler from a 70% efficiency boiler would have household savings as shown below;

Fuel Savings=Fuel Cost*New Efficiency-Old Efficiency New Effiency

Fuel Cost=1230*$3.20=$3,936 annually

Fuel Savings=$3,936*85-7085=$694.6 savings annually

Assuming constant heating oil prices, and household characteristics, over a ten-year period: savings from upgrading to a more energy efficient boiler could total $6,946. The average lifespan of a new high-efficiency central oil boiler is anywhere from 15-30 years, with a cost of anywhere from $5,500 to $7,500 (Department of Energy, 2013). Given the approximate savings of $6,946, a new high-efficiency central-oil boiler would recover the capital cost of purchase and installation within 8-10 years. This figure does not include the decrease in maintenance costs of a newer high efficiency central oil boiler. As a boiler ages the maintenance costs and chances of emergency repairs are far higher.

# References:

Bhatia, S. (2014). Improving Energy Efficiency of Boiler Systems.

Department of Energy. (2013, December 16). Energy Saver 101 Infographic: Home Heating. Retrieved from https://www.energy.gov/articles/energy-saver-101-infographic-home-heating

Formula from Bhatia, 2014