## 4-1 PM Available
Table 4-1. GVEA - Zehnder Facility - Summary of Available PM2.5 Emission Control Technologies
Emission Unit |  | Emission Control Technology
ID | Description
1, 2 | Simple Cycle Gas Turbines | Low Sulfur Fuel
Low Ash Fuel
Good Combustion Practices
3, 4 | Diesel-fired Generator Engines | Engine Overhaul
Limited Operation
Positive Crankcase Ventilation
Low Sulfur Fuel
Low Ash Fuel
Good Combustion Practices
10, 11 | Diesel-fired Boilers | Low Sulfur Fuel
Good Combustion Practices

## 4-2 PM Feasible
Table 4-2. GVEA - Zehnder Facility - Summary of Technically Feasible PM2.5 Control Technology
Emission Unit |  | Emission Control Technology
ID | Description
1, 2 | Simple Cycle Combustion Gas Turbines | Good Combustion Practices
3, 4 | Diesel-fired Generator Engines | Engine Overhaul
Limited Operation
Good Combustion Practices
10, 11 | Diesel-fired Boilers | Good Combustion Practices

## 4-3 PM Ranking
Table 4-3. GVEA - Zehnder Facility - Ranking of Technically Feasible PM2.5 Control Technology
Emission Unit |  | Emission Control Technology | Control Efficiency (pct) | PM2.5 Emissions Per Unit (tpy) | PM2.5 Emission Reduction (tpy)
ID | Description
3, 4 | Diesel-fired Generator Engines | Engine Overhaul | 50 | 0.35 | 0.35
|  | Limited Operation (existing) | 0 | 0.7 | 0

## 4-4 EU ID 3&4 Overhaul - TCI
Table 4-4. GVEA - Zehnder Facility - Capital Costs for Engine Overhaul on
the Diesel-fired Generator Engines (EU IDs 3 and 4)
Shaded cells indicate user inputs.
Total Capital Investment Determination - Engine Upgrades/PM Controls | [7 empty] | Date:
Project: |  | GVEA Zhender - PM2.5 BACT Analysis (EU ID 3 and 4 - General Motors Gen Set Engines, cost per engine) | [5 empty] | Prepared By:
Checked By:
Rev:
Capital Costs
DIRECT COSTS |  |  | QTY | UNIT | UNIT COST | TOTAL MATERIALS COST | TOTAL LABOR COST
(1) | Purchased equipment and material costs
| (a) | Basic equipment
|  | Utex UL Fork Packs | 1 | EA | 69758 | 69758
|  | Utex UL Blade Packs | 1 | EA | 65576 | 65576
|  | Upper Rod Bearing | 1 | EA | 4723 | 4723
|  | Lower Rod Bearing | 1 | EA | 2655 | 2655
|  | Cylinder Head Seat Ring | 1 | EA | 1245 | 1245
|  | Cylinder Test Valve | 1 | EA | 3447 | 3447
|  | Utex Valve Bridge | 1 | EA | 2496 | 2496
|  | Utex Rocker Shaft Kit | 1 | EA | 10833 | 10833
|  | Seal, TDC | 1 | EA | 140 | 140
|  | Gasket, Handhole Cover | 1 | EA | 116 | 116
|  | Misc Hardware | 1 | EA | 500 | 500 |  | TOTAL = | 161489
| (b) | Instrumentation
|  | Total Instrumentation |  | EA |  | 0 | None Required
[8 empty] | TOTAL = | 0
| (c) | Freight
|  | Shipping Seattle to Fairbanks |  | EA |  |  | 8050
|  | Shipping cores Fairbanks to Seattle |  | EA |  |  | 6025 | TOTAL = | 14075
| (d) | Labor
|  | Labor - Engine Overhaul |  | Days |  |  | 35714
[8 empty] | TOTAL = | 35714
Purchased Equipment and Material Cost (PEMC) | [7 empty] | PEMC = | 211278
Direct Installation Costs (DIC) | [7 empty] | DIC = | 0
(2) | Direct Installation Costs
| (a) | Concrete |  | CY |  | 0 | None Required |  | 0
| (b) | Piling |  | TON |  | 0 | None Required |  | 0
| (c) | Structural steel |  | TON |  | 0 | None Required |  | 0
| (d) | Electrical |  | LOT |  | 0 | None Required |  | 0
| (e ) | Painting |  | SF |  | 0 | None Required |  | 0
| (f) | Insulation |  | LOT |  | 0 | None Required |  | 0
| (g) | Abovegrade piping |  | LF |  | 0 | None Required |  | 0
| (h) | Functional Checkouts
|  | Functional Checkout - fab site, enter %: |  | % offsite fab labor |  | None Required | 0 |  | 0
|  | Funtional Checkout - onsite, enter % |  | % onsite fab labor |  | None Required | 0 |  | 0
|  | Contractor Commissioning, enter %: |  | % of equipment total cost |  | None Required | 0 |  | 0
Total Direct Costs (TDC) | [7 empty] | TDC = (PEMC) + (DIC) = | 211278
INDIRECT COSTS
(3) | Engineering, Procurement & Construction Support Services |  |  | % TDC |  |  | 0 |  | Excluded in this estimate.
(4) | Performance tests |  |  | EA |  |  | 0 |  | Excluded in this estimate.
Total Indirect Costs (TIC) | [7 empty] | TIC = | 0
MANAGEMENT AND CONTINGENCY COSTS
(5) | Unit Operator Costs |  |  | % TDC |  |  |  |  | Excluded in this estimate.
(6) | Contingency |  |  | % PEMC |  |  | 0 |  | Excluded in this estimate.
Total Management and Contingency Costs (TM&CC) | [7 empty] | TM & CC = | 0
TOTAL CAPITAL INVESTMENT (TCI) | [7 empty] | TCI = (TDC)+(TIC)+(TM&CC) = | 211278
Note on D13: Author: Reduce lube oil consumption, which decreases PM emissions.
Note on G13: Author: Cost from vendor (Valley Power Systems Northwest)
Note on D14: Author: Reduce lube oil consumption, which decreases PM emissions.
Note on G14: Author: Cost from vendor (Valley Power Systems Northwest)
Note on G15: Author: Cost from vendor (Valley Power Systems Northwest)
Note on G16: Author: Cost from vendor (Valley Power Systems Northwest)
Note on G17: Author: Cost from vendor (Valley Power Systems Northwest)
Note on G18: Author: Cost from vendor (Valley Power Systems Northwest)
Note on G19: Author: Cost from vendor (Valley Power Systems Northwest)
Note on G20: Author: Cost from vendor (Valley Power Systems Northwest)
Note on G21: Author: Cost from vendor (Valley Power Systems Northwest)
Note on G22: Author: Cost from vendor (Valley Power Systems Northwest)
Note on G23: Author: Cost from vendor (Valley Power Systems Northwest)
Note on I29: Author: Total given in Valley quote.
Note on I30: Author: Total given in Valley quote.
Note on I33: Author: Direct quote from Valley for labor.

## 4-5 EU ID 3&4 Overhaul - CE
Table 4-5. GVEA - Zehnder Facility - Annualized Costs for Engine Overhaul of
the Diesel-fired Generator Engines (EU IDs 3 and 4)
Shaded cells indicate user inputs
Cost Effectiveness Determination - Engine Upgrades/PM Controls | [7 empty] | Date:
Project: |  | GVEA Zhender - PM2.5 BACT Analysis (EU ID 3 and 4 - General Motors Gen Sets Engines, cost per engine) | [5 empty] | Prepared By:
Checked By:
Rev:
Annualized Costs
DIRECT ANNUAL COSTS |  |  | QTY | UNIT | UNIT COST | TOTAL MATERIALS COST | TOTAL LABOR COST |  | TOTAL
(1) | Operating Labor |  |  | MH |  | Excluded in this estimate. | 0 |  | 0
(2) | Supervisory Labor |  |  | MH |  | Excluded in this estimate. | 0 |  | 0
(3) | Maintenance Labor |  |  | MH |  | Excluded in this estimate. | 0 |  | 0
(4) | Maintenance Materials |  |  | LOT |  | 0 | Excluded in this estimate. |  | 0
Total Direct Annual Costs (TDAC) |  |  |  | Excluded in this estimate |  |  |  | TDAC = | 0
INDIRECT ANNUAL COSTS
(5) | Overhead |  |  | MH |  | Excluded in this estimate. | 0 |  | 0
(6) | Administrative Charges |  |  | MH |  | Excluded in this estimate. | 0 |  | 0
(7) | Property tax |  |  |  |  | Excluded in this estimate.
(8) | Insurance |  |  |  |  | Excluded in this estimate.
| Capital Recovery Factor [see inputs below] |  | 0.14238
(9) | Capital Recovery | [6 empty] | CRF * TCI = | 30081.234
Total Indirect Annual Costs (TIAC) | [7 empty] | TIAC = | 30081.234
TOTAL ANNUALIZED COSTS (TAC) | [7 empty] | TAC = (TDAC) + (TIAC) = | 30081.234
Cost Effectiveness Summary
TOTAL TONS AVOIDED PER YEAR | [7 empty] | = | 0.35
COST EFFECTIVENESS ($ PER TON AVOIDED) | [7 empty] | (TAC)/(TPY) = | 85946.3829
Data Inputs for Capital Recovery Factor:
|  | Annual Interest Rate (EPA OAQPS Control Cost Manual) | 7 | %
|  | Project Life (EPA OAQPS Control Cost Manual) | 10 | years
|  | Catalyst Life | N/A | years
|  | Asset Utilization | N/A | %

## 4-6 Cost Effectiveness
Table 4-6. GVEA - Zehnder Facility - PM2.5 BACT Cost Effectiveness
Summary for Each Emission Unit
Emission Control Technology | PM2.5 Emissions (tpy) | Total Installed Capital ($) | Total Annualized Cost ($/year) | Annual O&M Cost ($/year) | Cost Effectiveness ($/ton PM2.5 removed)
Emergency Generator Engines (EU IDs 3 and 4, per engine)
Engine Overhaul | 0.35 | 211278 | 30081.234 | ~ | 85946.3829
Limited Operation (existing)1 | 0.7 | ~ | ~ | ~ | ~
Note:
1 This technology is proposed as the baseline case.

## 4-7 Summary
Table 4-7. GVEA - Zehnder Facility - Proposed PM2.5 BACT and Associated
Emission Rate for Each Emission Unit
Emission Unit |  | Fuel | PM2.5 BACT
ID | Description |  | Description | Emission Rate1
1, 2 | Simple Cycle Combustion Gas Turbines | Fuel Oil | Good Combustion Practices (existing) | 0.012 lb/MMBtu
3, 4 | Diesel-fired Engines | Diesel | Limited Operation (existing) | 0.1 lb/MMBtu
10, 11 | Diesel-fired Boilers | Diesel | Good Combustion Practices (existing) | 2.13 lb/kgal
Notes:
1 Emissions are on a per unit basis.

## PM Identified - DONT INCLUDE
Table D-1a. Summary of Identified PM2.5 Control Technology - Liquid Fuel-Fired Simple Cycle Turbines > 25 MW (RBLC 15.190)
Pollutant | Control Technology Used | Number of RBLC Entries (11 Total)
PM | None | 8
| Good Combustion Practices | 1
| Low Ash Fuel | 1
| Low Sulfur Fuel | 1
Note: Data is based on a RBLC review from January 1, 2005 through September 15, 2015.
Table D-1b. Summary of Identified PM2.5 Control Technology - Large Diesel Engines > 500 hp (RBLC 17.110)
Pollutant | Control Technology Used | Number of RBLC Entries (53 Total)
PM | None | 14
| Good Combustion Practices | 9
| NSPS Standards | 9
| ULSD Fuel | 9
| Low-Sulfur Fuel (0.05% S by weight) | 4
| Low-Sulfur + Low Ash Fuel | 3
| Turbocharger + Aftercooler | 2
| Turbocharger | 2
| Positive Crankcase Ventilation | 1
Note: Data is based on a RBLC review from January 1, 2005 through September 15, 2015.
Table D-1c. Summary of Identified PM2.5 Control Technology - Diesel-Fired Commercial/Institutional Boilers <100 MMBtu/hr (RBLC 13.220)
Pollutant | Control Technology Used | Number of RBLC Entries (5 Total)
PM | Wet or Dry Scrubber + Good Combustion Practices | 2
| None | 1
| Good Combustion Practices | 1
| Low Sulfur Fuel | 1
Note: Data is based on a RBLC review from January 1, 2005 through September 15, 2015.