## 5-1
Table 5-1. UAF - Available SO2 Control Options
Emission Unit |  | Available Control
ID | Description | Options
113 | Large Coal-fired Boiler | SDA
DSI
Limestone Injection
Low Sulfur Coal
Good Combustion Practices
3 and 4 | Mid-sized Diesel-fired Boilers | ULSD
Limited Operation
Good Combustion Practices
19 through 21 | Small Diesel-fired Boilers | ULSD
Limited Operation
Good Combustion Practices
8 | Large Diesel-fired Engine | ULSD
Limited Operation
Good Combustion Practices
27 | Small Diesel-fired Engines | ULSD
Limited Operation
Good Combustion Practices
9A | Medical/Pathological Waste Incinerator | ULSD
Limited Operation
Good Combustion Practices
Natural Gas

## 5-2
Table 5-2. UAF - Technically Feasible SO2 Control Options
Emission Unit |  | Technically Feasible
ID | Description | Control Options
113 | Large Coal-fired Boiler | SDA + (Limestone Injection + Low Sulfur Fuel)
DSI + (Limestone Injection + Low Sulfur Fuel)
Limestone Injection + Low Sulfur Fuel
3 | Mid-sized Diesel and Dual Fuel-fired Boilers | ULSD
Good Combustion Practices
4 | Mid-sized Diesel and Dual Fuel-fired Boilers | ULSD
Limited Operation
19 through 21 | Small Diesel-fired Boilers | ULSD
Limited Operation
8 | Large Diesel-fired Engine | ULSD
Limited Operation
27 | Small Diesel-fired Engine | ULSD + Limited Operation
9A | Medical/Pathological Waste Incinerator | ULSD
Limited Operation

## 5-3
Table 5-3. UAF - Ranking of Technically Feasible SO2 Control Options
Emission Unit |  | Control | Control | SO2 Emissions | Emissions
ID | Description | Technology | Efficiency (pct.) | (tpy) | Reduction (tpy)
113 | Large Coal and Biomass-fired Boiler | SDA + (Limestone Injection + Low Sulfur Fuel) | 92 | 20.712 | 238.188
|  | DSI + (Limestone Injection + Low Sulfur Fuel) | 75 | 64.725 | 194.175
|  | Limestone Injection + Low Sulfur Fuel | 0 | 258.9 | 0
3 | Mid-Sized Diesel-fired Boiler | ULSD | 99.7 | 1.2318 | 409.3682
|  | Good Combustion Practices | 0 | 410.6 | 0
4 | Mid-Sized Diesel and Natural Gas-fired Boiler | ULSD + (Limited Operation) | 99.7 | 0.12 | 39.88
|  | Limited Operation | 0 | 40 | 0
8 | Large Diesel-fired Engine | ULSD + (Limited Operation) | 99.7 | 0.12 | 39.88
|  | Limited Operation | 0 | 40 | 0

## 5-4 - EU ID 113 - SDA TCI
Table 5-4. UAF - Capital Costs for SDA on
the Large Coal-fired Boiler (EU ID 113)
Shaded cells indicate user inputs.
Total Capital Investment Determination - SDA (Spray Dryer Absorber) | [7 empty] | Date: | 2016-02-12
Project: |  | UAF - PM2.5 BACT Analysis (EU ID 113 - CFB Boiler) | [5 empty] | Prepared By: | L. Pacini
[8 empty] | Checked By: | J. Rubino
[8 empty] | Rev: | B
Capital Costs
DIRECT COSTS |  |  | QTY | UNIT | UNIT COST | TOTAL MATERIALS COST | TOTAL LABOR COST
(1) | Purchased equipment and material costs
| (a) | Basic equipment
|  | Total SDA System | 1 | EA | 8000000 | 8000000
|  | (per Babcock & Wilcox) | [5 empty] | TOTAL = | 8000000
| (b) | Instrumentation
|  | Total Instrumentation |  | EA |  | 0
[8 empty] | TOTAL = | 0
| (c) | Freight
|  | SDA Freight |  | % MATL COST |  |  | 0
[8 empty] | TOTAL = | 0
| (d) | Labor
|  | Labor - offsite fab |  | MH |  |  | 0
|  | Labor - onsite |  | MH |  |  | 0
[8 empty] | TOTAL = | 0
| (e) | Vendor representatives fees
|  | Fab Site Vendor Representatives fees (enter no. of days and daily rate) |  | Days |  |  | 0
|  | Onsite Vendor Representatives fees (enter no. of days and daily rate) |  | Days |  |  | 0
[8 empty] | TOTAL = | 0
Purchased Equipment and Material Cost (PEMC) |  |  | All above costs included in vendor scope. |  |  |  |  | PEMC = | 8000000
(2) | Direct Installation Costs
| (a) | Concrete |  | CY |  | 0 |  |  | 0
| (b) | Piling |  | TON |  | 0 |  |  | 0
| (c) | Structural steel |  | TON |  | 0 |  |  | 0
| (d) | Electrical |  | LOT |  | 0 |  |  | 0
| (e ) | Painting |  | SF |  | 0 |  |  | 0
| (f) | Insulation |  | LOT |  | 0 |  |  | 0
| (g) | Abovegrade piping |  | LF |  | 0 |  |  | 0
| (h) | Functional Checkouts
|  | Functional Checkout - fab site, enter %: |  | % offsite fab labor |  |  | 0 |  | 0
|  | Functional Checkout - onsite, enter % |  | % onsite fab labor |  |  | 0 |  | 0
|  | Contractor Commissioning, enter %: |  | % of equipment total cost |  |  | 0 |  | 0
Direct Installation Costs (DIC) - 1/2 x SDA Equipment Capital | [7 empty] | DIC = | 4000000
Total Direct Costs (TDC) | [7 empty] | TDC = (PEMC) + (DIC) = | 12000000
INDIRECT COSTS
(3) | Engineering, Procurement & Construction Support Services |  | 10% | % TDC |  |  | 1200000
(4) | Performance tests |  |  | EA |  |  |  |  | Excluded in this estimate.
Total Indirect Costs (TIC) | [7 empty] | TIC = | 1200000
MANAGEMENT AND CONTINGENCY COSTS
(5) | Unit Operator Costs |  |  | % TDC |  |  |  |  | Excluded in this estimate.
(6) | Contingency |  | 20% | % TDC |  |  | 2400000
Total Management and Contingency Costs (TM&CC) | [7 empty] | TM & CC = | 2400000
TOTAL CAPITAL INVESTMENT (TCI) | [7 empty] | TCI = (TDC)+(TIC)+(TM&CC) = | 15600000
Note on G13: Pacini, Lain: Based on Babcock proposal.
Note on K43: Pacini, Lain: Assume SDA installation cost are half the capital required for equipment purchases based on SCI engineering estimates (5 years old) for other SDAs.
Note on E50: Pacini, Lain: Internal SDA cost study done by SCI in 2010, which indicated 8%. Used 10% based on inflation.
Note on E57: Pacini, Lain: Midpoint between similar internal SCI SDA cost analysis and other vendor (FTEK SCR) quotes.

## 5-5 - EU ID 113 - SDA CE
Table 5-5. UAF - Annualized Costs for SDA on
the Large Coal-fired Boiler (EU ID 113)
Shaded cells indicate user inputs
Total Capital Investment Determination - SDA (Spray Dryer Absorber) | [7 empty] | Date: | 2016-02-12
Project: |  | UAF - PM2.5 BACT Analysis (EU ID 113 - CFB Boiler) | [5 empty] | Prepared By: | L. Pacini
[8 empty] | Checked By: | J. Rubino
[8 empty] | Rev: | B
Annualized Costs
DIRECT ANNUAL COSTS |  |  | QTY | UNIT | UNIT COST | TOTAL MATERIALS COST | TOTAL LABOR COST |  | TOTAL
(1) | Operating Labor |  |  | MH |  | Excluded | 0 |  | 0
(2) | Supervisory Labor |  |  | MH |  | Excluded | 0 |  | 0
(3) | Maintenance Labor |  |  | MH |  | Excluded | 0 |  | 0
(4) | Maintenance Materials |  |  | LOT |  | 0 | Excluded |  | 0
(5) | Utilities
| (a) | Hydrated Lime: | 306.6 | TON | 560 | 171696 |  |  | 171696
| (b) | Electricity: | 2277600 | KWH | 0.18 | 409968 |  |  | 409968
Total Direct Annual Costs (TDAC) | [7 empty] | TDAC = | 581664
INDIRECT ANNUAL COSTS
(6) | Overhead |  |  | % |  | Excluded | 0 |  | 0
(7) | Administrative Charges and Insurance |  | 3% | % total capital |  |  | 468000 |  | 468000
| Capital Recovery Factor [see inputs below] |  | 0.097977
(8) | Capital Recovery | [6 empty] | CRF * TCI = | 1528443.5236
Total Indirect Annual Costs (TIAC) | [7 empty] | TIAC = | 1996443.5236
TOTAL ANNUALIZED COSTS (TAC) | [7 empty] | TAC = (TDAC) + (TIAC) = | 2578107.5236
Cost Effectiveness Summary
TOTAL TONS SO2 AVOIDED PER YEAR | [7 empty] | = | 238.188
COST EFFECTIVENESS ($ PER TON AVOIDED) | [7 empty] | (TAC)/(TPY) = | 10823.8346
Data Inputs for Capital Recovery Factor:
|  | Annual Interest Rate (EPA OAQPS Control Cost Manual) | 5.25 | %
|  | Project Life (EPA OAQPS Control Cost Manual) | 15 | years
Note on E15: Pacini, Lain: Babcock proposal indicates that sorbent injection rate will be 70 lbs/hr
Note on G15: Pacini, Lain: Internet research bulk price.
Note on E16: Pacini, Lain: Babcock indicates 260 kW is required for SDA operation. Assume 8760 hr/yr
Note on G16: Pacini, Lain: Current Per kW price based on GVEA data.
Note on E23: Pacini, Lain: Percentage of total capital investment
Note on K33: Pacini, Lain: Babcock proposal indicates SO2 level of 0.04 lbs/MMBtu (51.8 TPY) can be achieved with SDA.

## 5-6 - EU ID 113 - DSI TCI
Table 5-6. UAF - Capital Costs for DSI on
the Large Coal-fired Boiler (EU ID 113)
Shaded cells indicate user inputs.
Total Capital Investment Determination - DSI (Dry Sorbent Injection) | [7 empty] | Date: | 2016-02-12
Project: |  | UAF - PM2.5 BACT Analysis (EU ID 113 - CFB Boiler) | [5 empty] | Prepared By: | L. Pacini
[8 empty] | Checked By: | J. Rubino
[8 empty] | Rev: | B
Capital Costs
DIRECT COSTS |  |  | QTY | UNIT | UNIT COST | TOTAL MATERIALS COST | TOTAL LABOR COST
(1) | Purchased equipment and material costs
| (a) | Basic equipment
|  | Total DSI System | 1 | EA | 1500000 | 1500000
|  | (per Babcock & Wilcox) | [5 empty] | TOTAL = | 1500000
| (b) | Instrumentation
|  | Total Instrumentation |  | EA |  | 0
[8 empty] | TOTAL = | 0
| (c) | Freight
|  | DSI System Freight |  | % MATL COST | 0% |  | 0
[8 empty] | TOTAL = | 0
| (d) | Labor
|  | Labor - offsite fab |  | MH |  |  | 0
|  | Labor - onsite |  | MH |  |  | 0
[8 empty] | TOTAL = | 0
| (e) | Vendor representatives fees
|  | Fab Site Vendor Representatives fees (enter no. of days and daily rate) |  | Days |  |  | 0
|  | Onsite Vendor Representatives fees (enter no. of days and daily rate) |  | Days |  |  | 0
[8 empty] | TOTAL = | 0
Purchased Equipment and Material Cost (PEMC) |  |  | All above costs included in vendor scope. |  |  |  |  | PEMC = | 1500000
(2) | Direct Installation Costs
| (a) | Concrete |  | CY |  | 0 |  |  | 0
| (b) | Piling |  | TON |  | 0 |  |  | 0
| (c) | Structural steel |  | TON |  | 0 |  |  | 0
| (d) | Electrical |  | LOT |  | 0 |  |  | 0
| (e ) | Painting |  | SF |  | 0 |  |  | 0
| (f) | Insulation |  | LOT |  | 0 |  |  | 0
| (g) | Abovegrade piping |  | LF |  | 0 |  |  | 0
| (h) | Functional Checkouts
|  | Functional Checkout - fab site, enter %: |  | % offsite fab labor |  |  | 0 |  | 0
|  | Functional Checkout - onsite, enter % |  | % onsite fab labor |  |  | 0 |  | 0
|  | Contractor Commissioning, enter %: |  | % of equipment total cost |  |  | 0 |  | 0
Direct Installation Costs (DIC) - 30% x DSI Equipment Capital | [7 empty] | DIC = | 450000
Total Direct Costs (TDC) | [7 empty] | TDC = (PEMC) + (DIC) = | 1950000
INDIRECT COSTS
(3) | Engineering, Procurement & Construction Support Services |  | 10% | % TDC |  |  | 195000
(4) | Performance tests |  |  | EA |  |  |  |  | Excluded in this estimate.
Total Indirect Costs (TIC) | [7 empty] | TIC = | 195000
MANAGEMENT AND CONTINGENCY COSTS
(5) | Unit Operator Costs |  |  | % TDC |  |  |  |  | Excluded in this estimate.
(6) | Contingency |  | 20% | % TDC |  |  | 390000
Total Management and Contingency Costs (TM&CC) | [7 empty] | TM & CC = | 390000
TOTAL CAPITAL INVESTMENT (TCI) | [7 empty] | TCI = (TDC)+(TIC)+(TM&CC) = | 2535000
Note on G13: Pacini, Lain: Based on Babcock proposal.
Note on K43: Pacini, Lain: Assume DSI installation cost are 30% of the capital required for equipment purchases based on SCI engineering estimates (5 years old) for other DSI systems and assume 10% increase for inflation.
Note on E50: Pacini, Lain: Internal DSI cost study done by SCI in 2010, which indicated 8%. Used 10% based on inflation.
Note on E57: Pacini, Lain: Midpoint between similar internal DSI cost analysis and other vendor (FTEK SCR) quotes.

## 5-7 - EU ID 113 - DSI CE
Table 5-7. UAF - Annualized Costs for DSI on
the Large Coal-fired Boiler (EU ID 113)
Shaded cells indicate user inputs
Total Capital Investment Determination - DSI (Dry Sorbent Injection) | [7 empty] | Date: | 2016-02-12
Project: |  | UAF - PM2.5 BACT Analysis (EU ID 113 - CFB Boiler) | [5 empty] | Prepared By: | L. Pacini
[8 empty] | Checked By: | J. Rubino
[8 empty] | Rev: | B
Annualized Costs
DIRECT ANNUAL COSTS |  |  | QTY | UNIT | UNIT COST | TOTAL MATERIALS COST | TOTAL LABOR COST |  | TOTAL
(1) | Operating Labor |  |  | MH |  | Excluded | 0 |  | 0
(2) | Supervisory Labor |  |  | MH |  | Excluded | 0 |  | 0
(3) | Maintenance Labor |  |  | MH |  | Excluded | 0 |  | 0
(4) | Maintenance Materials |  |  | LOT |  | 0 | Excluded |  | 0
(5) | Utilities
| (a) | Sodium Bicarbonate: | 1314 | TON | 700 | 919800 |  |  | 919800
| (b) | Electricity: | 1752000 | KWH | 0.18 | 315360 |  |  | 315360
Total Direct Annual Costs (TDAC) | [7 empty] | TDAC = | 1235160
INDIRECT ANNUAL COSTS
(6) | Overhead |  |  | % |  | Excluded | 0 |  | 0
(7) | Administrative Charges and Insurance |  | 3% | % total capital |  |  | 76050 |  | 76050
| Capital Recovery Factor [see inputs below] |  | 0.097977
(8) | Capital Recovery | [6 empty] | CRF * TCI = | 248372.0726
Total Indirect Annual Costs (TIAC) | [7 empty] | TIAC = | 324422.0726
TOTAL ANNUALIZED COSTS (TAC) | [7 empty] | TAC = (TDAC) + (TIAC) = | 1559582.0726
Cost Effectiveness Summary
TOTAL TONS SO2 AVOIDED PER YEAR | [7 empty] | = | 194.175
COST EFFECTIVENESS ($ PER TON AVOIDED) | [7 empty] | (TAC)/(TPY) = | 8031.8376
Data Inputs for Capital Recovery Factor:
|  | Annual Interest Rate (EPA OAQPS Control Cost Manual) | 5.25 | %
|  | Project Life (EPA OAQPS Control Cost Manual) | 15 | years
Note on D15: Pacini, Lain: Sodium Bicarbonate was used in the quote from Babcock; however, hydrated lime would likely be the preferred sorbent. Even when using hydrated lime as the sorbent, the DSI would still not be cost effective for SO2 control.
Note on E15: Pacini, Lain: Babcock proposal indicates that sorbent injection rate will be 300 lbs/hr
Note on G15: Pacini, Lain: Internet research bulk price.
Note on E16: Pacini, Lain: Babcock indicates 200 kW is required for DSI operation. Assume 8760 hr/yr
Note on G16: Pacini, Lain: Current Per kW price based on GVEA data.
Note on E23: Pacini, Lain: Percentage of total capital investment
Note on K33: Pacini, Lain: Babcock proposal indicates SO2 level of 0.05 lbs/MMBtu (64.7 TPY) can be achieved with DSI.

## 5-8 - EU ID 3 - ULSD CE
Table 5-8. UAF - Annualized Costs for ULSD on
the Mid-sized Diesel-fired Boiler (EU ID 3)
Shaded cells indicate user inputs
Cost Effectiveness Determination - ULSD Fuel Switch - No Additional Tank Storage | [7 empty] | Date: | 2016-02-11
Project: |  | UAF - PM2.5 BACT Analysis (EU ID 3 - Zurn Boiler) | [5 empty] | Prepared By: | L. Pacini
[8 empty] | Checked By: | J. Rubino
[8 empty] | Rev: | A
Annualized Costs
DIRECT ANNUAL COSTS |  |  | QTY | UNIT |  | TOTAL MATERIALS COST | TOTAL LABOR COST |  | TOTAL
(1) | Operating & Maintenance Costs |  |  | % |  |  | 0 |  | 0
(2) | Repair & Replacement Costs |  |  | % |  |  | 0 |  | 0
(3) | Maintenance Materials |  |  | LOT |  | excluded in this estimate
(4) | Utilities
| (a) | ULSD Costs: | 1584684 | MMBTU | 0.28 | 443711.52 |  |  | 443711.52
Total Direct Annual Costs (TDAC) | [7 empty] | TDAC = | 443711.52
INDIRECT ANNUAL COSTS
(5) | Overhead |  |  | % |  | excluded in this estimate | 0 |  | 0
(6) | Administrative Charges and Insurance |  |  | % of capital |  |  | 0 |  | 0
| Capital Recovery Factor [see inputs below] |  | 0.14238
(7) | Capital Recovery | [6 empty] | CRF * TCI = | 0
Total Indirect Annual Costs (TIAC) | [7 empty] | TIAC = | 0
TOTAL ANNUALIZED COSTS (TAC) | [7 empty] | TAC = (TDAC) + (TIAC) = | 443711.52
Cost Effectiveness Summary
TOTAL TONS SO2 AVOIDED PER YEAR | [7 empty] | = | 409.4
COST EFFECTIVENESS ($ PER TON AVOIDED) | [7 empty] | (TAC)/(TPY) = | 1083.8093
Data Inputs for Capital Recovery Factor:
|  | Annual Interest Rate (EPA OAQPS Control Cost Manual) | 7 | %
|  | Project Life (EPA OAQPS Control Cost Manual) | 10 | years
Note on E14: Pacini, Lain: Based on unlimited boiler operation. 180.9 MMBtu/hr @ 8760 hrs/yr
Note on G14: Courtney Kimball: Based on review of UAF's fuel costs from FY 2011 through 2016. Average of the FY 2014 through 2016 is used, which is 28 cents per gallon more to use ULSD.
Note on K30: Pacini, Lain: Based on difference in emissions for 0.5% sulfur (410.6 TPY) vs. 0.0015% sulfur (1.2 TPY) for USLD.

## 5-9 - EU ID 4 - ULSD CE
Table 5-9. UAF - Annualized Costs for ULSD on
the Mid-sized Diesel-fired Boiler (EU ID 4)
Shaded cells indicate user inputs
Cost Effectiveness Determination - ULSD Fuel Switch - No Additional Tank Storage | [7 empty] | Date: | 2016-02-11
Project: |  | UAF - PM2.5 BACT Analysis (EU ID 4 - Zurn Boiler) | [5 empty] | Prepared By: | L. Pacini
[8 empty] | Checked By: | J. Rubino
[8 empty] | Rev: | A
Annualized Costs
DIRECT ANNUAL COSTS |  |  | QTY | UNIT |  | TOTAL MATERIALS COST | TOTAL LABOR COST |  | TOTAL
(1) | Operating & Maintenance Costs |  |  | % |  |  | 0 |  | 0
(2) | Repair & Replacement Costs |  |  | % |  |  | 0 |  | 0
(3) | Maintenance Materials |  |  | LOT |  | excluded in this estimate
(4) | Utilities
| (a) | ULSD Costs: | 154227.1533 | MMBTU | 0.28 | 43183.6029 |  |  | 43183.6029
Total Direct Annual Costs (TDAC) | [7 empty] | TDAC = | 43183.6029
INDIRECT ANNUAL COSTS
(5) | Overhead |  |  | % |  | excluded in this estimate | 0 |  | 0
(6) | Administrative Charges and Insurance |  |  | % of capital |  |  | 0 |  | 0
| Capital Recovery Factor [see inputs below] |  | 0.14238
(7) | Capital Recovery | [6 empty] | CRF * TCI = | 0
Total Indirect Annual Costs (TIAC) | [7 empty] | TIAC = | 0
TOTAL ANNUALIZED COSTS (TAC) | [7 empty] | TAC = (TDAC) + (TIAC) = | 43183.6029
Cost Effectiveness Summary
TOTAL TONS SO2 AVOIDED PER YEAR | [7 empty] | = | 39.9
COST EFFECTIVENESS ($ PER TON AVOIDED) | [7 empty] | (TAC)/(TPY) = | 1082.2958
Data Inputs for Capital Recovery Factor:
|  | Annual Interest Rate (EPA OAQPS Control Cost Manual) | 7 | %
|  | Project Life (EPA OAQPS Control Cost Manual) | 10 | years
Note on E14: Pacini, Lain: Based on permit limit 10% capacity factor.
Note on G14: Courtney Kimball: Based on review of UAF's fuel costs from FY 2011 through 2016. Average of the FY 2014 through 2016 is used, which is 28 cents per gallon more to use ULSD.
Note on K30: Pacini, Lain: Based on difference in emissions for 0.5% sulfur (41.1 TPY) vs. 0.0015% sulfur (0.12 TPY) for ULSD.

## 5-10 - EU ID 8 - ULSD CE
Table 5-10. UAF - Annualized Costs for ULSD on
the Large Diesel-fired Engine (EU ID 8)
Shaded cells indicate user inputs
Cost Effectiveness Determination - ULSD Fuel Switch - No Additional Tank Storage | [7 empty] | Date: | 2016-02-11
Project: |  | UAF - PM2.5 BACT Analysis (EU ID 8 - DEG) | [5 empty] | Prepared By: | L. Pacini
[8 empty] | Checked By: | J. Rubino
[8 empty] | Rev: | A
Annualized Costs
DIRECT ANNUAL COSTS |  |  | QTY | UNIT |  | TOTAL MATERIALS COST | TOTAL LABOR COST |  | TOTAL
(1) | Operating & Maintenance Costs |  |  | % |  |  | 0 |  | 0
(2) | Repair & Replacement Costs |  |  | % |  |  | 0 |  | 0
(3) | Maintenance Materials |  |  | LOT |  | excluded in this estimate
(4) | Utilities
| (a) | ULSD Costs: | 138331.6547 | MMBTU | 0.28 | 38732.8633 |  |  | 38732.8633
Total Direct Annual Costs (TDAC) | [7 empty] | TDAC = | 38732.8633
INDIRECT ANNUAL COSTS
(5) | Overhead |  |  | % |  | excluded in this estimate | 0 |  | 0
(6) | Administrative Charges and Insurance |  |  | % of capital |  |  | 0 |  | 0
| Capital Recovery Factor [see inputs below] |  | 0.14238
(7) | Capital Recovery | [6 empty] | CRF * TCI = | 0
Total Indirect Annual Costs (TIAC) | [7 empty] | TIAC = | 0
TOTAL ANNUALIZED COSTS (TAC) | [7 empty] | TAC = (TDAC) + (TIAC) = | 38732.8633
Cost Effectiveness Summary
TOTAL TONS SO2 AVOIDED PER YEAR | [7 empty] | = | 39.9
COST EFFECTIVENESS ($ PER TON AVOIDED) | [7 empty] | (TAC)/(TPY) = | 970.7485
Data Inputs for Capital Recovery Factor:
|  | Annual Interest Rate (EPA OAQPS Control Cost Manual) | 7 | %
|  | Project Life (EPA OAQPS Control Cost Manual) | 10 | years
Note on E14: Pacini, Lain: Based on 1,403,509 gals/yr. That is the equivalent amount based on the permitted NOx limit. Used 137 MMBTU/1000 gals.
Note on G14: Courtney Kimball: Based on review of UAF's fuel costs from FY 2011 through 2016. Average of the FY 2014 through 2016 is used, which is 28 cents per gallon more to use ULSD.
Note on K30: Pacini, Lain: Based on difference in emissions for 0.5% sulfur (55.6 TPY) vs. 0.0015% sulfur (0.17 TPY) for ULSD.

## 5-11
Table 5-11. UAF - SO2 BACT Cost Effectiveness
Summary for Each Emission Unit Type
Control Technology Option | Total Installed Capital ($) | Annualized Capital Cost ($/year) | Annual O&M Cost ($/year)2 | Cost Effectiveness ($/ton SO2 avoided)
Large Coal-fired Engine (EU ID 113)
DSI + (Limestone Injection + Low Sulfur Fuel) | 2535000 | 1559582.0726 | 1235160 | 8031.8376
SDA + (Limestone Injection + Low Sulfur Fuel) | 15600000 | 2578107.5236 | 581664 | 10823.8346
Limestone Injection + Low Sulfur Fuel1 | ~ | ~ | ~ | ~
Mid-sized Diesel-fired Boiler (EU ID 3)
ULSD | ~ | 443711.52 | 443711.52 | 1083.8093
Good Combustion Practices | ~ | ~ | ~ | ~
Mid-sized Diesel-fired Boiler (EU ID 4)
ULSD + (Limited Operation) | ~ | 43183.6029 | 43183.6029 | 1082.2958
Limited Operation1 | ~ | ~ | ~ | ~
Large Diesel-fired Engine (EU ID 8)
ULSD + (Limited Operation) | ~ | 38732.8633 | 38732.8633 | 970.7485
Limited Operation1 | ~ | ~ | ~ | ~
Notes:
1 This technology is proposed as the baseline case.

## 5-12
Table 5-12. UAF - Proposed SO2 BACT and Associated
Emission Rate for Each Emission Unit Type
Emission Unit |  | Fuel | SO2 BACT
ID | Description |  | Description | Emission Rate or Fuel Sulfur Content1
113 | Large Boiler | Coal and Biomass | Limestone Injection + Low Sulfur Fuel | 0.2 lb/MMBtu
3 | Mid-sized Boiler | Diesel | ULSD | 15 ppmw S in fuel
4 | Mid-sized Boiler | Diesel | ULSD + Limited Operation | 15 ppmw S in fuel
|  | Natural Gas | Limited Operation | 0.60 lb/MMscf
19 through 21 | Small Boilers | ULSD | ULSD + Limited Operation | 15 ppmw S in fuel
8 | Large Engine | Diesel | ULSD + Limited Operation | 15 ppmw S in fuel
27 | Small Engine | ULSD | ULSD + Limited Operation | 15 ppmw S in fuel
9A | Medical/Pathological Waste Incinerator | Waste | ULSD + Limited Operation | 15 ppmw S in fuel
Notes:
1 Emissions are on a per unit basis.

## 5-22 (hidden)
Table 5-22. Point Thomson Project - Proposed VOC BACT and Associated
Emission Rate for Each Emission Unit Type
Emission Unit |  | Fuel | CO BACT
ID | Description |  | Description | Emission Rate
101 and 102 | Solar Taurus Turbine | Fuel Gas | Catalytic Oxidation | 25 ppm at ≥10 degrees F (in SoLoNOX mode)
103 and 104 | Solar Taurus Turbine | Dual Fuel-fired | Catalytic Oxidation | 100 ppm at ≥10 degrees F (in SoLoNOX mode)
105 | Waste Incinerator | ULSD | Good Combustion Practices | 1.0 g/hp-hr
106 through 109, 115, and 116 | Distillate-fired Engines | ULSD | Good Combustion Practices | 0.19 g/KW-hr
110 through 112 | Fine Water Mist Supply and Firewater Pumps | ULSD | Good Combustion Practices | 0.00247 lb/hp-hr
113 and 114 | Flares | Fuel Gas | None | 4.0 g/KW-hr (NOX and HC, combined)
Notes:
1 Emissions are on a per unit basis.
2 ULSD fired engines have NSPS Subpart IIII VOC emission limits.