## 1-min gph
time | g/h | 2020-02-25 | full run Teom g/h avg: |  |  | full run Teom grams PM | Notes:
8:15 | 0.10655 | Baseline 3 |  | 29.3474 |  | 289.0717 | 1. Teom g/h on this tab should have neg values set to 0, and missing minutes interpolated, per the BNL SOP
8:16 | 4.0441 | Stove 9 |  |  |  |  | and should use actual tunnel flow for conversion from ug/m3 to g/h
8:17 | 12.1452 | [5 empty] | 2. The BNL SOP says Teom PM should be at local t/p or at conditions used for reporting filter pull data and tunnel flows [??]
8:18 | 8.1728
8:19 | 8.4842
8:20 | 6.2677 |  | QC checks: |  | result:
8:21 | 3.9655 |  | min g/h: | 0 | should be zero, not negative
8:22 | 7.2141 |  | Count: | 592
8:23 | 5.3675 |  | # test min: | 592
8:24 | 3.8469 |  | Diff: | 0 | should be 0
8:25 | 5.5135
8:26 | 4.5543
8:27 | 5.6003
8:28 | 2.8496
8:29 | 2.1026
8:30 | 1.5599
8:31 | 3.0753
8:32 | 3.7551
8:33 | 3.7055
8:34 | 3.4345
8:35 | 8.7085
8:36 | 7.4774
8:37 | 5.6189
8:38 | 7.8493
8:39 | 4.9452
8:40 | 14.9079
8:41 | 4.0392
8:42 | 2.1882
8:43 | 1.3694
8:44 | 0.87124
8:45 | 1.0881
8:46 | 1.2917
8:47 | 1.0994
8:48 | 0.42233
8:49 | 0.92914
8:50 | 6.0203
8:51 | 1.7298
8:52 | 1.0258
8:53 | 0.64001
8:54 | 0.43763
8:55 | 0.29434
8:56 | 0.69679
8:57 | 1.1629
8:58 | 30.6326
8:59 | 32.9274
9:00 | 23.9239
9:01 | 17.969
9:02 | 18.6665
9:03 | 16.1348
9:04 | 17.1867
9:05 | 22.2733
9:06 | 37.3739
9:07 | 46.8589
9:08 | 41.8287
9:09 | 35.8855
9:10 | 33.3024
9:11 | 29.676
9:12 | 28.7261
9:13 | 31.4388
9:14 | 35.4944
9:15 | 38.797
9:16 | 43.362
9:17 | 48.0886
9:18 | 47.6738
9:19 | 59.8967
9:20 | 65.6365
9:21 | 66.7541
9:22 | 114.5038
9:23 | 48.0924
9:24 | 64.4273
9:25 | 66.0769
9:26 | 68.5982
9:27 | 68.1106
9:28 | 68.9599
9:29 | 82.8788
9:30 | 95.837
9:31 | 106.1662
9:32 | 126.413
9:33 | 109.0209
9:34 | 108.5518
9:35 | 106.091
9:36 | 100.671
9:37 | 63.125
9:38 | 59.5356
9:39 | 48.0445
9:40 | 41.6178
9:41 | 24.9738
9:42 | 17.4891
9:43 | 11.9286
9:44 | 10.3364
9:45 | 8.0584
9:46 | 5.7159
9:47 | 4.3657
9:48 | 3.4681
9:49 | 1.7544
9:50 | 0
9:51 | 0
9:52 | 0
9:53 | 0
9:54 | 0
9:55 | 0
9:56 | 0
9:57 | 0
9:58 | 0
9:59 | 0
10:00 | 0
10:01 | 0
10:02 | 0
10:03 | 0
10:04 | 0
10:05 | 0
10:06 | 0
10:07 | 0
10:08 | 0
10:09 | 0
10:10 | 0
10:11 | 0
10:12 | 0
10:13 | 0
10:14 | 0
10:15 | 0
10:16 | 0
10:17 | 1.4196
10:18 | 53.0024
10:19 | 52.8067
10:20 | 78.922
10:21 | 42.6926
10:22 | 1.8643
10:23 | 0
10:24 | 0
10:25 | 0
10:26 | 0
10:27 | 0
10:28 | 0
10:29 | 0
10:30 | 0
10:31 | 0
10:32 | 0
10:33 | 1.3052
10:34 | 54.1675
10:35 | 56.1837
10:36 | 27.9024
10:37 | 1.1348
10:38 | 0
10:39 | 0
10:40 | 0
10:41 | 0
10:42 | 0
10:43 | 0
10:44 | 0
10:45 | 0
10:46 | 20.1302
10:47 | 60.568
10:48 | 14.5321
10:49 | 10.1772
10:50 | 1.3972
10:51 | 11.1228
10:52 | 2.0088
10:53 | 7.9402
10:54 | 2.8074
10:55 | 10.7502
10:56 | 3.7142
10:57 | 5.8662
10:58 | 10.2702
10:59 | 12.8136
11:00 | 7.1915
11:01 | 4.1758
11:02 | 6.2714
11:03 | 5.2992
11:04 | 1.8565
11:05 | 0
11:06 | 0
11:07 | 0
11:08 | 0
11:09 | 0
11:10 | 3.25
11:11 | 31.4936
11:12 | 46.4195
11:13 | 50.5766
11:14 | 51.3821
11:15 | 88.4205
11:16 | 80.8206
11:17 | 71.9522
11:18 | 63.2023
11:19 | 60.9591
11:20 | 70.186
11:21 | 69.8855
11:22 | 63.4121
11:23 | 48.6359
11:24 | 42.8432
11:25 | 99.2467
11:26 | 71.5785
11:27 | 60.1077
11:28 | 43.5882
11:29 | 30.6272
11:30 | 28.7287
11:31 | 25.1997
11:32 | 23.6411
11:33 | 24.9092
11:34 | 25.2465
11:35 | 25.4295
11:36 | 24.3264
11:37 | 26.7047
11:38 | 25.9251
11:39 | 28.4169
11:40 | 29.9619
11:41 | 29.8166
11:42 | 29.8182
11:43 | 30.4773
11:44 | 31.7362
11:45 | 81.9699
11:46 | 19.7959
11:47 | 9.4204
11:48 | 6.6559
11:49 | 10.5963
11:50 | 22.2626
11:51 | 30.2144
11:52 | 29.174
11:53 | 36.6199
11:54 | 34.9696
11:55 | 41.0544
11:56 | 35.9678
11:57 | 37.8513
11:58 | 37.0475
11:59 | 37.1397
12:00 | 34.1358
12:01 | 36.7793
12:02 | 36.012
12:03 | 35.9233
12:04 | 34.9974
12:05 | 81.0211
12:06 | 13.8534
12:07 | 16.0458
12:08 | 59.1093
12:09 | 52.446
12:10 | 50.3664
12:11 | 79.9205
12:12 | 87.075
12:13 | 89.9275
12:14 | 81.8421
12:15 | 70.0696
12:16 | 53.2647
12:17 | 51.406
12:18 | 44.898
12:19 | 37.8035
12:20 | 37.0706
12:21 | 33.3935
12:22 | 30.0727
12:23 | 29.7994
12:24 | 31.2698
12:25 | 29.4409
12:26 | 28.6664
12:27 | 27.1221
12:28 | 27.7211
12:29 | 27.9748
12:30 | 56.3444
12:31 | 26.9094
12:32 | 43.3664
12:33 | 50.8803
12:34 | 45.0467
12:35 | 40.3893
12:36 | 38.7637
12:37 | 36.3654
12:38 | 31.5925
12:39 | 33.7658
12:40 | 31.759
12:41 | 29.3853
12:42 | 27.7896
12:43 | 26.2345
12:44 | 25.8591
12:45 | 25.7037
12:46 | 25.0788
12:47 | 23.4674
12:48 | 22.1646
12:49 | 21.1996
12:50 | 62.8155
12:51 | 19.2476
12:52 | 27.8303
12:53 | 33.1708
12:54 | 34.0827
12:55 | 34.7411
12:56 | 32.721
12:57 | 33.985
12:58 | 31.8415
12:59 | 34.9199
13:00 | 36.0356
13:01 | 37.3986
13:02 | 38.1804
13:03 | 34.881
13:04 | 38.5383
13:05 | 38.9693
13:06 | 38.6837
13:07 | 38.3706
13:08 | 41.7035
13:09 | 42.0644
13:10 | 90.1108
13:11 | 59.2185
13:12 | 103.7824
13:13 | 105.9175
13:14 | 119.582
13:15 | 120.1928
13:16 | 105.0456
13:17 | 105.1111
13:18 | 98.1615
13:19 | 102.5263
13:20 | 103.1442
13:21 | 115.1446
13:22 | 130.1308
13:23 | 128.9314
13:24 | 110.7683
13:25 | 101.6279
13:26 | 83.2417
13:27 | 75.6268
13:28 | 61.4872
13:29 | 55.2008
13:30 | 113.8045
13:31 | 32.1599
13:32 | 15.4355
13:33 | 44.1487
13:34 | 44.3005
13:35 | 41.5339
13:36 | 31.4719
13:37 | 27.7385
13:38 | 71.9431
13:39 | 54.9463
13:40 | 50.7916
13:41 | 65.1457
13:42 | 69.6576
13:43 | 40.9758
13:44 | 39.5922
13:45 | 34.2243
13:46 | 45.2089
13:47 | 58.5359
13:48 | 35.0116
13:49 | 33.5517
13:50 | 22.7126
13:51 | 17.5229
13:52 | 15.0901
13:53 | 38.6875
13:54 | 32.6546
13:55 | 20.882
13:56 | 15.6595
13:57 | 12.4531
13:58 | 10.966
13:59 | 10.5556
14:00 | 11.4211
14:01 | 11.2143
14:02 | 10.5466
14:03 | 10.6864
14:04 | 9.9642
14:05 | 9.162
14:06 | 10.5894
14:07 | 11.9239
14:08 | 11.7129
14:09 | 13.0352
14:10 | 12.7512
14:11 | 15.3484
14:12 | 46.5226
14:13 | 22.1397
14:14 | 20.0271
14:15 | 42.0874
14:16 | 40.391
14:17 | 40.391
14:18 | 64.1477
14:19 | 67.2469
14:20 | 64.3548
14:21 | 65.8076
14:22 | 59.7587
14:23 | 65.8046
14:24 | 66.286
14:25 | 63.878
14:26 | 59.9443
14:27 | 63.7396
14:28 | 63.8993
14:29 | 60.1992
14:30 | 66.9733
14:31 | 63.068
14:32 | 80.2937
14:33 | 81.2152
14:34 | 100.6586
14:35 | 90.5463
14:36 | 76.7199
14:37 | 61.5429
14:38 | 56.6979
14:39 | 45.714
14:40 | 47.0951
14:41 | 45.3076
14:42 | 42.8438
14:43 | 42.5382
14:44 | 39.6732
14:45 | 42.4411
14:46 | 40.2998
14:47 | 43.4145
14:48 | 40.9827
14:49 | 43.5923
14:50 | 42.2536
14:51 | 45.9905
14:52 | 54.4538
14:53 | 66.0328
14:54 | 71.2401
14:55 | 55.6017
14:56 | 60.6804
14:57 | 56.0904
14:58 | 51.5085
14:59 | 46.2434
15:00 | 42.4532
15:01 | 41.6703
15:02 | 38.7026
15:03 | 37.5184
15:04 | 38.1618
15:05 | 38.3729
15:06 | 37.9085
15:07 | 39.9508
15:08 | 34.8385
15:09 | 38.5916
15:10 | 35.1354
15:11 | 38.8923
15:12 | 55.7483
15:13 | 49.3185
15:14 | 105.8422
15:15 | 104.896
15:16 | 99.7681
15:17 | 92.5804
15:18 | 90.695
15:19 | 82.2367
15:20 | 86.4929
15:21 | 86.9036
15:22 | 84.7699
15:23 | 80.0245
15:24 | 84.1635
15:25 | 81.7366
15:26 | 79.279
15:27 | 82.9332
15:28 | 81.3069
15:29 | 85.0754
15:30 | 86.5486
15:31 | 85.3988
15:32 | 221.225
15:33 | 201.165
15:34 | 238.055
15:35 | 106.7867
15:36 | 70.9512
15:37 | 72.1046
15:38 | 65.5426
15:39 | 59.6724
15:40 | 47.9668
15:41 | 38.282
15:42 | 31.4463
15:43 | 23.5006
15:44 | 19.653
15:45 | 16.7914
15:46 | 12.7122
15:47 | 11.7053
15:48 | 10.3181
15:49 | 6.0257
15:50 | 4.1429
15:51 | 1.861
15:52 | 0.8947
15:53 | 0
15:54 | 0.40443
15:55 | 0.53408
15:56 | 0
15:57 | 0
15:58 | 0
15:59 | 0
16:00 | 0
16:01 | 0
16:02 | 0
16:03 | 0
16:04 | 0
16:05 | 0
16:06 | 0
16:07 | 0
16:08 | 0
16:09 | 0
16:10 | 0
16:11 | 0
16:12 | 0
16:13 | 0
16:14 | 0
16:15 | 0
16:16 | 0
16:17 | 0
16:18 | 0
16:19 | 0
16:20 | 0
16:21 | 0
16:22 | 0
16:23 | 0
16:24 | 0
16:25 | 0
16:26 | 0
16:27 | 0
16:28 | 0
16:29 | 0
16:30 | 0
16:31 | 0
16:32 | 0
16:33 | 0
16:34 | 0
16:35 | 0
16:36 | 0
16:37 | 0
16:38 | 0
16:39 | 0
16:40 | 0
16:41 | 0
16:42 | 0
16:43 | 0
16:44 | 0
16:45 | 0
16:46 | 0
16:47 | 0
16:48 | 0
16:49 | 0
16:50 | 0
16:51 | 0
16:52 | 0
16:53 | 0
16:54 | 0
16:55 | 0
16:56 | 0
16:57 | 0
16:58 | 0
16:59 | 0
17:00 | 0
17:01 | 0.38955
17:02 | 0
17:03 | 0
17:04 | 0
17:05 | 0
17:06 | 0
17:07 | 0
17:08 | 0
17:09 | 0
17:10 | 0
17:11 | 0
17:12 | 0
17:13 | 0
17:14 | 0
17:15 | 0
17:16 | 0
17:17 | 0
17:18 | 0
17:19 | 0
17:20 | 0
17:21 | 0.81676
17:22 | 0.75376
17:23 | 1.1924
17:24 | 1.4412
17:25 | 2.278
17:26 | 0.58181
17:27 | 0
17:28 | 0
17:29 | 0
17:30 | 0
17:31 | 0
17:32 | 0
17:33 | 0
17:34 | 0
17:35 | 0
17:36 | 0
17:37 | 0
17:38 | 0
17:39 | 0
17:40 | 0
17:41 | 0
17:42 | 0
17:43 | 0
17:44 | 0
17:45 | 0
17:46 | 0
17:47 | 0
17:48 | 0
17:49 | 0
17:50 | 0
17:51 | 0
17:52 | 0
17:53 | 0
17:54 | 0
17:55 | 0
17:56 | 0
17:57 | 0
17:58 | 0
17:59 | 0
18:00 | 0
18:01 | 0
18:02 | 0
18:03 | 0
18:04 | 0
18:05 | 0
18:06 | 0
Note on B2: enter 1-m g/h data for full run in col a&b

## 1-min gph by phase
Phase 1 |  | Phase 2 |  | Phase 3 |  | Phase 4 |  | Phase 5 |  | Phase 6 |  | Phase 7 |  | Phase 8 |  | Phase 9 |  | Phase 10
avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM
4.0337 | 2.7564 | 23.1337 | 50.8941 | 47.9519 | 117.4822 | 26.136 | 116.7406 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h
8:15 | 0.10655 | 8:57 | 1.1629 | 11:10 | 3.25 | 13:38 | 71.9431 | 0:00 | 0 | 0:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8:16 | 4.0441 | 8:58 | 30.6326 | 11:11 | 31.4936 | 13:39 | 54.9463 | 0:00 | 0
8:17 | 12.1452 | 8:59 | 32.9274 | 11:12 | 46.4195 | 13:40 | 50.7916
8:18 | 8.1728 | 9:00 | 23.9239 | 11:13 | 50.5766 | 13:41 | 65.1457
8:19 | 8.4842 | 9:01 | 17.969 | 11:14 | 51.3821 | 13:42 | 69.6576
8:20 | 6.2677 | 9:02 | 18.6665 | 11:15 | 88.4205 | 13:43 | 40.9758
8:21 | 3.9655 | 9:03 | 16.1348 | 11:16 | 80.8206 | 13:44 | 39.5922
8:22 | 7.2141 | 9:04 | 17.1867 | 11:17 | 71.9522 | 13:45 | 34.2243
8:23 | 5.3675 | 9:05 | 22.2733 | 11:18 | 63.2023 | 13:46 | 45.2089
8:24 | 3.8469 | 9:06 | 37.3739 | 11:19 | 60.9591 | 13:47 | 58.5359
8:25 | 5.5135 | 9:07 | 46.8589 | 11:20 | 70.186 | 13:48 | 35.0116
8:26 | 4.5543 | 9:08 | 41.8287 | 11:21 | 69.8855 | 13:49 | 33.5517
8:27 | 5.6003 | 9:09 | 35.8855 | 11:22 | 63.4121 | 13:50 | 22.7126
8:28 | 2.8496 | 9:10 | 33.3024 | 11:23 | 48.6359 | 13:51 | 17.5229
8:29 | 2.1026 | 9:11 | 29.676 | 11:24 | 42.8432 | 13:52 | 15.0901
8:30 | 1.5599 | 9:12 | 28.7261 | 11:25 | 99.2467 | 13:53 | 38.6875
8:31 | 3.0753 | 9:13 | 31.4388 | 11:26 | 71.5785 | 13:54 | 32.6546
8:32 | 3.7551 | 9:14 | 35.4944 | 11:27 | 60.1077 | 13:55 | 20.882
8:33 | 3.7055 | 9:15 | 38.797 | 11:28 | 43.5882 | 13:56 | 15.6595
8:34 | 3.4345 | 9:16 | 43.362 | 11:29 | 30.6272 | 13:57 | 12.4531
8:35 | 8.7085 | 9:17 | 48.0886 | 11:30 | 28.7287 | 13:58 | 10.966
8:36 | 7.4774 | 9:18 | 47.6738 | 11:31 | 25.1997 | 13:59 | 10.5556
8:37 | 5.6189 | 9:19 | 59.8967 | 11:32 | 23.6411 | 14:00 | 11.4211
8:38 | 7.8493 | 9:20 | 65.6365 | 11:33 | 24.9092 | 14:01 | 11.2143
8:39 | 4.9452 | 9:21 | 66.7541 | 11:34 | 25.2465 | 14:02 | 10.5466
8:40 | 14.9079 | 9:22 | 114.5038 | 11:35 | 25.4295 | 14:03 | 10.6864
8:41 | 4.0392 | 9:23 | 48.0924 | 11:36 | 24.3264 | 14:04 | 9.9642
8:42 | 2.1882 | 9:24 | 64.4273 | 11:37 | 26.7047 | 14:05 | 9.162
8:43 | 1.3694 | 9:25 | 66.0769 | 11:38 | 25.9251 | 14:06 | 10.5894
8:44 | 0.87124 | 9:26 | 68.5982 | 11:39 | 28.4169 | 14:07 | 11.9239
8:45 | 1.0881 | 9:27 | 68.1106 | 11:40 | 29.9619 | 14:08 | 11.7129
8:46 | 1.2917 | 9:28 | 68.9599 | 11:41 | 29.8166 | 14:09 | 13.0352
8:47 | 1.0994 | 9:29 | 82.8788 | 11:42 | 29.8182 | 14:10 | 12.7512
8:48 | 0.42233 | 9:30 | 95.837 | 11:43 | 30.4773 | 14:11 | 15.3484
8:49 | 0.92914 | 9:31 | 106.1662 | 11:44 | 31.7362 | 14:12 | 46.5226
8:50 | 6.0203 | 9:32 | 126.413 | 11:45 | 81.9699 | 14:13 | 22.1397
8:51 | 1.7298 | 9:33 | 109.0209 | 11:46 | 19.7959 | 14:14 | 20.0271
8:52 | 1.0258 | 9:34 | 108.5518 | 11:47 | 9.4204 | 14:15 | 42.0874
8:53 | 0.64001 | 9:35 | 106.091 | 11:48 | 6.6559 | 14:16 | 40.391
8:54 | 0.43763 | 9:36 | 100.671 | 11:49 | 10.5963 | 14:17 | 40.391
8:55 | 0.29434 | 9:37 | 63.125 | 11:50 | 22.2626 | 14:18 | 64.1477
8:56 | 0.69679 | 9:38 | 59.5356 | 11:51 | 30.2144 | 14:19 | 67.2469
|  | 9:39 | 48.0445 | 11:52 | 29.174 | 14:20 | 64.3548
|  | 9:40 | 41.6178 | 11:53 | 36.6199 | 14:21 | 65.8076
|  | 9:41 | 24.9738 | 11:54 | 34.9696 | 14:22 | 59.7587
|  | 9:42 | 17.4891 | 11:55 | 41.0544 | 14:23 | 65.8046
|  | 9:43 | 11.9286 | 11:56 | 35.9678 | 14:24 | 66.286
|  | 9:44 | 10.3364 | 11:57 | 37.8513 | 14:25 | 63.878
|  | 9:45 | 8.0584 | 11:58 | 37.0475 | 14:26 | 59.9443
|  | 9:46 | 5.7159 | 11:59 | 37.1397 | 14:27 | 63.7396
|  | 9:47 | 4.3657 | 12:00 | 34.1358 | 14:28 | 63.8993
|  | 9:48 | 3.4681 | 12:01 | 36.7793 | 14:29 | 60.1992
|  | 9:49 | 1.7544 | 12:02 | 36.012 | 14:30 | 66.9733
|  | 9:50 | 0 | 12:03 | 35.9233 | 14:31 | 63.068
|  | 9:51 | 0 | 12:04 | 34.9974 | 14:32 | 80.2937
|  | 9:52 | 0 | 12:05 | 81.0211 | 14:33 | 81.2152
|  | 9:53 | 0 | 12:06 | 13.8534 | 14:34 | 100.6586
|  | 9:54 | 0 | 12:07 | 16.0458 | 14:35 | 90.5463
|  | 9:55 | 0 | 12:08 | 59.1093 | 14:36 | 76.7199
|  | 9:56 | 0 | 12:09 | 52.446 | 14:37 | 61.5429
|  | 9:57 | 0 | 12:10 | 50.3664 | 14:38 | 56.6979
|  | 9:58 | 0 | 12:11 | 79.9205 | 14:39 | 45.714
|  | 9:59 | 0 | 12:12 | 87.075 | 14:40 | 47.0951
|  | 10:00 | 0 | 12:13 | 89.9275 | 14:41 | 45.3076
|  | 10:01 | 0 | 12:14 | 81.8421 | 14:42 | 42.8438
|  | 10:02 | 0 | 12:15 | 70.0696 | 14:43 | 42.5382
|  | 10:03 | 0 | 12:16 | 53.2647 | 14:44 | 39.6732
|  | 10:04 | 0 | 12:17 | 51.406 | 14:45 | 42.4411
|  | 10:05 | 0 | 12:18 | 44.898 | 14:46 | 40.2998
|  | 10:06 | 0 | 12:19 | 37.8035 | 14:47 | 43.4145
|  | 10:07 | 0 | 12:20 | 37.0706 | 14:48 | 40.9827
|  | 10:08 | 0 | 12:21 | 33.3935 | 14:49 | 43.5923
|  | 10:09 | 0 | 12:22 | 30.0727 | 14:50 | 42.2536
|  | 10:10 | 0 | 12:23 | 29.7994 | 14:51 | 45.9905
|  | 10:11 | 0 | 12:24 | 31.2698 | 14:52 | 54.4538
|  | 10:12 | 0 | 12:25 | 29.4409 | 14:53 | 66.0328
|  | 10:13 | 0 | 12:26 | 28.6664 | 14:54 | 71.2401
|  | 10:14 | 0 | 12:27 | 27.1221 | 14:55 | 55.6017
|  | 10:15 | 0 | 12:28 | 27.7211 | 14:56 | 60.6804
|  | 10:16 | 0 | 12:29 | 27.9748 | 14:57 | 56.0904
|  | 10:17 | 1.4196 | 12:30 | 56.3444 | 14:58 | 51.5085
|  | 10:18 | 53.0024 | 12:31 | 26.9094 | 14:59 | 46.2434
|  | 10:19 | 52.8067 | 12:32 | 43.3664 | 15:00 | 42.4532
|  | 10:20 | 78.922 | 12:33 | 50.8803 | 15:01 | 41.6703
|  | 10:21 | 42.6926 | 12:34 | 45.0467 | 15:02 | 38.7026
|  | 10:22 | 1.8643 | 12:35 | 40.3893 | 15:03 | 37.5184
|  | 10:23 | 0 | 12:36 | 38.7637 | 15:04 | 38.1618
|  | 10:24 | 0 | 12:37 | 36.3654 | 15:05 | 38.3729
|  | 10:25 | 0 | 12:38 | 31.5925 | 15:06 | 37.9085
|  | 10:26 | 0 | 12:39 | 33.7658 | 15:07 | 39.9508
|  | 10:27 | 0 | 12:40 | 31.759 | 15:08 | 34.8385
|  | 10:28 | 0 | 12:41 | 29.3853 | 15:09 | 38.5916
|  | 10:29 | 0 | 12:42 | 27.7896 | 15:10 | 35.1354
|  | 10:30 | 0 | 12:43 | 26.2345 | 15:11 | 38.8923
|  | 10:31 | 0 | 12:44 | 25.8591 | 15:12 | 55.7483
|  | 10:32 | 0 | 12:45 | 25.7037 | 15:13 | 49.3185
|  | 10:33 | 1.3052 | 12:46 | 25.0788 | 15:14 | 105.8422
|  | 10:34 | 54.1675 | 12:47 | 23.4674 | 15:15 | 104.896
|  | 10:35 | 56.1837 | 12:48 | 22.1646 | 15:16 | 99.7681
|  | 10:36 | 27.9024 | 12:49 | 21.1996 | 15:17 | 92.5804
|  | 10:37 | 1.1348 | 12:50 | 62.8155 | 15:18 | 90.695
|  | 10:38 | 0 | 12:51 | 19.2476 | 15:19 | 82.2367
|  | 10:39 | 0 | 12:52 | 27.8303 | 15:20 | 86.4929
|  | 10:40 | 0 | 12:53 | 33.1708 | 15:21 | 86.9036
|  | 10:41 | 0 | 12:54 | 34.0827 | 15:22 | 84.7699
|  | 10:42 | 0 | 12:55 | 34.7411 | 15:23 | 80.0245
|  | 10:43 | 0 | 12:56 | 32.721 | 15:24 | 84.1635
|  | 10:44 | 0 | 12:57 | 33.985 | 15:25 | 81.7366
|  | 10:45 | 0 | 12:58 | 31.8415 | 15:26 | 79.279
|  | 10:46 | 20.1302 | 12:59 | 34.9199 | 15:27 | 82.9332
|  | 10:47 | 60.568 | 13:00 | 36.0356 | 15:28 | 81.3069
|  | 10:48 | 14.5321 | 13:01 | 37.3986 | 15:29 | 85.0754
|  | 10:49 | 10.1772 | 13:02 | 38.1804 | 15:30 | 86.5486
|  | 10:50 | 1.3972 | 13:03 | 34.881 | 15:31 | 85.3988
|  | 10:51 | 11.1228 | 13:04 | 38.5383 | 15:32 | 221.225
|  | 10:52 | 2.0088 | 13:05 | 38.9693 | 15:33 | 201.165
|  | 10:53 | 7.9402 | 13:06 | 38.6837 | 15:34 | 238.055
|  | 10:54 | 2.8074 | 13:07 | 38.3706 | 15:35 | 106.7867
|  | 10:55 | 10.7502 | 13:08 | 41.7035 | 15:36 | 70.9512
|  | 10:56 | 3.7142 | 13:09 | 42.0644 | 15:37 | 72.1046
|  | 10:57 | 5.8662 | 13:10 | 90.1108 | 15:38 | 65.5426
|  | 10:58 | 10.2702 | 13:11 | 59.2185 | 15:39 | 59.6724
|  | 10:59 | 12.8136 | 13:12 | 103.7824 | 15:40 | 47.9668
|  | 11:00 | 7.1915 | 13:13 | 105.9175 | 15:41 | 38.282
|  | 11:01 | 4.1758 | 13:14 | 119.582 | 15:42 | 31.4463
|  | 11:02 | 6.2714 | 13:15 | 120.1928 | 15:43 | 23.5006
|  | 11:03 | 5.2992 | 13:16 | 105.0456 | 15:44 | 19.653
|  | 11:04 | 1.8565 | 13:17 | 105.1111 | 15:45 | 16.7914
|  | 11:05 | 0 | 13:18 | 98.1615 | 15:46 | 12.7122
|  | 11:06 | 0 | 13:19 | 102.5263 | 15:47 | 11.7053
|  | 11:07 | 0 | 13:20 | 103.1442 | 15:48 | 10.3181
|  | 11:08 | 0 | 13:21 | 115.1446 | 15:49 | 6.0257
|  | 11:09 | 0 | 13:22 | 130.1308 | 15:50 | 4.1429
|  |  |  | 13:23 | 128.9314 | 15:51 | 1.861
|  |  |  | 13:24 | 110.7683 | 15:52 | 0.8947
|  |  |  | 13:25 | 101.6279 | 15:53 | 0
|  |  |  | 13:26 | 83.2417 | 15:54 | 0.40443
|  |  |  | 13:27 | 75.6268 | 15:55 | 0.53408
|  |  |  | 13:28 | 61.4872 | 15:56 | 0
|  |  |  | 13:29 | 55.2008 | 15:57 | 0
|  |  |  | 13:30 | 113.8045 | 15:58 | 0
|  |  |  | 13:31 | 32.1599 | 15:59 | 0
|  |  |  | 13:32 | 15.4355 | 16:00 | 0
|  |  |  | 13:33 | 44.1487 | 16:01 | 0
|  |  |  | 13:34 | 44.3005 | 16:02 | 0
|  |  |  | 13:35 | 41.5339 | 16:03 | 0
|  |  |  | 13:36 | 31.4719 | 16:04 | 0
|  |  |  | 13:37 | 27.7385 | 16:05 | 0
[6 empty] | 16:06 | 0
[6 empty] | 16:07 | 0
[6 empty] | 16:08 | 0
[6 empty] | 16:09 | 0
[6 empty] | 16:10 | 0
[6 empty] | 16:11 | 0
[6 empty] | 16:12 | 0
[6 empty] | 16:13 | 0
[6 empty] | 16:14 | 0
[6 empty] | 16:15 | 0
[6 empty] | 16:16 | 0
[6 empty] | 16:17 | 0
[6 empty] | 16:18 | 0
[6 empty] | 16:19 | 0
[6 empty] | 16:20 | 0
[6 empty] | 16:21 | 0
[6 empty] | 16:22 | 0
[6 empty] | 16:23 | 0
[6 empty] | 16:24 | 0
[6 empty] | 16:25 | 0
[6 empty] | 16:26 | 0
[6 empty] | 16:27 | 0
[6 empty] | 16:28 | 0
[6 empty] | 16:29 | 0
[6 empty] | 16:30 | 0
[6 empty] | 16:31 | 0
[6 empty] | 16:32 | 0
[6 empty] | 16:33 | 0
[6 empty] | 16:34 | 0
[6 empty] | 16:35 | 0
[6 empty] | 16:36 | 0
[6 empty] | 16:37 | 0
[6 empty] | 16:38 | 0
[6 empty] | 16:39 | 0
[6 empty] | 16:40 | 0
[6 empty] | 16:41 | 0
[6 empty] | 16:42 | 0
[6 empty] | 16:43 | 0
[6 empty] | 16:44 | 0
[6 empty] | 16:45 | 0
[6 empty] | 16:46 | 0
[6 empty] | 16:47 | 0
[6 empty] | 16:48 | 0
[6 empty] | 16:49 | 0
[6 empty] | 16:50 | 0
[6 empty] | 16:51 | 0
[6 empty] | 16:52 | 0
[6 empty] | 16:53 | 0
[6 empty] | 16:54 | 0
[6 empty] | 16:55 | 0
[6 empty] | 16:56 | 0
[6 empty] | 16:57 | 0
[6 empty] | 16:58 | 0
[6 empty] | 16:59 | 0
[6 empty] | 17:00 | 0
[6 empty] | 17:01 | 0.38955
[6 empty] | 17:02 | 0
[6 empty] | 17:03 | 0
[6 empty] | 17:04 | 0
[6 empty] | 17:05 | 0
[6 empty] | 17:06 | 0
[6 empty] | 17:07 | 0
[6 empty] | 17:08 | 0
[6 empty] | 17:09 | 0
[6 empty] | 17:10 | 0
[6 empty] | 17:11 | 0
[6 empty] | 17:12 | 0
[6 empty] | 17:13 | 0
[6 empty] | 17:14 | 0
[6 empty] | 17:15 | 0
[6 empty] | 17:16 | 0
[6 empty] | 17:17 | 0
[6 empty] | 17:18 | 0
[6 empty] | 17:19 | 0
[6 empty] | 17:20 | 0
[6 empty] | 17:21 | 0.81676
[6 empty] | 17:22 | 0.75376
[6 empty] | 17:23 | 1.1924
[6 empty] | 17:24 | 1.4412
[6 empty] | 17:25 | 2.278
[6 empty] | 17:26 | 0.58181
[6 empty] | 17:27 | 0
[6 empty] | 17:28 | 0
[6 empty] | 17:29 | 0
[6 empty] | 17:30 | 0
[6 empty] | 17:31 | 0
[6 empty] | 17:32 | 0
[6 empty] | 17:33 | 0
[6 empty] | 17:34 | 0
[6 empty] | 17:35 | 0
[6 empty] | 17:36 | 0
[6 empty] | 17:37 | 0
[6 empty] | 17:38 | 0
[6 empty] | 17:39 | 0
[6 empty] | 17:40 | 0
[6 empty] | 17:41 | 0
[6 empty] | 17:42 | 0
[6 empty] | 17:43 | 0
[6 empty] | 17:44 | 0
[6 empty] | 17:45 | 0
[6 empty] | 17:46 | 0
[6 empty] | 17:47 | 0
[6 empty] | 17:48 | 0
[6 empty] | 17:49 | 0
[6 empty] | 17:50 | 0
[6 empty] | 17:51 | 0
[6 empty] | 17:52 | 0
[6 empty] | 17:53 | 0
[6 empty] | 17:54 | 0
[6 empty] | 17:55 | 0
[6 empty] | 17:56 | 0
[6 empty] | 17:57 | 0
[6 empty] | 17:58 | 0
[6 empty] | 17:59 | 0
[6 empty] | 18:00 | 0
[6 empty] | 18:01 | 0
[6 empty] | 18:02 | 0
[6 empty] | 18:03 | 0
[6 empty] | 18:04 | 0
[6 empty] | 18:05 | 0
[6 empty] | 18:06 | 0
Note on B6: enter 1-m g/h data for full run in col a&b

## results table
| Teom | Teom | % PM | FP equiv | FP equiv | full run g/h from filter pull:
| g/h | PM, g | of Total | g/h | PM, g
Phase 1 | 4.0337 | 2.7564 | 0.95749 | #DIV/0! | #DIV/0!
Phase 2 | 23.1337 | 50.8941 | 17.6793 | #DIV/0! | #DIV/0!
Phase 3 | 47.9519 | 117.4822 | 40.8104 | #DIV/0! | #DIV/0!
Phase 4 | 26.136 | 116.7406 | 40.5528 | #DIV/0! | #DIV/0! | Ratio of Teom to filterpull full run g/h:
Phase 5 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0!
sum: |  | 287.8732 | 100 |  | #DIV/0!
Note: delete unused phases above since they show up as 0.
Note on K2: enter full run fp gph in k2