## 1-min gph
time | g/h | 2020-02-27 | full run Teom g/h avg: |  |  | full run Teom grams PM | Notes:
7:50 | 0.23668 | Baseline 5 |  | 26.735 |  | 299.4325 | 1. Teom g/h on this tab should have neg values set to 0, and missing minutes interpolated, per the BNL SOP
7:51 | 3.1881 | Stove 9 |  |  |  |  | and should use actual tunnel flow for conversion from ug/m3 to g/h
7:52 | 11.5097 | [5 empty] | 2. The BNL SOP says Teom PM should be at local t/p or at conditions used for reporting filter pull data and tunnel flows [??]
7:53 | 9.9284
7:54 | 11.2125
7:55 | 11.8512 |  | QC checks: |  | result:
7:56 | 6.3837 |  | min g/h: | 0 | should be zero, not negative
7:57 | 5.7929 |  | Count: | 673
7:58 | 4.4786 |  | # test min: | 673
7:59 | 4.2423 |  | Diff: | 0 | should be 0
8:00 | 2.9047
8:01 | 2.5357
8:02 | 11.1255
8:03 | 12.9751
8:04 | 8.3496
8:05 | 4.6768
8:06 | 5.5545
8:07 | 29.5679
8:08 | 6.404
8:09 | 4.67
8:10 | 6.3896
8:11 | 5.6857
8:12 | 5.3522
8:13 | 5.0448
8:14 | 7.148
8:15 | 8.2301
8:16 | 6.2342
8:17 | 7.5596
8:18 | 7.5957
8:19 | 3.3763
8:20 | 1.5636
8:21 | 1.3359
8:22 | 1.1132
8:23 | 1.319
8:24 | 1.524
8:25 | 1.8942
8:26 | 0.80181
8:27 | 1.0267
8:28 | 0.83461
8:29 | 0.59213
8:30 | 1.1458
8:31 | 1.4352
8:32 | 1.5374
8:33 | 2.3437
8:34 | 2.2909
8:35 | 1.4449
8:36 | 1.0375
8:37 | 0.28967
8:38 | 0.63893
8:39 | 0.83767
8:40 | 3.1911
8:41 | 5.423
8:42 | 6.4063
8:43 | 5.7104
8:44 | 5.1384
8:45 | 4.1023
8:46 | 2.7634
8:47 | 1.9584
8:48 | 1.4426
8:49 | 4.1059
8:50 | 23.638
8:51 | 32.3867
8:52 | 52.6503
8:53 | 57.7744
8:54 | 31.3011
8:55 | 23.8364
8:56 | 17.4768
8:57 | 17.0406
8:58 | 14.6477
8:59 | 14.0989
9:00 | 14.7168
9:01 | 14.9942
9:02 | 18.3343
9:03 | 20.1255
9:04 | 21.8355
9:05 | 24.3525
9:06 | 29.2766
9:07 | 32.1498
9:08 | 30.817
9:09 | 33.3686
9:10 | 33.844
9:11 | 34.0363
9:12 | 35.1504
9:13 | 54.4926
9:14 | 76.6355
9:15 | 84.7518
9:16 | 87.3445
9:17 | 45.6782
9:18 | 37.7465
9:19 | 36.9894
9:20 | 43.6473
9:21 | 50.1354
9:22 | 47.2004
9:23 | 54.8702
9:24 | 55.8145
9:25 | 39.3008
9:26 | 26.8671
9:27 | 28.6682
9:28 | 36.0858
9:29 | 46.2144
9:30 | 57.9586
9:31 | 57.6959
9:32 | 48.6983
9:33 | 37.578
9:34 | 25.4365
9:35 | 21.1144
9:36 | 15.2276
9:37 | 17.3477
9:38 | 28.4406
9:39 | 29.9459
9:40 | 19.7723
9:41 | 13.3521
9:42 | 9.9184
9:43 | 6.8771
9:44 | 5.5081
9:45 | 3.0345
9:46 | 1.5606
9:47 | 3.5186
9:48 | 5.019
9:49 | 6.6179
9:50 | 7.3449
9:51 | 8.0425
9:52 | 8.3074
9:53 | 8.06
9:54 | 7.4935
9:55 | 5.5654
9:56 | 4.3783
9:57 | 4.1246
9:58 | 1.8179
9:59 | 0
10:00 | 0
10:01 | 0
10:02 | 0
10:03 | 1.3532
10:04 | 47.2123
10:05 | 99.2525
10:06 | 22.6381
10:07 | 3.6023
10:08 | 33.5446
10:09 | 97.4131
10:10 | 94.3274
10:11 | 98.8326
10:12 | 101.7787
10:13 | 110.5731
10:14 | 95.2242
10:15 | 93.8969
10:16 | 83.2304
10:17 | 79.5795
10:18 | 86.1334
10:19 | 81.6434
10:20 | 66.7471
10:21 | 65.8927
10:22 | 67.3414
10:23 | 77.5651
10:24 | 67.2286
10:25 | 70.7464
10:26 | 75.7792
10:27 | 65.8291
10:28 | 79.031
10:29 | 81.6027
10:30 | 59.9005
10:31 | 34.1786
10:32 | 61.57
10:33 | 62.8518
10:34 | 13.0345
10:35 | 5.0183
10:36 | 1.9286
10:37 | 0.38755
10:38 | 0
10:39 | 0
10:40 | 0
10:41 | 0
10:42 | 0
10:43 | 0
10:44 | 0
10:45 | 0
10:46 | 0
10:47 | 0
10:48 | 0
10:49 | 1.105
10:50 | 3.7912
10:51 | 3.889
10:52 | 4.5091
10:53 | 4.7106
10:54 | 4.3784
10:55 | 3.607
10:56 | 5.0547
10:57 | 4.9609
10:58 | 6.307
10:59 | 6.9199
11:00 | 16.048
11:01 | 15.8317
11:02 | 11.5487
11:03 | 16.3009
11:04 | 17.0236
11:05 | 15.5406
11:06 | 12.2207
11:07 | 13.3793
11:08 | 5.1385
11:09 | 4.333
11:10 | 8.5215
11:11 | 15.1413
11:12 | 18.0293
11:13 | 27.0138
11:14 | 30.1046
11:15 | 32.2847
11:16 | 34.8102
11:17 | 36.2116
11:18 | 36.3402
11:19 | 39.2101
11:20 | 38.8592
11:21 | 37.4869
11:22 | 31.7157
11:23 | 35.2153
11:24 | 36.1868
11:25 | 36.49
11:26 | 36.14
11:27 | 74.5811
11:28 | 34.8412
11:29 | 66.3309
11:30 | 61.8399
11:31 | 51.6738
11:32 | 44.327
11:33 | 38.9116
11:34 | 41.0883
11:35 | 39.6005
11:36 | 37.8716
11:37 | 36.3183
11:38 | 39.5294
11:39 | 38.6946
11:40 | 39.0079
11:41 | 37.4858
11:42 | 35.369
11:43 | 36.3211
11:44 | 36.1674
11:45 | 34.15
11:46 | 37.5091
11:47 | 52.5305
11:48 | 51.6811
11:49 | 27.3427
11:50 | 63.6144
11:51 | 62.1634
11:52 | 50.6019
11:53 | 42.9248
11:54 | 36.8915
11:55 | 33.7937
11:56 | 29.8848
11:57 | 26.7435
11:58 | 24.812
11:59 | 23.0461
12:00 | 19.8638
12:01 | 17.9293
12:02 | 19.4047
12:03 | 19.1153
12:04 | 18.9019
12:05 | 19.1027
12:06 | 18.7305
12:07 | 19.9414
12:08 | 25.6851
12:09 | 43.9501
12:10 | 56.2854
12:11 | 54.1213
12:12 | 44.0452
12:13 | 43.1065
12:14 | 37.1071
12:15 | 34.9464
12:16 | 32.2235
12:17 | 30.6915
12:18 | 30.5177
12:19 | 28.9974
12:20 | 28.502
12:21 | 23.4395
12:22 | 26.0099
12:23 | 24.7479
12:24 | 25.6791
12:25 | 25.7149
12:26 | 25.9767
12:27 | 24.7974
12:28 | 22.1048
12:29 | 23.6493
12:30 | 67.269
12:31 | 17.1414
12:32 | 43.9829
12:33 | 42.2356
12:34 | 37.6674
12:35 | 31.3549
12:36 | 28.7777
12:37 | 25.1136
12:38 | 25.7714
12:39 | 25.551
12:40 | 24.2453
12:41 | 24.0878
12:42 | 21.8588
12:43 | 24.1786
12:44 | 23.889
12:45 | 23.0818
12:46 | 20.9013
12:47 | 22.7576
12:48 | 22.2076
12:49 | 23.5865
12:50 | 71.5495
12:51 | 39.818
12:52 | 21.3945
12:53 | 33.4543
12:54 | 34.8678
12:55 | 32.9857
12:56 | 38.0173
12:57 | 38.6467
12:58 | 37.3637
12:59 | 37.4964
13:00 | 36.1809
13:01 | 32.7017
13:02 | 34.9523
13:03 | 32.8493
13:04 | 32.2055
13:05 | 33.7631
13:06 | 34.9394
13:07 | 34.1961
13:08 | 32.7087
13:09 | 30.0126
13:10 | 56.17
13:11 | 85.6241
13:12 | 24.7183
13:13 | 100.7044
13:14 | 96.2071
13:15 | 88.6828
13:16 | 89.086
13:17 | 84.9454
13:18 | 71.64
13:19 | 76.6522
13:20 | 74.3764
13:21 | 73.9419
13:22 | 64.8461
13:23 | 65.1529
13:24 | 64.4809
13:25 | 64.3032
13:26 | 69.3134
13:27 | 70.1165
13:28 | 71.2409
13:29 | 66.9212
13:30 | 201.8867
13:31 | 181.1322
13:32 | 83.5873
13:33 | 101.8024
13:34 | 114.7068
13:35 | 153.0528
13:36 | 172.7585
13:37 | 154.6831
13:38 | 100.2249
13:39 | 78.5596
13:40 | 67.812
13:41 | 69.5569
13:42 | 67.1377
13:43 | 42.1068
13:44 | 18.1765
13:45 | 5.9243
13:46 | 2.1222
13:47 | 0
13:48 | 0
13:49 | 0
13:50 | 4.4472
13:51 | 0
13:52 | 0
13:53 | 0
13:54 | 0
13:55 | 0
13:56 | 0
13:57 | 0
13:58 | 0
13:59 | 0
14:00 | 0
14:01 | 0
14:02 | 0
14:03 | 0
14:04 | 3.2701
14:05 | 6.2169
14:06 | 17.9007
14:07 | 34.2717
14:08 | 43.422
14:09 | 41.1821
14:10 | 39.8095
14:11 | 42.0054
14:12 | 48.649
14:13 | 52.5957
14:14 | 37.7118
14:15 | 24.614
14:16 | 17.3962
14:17 | 13.2802
14:18 | 13.1375
14:19 | 12.5777
14:20 | 12.04
14:21 | 13.9995
14:22 | 14.6515
14:23 | 16.0537
14:24 | 16.2128
14:25 | 17.0111
14:26 | 16.51
14:27 | 17.2732
14:28 | 19.7848
14:29 | 20.1212
14:30 | 23.8283
14:31 | 25.1761
14:32 | 27.075
14:33 | 29.468
14:34 | 30.678
14:35 | 31.5749
14:36 | 103.9598
14:37 | 39.0411
14:38 | 92.6189
14:39 | 63.4055
14:40 | 46.0581
14:41 | 37.0649
14:42 | 31.6538
14:43 | 32.2026
14:44 | 33.2786
14:45 | 30.9754
14:46 | 31.6471
14:47 | 26.563
14:48 | 31.1453
14:49 | 28.1133
14:50 | 31.7183
14:51 | 33.5855
14:52 | 33.8949
14:53 | 35.5467
14:54 | 35.5159
14:55 | 95.6845
14:56 | 98.2248
14:57 | 121.5178
14:58 | 95.7749
14:59 | 74.814
15:00 | 70.4297
15:01 | 73.0057
15:02 | 68.7006
15:03 | 59.7986
15:04 | 62.5639
15:05 | 59.8217
15:06 | 57.3531
15:07 | 53.8265
15:08 | 51.7793
15:09 | 50.2662
15:10 | 46.6709
15:11 | 44.4301
15:12 | 47.3625
15:13 | 49.9192
15:14 | 51.0558
15:15 | 126.3613
15:16 | 47.0152
15:17 | 135.1267
15:18 | 124.131
15:19 | 114.2501
15:20 | 98.8168
15:21 | 106.1039
15:22 | 105.0059
15:23 | 97.1716
15:24 | 90.0013
15:25 | 85.9493
15:26 | 89.9635
15:27 | 88.7926
15:28 | 94.7235
15:29 | 91.4893
15:30 | 78.0053
15:31 | 87.7771
15:32 | 85.3988
15:33 | 82.7811
15:34 | 85.7369
15:35 | 159.6943
15:36 | 79.4924
15:37 | 57.9627
15:38 | 68.9398
15:39 | 75.7706
15:40 | 82.5036
15:41 | 81.2879
15:42 | 67.9136
15:43 | 52.9927
15:44 | 50.7501
15:45 | 41.4749
15:46 | 35.9815
15:47 | 27.9415
15:48 | 22.1058
15:49 | 16.6705
15:50 | 12.6069
15:51 | 10.3598
15:52 | 9.3488
15:53 | 7.8057
15:54 | 7.2932
15:55 | 6.2372
15:56 | 4.5669
15:57 | 4.2078
15:58 | 2.5265
15:59 | 1.2816
16:00 | 0.5324
16:01 | 0.077699
16:02 | 0.33829
16:03 | 0
16:04 | 0
16:05 | 0
16:06 | 0
16:07 | 0
16:08 | 0
16:09 | 0
16:10 | 0
16:11 | 0
16:12 | 0
16:13 | 0
16:14 | 0
16:15 | 0
16:16 | 0
16:17 | 0
16:18 | 0
16:19 | 0
16:20 | 0
16:21 | 0
16:22 | 0
16:23 | 0
16:24 | 0
16:25 | 0
16:26 | 0.27157
16:27 | 3.2563
16:28 | 8.4095
16:29 | 10.7602
16:30 | 8.3418
16:31 | 9.5298
16:32 | 6.6075
16:33 | 2.5528
16:34 | 0
16:35 | 0
16:36 | 0
16:37 | 0
16:38 | 0
16:39 | 0
16:40 | 0
16:41 | 0
16:42 | 0
16:43 | 0
16:44 | 0
16:45 | 0
16:46 | 0
16:47 | 0
16:48 | 0
16:49 | 0
16:50 | 0
16:51 | 0
16:52 | 0
16:53 | 0
16:54 | 0
16:55 | 0
16:56 | 0
16:57 | 0
16:58 | 0
16:59 | 0
17:00 | 0
17:01 | 0
17:02 | 0
17:03 | 0
17:04 | 0
17:05 | 0
17:06 | 0
17:07 | 0
17:08 | 0
17:09 | 1.4732
17:10 | 1.2638
17:11 | 2.4144
17:12 | 4.2932
17:13 | 0.8232
17:14 | 14.6335
17:15 | 15.7107
17:16 | 21.1849
17:17 | 24.3714
17:18 | 49.4965
17:19 | 59.2814
17:20 | 47.7587
17:21 | 36.5628
17:22 | 27.1468
17:23 | 26.3022
17:24 | 24.3875
17:25 | 12.9291
17:26 | 2.9372
17:27 | 0
17:28 | 0
17:29 | 0
17:30 | 0
17:31 | 0
17:32 | 0
17:33 | 0
17:34 | 0
17:35 | 0
17:36 | 0
17:37 | 0
17:38 | 0
17:39 | 0
17:40 | 0
17:41 | 0
17:42 | 0
17:43 | 0
17:44 | 0
17:45 | 0
17:46 | 0
17:47 | 0
17:48 | 0
17:49 | 0
17:50 | 0
17:51 | 0
17:52 | 0
17:53 | 0
17:54 | 0
17:55 | 0
17:56 | 0
17:57 | 0
17:58 | 0
17:59 | 0
18:00 | 0
18:01 | 0
18:02 | 0
18:03 | 0
18:04 | 0
18:05 | 0
18:06 | 0
18:07 | 0
18:08 | 0
18:09 | 0
18:10 | 0
18:11 | 0
18:12 | 0
18:13 | 0
18:14 | 0
18:15 | 0
18:16 | 0
18:17 | 0
18:18 | 0
18:19 | 0
18:20 | 0
18:21 | 0
18:22 | 0
18:23 | 0
18:24 | 0
18:25 | 0
18:26 | 0
18:27 | 0
18:28 | 0
18:29 | 0
18:30 | 0
18:31 | 0
18:32 | 0
18:33 | 0
18:34 | 0
18:35 | 0
18:36 | 0
18:37 | 0
18:38 | 0
18:39 | 0
18:40 | 0
18:41 | 0
18:42 | 0
18:43 | 0
18:44 | 0
18:45 | 0
18:46 | 0
18:47 | 0
18:48 | 0
18:49 | 0
18:50 | 0
18:51 | 0
18:52 | 0
18:53 | 0
18:54 | 0
18:55 | 0
18:56 | 0
18:57 | 0
18:58 | 0
18:59 | 0
19:00 | 0
19:01 | 0
19:02 | 0
Note on B2: enter 1-m g/h data for full run in col a&b

## 1-min gph by phase
Phase 1 |  | Phase 2 |  | Phase 3 |  | Phase 4 |  | Phase 5 |  | Phase 6 |  | Phase 7 |  | Phase 8 |  | Phase 9 |  | Phase 10
avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM
4.8259 | 4.5846 | 30.908 | 71.0885 | 40.5656 | 118.9925 | 20.8577 | 103.5933 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h
7:50 | 0.23668 | 8:48 | 1.4426 | 11:07 | 13.3793 | 14:04 | 3.2701 | 0:00 | 0 | 0:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7:51 | 3.1881 | 8:49 | 4.1059 | 11:08 | 5.1385 | 14:05 | 6.2169 | 0:00 | 0
7:52 | 11.5097 | 8:50 | 23.638 | 11:09 | 4.333 | 14:06 | 17.9007
7:53 | 9.9284 | 8:51 | 32.3867 | 11:10 | 8.5215 | 14:07 | 34.2717
7:54 | 11.2125 | 8:52 | 52.6503 | 11:11 | 15.1413 | 14:08 | 43.422
7:55 | 11.8512 | 8:53 | 57.7744 | 11:12 | 18.0293 | 14:09 | 41.1821
7:56 | 6.3837 | 8:54 | 31.3011 | 11:13 | 27.0138 | 14:10 | 39.8095
7:57 | 5.7929 | 8:55 | 23.8364 | 11:14 | 30.1046 | 14:11 | 42.0054
7:58 | 4.4786 | 8:56 | 17.4768 | 11:15 | 32.2847 | 14:12 | 48.649
7:59 | 4.2423 | 8:57 | 17.0406 | 11:16 | 34.8102 | 14:13 | 52.5957
8:00 | 2.9047 | 8:58 | 14.6477 | 11:17 | 36.2116 | 14:14 | 37.7118
8:01 | 2.5357 | 8:59 | 14.0989 | 11:18 | 36.3402 | 14:15 | 24.614
8:02 | 11.1255 | 9:00 | 14.7168 | 11:19 | 39.2101 | 14:16 | 17.3962
8:03 | 12.9751 | 9:01 | 14.9942 | 11:20 | 38.8592 | 14:17 | 13.2802
8:04 | 8.3496 | 9:02 | 18.3343 | 11:21 | 37.4869 | 14:18 | 13.1375
8:05 | 4.6768 | 9:03 | 20.1255 | 11:22 | 31.7157 | 14:19 | 12.5777
8:06 | 5.5545 | 9:04 | 21.8355 | 11:23 | 35.2153 | 14:20 | 12.04
8:07 | 29.5679 | 9:05 | 24.3525 | 11:24 | 36.1868 | 14:21 | 13.9995
8:08 | 6.404 | 9:06 | 29.2766 | 11:25 | 36.49 | 14:22 | 14.6515
8:09 | 4.67 | 9:07 | 32.1498 | 11:26 | 36.14 | 14:23 | 16.0537
8:10 | 6.3896 | 9:08 | 30.817 | 11:27 | 74.5811 | 14:24 | 16.2128
8:11 | 5.6857 | 9:09 | 33.3686 | 11:28 | 34.8412 | 14:25 | 17.0111
8:12 | 5.3522 | 9:10 | 33.844 | 11:29 | 66.3309 | 14:26 | 16.51
8:13 | 5.0448 | 9:11 | 34.0363 | 11:30 | 61.8399 | 14:27 | 17.2732
8:14 | 7.148 | 9:12 | 35.1504 | 11:31 | 51.6738 | 14:28 | 19.7848
8:15 | 8.2301 | 9:13 | 54.4926 | 11:32 | 44.327 | 14:29 | 20.1212
8:16 | 6.2342 | 9:14 | 76.6355 | 11:33 | 38.9116 | 14:30 | 23.8283
8:17 | 7.5596 | 9:15 | 84.7518 | 11:34 | 41.0883 | 14:31 | 25.1761
8:18 | 7.5957 | 9:16 | 87.3445 | 11:35 | 39.6005 | 14:32 | 27.075
8:19 | 3.3763 | 9:17 | 45.6782 | 11:36 | 37.8716 | 14:33 | 29.468
8:20 | 1.5636 | 9:18 | 37.7465 | 11:37 | 36.3183 | 14:34 | 30.678
8:21 | 1.3359 | 9:19 | 36.9894 | 11:38 | 39.5294 | 14:35 | 31.5749
8:22 | 1.1132 | 9:20 | 43.6473 | 11:39 | 38.6946 | 14:36 | 103.9598
8:23 | 1.319 | 9:21 | 50.1354 | 11:40 | 39.0079 | 14:37 | 39.0411
8:24 | 1.524 | 9:22 | 47.2004 | 11:41 | 37.4858 | 14:38 | 92.6189
8:25 | 1.8942 | 9:23 | 54.8702 | 11:42 | 35.369 | 14:39 | 63.4055
8:26 | 0.80181 | 9:24 | 55.8145 | 11:43 | 36.3211 | 14:40 | 46.0581
8:27 | 1.0267 | 9:25 | 39.3008 | 11:44 | 36.1674 | 14:41 | 37.0649
8:28 | 0.83461 | 9:26 | 26.8671 | 11:45 | 34.15 | 14:42 | 31.6538
8:29 | 0.59213 | 9:27 | 28.6682 | 11:46 | 37.5091 | 14:43 | 32.2026
8:30 | 1.1458 | 9:28 | 36.0858 | 11:47 | 52.5305 | 14:44 | 33.2786
8:31 | 1.4352 | 9:29 | 46.2144 | 11:48 | 51.6811 | 14:45 | 30.9754
8:32 | 1.5374 | 9:30 | 57.9586 | 11:49 | 27.3427 | 14:46 | 31.6471
8:33 | 2.3437 | 9:31 | 57.6959 | 11:50 | 63.6144 | 14:47 | 26.563
8:34 | 2.2909 | 9:32 | 48.6983 | 11:51 | 62.1634 | 14:48 | 31.1453
8:35 | 1.4449 | 9:33 | 37.578 | 11:52 | 50.6019 | 14:49 | 28.1133
8:36 | 1.0375 | 9:34 | 25.4365 | 11:53 | 42.9248 | 14:50 | 31.7183
8:37 | 0.28967 | 9:35 | 21.1144 | 11:54 | 36.8915 | 14:51 | 33.5855
8:38 | 0.63893 | 9:36 | 15.2276 | 11:55 | 33.7937 | 14:52 | 33.8949
8:39 | 0.83767 | 9:37 | 17.3477 | 11:56 | 29.8848 | 14:53 | 35.5467
8:40 | 3.1911 | 9:38 | 28.4406 | 11:57 | 26.7435 | 14:54 | 35.5159
8:41 | 5.423 | 9:39 | 29.9459 | 11:58 | 24.812 | 14:55 | 95.6845
8:42 | 6.4063 | 9:40 | 19.7723 | 11:59 | 23.0461 | 14:56 | 98.2248
8:43 | 5.7104 | 9:41 | 13.3521 | 12:00 | 19.8638 | 14:57 | 121.5178
8:44 | 5.1384 | 9:42 | 9.9184 | 12:01 | 17.9293 | 14:58 | 95.7749
8:45 | 4.1023 | 9:43 | 6.8771 | 12:02 | 19.4047 | 14:59 | 74.814
8:46 | 2.7634 | 9:44 | 5.5081 | 12:03 | 19.1153 | 15:00 | 70.4297
8:47 | 1.9584 | 9:45 | 3.0345 | 12:04 | 18.9019 | 15:01 | 73.0057
|  | 9:46 | 1.5606 | 12:05 | 19.1027 | 15:02 | 68.7006
|  | 9:47 | 3.5186 | 12:06 | 18.7305 | 15:03 | 59.7986
|  | 9:48 | 5.019 | 12:07 | 19.9414 | 15:04 | 62.5639
|  | 9:49 | 6.6179 | 12:08 | 25.6851 | 15:05 | 59.8217
|  | 9:50 | 7.3449 | 12:09 | 43.9501 | 15:06 | 57.3531
|  | 9:51 | 8.0425 | 12:10 | 56.2854 | 15:07 | 53.8265
|  | 9:52 | 8.3074 | 12:11 | 54.1213 | 15:08 | 51.7793
|  | 9:53 | 8.06 | 12:12 | 44.0452 | 15:09 | 50.2662
|  | 9:54 | 7.4935 | 12:13 | 43.1065 | 15:10 | 46.6709
|  | 9:55 | 5.5654 | 12:14 | 37.1071 | 15:11 | 44.4301
|  | 9:56 | 4.3783 | 12:15 | 34.9464 | 15:12 | 47.3625
|  | 9:57 | 4.1246 | 12:16 | 32.2235 | 15:13 | 49.9192
|  | 9:58 | 1.8179 | 12:17 | 30.6915 | 15:14 | 51.0558
|  | 9:59 | 0 | 12:18 | 30.5177 | 15:15 | 126.3613
|  | 10:00 | 0 | 12:19 | 28.9974 | 15:16 | 47.0152
|  | 10:01 | 0 | 12:20 | 28.502 | 15:17 | 135.1267
|  | 10:02 | 0 | 12:21 | 23.4395 | 15:18 | 124.131
|  | 10:03 | 1.3532 | 12:22 | 26.0099 | 15:19 | 114.2501
|  | 10:04 | 47.2123 | 12:23 | 24.7479 | 15:20 | 98.8168
|  | 10:05 | 99.2525 | 12:24 | 25.6791 | 15:21 | 106.1039
|  | 10:06 | 22.6381 | 12:25 | 25.7149 | 15:22 | 105.0059
|  | 10:07 | 3.6023 | 12:26 | 25.9767 | 15:23 | 97.1716
|  | 10:08 | 33.5446 | 12:27 | 24.7974 | 15:24 | 90.0013
|  | 10:09 | 97.4131 | 12:28 | 22.1048 | 15:25 | 85.9493
|  | 10:10 | 94.3274 | 12:29 | 23.6493 | 15:26 | 89.9635
|  | 10:11 | 98.8326 | 12:30 | 67.269 | 15:27 | 88.7926
|  | 10:12 | 101.7787 | 12:31 | 17.1414 | 15:28 | 94.7235
|  | 10:13 | 110.5731 | 12:32 | 43.9829 | 15:29 | 91.4893
|  | 10:14 | 95.2242 | 12:33 | 42.2356 | 15:30 | 78.0053
|  | 10:15 | 93.8969 | 12:34 | 37.6674 | 15:31 | 87.7771
|  | 10:16 | 83.2304 | 12:35 | 31.3549 | 15:32 | 85.3988
|  | 10:17 | 79.5795 | 12:36 | 28.7777 | 15:33 | 82.7811
|  | 10:18 | 86.1334 | 12:37 | 25.1136 | 15:34 | 85.7369
|  | 10:19 | 81.6434 | 12:38 | 25.7714 | 15:35 | 159.6943
|  | 10:20 | 66.7471 | 12:39 | 25.551 | 15:36 | 79.4924
|  | 10:21 | 65.8927 | 12:40 | 24.2453 | 15:37 | 57.9627
|  | 10:22 | 67.3414 | 12:41 | 24.0878 | 15:38 | 68.9398
|  | 10:23 | 77.5651 | 12:42 | 21.8588 | 15:39 | 75.7706
|  | 10:24 | 67.2286 | 12:43 | 24.1786 | 15:40 | 82.5036
|  | 10:25 | 70.7464 | 12:44 | 23.889 | 15:41 | 81.2879
|  | 10:26 | 75.7792 | 12:45 | 23.0818 | 15:42 | 67.9136
|  | 10:27 | 65.8291 | 12:46 | 20.9013 | 15:43 | 52.9927
|  | 10:28 | 79.031 | 12:47 | 22.7576 | 15:44 | 50.7501
|  | 10:29 | 81.6027 | 12:48 | 22.2076 | 15:45 | 41.4749
|  | 10:30 | 59.9005 | 12:49 | 23.5865 | 15:46 | 35.9815
|  | 10:31 | 34.1786 | 12:50 | 71.5495 | 15:47 | 27.9415
|  | 10:32 | 61.57 | 12:51 | 39.818 | 15:48 | 22.1058
|  | 10:33 | 62.8518 | 12:52 | 21.3945 | 15:49 | 16.6705
|  | 10:34 | 13.0345 | 12:53 | 33.4543 | 15:50 | 12.6069
|  | 10:35 | 5.0183 | 12:54 | 34.8678 | 15:51 | 10.3598
|  | 10:36 | 1.9286 | 12:55 | 32.9857 | 15:52 | 9.3488
|  | 10:37 | 0.38755 | 12:56 | 38.0173 | 15:53 | 7.8057
|  | 10:38 | 0 | 12:57 | 38.6467 | 15:54 | 7.2932
|  | 10:39 | 0 | 12:58 | 37.3637 | 15:55 | 6.2372
|  | 10:40 | 0 | 12:59 | 37.4964 | 15:56 | 4.5669
|  | 10:41 | 0 | 13:00 | 36.1809 | 15:57 | 4.2078
|  | 10:42 | 0 | 13:01 | 32.7017 | 15:58 | 2.5265
|  | 10:43 | 0 | 13:02 | 34.9523 | 15:59 | 1.2816
|  | 10:44 | 0 | 13:03 | 32.8493 | 16:00 | 0.5324
|  | 10:45 | 0 | 13:04 | 32.2055 | 16:01 | 0.077699
|  | 10:46 | 0 | 13:05 | 33.7631 | 16:02 | 0.33829
|  | 10:47 | 0 | 13:06 | 34.9394 | 16:03 | 0
|  | 10:48 | 0 | 13:07 | 34.1961 | 16:04 | 0
|  | 10:49 | 1.105 | 13:08 | 32.7087 | 16:05 | 0
|  | 10:50 | 3.7912 | 13:09 | 30.0126 | 16:06 | 0
|  | 10:51 | 3.889 | 13:10 | 56.17 | 16:07 | 0
|  | 10:52 | 4.5091 | 13:11 | 85.6241 | 16:08 | 0
|  | 10:53 | 4.7106 | 13:12 | 24.7183 | 16:09 | 0
|  | 10:54 | 4.3784 | 13:13 | 100.7044 | 16:10 | 0
|  | 10:55 | 3.607 | 13:14 | 96.2071 | 16:11 | 0
|  | 10:56 | 5.0547 | 13:15 | 88.6828 | 16:12 | 0
|  | 10:57 | 4.9609 | 13:16 | 89.086 | 16:13 | 0
|  | 10:58 | 6.307 | 13:17 | 84.9454 | 16:14 | 0
|  | 10:59 | 6.9199 | 13:18 | 71.64 | 16:15 | 0
|  | 11:00 | 16.048 | 13:19 | 76.6522 | 16:16 | 0
|  | 11:01 | 15.8317 | 13:20 | 74.3764 | 16:17 | 0
|  | 11:02 | 11.5487 | 13:21 | 73.9419 | 16:18 | 0
|  | 11:03 | 16.3009 | 13:22 | 64.8461 | 16:19 | 0
|  | 11:04 | 17.0236 | 13:23 | 65.1529 | 16:20 | 0
|  | 11:05 | 15.5406 | 13:24 | 64.4809 | 16:21 | 0
|  | 11:06 | 12.2207 | 13:25 | 64.3032 | 16:22 | 0
|  |  |  | 13:26 | 69.3134 | 16:23 | 0
|  |  |  | 13:27 | 70.1165 | 16:24 | 0
|  |  |  | 13:28 | 71.2409 | 16:25 | 0
|  |  |  | 13:29 | 66.9212 | 16:26 | 0.27157
|  |  |  | 13:30 | 201.8867 | 16:27 | 3.2563
|  |  |  | 13:31 | 181.1322 | 16:28 | 8.4095
|  |  |  | 13:32 | 83.5873 | 16:29 | 10.7602
|  |  |  | 13:33 | 101.8024 | 16:30 | 8.3418
|  |  |  | 13:34 | 114.7068 | 16:31 | 9.5298
|  |  |  | 13:35 | 153.0528 | 16:32 | 6.6075
|  |  |  | 13:36 | 172.7585 | 16:33 | 2.5528
|  |  |  | 13:37 | 154.6831 | 16:34 | 0
|  |  |  | 13:38 | 100.2249 | 16:35 | 0
|  |  |  | 13:39 | 78.5596 | 16:36 | 0
|  |  |  | 13:40 | 67.812 | 16:37 | 0
|  |  |  | 13:41 | 69.5569 | 16:38 | 0
|  |  |  | 13:42 | 67.1377 | 16:39 | 0
|  |  |  | 13:43 | 42.1068 | 16:40 | 0
|  |  |  | 13:44 | 18.1765 | 16:41 | 0
|  |  |  | 13:45 | 5.9243 | 16:42 | 0
|  |  |  | 13:46 | 2.1222 | 16:43 | 0
|  |  |  | 13:47 | 0 | 16:44 | 0
|  |  |  | 13:48 | 0 | 16:45 | 0
|  |  |  | 13:49 | 0 | 16:46 | 0
|  |  |  | 13:50 | 4.4472 | 16:47 | 0
|  |  |  | 13:51 | 0 | 16:48 | 0
|  |  |  | 13:52 | 0 | 16:49 | 0
|  |  |  | 13:53 | 0 | 16:50 | 0
|  |  |  | 13:54 | 0 | 16:51 | 0
|  |  |  | 13:55 | 0 | 16:52 | 0
|  |  |  | 13:56 | 0 | 16:53 | 0
|  |  |  | 13:57 | 0 | 16:54 | 0
|  |  |  | 13:58 | 0 | 16:55 | 0
|  |  |  | 13:59 | 0 | 16:56 | 0
|  |  |  | 14:00 | 0 | 16:57 | 0
|  |  |  | 14:01 | 0 | 16:58 | 0
|  |  |  | 14:02 | 0 | 16:59 | 0
|  |  |  | 14:03 | 0 | 17:00 | 0
[6 empty] | 17:01 | 0
[6 empty] | 17:02 | 0
[6 empty] | 17:03 | 0
[6 empty] | 17:04 | 0
[6 empty] | 17:05 | 0
[6 empty] | 17:06 | 0
[6 empty] | 17:07 | 0
[6 empty] | 17:08 | 0
[6 empty] | 17:09 | 1.4732
[6 empty] | 17:10 | 1.2638
[6 empty] | 17:11 | 2.4144
[6 empty] | 17:12 | 4.2932
[6 empty] | 17:13 | 0.8232
[6 empty] | 17:14 | 14.6335
[6 empty] | 17:15 | 15.7107
[6 empty] | 17:16 | 21.1849
[6 empty] | 17:17 | 24.3714
[6 empty] | 17:18 | 49.4965
[6 empty] | 17:19 | 59.2814
[6 empty] | 17:20 | 47.7587
[6 empty] | 17:21 | 36.5628
[6 empty] | 17:22 | 27.1468
[6 empty] | 17:23 | 26.3022
[6 empty] | 17:24 | 24.3875
[6 empty] | 17:25 | 12.9291
[6 empty] | 17:26 | 2.9372
[6 empty] | 17:27 | 0
[6 empty] | 17:28 | 0
[6 empty] | 17:29 | 0
[6 empty] | 17:30 | 0
[6 empty] | 17:31 | 0
[6 empty] | 17:32 | 0
[6 empty] | 17:33 | 0
[6 empty] | 17:34 | 0
[6 empty] | 17:35 | 0
[6 empty] | 17:36 | 0
[6 empty] | 17:37 | 0
[6 empty] | 17:38 | 0
[6 empty] | 17:39 | 0
[6 empty] | 17:40 | 0
[6 empty] | 17:41 | 0
[6 empty] | 17:42 | 0
[6 empty] | 17:43 | 0
[6 empty] | 17:44 | 0
[6 empty] | 17:45 | 0
[6 empty] | 17:46 | 0
[6 empty] | 17:47 | 0
[6 empty] | 17:48 | 0
[6 empty] | 17:49 | 0
[6 empty] | 17:50 | 0
[6 empty] | 17:51 | 0
[6 empty] | 17:52 | 0
[6 empty] | 17:53 | 0
[6 empty] | 17:54 | 0
[6 empty] | 17:55 | 0
[6 empty] | 17:56 | 0
[6 empty] | 17:57 | 0
[6 empty] | 17:58 | 0
[6 empty] | 17:59 | 0
[6 empty] | 18:00 | 0
[6 empty] | 18:01 | 0
[6 empty] | 18:02 | 0
[6 empty] | 18:03 | 0
[6 empty] | 18:04 | 0
[6 empty] | 18:05 | 0
[6 empty] | 18:06 | 0
[6 empty] | 18:07 | 0
[6 empty] | 18:08 | 0
[6 empty] | 18:09 | 0
[6 empty] | 18:10 | 0
[6 empty] | 18:11 | 0
[6 empty] | 18:12 | 0
[6 empty] | 18:13 | 0
[6 empty] | 18:14 | 0
[6 empty] | 18:15 | 0
[6 empty] | 18:16 | 0
[6 empty] | 18:17 | 0
[6 empty] | 18:18 | 0
[6 empty] | 18:19 | 0
[6 empty] | 18:20 | 0
[6 empty] | 18:21 | 0
[6 empty] | 18:22 | 0
[6 empty] | 18:23 | 0
[6 empty] | 18:24 | 0
[6 empty] | 18:25 | 0
[6 empty] | 18:26 | 0
[6 empty] | 18:27 | 0
[6 empty] | 18:28 | 0
[6 empty] | 18:29 | 0
[6 empty] | 18:30 | 0
[6 empty] | 18:31 | 0
[6 empty] | 18:32 | 0
[6 empty] | 18:33 | 0
[6 empty] | 18:34 | 0
[6 empty] | 18:35 | 0
[6 empty] | 18:36 | 0
[6 empty] | 18:37 | 0
[6 empty] | 18:38 | 0
[6 empty] | 18:39 | 0
[6 empty] | 18:40 | 0
[6 empty] | 18:41 | 0
[6 empty] | 18:42 | 0
[6 empty] | 18:43 | 0
[6 empty] | 18:44 | 0
[6 empty] | 18:45 | 0
[6 empty] | 18:46 | 0
[6 empty] | 18:47 | 0
[6 empty] | 18:48 | 0
[6 empty] | 18:49 | 0
[6 empty] | 18:50 | 0
[6 empty] | 18:51 | 0
[6 empty] | 18:52 | 0
[6 empty] | 18:53 | 0
[6 empty] | 18:54 | 0
[6 empty] | 18:55 | 0
[6 empty] | 18:56 | 0
[6 empty] | 18:57 | 0
[6 empty] | 18:58 | 0
[6 empty] | 18:59 | 0
[6 empty] | 19:00 | 0
[6 empty] | 19:01 | 0
[6 empty] | 19:02 | 0
Note on B6: enter 1-m g/h data for full run in col a&b

## results table
| Teom | Teom | % PM | FP equiv | FP equiv | full run g/h from filter pull:
| g/h | PM, g | of Total | g/h | PM, g
Phase 1 | 4.8259 | 4.5846 | 1.5371 | #DIV/0! | #DIV/0!
Phase 2 | 30.908 | 71.0885 | 23.8345 | #DIV/0! | #DIV/0!
Phase 3 | 40.5656 | 118.9925 | 39.8957 | #DIV/0! | #DIV/0!
Phase 4 | 20.8577 | 103.5933 | 34.7327 | #DIV/0! | #DIV/0! | Ratio of Teom to filterpull full run g/h:
Phase 5 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0!
sum: |  | 298.2588 | 100 |  | #DIV/0!
Note: delete unused phases above since they show up as 0.
Note on K2: enter full run fp gph in k2