## 1-min gph
time | g/h | g/hr neg =0 | 2020-01-08 | full run Teom g/h avg: |  |  | full run Teom grams PM | Notes:
9:40 | 0.62697 | 0.62697 | ESP 2 Post |  | 0.35718 |  | 2.4943 | 1. Teom g/h on this tab should have neg values set to 0, and missing minutes interpolated, per the BNL SOP
9:41 | 0.83276 | 0.83276 | [5 empty] | and should use actual tunnel flow for conversion from ug/m3 to g/h
9:42 | 0.59665 | 0.59665 | [5 empty] | 2. The BNL SOP says Teom PM should be at local t/p or at conditions used for reporting filter pull data and tunnel flows [??]
9:43 | 0.53949 | 0.53949
9:44 | 0.61441 | 0.61441
9:45 | 0.47561 | 0.47561 |  | QC checks: |  | result:
9:46 | 0.43691 | 0.43691 |  | min g/h: | 0 | should be zero, not negative
9:47 | 0.41476 | 0.41476 |  | Count: | 420
9:48 | 0.90869 | 0.90869 |  | # test min: | 420
9:49 | 3.4192 | 3.4192 |  | Diff: | 0 | should be 0
9:50 | 7.4692 | 7.4692
9:51 | 5.6443 | 5.6443
9:52 | 1.5017 | 1.5017
9:53 | 1.6309 | 1.6309
9:54 | 1.198 | 1.198
9:55 | 0.30745 | 0.30745
9:56 | 0 | 0
9:57 | 0 | 0
9:58 | 0 | 0
9:59 | 0 | 0
10:00 | 0 | 0
10:01 | 0 | 0
10:02 | 0 | 0
10:03 | 0.095446 | 0.095446
10:04 | 0 | 0
10:05 | 0 | 0
10:06 | 0 | 0
10:07 | 0 | 0
10:08 | 0.31697 | 0.31697
10:09 | 0 | 0
10:10 | 0 | 0
10:11 | 0.18269 | 0.18269
10:12 | 0.20237 | 0.20237
10:13 | 0.14488 | 0.14488
10:14 | 0.19369 | 0.19369
10:15 | 0.13418 | 0.13418
10:16 | 0.14109 | 0.14109
10:17 | 0.18759 | 0.18759
10:18 | 0.37217 | 0.37217
10:19 | 0.2252 | 0.2252
10:20 | 0.098452 | 0.098452
10:21 | 0.11735 | 0.11735
10:22 | 0.078972 | 0.078972
10:23 | 0.034368 | 0.034368
10:24 | 0.17829 | 0.17829
10:25 | 0.14916 | 0.14916
10:26 | 0.052319 | 0.052319
10:27 | 0.053876 | 0.053876
10:28 | 0.33222 | 0.33222
10:29 | 0.22036 | 0.22036
10:30 | 0.032201 | 0.032201
10:31 | 0.097254 | 0.097254
10:32 | 0.093235 | 0.093235
10:33 | 0.050284 | 0.050284
10:34 | 0.21515 | 0.21515
10:35 | 0.060261 | 0.060261
10:36 | 0.58935 | 0.58935
10:37 | 0.50808 | 0.50808
10:38 | 0.5477 | 0.5477
10:39 | 0.4988 | 0.4988
10:40 | 0.38173 | 0.38173
10:41 | 0.62658 | 0.62658
10:42 | 0.51375 | 0.51375
10:43 | 0.42973 | 0.42973
10:44 | 0.46703 | 0.46703
10:45 | 0.23025 | 0.23025
10:46 | 0.26183 | 0.26183
10:47 | 0.52904 | 0.52904
10:48 | 0.3338 | 0.3338
10:49 | 0.32119 | 0.32119
10:50 | 0.61139 | 0.61139
10:51 | 0.32804 | 0.32804
10:52 | 0.36862 | 0.36862
10:53 | 0.40544 | 0.40544
10:54 | 0.33749 | 0.33749
10:55 | 0.16417 | 0.16417
10:56 | 0.32737 | 0.32737
10:57 | 0.10549 | 0.10549
10:58 | 0.50569 | 0.50569
10:59 | 0.27602 | 0.27602
11:00 | 0.53741 | 0.53741
11:01 | 0.20966 | 0.20966
11:02 | 0.23768 | 0.23768
11:03 | 0.08247 | 0.08247
11:04 | 0.28034 | 0.28034
11:05 | 0.35298 | 0.35298
11:06 | 0 | 0
11:07 | 0.18835 | 0.18835
11:08 | 0.39359 | 0.39359
11:09 | 0.21762 | 0.21762
11:10 | 0.25046 | 0.25046
11:11 | 0.3322 | 0.3322
11:12 | 0.33095 | 0.33095
11:13 | 0.43545 | 0.43545
11:14 | 0.27105 | 0.27105
11:15 | 0.389 | 0.389
11:16 | 0.2901 | 0.2901
11:17 | 0.20035 | 0.20035
11:18 | 0.34879 | 0.34879
11:19 | 0.17539 | 0.17539
11:20 | 0.15099 | 0.15099
11:21 | 0.34171 | 0.34171
11:22 | 0.017796 | 0.017796
11:23 | 0.26608 | 0.26608
11:24 | 0.13982 | 0.13982
11:25 | 0.24579 | 0.24579
11:26 | 0.12216 | 0.12216
11:27 | 0.13747 | 0.13747
11:28 | 0.21726 | 0.21726
11:29 | 0.15428 | 0.15428
11:30 | 0 | 0
11:31 | 0.076661 | 0.076661
11:32 | 0.4146 | 0.4146
11:33 | 0.32669 | 0.32669
11:34 | 0.24202 | 0.24202
11:35 | 0.18718 | 0.18718
11:36 | 0.28787 | 0.28787
11:37 | 0.17329 | 0.17329
11:38 | 0.17124 | 0.17124
11:39 | 0.3177 | 0.3177
11:40 | 0.16776 | 0.16776
11:41 | 0.078392 | 0.078392
11:42 | 0.032944 | 0.032944
11:43 | 0.037389 | 0.037389
11:44 | 0 | 0
11:45 | 0 | 0
11:46 | 0 | 0
11:47 | 0.11471 | 0.11471
11:48 | 0.26481 | 0.26481
11:49 | 0.35973 | 0.35973
11:50 | 0.45619 | 0.45619
11:51 | 0.19972 | 0.19972
11:52 | 0.24693 | 0.24693
11:53 | 0.64415 | 0.64415
11:54 | 0.40829 | 0.40829
11:55 | 0.45178 | 0.45178
11:56 | 0.22037 | 0.22037
11:57 | 0.4375 | 0.4375
11:58 | 0.17917 | 0.17917
11:59 | 0.61337 | 0.61337
12:00 | 0.44094 | 0.44094
12:01 | 3.2922 | 3.2922
12:02 | 2.2052 | 2.2052
12:03 | 0.30889 | 0.30889
12:04 | 1.5532 | 1.5532
12:05 | 0.21858 | 0.21858
12:06 | 0.39019 | 0.39019
12:07 | 4.1579 | 4.1579
12:08 | 2.3862 | 2.3862
12:09 | 2.6608 | 2.6608
12:10 | 0.39666 | 0.39666
12:11 | 0 | 0
12:12 | 0 | 0
12:13 | 0 | 0
12:14 | 0 | 0
12:15 | 0 | 0
12:16 | 0.045568 | 0.045568
12:17 | 0 | 0
12:18 | 0.30457 | 0.30457
12:19 | 0.71802 | 0.71802
12:20 | 0.039104 | 0.039104
12:21 | 0 | 0
12:22 | 0.078511 | 0.078511
12:23 | 0.039649 | 0.039649
12:24 | 1.0227 | 1.0227
12:25 | 3.8303 | 3.8303
12:26 | 3.5816 | 3.5816
12:27 | 1.2617 | 1.2617
12:28 | 2.946 | 2.946
12:29 | 0.68477 | 0.68477
12:30 | 0.12605 | 0.12605
12:31 | 0.08172 | 0.08172
12:32 | 0.05791 | 0.05791
12:33 | 0.088566 | 0.088566
12:34 | 0.015445 | 0.015445
12:35 | 0.0052097 | 0.0052097
12:36 | 0.44934 | 0.44934
12:37 | 0.66782 | 0.66782
12:38 | 2.0635 | 2.0635
12:39 | 0.33231 | 0.33231
12:40 | 0.04934 | 0.04934
12:41 | 0 | 0
12:42 | 0 | 0
12:43 | 0 | 0
12:44 | 0 | 0
12:45 | 0 | 0
12:46 | 0.049358 | 0.049358
12:47 | 0.055281 | 0.055281
12:48 | 0 | 0
12:49 | 0 | 0
12:50 | 0.083532 | 0.083532
12:51 | 2.0617 | 2.0617
12:52 | 0.23043 | 0.23043
12:53 | 0.062233 | 0.062233
12:54 | 0.0017817 | 0.0017817
12:55 | 0.034214 | 0.034214
12:56 | 0.014946 | 0.014946
12:57 | 0.026655 | 0.026655
12:58 | 0.066645 | 0.066645
12:59 | 0.013476 | 0.013476
13:00 | 0 | 0
13:01 | 0.049156 | 0.049156
13:02 | 0 | 0
13:03 | 0.063451 | 0.063451
13:04 | 0.14559 | 0.14559
13:05 | 0.94449 | 0.94449
13:06 | 0.031749 | 0.031749
13:07 | 0 | 0
13:08 | 0 | 0
13:09 | 0 | 0
13:10 | 0.042089 | 0.042089
13:11 | 0.36303 | 0.36303
13:12 | 0.15184 | 0.15184
13:13 | 0.13573 | 0.13573
13:14 | 0 | 0
13:15 | 0.059806 | 0.059806
13:16 | 0.056906 | 0.056906
13:17 | 0.027809 | 0.027809
13:18 | 0.14571 | 0.14571
13:19 | 0.10115 | 0.10115
13:20 | 0 | 0
13:21 | 0 | 0
13:22 | 0 | 0
13:23 | 0.025994 | 0.025994
13:24 | 0.058649 | 0.058649
13:25 | 0.079506 | 0.079506
13:26 | 0.0091475 | 0.0091475
13:27 | 0.012475 | 0.012475
13:28 | 0.024638 | 0.024638
13:29 | 0.0005462 | 0.0005462
13:30 | 0.20217 | 0.20217
13:31 | 0 | 0
13:32 | 0 | 0
13:33 | 0 | 0
13:34 | 0.03023 | 0.03023
13:35 | 0.064808 | 0.064808
13:36 | 0 | 0
13:37 | 0 | 0
13:38 | 0 | 0
13:39 | 0.10428 | 0.10428
13:40 | 0.27215 | 0.27215
13:41 | 0.1245 | 0.1245
13:42 | 0.011819 | 0.011819
13:43 | 0 | 0
13:44 | 0 | 0
13:45 | 0.10037 | 0.10037
13:46 | 0.22878 | 0.22878
13:47 | 0.03286 | 0.03286
13:48 | 0.41121 | 0.41121
13:49 | 0.20321 | 0.20321
13:50 | 0.93117 | 0.93117
13:51 | 0.68411 | 0.68411
13:52 | 0.48797 | 0.48797
13:53 | 0.61517 | 0.61517
13:54 | 0.92095 | 0.92095
13:55 | 0.75975 | 0.75975
13:56 | 0.58964 | 0.58964
13:57 | 0.50053 | 0.50053
13:58 | 0.27559 | 0.27559
13:59 | 0.6663 | 0.6663
14:00 | 0.4399 | 0.4399
14:01 | 0.31474 | 0.31474
14:02 | 0.55415 | 0.55415
14:03 | 2.8374 | 2.8374
14:04 | 1.4633 | 1.4633
14:05 | 1.0662 | 1.0662
14:06 | 0.51315 | 0.51315
14:07 | 0.25147 | 0.25147
14:08 | 0 | 0
14:09 | 0.13095 | 0.13095
14:10 | 0.33991 | 0.33991
14:11 | 0.4225 | 0.4225
14:12 | 0 | 0
14:13 | 0 | 0
14:14 | 0.096735 | 0.096735
14:15 | 0.1323 | 0.1323
14:16 | 0.16779 | 0.16779
14:17 | 0.28539 | 0.28539
14:18 | 0.33765 | 0.33765
14:19 | 0.71807 | 0.71807
14:20 | 0.58678 | 0.58678
14:21 | 0.54204 | 0.54204
14:22 | 0.37808 | 0.37808
14:23 | 0.86456 | 0.86456
14:24 | 0.75659 | 0.75659
14:25 | 1.481 | 1.481
14:26 | 0.42394 | 0.42394
14:27 | 0.24553 | 0.24553
14:28 | 0.39172 | 0.39172
14:29 | 0.010691 | 0.010691
14:30 | 0 | 0
14:31 | 0.22808 | 0.22808
14:32 | 0.15192 | 0.15192
14:33 | 0.238 | 0.238
14:34 | 0.14296 | 0.14296
14:35 | 0.078646 | 0.078646
14:36 | 0.014633 | 0.014633
14:37 | 0.1254 | 0.1254
14:38 | 0.1264 | 0.1264
14:39 | 0.048043 | 0.048043
14:40 | 0 | 0
14:41 | 0 | 0
14:42 | 0.10007 | 0.10007
14:43 | 0.10262 | 0.10262
14:44 | 0.29683 | 0.29683
14:45 | 0.67349 | 0.67349
14:46 | 0.85136 | 0.85136
14:47 | 0.364 | 0.364
14:48 | 0.56489 | 0.56489
14:49 | 0.9202 | 0.9202
14:50 | 0.80109 | 0.80109
14:51 | 0.0031829 | 0.0031829
14:52 | 0 | 0
14:53 | 0.040408 | 0.040408
14:54 | 1.2736 | 1.2736
14:55 | 0.79203 | 0.79203
14:56 | 0.3354 | 0.3354
14:57 | 0.18296 | 0.18296
14:58 | 0.013352 | 0.013352
14:59 | 0.036859 | 0.036859
15:00 | 0 | 0
15:01 | 0.0070818 | 0.0070818
15:02 | 0.096094 | 0.096094
15:03 | 0.011276 | 0.011276
15:04 | 1.0644 | 1.0644
15:05 | 0.7222 | 0.7222
15:06 | 0.22288 | 0.22288
15:07 | 0.17545 | 0.17545
15:08 | 0.11696 | 0.11696
15:09 | 0.17869 | 0.17869
15:10 | 0.27814 | 0.27814
15:11 | 0.10848 | 0.10848
15:12 | 0 | 0
15:13 | 0 | 0
15:14 | 0.16775 | 0.16775
15:15 | 0.10327 | 0.10327
15:16 | 0.082826 | 0.082826
15:17 | 0.054914 | 0.054914
15:18 | 0.42895 | 0.42895
15:19 | 0.2383 | 0.2383
15:20 | 0.33765 | 0.33765
15:21 | 0.50426 | 0.50426
15:22 | 0.40909 | 0.40909
15:23 | 0.079074 | 0.079074
15:24 | 0.014391 | 0.014391
15:25 | 0 | 0
15:26 | 0.13584 | 0.13584
15:27 | 0.27706 | 0.27706
15:28 | 0 | 0
15:29 | 0 | 0
15:30 | 0.066495 | 0.066495
15:31 | 0.23536 | 0.23536
15:32 | 0.30734 | 0.30734
15:33 | 0.25815 | 0.25815
15:34 | 0.10408 | 0.10408
15:35 | 0.20294 | 0.20294
15:36 | 0.20544 | 0.20544
15:37 | 0.22669 | 0.22669
15:38 | 0.15596 | 0.15596
15:39 | 0 | 0
15:40 | 0.21623 | 0.21623
15:41 | 0.20018 | 0.20018
15:42 | 0.023644 | 0.023644
15:43 | 0.074081 | 0.074081
15:44 | 0.052923 | 0.052923
15:45 | 0 | 0
15:46 | 0.22539 | 0.22539
15:47 | 0.34049 | 0.34049
15:48 | 0.12034 | 0.12034
15:49 | 0.012813 | 0.012813
15:50 | 0.061471 | 0.061471
15:51 | 0.14811 | 0.14811
15:52 | 0.32612 | 0.32612
15:53 | 0.26765 | 0.26765
15:54 | 0.34177 | 0.34177
15:55 | 1.0573 | 1.0573
15:56 | 0.047165 | 0.047165
15:57 | 0.31234 | 0.31234
15:58 | 0.14855 | 0.14855
15:59 | 0.3763 | 0.3763
16:00 | 0 | 0
16:01 | 0.17422 | 0.17422
16:02 | 0.39075 | 0.39075
16:03 | 0.041527 | 0.041527
16:04 | 0.038299 | 0.038299
16:05 | 0.11682 | 0.11682
16:06 | 0.16078 | 0.16078
16:07 | 0.28284 | 0.28284
16:08 | 0.31742 | 0.31742
16:09 | 0.23309 | 0.23309
16:10 | 0.11047 | 0.11047
16:11 | 0.23992 | 0.23992
16:12 | 1.2276 | 1.2276
16:13 | 0.88529 | 0.88529
16:14 | 0.35011 | 0.35011
16:15 | 0.43827 | 0.43827
16:16 | 0.17849 | 0.17849
16:17 | 0 | 0
16:18 | 0.13273 | 0.13273
16:19 | 0.04893 | 0.04893
16:20 | 0.1057 | 0.1057
16:21 | 0 | 0
16:22 | 0 | 0
16:23 | 0 | 0
16:24 | 0 | 0
16:25 | 0.2251 | 0.2251
16:26 | 0.61209 | 0.61209
16:27 | 0.12742 | 0.12742
16:28 | 0.027644 | 0.027644
16:29 | 0.036042 | 0.036042
16:30 | 0.049363 | 0.049363
16:31 | 0.027749 | 0.027749
16:32 | 0.25883 | 0.25883
16:33 | 0.41144 | 0.41144
16:34 | 0.49003 | 0.49003
16:35 | 0.67865 | 0.67865
16:36 | 0.27974 | 0.27974
16:37 | 0.097425 | 0.097425
16:38 | 0.13046 | 0.13046
16:39 | 0.17984 | 0.17984
Note on B2: enter 1-m g/h data for full run in col a&b

## 1-min gph by phase
Phase 1 |  | Phase 2 |  | Phase 3 |  | Phase 4 |  | Phase 5 |  | Phase 6 |  | Phase 7 |  | Phase 8 |  | Phase 9 |  | Phase 10
avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM
0.54702 | 0.5379 | 0.28399 | 0.27925 | 0.39204 | 0.77755 | 0.29506 | 0.88026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h
9:40 | 0.62697 | 10:40 | 0.38173 | 11:40 | 0.16776 | 13:40 | 0.27215 | 0:00 | 0 | 0:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9:41 | 0.83276 | 10:41 | 0.62658 | 11:41 | 0.078392 | 13:41 | 0.1245
9:42 | 0.59665 | 10:42 | 0.51375 | 11:42 | 0.032944 | 13:42 | 0.011819
9:43 | 0.53949 | 10:43 | 0.42973 | 11:43 | 0.037389 | 13:43 | 0
9:44 | 0.61441 | 10:44 | 0.46703 | 11:44 | 0 | 13:44 | 0
9:45 | 0.47561 | 10:45 | 0.23025 | 11:45 | 0 | 13:45 | 0.10037
9:46 | 0.43691 | 10:46 | 0.26183 | 11:46 | 0 | 13:46 | 0.22878
9:47 | 0.41476 | 10:47 | 0.52904 | 11:47 | 0.11471 | 13:47 | 0.03286
9:48 | 0.90869 | 10:48 | 0.3338 | 11:48 | 0.26481 | 13:48 | 0.41121
9:49 | 3.4192 | 10:49 | 0.32119 | 11:49 | 0.35973 | 13:49 | 0.20321
9:50 | 7.4692 | 10:50 | 0.61139 | 11:50 | 0.45619 | 13:50 | 0.93117
9:51 | 5.6443 | 10:51 | 0.32804 | 11:51 | 0.19972 | 13:51 | 0.68411
9:52 | 1.5017 | 10:52 | 0.36862 | 11:52 | 0.24693 | 13:52 | 0.48797
9:53 | 1.6309 | 10:53 | 0.40544 | 11:53 | 0.64415 | 13:53 | 0.61517
9:54 | 1.198 | 10:54 | 0.33749 | 11:54 | 0.40829 | 13:54 | 0.92095
9:55 | 0.30745 | 10:55 | 0.16417 | 11:55 | 0.45178 | 13:55 | 0.75975
9:56 | 0 | 10:56 | 0.32737 | 11:56 | 0.22037 | 13:56 | 0.58964
9:57 | 0 | 10:57 | 0.10549 | 11:57 | 0.4375 | 13:57 | 0.50053
9:58 | 0 | 10:58 | 0.50569 | 11:58 | 0.17917 | 13:58 | 0.27559
9:59 | 0 | 10:59 | 0.27602 | 11:59 | 0.61337 | 13:59 | 0.6663
10:00 | 0 | 11:00 | 0.53741 | 12:00 | 0.44094 | 14:00 | 0.4399
10:01 | 0 | 11:01 | 0.20966 | 12:01 | 3.2922 | 14:01 | 0.31474
10:02 | 0 | 11:02 | 0.23768 | 12:02 | 2.2052 | 14:02 | 0.55415
10:03 | 0.095446 | 11:03 | 0.08247 | 12:03 | 0.30889 | 14:03 | 2.8374
10:04 | 0 | 11:04 | 0.28034 | 12:04 | 1.5532 | 14:04 | 1.4633
10:05 | 0 | 11:05 | 0.35298 | 12:05 | 0.21858 | 14:05 | 1.0662
10:06 | 0 | 11:06 | 0 | 12:06 | 0.39019 | 14:06 | 0.51315
10:07 | 0 | 11:07 | 0.18835 | 12:07 | 4.1579 | 14:07 | 0.25147
10:08 | 0.31697 | 11:08 | 0.39359 | 12:08 | 2.3862 | 14:08 | 0
10:09 | 0 | 11:09 | 0.21762 | 12:09 | 2.6608 | 14:09 | 0.13095
10:10 | 0 | 11:10 | 0.25046 | 12:10 | 0.39666 | 14:10 | 0.33991
10:11 | 0.18269 | 11:11 | 0.3322 | 12:11 | 0 | 14:11 | 0.4225
10:12 | 0.20237 | 11:12 | 0.33095 | 12:12 | 0 | 14:12 | 0
10:13 | 0.14488 | 11:13 | 0.43545 | 12:13 | 0 | 14:13 | 0
10:14 | 0.19369 | 11:14 | 0.27105 | 12:14 | 0 | 14:14 | 0.096735
10:15 | 0.13418 | 11:15 | 0.389 | 12:15 | 0 | 14:15 | 0.1323
10:16 | 0.14109 | 11:16 | 0.2901 | 12:16 | 0.045568 | 14:16 | 0.16779
10:17 | 0.18759 | 11:17 | 0.20035 | 12:17 | 0 | 14:17 | 0.28539
10:18 | 0.37217 | 11:18 | 0.34879 | 12:18 | 0.30457 | 14:18 | 0.33765
10:19 | 0.2252 | 11:19 | 0.17539 | 12:19 | 0.71802 | 14:19 | 0.71807
10:20 | 0.098452 | 11:20 | 0.15099 | 12:20 | 0.039104 | 14:20 | 0.58678
10:21 | 0.11735 | 11:21 | 0.34171 | 12:21 | 0 | 14:21 | 0.54204
10:22 | 0.078972 | 11:22 | 0.017796 | 12:22 | 0.078511 | 14:22 | 0.37808
10:23 | 0.034368 | 11:23 | 0.26608 | 12:23 | 0.039649 | 14:23 | 0.86456
10:24 | 0.17829 | 11:24 | 0.13982 | 12:24 | 1.0227 | 14:24 | 0.75659
10:25 | 0.14916 | 11:25 | 0.24579 | 12:25 | 3.8303 | 14:25 | 1.481
10:26 | 0.052319 | 11:26 | 0.12216 | 12:26 | 3.5816 | 14:26 | 0.42394
10:27 | 0.053876 | 11:27 | 0.13747 | 12:27 | 1.2617 | 14:27 | 0.24553
10:28 | 0.33222 | 11:28 | 0.21726 | 12:28 | 2.946 | 14:28 | 0.39172
10:29 | 0.22036 | 11:29 | 0.15428 | 12:29 | 0.68477 | 14:29 | 0.010691
10:30 | 0.032201 | 11:30 | 0 | 12:30 | 0.12605 | 14:30 | 0
10:31 | 0.097254 | 11:31 | 0.076661 | 12:31 | 0.08172 | 14:31 | 0.22808
10:32 | 0.093235 | 11:32 | 0.4146 | 12:32 | 0.05791 | 14:32 | 0.15192
10:33 | 0.050284 | 11:33 | 0.32669 | 12:33 | 0.088566 | 14:33 | 0.238
10:34 | 0.21515 | 11:34 | 0.24202 | 12:34 | 0.015445 | 14:34 | 0.14296
10:35 | 0.060261 | 11:35 | 0.18718 | 12:35 | 0.0052097 | 14:35 | 0.078646
10:36 | 0.58935 | 11:36 | 0.28787 | 12:36 | 0.44934 | 14:36 | 0.014633
10:37 | 0.50808 | 11:37 | 0.17329 | 12:37 | 0.66782 | 14:37 | 0.1254
10:38 | 0.5477 | 11:38 | 0.17124 | 12:38 | 2.0635 | 14:38 | 0.1264
10:39 | 0.4988 | 11:39 | 0.3177 | 12:39 | 0.33231 | 14:39 | 0.048043
|  |  |  | 12:40 | 0.04934 | 14:40 | 0
|  |  |  | 12:41 | 0 | 14:41 | 0
|  |  |  | 12:42 | 0 | 14:42 | 0.10007
|  |  |  | 12:43 | 0 | 14:43 | 0.10262
|  |  |  | 12:44 | 0 | 14:44 | 0.29683
|  |  |  | 12:45 | 0 | 14:45 | 0.67349
|  |  |  | 12:46 | 0.049358 | 14:46 | 0.85136
|  |  |  | 12:47 | 0.055281 | 14:47 | 0.364
|  |  |  | 12:48 | 0 | 14:48 | 0.56489
|  |  |  | 12:49 | 0 | 14:49 | 0.9202
|  |  |  | 12:50 | 0.083532 | 14:50 | 0.80109
|  |  |  | 12:51 | 2.0617 | 14:51 | 0.0031829
|  |  |  | 12:52 | 0.23043 | 14:52 | 0
|  |  |  | 12:53 | 0.062233 | 14:53 | 0.040408
|  |  |  | 12:54 | 0.0017817 | 14:54 | 1.2736
|  |  |  | 12:55 | 0.034214 | 14:55 | 0.79203
|  |  |  | 12:56 | 0.014946 | 14:56 | 0.3354
|  |  |  | 12:57 | 0.026655 | 14:57 | 0.18296
|  |  |  | 12:58 | 0.066645 | 14:58 | 0.013352
|  |  |  | 12:59 | 0.013476 | 14:59 | 0.036859
|  |  |  | 13:00 | 0 | 15:00 | 0
|  |  |  | 13:01 | 0.049156 | 15:01 | 0.0070818
|  |  |  | 13:02 | 0 | 15:02 | 0.096094
|  |  |  | 13:03 | 0.063451 | 15:03 | 0.011276
|  |  |  | 13:04 | 0.14559 | 15:04 | 1.0644
|  |  |  | 13:05 | 0.94449 | 15:05 | 0.7222
|  |  |  | 13:06 | 0.031749 | 15:06 | 0.22288
|  |  |  | 13:07 | 0 | 15:07 | 0.17545
|  |  |  | 13:08 | 0 | 15:08 | 0.11696
|  |  |  | 13:09 | 0 | 15:09 | 0.17869
|  |  |  | 13:10 | 0.042089 | 15:10 | 0.27814
|  |  |  | 13:11 | 0.36303 | 15:11 | 0.10848
|  |  |  | 13:12 | 0.15184 | 15:12 | 0
|  |  |  | 13:13 | 0.13573 | 15:13 | 0
|  |  |  | 13:14 | 0 | 15:14 | 0.16775
|  |  |  | 13:15 | 0.059806 | 15:15 | 0.10327
|  |  |  | 13:16 | 0.056906 | 15:16 | 0.082826
|  |  |  | 13:17 | 0.027809 | 15:17 | 0.054914
|  |  |  | 13:18 | 0.14571 | 15:18 | 0.42895
|  |  |  | 13:19 | 0.10115 | 15:19 | 0.2383
|  |  |  | 13:20 | 0 | 15:20 | 0.33765
|  |  |  | 13:21 | 0 | 15:21 | 0.50426
|  |  |  | 13:22 | 0 | 15:22 | 0.40909
|  |  |  | 13:23 | 0.025994 | 15:23 | 0.079074
|  |  |  | 13:24 | 0.058649 | 15:24 | 0.014391
|  |  |  | 13:25 | 0.079506 | 15:25 | 0
|  |  |  | 13:26 | 0.0091475 | 15:26 | 0.13584
|  |  |  | 13:27 | 0.012475 | 15:27 | 0.27706
|  |  |  | 13:28 | 0.024638 | 15:28 | 0
|  |  |  | 13:29 | 0.0005462 | 15:29 | 0
|  |  |  | 13:30 | 0.20217 | 15:30 | 0.066495
|  |  |  | 13:31 | 0 | 15:31 | 0.23536
|  |  |  | 13:32 | 0 | 15:32 | 0.30734
|  |  |  | 13:33 | 0 | 15:33 | 0.25815
|  |  |  | 13:34 | 0.03023 | 15:34 | 0.10408
|  |  |  | 13:35 | 0.064808 | 15:35 | 0.20294
|  |  |  | 13:36 | 0 | 15:36 | 0.20544
|  |  |  | 13:37 | 0 | 15:37 | 0.22669
|  |  |  | 13:38 | 0 | 15:38 | 0.15596
|  |  |  | 13:39 | 0.10428 | 15:39 | 0
[6 empty] | 15:40 | 0.21623
[6 empty] | 15:41 | 0.20018
[6 empty] | 15:42 | 0.023644
[6 empty] | 15:43 | 0.074081
[6 empty] | 15:44 | 0.052923
[6 empty] | 15:45 | 0
[6 empty] | 15:46 | 0.22539
[6 empty] | 15:47 | 0.34049
[6 empty] | 15:48 | 0.12034
[6 empty] | 15:49 | 0.012813
[6 empty] | 15:50 | 0.061471
[6 empty] | 15:51 | 0.14811
[6 empty] | 15:52 | 0.32612
[6 empty] | 15:53 | 0.26765
[6 empty] | 15:54 | 0.34177
[6 empty] | 15:55 | 1.0573
[6 empty] | 15:56 | 0.047165
[6 empty] | 15:57 | 0.31234
[6 empty] | 15:58 | 0.14855
[6 empty] | 15:59 | 0.3763
[6 empty] | 16:00 | 0
[6 empty] | 16:01 | 0.17422
[6 empty] | 16:02 | 0.39075
[6 empty] | 16:03 | 0.041527
[6 empty] | 16:04 | 0.038299
[6 empty] | 16:05 | 0.11682
[6 empty] | 16:06 | 0.16078
[6 empty] | 16:07 | 0.28284
[6 empty] | 16:08 | 0.31742
[6 empty] | 16:09 | 0.23309
[6 empty] | 16:10 | 0.11047
[6 empty] | 16:11 | 0.23992
[6 empty] | 16:12 | 1.2276
[6 empty] | 16:13 | 0.88529
[6 empty] | 16:14 | 0.35011
[6 empty] | 16:15 | 0.43827
[6 empty] | 16:16 | 0.17849
[6 empty] | 16:17 | 0
[6 empty] | 16:18 | 0.13273
[6 empty] | 16:19 | 0.04893
[6 empty] | 16:20 | 0.1057
[6 empty] | 16:21 | 0
[6 empty] | 16:22 | 0
[6 empty] | 16:23 | 0
[6 empty] | 16:24 | 0
[6 empty] | 16:25 | 0.2251
[6 empty] | 16:26 | 0.61209
[6 empty] | 16:27 | 0.12742
[6 empty] | 16:28 | 0.027644
[6 empty] | 16:29 | 0.036042
[6 empty] | 16:30 | 0.049363
[6 empty] | 16:31 | 0.027749
[6 empty] | 16:32 | 0.25883
[6 empty] | 16:33 | 0.41144
[6 empty] | 16:34 | 0.49003
[6 empty] | 16:35 | 0.67865
[6 empty] | 16:36 | 0.27974
[6 empty] | 16:37 | 0.097425
[6 empty] | 16:38 | 0.13046
[6 empty] | 16:39 | 0.17984
Note on B6: enter 1-m g/h data for full run in col a&b

## results table
| Teom | Teom | % PM | FP equiv | FP equiv | full run g/h from filter pull:
| g/h | PM, g | of Total | g/h | PM, g
Phase 1 | 0.54702 | 0.5379 | 21.7337 | #DIV/0! | #DIV/0!
Phase 2 | 0.28399 | 0.27925 | 11.2831 | #DIV/0! | #DIV/0!
Phase 3 | 0.39204 | 0.77755 | 31.4166 | #DIV/0! | #DIV/0!
Phase 4 | 0.29506 | 0.88026 | 35.5666 | #DIV/0! | #DIV/0! | Ratio of Teom to filterpull full run g/h:
Phase 5 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0!
sum: |  | 2.475 | 100 |  | #DIV/0!
Note: delete unused phases above since they show up as 0.
Note on K2: enter full run fp gph in k2