## 1-min gph
time | g/h | g/hr neg=0 | 2020-01-09 | full run Teom g/h avg: |  |  | full run Teom grams PM | Notes:
9:05 | 0.11468 | 0.11468 | Pre ESP 3 |  | 0.72574 |  | 5.0681 | 1. Teom g/h on this tab should have neg values set to 0, and missing minutes interpolated, per the BNL SOP
9:06 | 0.31389 | 0.31389 | [5 empty] | and should use actual tunnel flow for conversion from ug/m3 to g/h
9:07 | 0.23992 | 0.23992 | [5 empty] | 2. The BNL SOP says Teom PM should be at local t/p or at conditions used for reporting filter pull data and tunnel flows [??]
9:08 | 0.33765 | 0.33765
9:09 | 0.28827 | 0.28827
9:10 | 0.39693 | 0.39693 |  | QC checks: |  | result:
9:11 | 0.52038 | 0.52038 |  | min g/h: | 0 | should be zero, not negative
9:12 | 0.3624 | 0.3624 |  | Count: | 420
9:13 | 0.5191 | 0.5191 |  | # test min: | 420
9:14 | 0.38356 | 0.38356 |  | Diff: | 0 | should be 0
9:15 | 0.49426 | 0.49426
9:16 | 0.41221 | 0.41221
9:17 | 5.8939 | 5.8939
9:18 | 9.3487 | 9.3487
9:19 | 2.1445 | 2.1445
9:20 | 1.7051 | 1.7051
9:21 | 0 | 0
9:22 | 0 | 0
9:23 | 1.0772 | 1.0772
9:24 | 1.428 | 1.428
9:25 | 1.5983 | 1.5983
9:26 | 1.1871 | 1.1871
9:27 | 1.0815 | 1.0815
9:28 | 1.5393 | 1.5393
9:29 | 1.4125 | 1.4125
9:30 | 1.5171 | 1.5171
9:31 | 1.2607 | 1.2607
9:32 | 1.1208 | 1.1208
9:33 | 1.2281 | 1.2281
9:34 | 1.0659 | 1.0659
9:35 | 1.2415 | 1.2415
9:36 | 1.23 | 1.23
9:37 | 1.1193 | 1.1193
9:38 | 1.0457 | 1.0457
9:39 | 1.2171 | 1.2171
9:40 | 1.1534 | 1.1534
9:41 | 1.2093 | 1.2093
9:42 | 1.0362 | 1.0362
9:43 | 0.99212 | 0.99212
9:44 | 1.2315 | 1.2315
9:45 | 1.2699 | 1.2699
9:46 | 0.99512 | 0.99512
9:47 | 1.0297 | 1.0297
9:48 | 0.93672 | 0.93672
9:49 | 1.0322 | 1.0322
9:50 | 1.243 | 1.243
9:51 | 1.0831 | 1.0831
9:52 | 1.0474 | 1.0474
9:53 | 1.1935 | 1.1935
9:54 | 0.9346 | 0.9346
9:55 | 1.1037 | 1.1037
9:56 | 0.93221 | 0.93221
9:57 | 1.3141 | 1.3141
9:58 | 0.74425 | 0.74425
9:59 | 0.70122 | 0.70122
10:00 | 0.79204 | 0.79204
10:01 | 0.93563 | 0.93563
10:02 | 0.85807 | 0.85807
10:03 | 1.0663 | 1.0663
10:04 | 1.1314 | 1.1314
10:05 | 1.02 | 1.02
10:06 | 0.78224 | 0.78224
10:07 | 0.98506 | 0.98506
10:08 | 1.1369 | 1.1369
10:09 | 0.90501 | 0.90501
10:10 | 1.0553 | 1.0553
10:11 | 0.98115 | 0.98115
10:12 | 0.72072 | 0.72072
10:13 | 1.0454 | 1.0454
10:14 | 1.0965 | 1.0965
10:15 | 0.91632 | 0.91632
10:16 | 0.71991 | 0.71991
10:17 | 0.94617 | 0.94617
10:18 | 1.1343 | 1.1343
10:19 | 0.49527 | 0.49527
10:20 | 0.60989 | 0.60989
10:21 | 0.67115 | 0.67115
10:22 | 0.93727 | 0.93727
10:23 | 0.80435 | 0.80435
10:24 | 0.80894 | 0.80894
10:25 | 0.93795 | 0.93795
10:26 | 0.79587 | 0.79587
10:27 | 0.80198 | 0.80198
10:28 | 0.89091 | 0.89091
10:29 | 0.80614 | 0.80614
10:30 | 1.0775 | 1.0775
10:31 | 0.70462 | 0.70462
10:32 | 0.74567 | 0.74567
10:33 | 1.0992 | 1.0992
10:34 | 0.72952 | 0.72952
10:35 | 0.94827 | 0.94827
10:36 | 0.78251 | 0.78251
10:37 | 0.90336 | 0.90336
10:38 | 0.788 | 0.788
10:39 | 0.89185 | 0.89185
10:40 | 0.84774 | 0.84774
10:41 | 0.79773 | 0.79773
10:42 | 1.2582 | 1.2582
10:43 | 1.3742 | 1.3742
10:44 | 1.1528 | 1.1528
10:45 | 0.94047 | 0.94047
10:46 | 0.96381 | 0.96381
10:47 | 0.7513 | 0.7513
10:48 | 0.54334 | 0.54334
10:49 | 0.080706 | 0.080706
10:50 | 0.68239 | 0.68239
10:51 | 1.1567 | 1.1567
10:52 | 0.33109 | 0.33109
10:53 | 0.38083 | 0.38083
10:54 | 0.67366 | 0.67366
10:55 | 0.65262 | 0.65262
10:56 | 1.0303 | 1.0303
10:57 | 0.882 | 0.882
10:58 | 0.80572 | 0.80572
10:59 | 0.76986 | 0.76986
11:00 | 0.65898 | 0.65898
11:01 | 0.96632 | 0.96632
11:02 | 1.2449 | 1.2449
11:03 | 1.3613 | 1.3613
11:04 | 1.0873 | 1.0873
11:05 | 0.77092 | 0.77092
11:06 | 0.41819 | 0.41819
11:07 | 0.43017 | 0.43017
11:08 | 0.23544 | 0.23544
11:09 | 0.24653 | 0.24653
11:10 | 0.2803 | 0.2803
11:11 | 0.44965 | 0.44965
11:12 | 0.34558 | 0.34558
11:13 | 0.63519 | 0.63519
11:14 | 0.79689 | 0.79689
11:15 | 0.6813 | 0.6813
11:16 | 0 | 0
11:17 | 0.11385 | 0.11385
11:18 | 0.35831 | 0.35831
11:19 | 0.086086 | 0.086086
11:20 | 0.70954 | 0.70954
11:21 | 0.61262 | 0.61262
11:22 | 0.43922 | 0.43922
11:23 | 0.48457 | 0.48457
11:24 | 0.46705 | 0.46705
11:25 | 0.81158 | 0.81158
11:26 | 0.6488 | 0.6488
11:27 | 0.45805 | 0.45805
11:28 | 0.82389 | 0.82389
11:29 | 0.71915 | 0.71915
11:30 | 0.56666 | 0.56666
11:31 | 0.99721 | 0.99721
11:32 | 0.45789 | 0.45789
11:33 | 0.54528 | 0.54528
11:34 | 0.62256 | 0.62256
11:35 | 0.78177 | 0.78177
11:36 | 0.66618 | 0.66618
11:37 | 1.2869 | 1.2869
11:38 | 1.1991 | 1.1991
11:39 | 0.96997 | 0.96997
11:40 | 0.56421 | 0.56421
11:41 | 0.68123 | 0.68123
11:42 | 0.86422 | 0.86422
11:43 | 0.66912 | 0.66912
11:44 | 0.70618 | 0.70618
11:45 | 0.72495 | 0.72495
11:46 | 0.774 | 0.774
11:47 | 0.50666 | 0.50666
11:48 | 0.41627 | 0.41627
11:49 | 0.35379 | 0.35379
11:50 | 0.53507 | 0.53507
11:51 | 0.63674 | 0.63674
11:52 | 0.69706 | 0.69706
11:53 | 0.61562 | 0.61562
11:54 | 0.84176 | 0.84176
11:55 | 0.67994 | 0.67994
11:56 | 0.53697 | 0.53697
11:57 | 0.73476 | 0.73476
11:58 | 0.854 | 0.854
11:59 | 0.63686 | 0.63686
12:00 | 0.5912 | 0.5912
12:01 | 0.9787 | 0.9787
12:02 | 0.75795 | 0.75795
12:03 | 0.43688 | 0.43688
12:04 | 0.5937 | 0.5937
12:05 | 0.59144 | 0.59144
12:06 | 0.42856 | 0.42856
12:07 | 0.52246 | 0.52246
12:08 | 0.5812 | 0.5812
12:09 | 0.62827 | 0.62827
12:10 | 0.44124 | 0.44124
12:11 | 0.60398 | 0.60398
12:12 | 0.49623 | 0.49623
12:13 | 0.56792 | 0.56792
12:14 | 0.66016 | 0.66016
12:15 | 0.6948 | 0.6948
12:16 | 0.78814 | 0.78814
12:17 | 0.57603 | 0.57603
12:18 | 0.69532 | 0.69532
12:19 | 0.51589 | 0.51589
12:20 | 0.72256 | 0.72256
12:21 | 0.79742 | 0.79742
12:22 | 0.7117 | 0.7117
12:23 | 0.40092 | 0.40092
12:24 | 0.52256 | 0.52256
12:25 | 0.40031 | 0.40031
12:26 | 0.60673 | 0.60673
12:27 | 0.52808 | 0.52808
12:28 | 0.49029 | 0.49029
12:29 | 0.59567 | 0.59567
12:30 | 0.48765 | 0.48765
12:31 | 0.24636 | 0.24636
12:32 | 0.44525 | 0.44525
12:33 | 0.8232 | 0.8232
12:34 | 0.53908 | 0.53908
12:35 | 0.5093 | 0.5093
12:36 | 0.13903 | 0.13903
12:37 | 0.35189 | 0.35189
12:38 | 0.59371 | 0.59371
12:39 | 0.74886 | 0.74886
12:40 | 0.788 | 0.788
12:41 | 0.5914 | 0.5914
12:42 | 0.58959 | 0.58959
12:43 | 0.49487 | 0.49487
12:44 | 0.52943 | 0.52943
12:45 | 0.49453 | 0.49453
12:46 | 0.56574 | 0.56574
12:47 | 0.7007 | 0.7007
12:48 | 0.60862 | 0.60862
12:49 | 0.51046 | 0.51046
12:50 | 0.58606 | 0.58606
12:51 | 0.59868 | 0.59868
12:52 | 0.68299 | 0.68299
12:53 | 0.42631 | 0.42631
12:54 | 0.51783 | 0.51783
12:55 | 0.5713 | 0.5713
12:56 | 0.73311 | 0.73311
12:57 | 0 | 0
12:58 | 0.36481 | 0.36481
12:59 | 0.33343 | 0.33343
13:00 | 0.53309 | 0.53309
13:01 | 0.51325 | 0.51325
13:02 | 0.59989 | 0.59989
13:03 | 0.54046 | 0.54046
13:04 | 0.53251 | 0.53251
13:05 | 0.5394 | 0.5394
13:06 | 0.63992 | 0.63992
13:07 | 0.81991 | 0.81991
13:08 | 0.58227 | 0.58227
13:09 | 0.60304 | 0.60304
13:10 | 0.48102 | 0.48102
13:11 | 0.5556 | 0.5556
13:12 | 0.45857 | 0.45857
13:13 | 0.39486 | 0.39486
13:14 | 0.42958 | 0.42958
13:15 | 0.48531 | 0.48531
13:16 | 0.63949 | 0.63949
13:17 | 0.29559 | 0.29559
13:18 | 0.50575 | 0.50575
13:19 | 0.80038 | 0.80038
13:20 | 0.48737 | 0.48737
13:21 | 0.77712 | 0.77712
13:22 | 0.80694 | 0.80694
13:23 | 0.68968 | 0.68968
13:24 | 0.45223 | 0.45223
13:25 | 0.53054 | 0.53054
13:26 | 0.44556 | 0.44556
13:27 | 0.44551 | 0.44551
13:28 | 0.61621 | 0.61621
13:29 | 0.59777 | 0.59777
13:30 | 0.66156 | 0.66156
13:31 | 0.87523 | 0.87523
13:32 | 0.56525 | 0.56525
13:33 | 0.59351 | 0.59351
13:34 | 0.89846 | 0.89846
13:35 | 0.49979 | 0.49979
13:36 | 0.49156 | 0.49156
13:37 | 0.71731 | 0.71731
13:38 | 0.58051 | 0.58051
13:39 | 0.80895 | 0.80895
13:40 | 0.99006 | 0.99006
13:41 | 0.50546 | 0.50546
13:42 | 0.49477 | 0.49477
13:43 | 0.95315 | 0.95315
13:44 | 0.53598 | 0.53598
13:45 | 0.60093 | 0.60093
13:46 | 0.76709 | 0.76709
13:47 | 0.79155 | 0.79155
13:48 | 1.116 | 1.116
13:49 | 0.7499 | 0.7499
13:50 | 0.85668 | 0.85668
13:51 | 0.82543 | 0.82543
13:52 | 0.71369 | 0.71369
13:53 | 0.84469 | 0.84469
13:54 | 0.79774 | 0.79774
13:55 | 0.83309 | 0.83309
13:56 | 0.51859 | 0.51859
13:57 | 0.88457 | 0.88457
13:58 | 0.59465 | 0.59465
13:59 | 0.73411 | 0.73411
14:00 | 0.5685 | 0.5685
14:01 | 0.46254 | 0.46254
14:02 | 0.4524 | 0.4524
14:03 | 0.74826 | 0.74826
14:04 | 0.86093 | 0.86093
14:05 | 0.75344 | 0.75344
14:06 | 0.88616 | 0.88616
14:07 | 1.1063 | 1.1063
14:08 | 0.52649 | 0.52649
14:09 | 0.90476 | 0.90476
14:10 | 0.81248 | 0.81248
14:11 | 0.48425 | 0.48425
14:12 | 0.67416 | 0.67416
14:13 | 0.78095 | 0.78095
14:14 | 0.65121 | 0.65121
14:15 | 0.4729 | 0.4729
14:16 | 0.40672 | 0.40672
14:17 | 0.71538 | 0.71538
14:18 | 0.71151 | 0.71151
14:19 | 0.71309 | 0.71309
14:20 | 0.4605 | 0.4605
14:21 | 0.53488 | 0.53488
14:22 | 0.60235 | 0.60235
14:23 | 0.43114 | 0.43114
14:24 | 0.80129 | 0.80129
14:25 | 0.43523 | 0.43523
14:26 | 0.34165 | 0.34165
14:27 | 0.67668 | 0.67668
14:28 | 0.66304 | 0.66304
14:29 | 0.42803 | 0.42803
14:30 | 0.70684 | 0.70684
14:31 | 0.49589 | 0.49589
14:32 | 0.6217 | 0.6217
14:33 | 0.42113 | 0.42113
14:34 | 0.47726 | 0.47726
14:35 | 1.2847 | 1.2847
14:36 | 0.76512 | 0.76512
14:37 | 0.62266 | 0.62266
14:38 | 0.51792 | 0.51792
14:39 | 0.50391 | 0.50391
14:40 | 0.62894 | 0.62894
14:41 | 0.78789 | 0.78789
14:42 | 0.67147 | 0.67147
14:43 | 0.5838 | 0.5838
14:44 | 0.36558 | 0.36558
14:45 | 0.73672 | 0.73672
14:46 | 0.62523 | 0.62523
14:47 | 0.88939 | 0.88939
14:48 | 0.60984 | 0.60984
14:49 | 0.28059 | 0.28059
14:50 | 0.28513 | 0.28513
14:51 | 0.59183 | 0.59183
14:52 | 0.50626 | 0.50626
14:53 | 0.52119 | 0.52119
14:54 | 0.49152 | 0.49152
14:55 | 0.51839 | 0.51839
14:56 | 0.87742 | 0.87742
14:57 | 0.47633 | 0.47633
14:58 | 0.59877 | 0.59877
14:59 | 0.60138 | 0.60138
15:00 | 0.49599 | 0.49599
15:01 | 0.64567 | 0.64567
15:02 | 0.74274 | 0.74274
15:03 | 1.0145 | 1.0145
15:04 | 1.2858 | 1.2858
15:05 | 1.2125 | 1.2125
15:06 | 1.0056 | 1.0056
15:07 | 0.89613 | 0.89613
15:08 | 0.81174 | 0.81174
15:09 | 0.70119 | 0.70119
15:10 | 0.73053 | 0.73053
15:11 | 0.47842 | 0.47842
15:12 | 0.51717 | 0.51717
15:13 | 0.5 | 0.5
15:14 | 0.69521 | 0.69521
15:15 | 0.58555 | 0.58555
15:16 | 0.74238 | 0.74238
15:17 | 0.95884 | 0.95884
15:18 | 0.60499 | 0.60499
15:19 | 0.90723 | 0.90723
15:20 | 0.67253 | 0.67253
15:21 | 0.37519 | 0.37519
15:22 | 0.31683 | 0.31683
15:23 | 0.69589 | 0.69589
15:24 | 0.053818 | 0.053818
15:25 | 0.25919 | 0.25919
15:26 | 0.23071 | 0.23071
15:27 | 0.51023 | 0.51023
15:28 | 0.4213 | 0.4213
15:29 | 0.88932 | 0.88932
15:30 | 0.65757 | 0.65757
15:31 | 0.36979 | 0.36979
15:32 | 0 | 0
15:33 | 0.68649 | 0.68649
15:34 | 0.56351 | 0.56351
15:35 | 0.65812 | 0.65812
15:36 | 0.45968 | 0.45968
15:37 | 0.61607 | 0.61607
15:38 | 0.79466 | 0.79466
15:39 | 0.80812 | 0.80812
15:40 | 0.72158 | 0.72158
15:41 | 0.72182 | 0.72182
15:42 | 0.95695 | 0.95695
15:43 | 0.54871 | 0.54871
15:44 | 0.3888 | 0.3888
15:45 | 0.43031 | 0.43031
15:46 | 0.63776 | 0.63776
15:47 | 0.39371 | 0.39371
15:48 | 0.18242 | 0.18242
15:49 | 0.7815 | 0.7815
15:50 | 0.62229 | 0.62229
15:51 | 0.63388 | 0.63388
15:52 | 0.5475 | 0.5475
15:53 | 0.32946 | 0.32946
15:54 | 0.47292 | 0.47292
15:55 | 0.29812 | 0.29812
15:56 | 0.37665 | 0.37665
15:57 | 0.36706 | 0.36706
15:58 | 0.41762 | 0.41762
15:59 | 1.0478 | 1.0478
16:00 | 0.53021 | 0.53021
16:01 | 0.92289 | 0.92289
16:02 | 0.7023 | 0.7023
16:03 | 0.51388 | 0.51388
16:04 | 0.43861 | 0.43861
Note on B2: enter 1-m g/h data for full run in col a&b

## 1-min gph by phase
Phase 1 |  | Phase 2 |  | Phase 3 |  | Phase 4 |  | Phase 5 |  | Phase 6 |  | Phase 7 |  | Phase 8 |  | Phase 9 |  | Phase 10
avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM
1.1802 | 1.1605 | 0.86782 | 0.85336 | 0.57803 | 1.1464 | 0.62538 | 1.8657 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h
9:05 | 0.11468 | 10:05 | 1.02 | 11:05 | 0.77092 | 13:05 | 0.5394 | 0:00 | 0 | 0:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9:06 | 0.31389 | 10:06 | 0.78224 | 11:06 | 0.41819 | 13:06 | 0.63992
9:07 | 0.23992 | 10:07 | 0.98506 | 11:07 | 0.43017 | 13:07 | 0.81991
9:08 | 0.33765 | 10:08 | 1.1369 | 11:08 | 0.23544 | 13:08 | 0.58227
9:09 | 0.28827 | 10:09 | 0.90501 | 11:09 | 0.24653 | 13:09 | 0.60304
9:10 | 0.39693 | 10:10 | 1.0553 | 11:10 | 0.2803 | 13:10 | 0.48102
9:11 | 0.52038 | 10:11 | 0.98115 | 11:11 | 0.44965 | 13:11 | 0.5556
9:12 | 0.3624 | 10:12 | 0.72072 | 11:12 | 0.34558 | 13:12 | 0.45857
9:13 | 0.5191 | 10:13 | 1.0454 | 11:13 | 0.63519 | 13:13 | 0.39486
9:14 | 0.38356 | 10:14 | 1.0965 | 11:14 | 0.79689 | 13:14 | 0.42958
9:15 | 0.49426 | 10:15 | 0.91632 | 11:15 | 0.6813 | 13:15 | 0.48531
9:16 | 0.41221 | 10:16 | 0.71991 | 11:16 | 0 | 13:16 | 0.63949
9:17 | 5.8939 | 10:17 | 0.94617 | 11:17 | 0.11385 | 13:17 | 0.29559
9:18 | 9.3487 | 10:18 | 1.1343 | 11:18 | 0.35831 | 13:18 | 0.50575
9:19 | 2.1445 | 10:19 | 0.49527 | 11:19 | 0.086086 | 13:19 | 0.80038
9:20 | 1.7051 | 10:20 | 0.60989 | 11:20 | 0.70954 | 13:20 | 0.48737
9:21 | 0 | 10:21 | 0.67115 | 11:21 | 0.61262 | 13:21 | 0.77712
9:22 | 0 | 10:22 | 0.93727 | 11:22 | 0.43922 | 13:22 | 0.80694
9:23 | 1.0772 | 10:23 | 0.80435 | 11:23 | 0.48457 | 13:23 | 0.68968
9:24 | 1.428 | 10:24 | 0.80894 | 11:24 | 0.46705 | 13:24 | 0.45223
9:25 | 1.5983 | 10:25 | 0.93795 | 11:25 | 0.81158 | 13:25 | 0.53054
9:26 | 1.1871 | 10:26 | 0.79587 | 11:26 | 0.6488 | 13:26 | 0.44556
9:27 | 1.0815 | 10:27 | 0.80198 | 11:27 | 0.45805 | 13:27 | 0.44551
9:28 | 1.5393 | 10:28 | 0.89091 | 11:28 | 0.82389 | 13:28 | 0.61621
9:29 | 1.4125 | 10:29 | 0.80614 | 11:29 | 0.71915 | 13:29 | 0.59777
9:30 | 1.5171 | 10:30 | 1.0775 | 11:30 | 0.56666 | 13:30 | 0.66156
9:31 | 1.2607 | 10:31 | 0.70462 | 11:31 | 0.99721 | 13:31 | 0.87523
9:32 | 1.1208 | 10:32 | 0.74567 | 11:32 | 0.45789 | 13:32 | 0.56525
9:33 | 1.2281 | 10:33 | 1.0992 | 11:33 | 0.54528 | 13:33 | 0.59351
9:34 | 1.0659 | 10:34 | 0.72952 | 11:34 | 0.62256 | 13:34 | 0.89846
9:35 | 1.2415 | 10:35 | 0.94827 | 11:35 | 0.78177 | 13:35 | 0.49979
9:36 | 1.23 | 10:36 | 0.78251 | 11:36 | 0.66618 | 13:36 | 0.49156
9:37 | 1.1193 | 10:37 | 0.90336 | 11:37 | 1.2869 | 13:37 | 0.71731
9:38 | 1.0457 | 10:38 | 0.788 | 11:38 | 1.1991 | 13:38 | 0.58051
9:39 | 1.2171 | 10:39 | 0.89185 | 11:39 | 0.96997 | 13:39 | 0.80895
9:40 | 1.1534 | 10:40 | 0.84774 | 11:40 | 0.56421 | 13:40 | 0.99006
9:41 | 1.2093 | 10:41 | 0.79773 | 11:41 | 0.68123 | 13:41 | 0.50546
9:42 | 1.0362 | 10:42 | 1.2582 | 11:42 | 0.86422 | 13:42 | 0.49477
9:43 | 0.99212 | 10:43 | 1.3742 | 11:43 | 0.66912 | 13:43 | 0.95315
9:44 | 1.2315 | 10:44 | 1.1528 | 11:44 | 0.70618 | 13:44 | 0.53598
9:45 | 1.2699 | 10:45 | 0.94047 | 11:45 | 0.72495 | 13:45 | 0.60093
9:46 | 0.99512 | 10:46 | 0.96381 | 11:46 | 0.774 | 13:46 | 0.76709
9:47 | 1.0297 | 10:47 | 0.7513 | 11:47 | 0.50666 | 13:47 | 0.79155
9:48 | 0.93672 | 10:48 | 0.54334 | 11:48 | 0.41627 | 13:48 | 1.116
9:49 | 1.0322 | 10:49 | 0.080706 | 11:49 | 0.35379 | 13:49 | 0.7499
9:50 | 1.243 | 10:50 | 0.68239 | 11:50 | 0.53507 | 13:50 | 0.85668
9:51 | 1.0831 | 10:51 | 1.1567 | 11:51 | 0.63674 | 13:51 | 0.82543
9:52 | 1.0474 | 10:52 | 0.33109 | 11:52 | 0.69706 | 13:52 | 0.71369
9:53 | 1.1935 | 10:53 | 0.38083 | 11:53 | 0.61562 | 13:53 | 0.84469
9:54 | 0.9346 | 10:54 | 0.67366 | 11:54 | 0.84176 | 13:54 | 0.79774
9:55 | 1.1037 | 10:55 | 0.65262 | 11:55 | 0.67994 | 13:55 | 0.83309
9:56 | 0.93221 | 10:56 | 1.0303 | 11:56 | 0.53697 | 13:56 | 0.51859
9:57 | 1.3141 | 10:57 | 0.882 | 11:57 | 0.73476 | 13:57 | 0.88457
9:58 | 0.74425 | 10:58 | 0.80572 | 11:58 | 0.854 | 13:58 | 0.59465
9:59 | 0.70122 | 10:59 | 0.76986 | 11:59 | 0.63686 | 13:59 | 0.73411
10:00 | 0.79204 | 11:00 | 0.65898 | 12:00 | 0.5912 | 14:00 | 0.5685
10:01 | 0.93563 | 11:01 | 0.96632 | 12:01 | 0.9787 | 14:01 | 0.46254
10:02 | 0.85807 | 11:02 | 1.2449 | 12:02 | 0.75795 | 14:02 | 0.4524
10:03 | 1.0663 | 11:03 | 1.3613 | 12:03 | 0.43688 | 14:03 | 0.74826
10:04 | 1.1314 | 11:04 | 1.0873 | 12:04 | 0.5937 | 14:04 | 0.86093
|  |  |  | 12:05 | 0.59144 | 14:05 | 0.75344
|  |  |  | 12:06 | 0.42856 | 14:06 | 0.88616
|  |  |  | 12:07 | 0.52246 | 14:07 | 1.1063
|  |  |  | 12:08 | 0.5812 | 14:08 | 0.52649
|  |  |  | 12:09 | 0.62827 | 14:09 | 0.90476
|  |  |  | 12:10 | 0.44124 | 14:10 | 0.81248
|  |  |  | 12:11 | 0.60398 | 14:11 | 0.48425
|  |  |  | 12:12 | 0.49623 | 14:12 | 0.67416
|  |  |  | 12:13 | 0.56792 | 14:13 | 0.78095
|  |  |  | 12:14 | 0.66016 | 14:14 | 0.65121
|  |  |  | 12:15 | 0.6948 | 14:15 | 0.4729
|  |  |  | 12:16 | 0.78814 | 14:16 | 0.40672
|  |  |  | 12:17 | 0.57603 | 14:17 | 0.71538
|  |  |  | 12:18 | 0.69532 | 14:18 | 0.71151
|  |  |  | 12:19 | 0.51589 | 14:19 | 0.71309
|  |  |  | 12:20 | 0.72256 | 14:20 | 0.4605
|  |  |  | 12:21 | 0.79742 | 14:21 | 0.53488
|  |  |  | 12:22 | 0.7117 | 14:22 | 0.60235
|  |  |  | 12:23 | 0.40092 | 14:23 | 0.43114
|  |  |  | 12:24 | 0.52256 | 14:24 | 0.80129
|  |  |  | 12:25 | 0.40031 | 14:25 | 0.43523
|  |  |  | 12:26 | 0.60673 | 14:26 | 0.34165
|  |  |  | 12:27 | 0.52808 | 14:27 | 0.67668
|  |  |  | 12:28 | 0.49029 | 14:28 | 0.66304
|  |  |  | 12:29 | 0.59567 | 14:29 | 0.42803
|  |  |  | 12:30 | 0.48765 | 14:30 | 0.70684
|  |  |  | 12:31 | 0.24636 | 14:31 | 0.49589
|  |  |  | 12:32 | 0.44525 | 14:32 | 0.6217
|  |  |  | 12:33 | 0.8232 | 14:33 | 0.42113
|  |  |  | 12:34 | 0.53908 | 14:34 | 0.47726
|  |  |  | 12:35 | 0.5093 | 14:35 | 1.2847
|  |  |  | 12:36 | 0.13903 | 14:36 | 0.76512
|  |  |  | 12:37 | 0.35189 | 14:37 | 0.62266
|  |  |  | 12:38 | 0.59371 | 14:38 | 0.51792
|  |  |  | 12:39 | 0.74886 | 14:39 | 0.50391
|  |  |  | 12:40 | 0.788 | 14:40 | 0.62894
|  |  |  | 12:41 | 0.5914 | 14:41 | 0.78789
|  |  |  | 12:42 | 0.58959 | 14:42 | 0.67147
|  |  |  | 12:43 | 0.49487 | 14:43 | 0.5838
|  |  |  | 12:44 | 0.52943 | 14:44 | 0.36558
|  |  |  | 12:45 | 0.49453 | 14:45 | 0.73672
|  |  |  | 12:46 | 0.56574 | 14:46 | 0.62523
|  |  |  | 12:47 | 0.7007 | 14:47 | 0.88939
|  |  |  | 12:48 | 0.60862 | 14:48 | 0.60984
|  |  |  | 12:49 | 0.51046 | 14:49 | 0.28059
|  |  |  | 12:50 | 0.58606 | 14:50 | 0.28513
|  |  |  | 12:51 | 0.59868 | 14:51 | 0.59183
|  |  |  | 12:52 | 0.68299 | 14:52 | 0.50626
|  |  |  | 12:53 | 0.42631 | 14:53 | 0.52119
|  |  |  | 12:54 | 0.51783 | 14:54 | 0.49152
|  |  |  | 12:55 | 0.5713 | 14:55 | 0.51839
|  |  |  | 12:56 | 0.73311 | 14:56 | 0.87742
|  |  |  | 12:57 | 0 | 14:57 | 0.47633
|  |  |  | 12:58 | 0.36481 | 14:58 | 0.59877
|  |  |  | 12:59 | 0.33343 | 14:59 | 0.60138
|  |  |  | 13:00 | 0.53309 | 15:00 | 0.49599
|  |  |  | 13:01 | 0.51325 | 15:01 | 0.64567
|  |  |  | 13:02 | 0.59989 | 15:02 | 0.74274
|  |  |  | 13:03 | 0.54046 | 15:03 | 1.0145
|  |  |  | 13:04 | 0.53251 | 15:04 | 1.2858
[6 empty] | 15:05 | 1.2125
[6 empty] | 15:06 | 1.0056
[6 empty] | 15:07 | 0.89613
[6 empty] | 15:08 | 0.81174
[6 empty] | 15:09 | 0.70119
[6 empty] | 15:10 | 0.73053
[6 empty] | 15:11 | 0.47842
[6 empty] | 15:12 | 0.51717
[6 empty] | 15:13 | 0.5
[6 empty] | 15:14 | 0.69521
[6 empty] | 15:15 | 0.58555
[6 empty] | 15:16 | 0.74238
[6 empty] | 15:17 | 0.95884
[6 empty] | 15:18 | 0.60499
[6 empty] | 15:19 | 0.90723
[6 empty] | 15:20 | 0.67253
[6 empty] | 15:21 | 0.37519
[6 empty] | 15:22 | 0.31683
[6 empty] | 15:23 | 0.69589
[6 empty] | 15:24 | 0.053818
[6 empty] | 15:25 | 0.25919
[6 empty] | 15:26 | 0.23071
[6 empty] | 15:27 | 0.51023
[6 empty] | 15:28 | 0.4213
[6 empty] | 15:29 | 0.88932
[6 empty] | 15:30 | 0.65757
[6 empty] | 15:31 | 0.36979
[6 empty] | 15:32 | 0
[6 empty] | 15:33 | 0.68649
[6 empty] | 15:34 | 0.56351
[6 empty] | 15:35 | 0.65812
[6 empty] | 15:36 | 0.45968
[6 empty] | 15:37 | 0.61607
[6 empty] | 15:38 | 0.79466
[6 empty] | 15:39 | 0.80812
[6 empty] | 15:40 | 0.72158
[6 empty] | 15:41 | 0.72182
[6 empty] | 15:42 | 0.95695
[6 empty] | 15:43 | 0.54871
[6 empty] | 15:44 | 0.3888
[6 empty] | 15:45 | 0.43031
[6 empty] | 15:46 | 0.63776
[6 empty] | 15:47 | 0.39371
[6 empty] | 15:48 | 0.18242
[6 empty] | 15:49 | 0.7815
[6 empty] | 15:50 | 0.62229
[6 empty] | 15:51 | 0.63388
[6 empty] | 15:52 | 0.5475
[6 empty] | 15:53 | 0.32946
[6 empty] | 15:54 | 0.47292
[6 empty] | 15:55 | 0.29812
[6 empty] | 15:56 | 0.37665
[6 empty] | 15:57 | 0.36706
[6 empty] | 15:58 | 0.41762
[6 empty] | 15:59 | 1.0478
[6 empty] | 16:00 | 0.53021
[6 empty] | 16:01 | 0.92289
[6 empty] | 16:02 | 0.7023
[6 empty] | 16:03 | 0.51388
[6 empty] | 16:04 | 0.43861
Note on B6: enter 1-m g/hata for full run in col a&b

## results table
| Teom | Teom | % PM | FP equiv | FP equiv | full run g/h from filter pull:
| g/h | PM, g | of Total | g/h | PM, g
Phase 1 | 1.1802 | 1.1605 | 23.0904 | #DIV/0! | #DIV/0!
Phase 2 | 0.86782 | 0.85336 | 16.9788 | #DIV/0! | #DIV/0!
Phase 3 | 0.57803 | 1.1464 | 22.8098 | #DIV/0! | #DIV/0!
Phase 4 | 0.62538 | 1.8657 | 37.1209 | #DIV/0! | #DIV/0! | Ratio of Teom to filterpull full run g/h:
Phase 5 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0!
sum: |  | 5.026 | 100 |  | #DIV/0!
Note: delete unused phases above since they show up as 0.
Note on K2: enter full run fp gph in k2