## 1-min gph
time | g/h | g/hr 0=neg | 2020-01-22 | full run Teom g/h avg: |  |  | full run Teom grams PM | Notes:
9:01 | 0 | 0 | POST ESP 8 |  | 0.5371 |  | 3.7508 | 1. Teom g/h on this tab should have neg values set to 0, and missing minutes interpolated, per the BNL SOP
9:02 | 0 | 0 | [5 empty] | and should use actual tunnel flow for conversion from ug/m3 to g/h
9:03 | 0.3571 | 0.3571 | [5 empty] | 2. The BNL SOP says Teom PM should be at local t/p or at conditions used for reporting filter pull data and tunnel flows [??]
9:04 | 0.14348 | 0.14348
9:05 | 0.20812 | 0.20812
9:06 | 0.46421 | 0.46421 |  | QC checks: |  | result:
9:07 | 0.25947 | 0.25947 |  | min g/h: | 0 | should be zero, not negative
9:08 | 0.60684 | 0.60684 |  | Count: | 420
9:09 | 3.3043 | 3.3043 |  | # test min: | 420
9:10 | 2.167 | 2.167 |  | Diff: | 0 | should be 0
9:11 | 1.7622 | 1.7622
9:12 | 0.92858 | 0.92858
9:13 | 0.38468 | 0.38468
9:14 | 0.28337 | 0.28337
9:15 | 0.58625 | 0.58625
9:16 | 3.3944 | 3.3944
9:17 | 2.14 | 2.14
9:18 | 1.676 | 1.676
9:19 | 1.8125 | 1.8125
9:20 | 1.0494 | 1.0494
9:21 | 0.62361 | 0.62361
9:22 | 1.1426 | 1.1426
9:23 | 0.89078 | 0.89078
9:24 | 0.83799 | 0.83799
9:25 | 1.0905 | 1.0905
9:26 | 0.93312 | 0.93312
9:27 | 0.88127 | 0.88127
9:28 | 0.58933 | 0.58933
9:29 | 0.58387 | 0.58387
9:30 | 0.50811 | 0.50811
9:31 | 0.53677 | 0.53677
9:32 | 0.69778 | 0.69778
9:33 | 0.5228 | 0.5228
9:34 | 0.3892 | 0.3892
9:35 | 0.1658 | 0.1658
9:36 | 0.44257 | 0.44257
9:37 | 0.38946 | 0.38946
9:38 | 0.36739 | 0.36739
9:39 | 0.37887 | 0.37887
9:40 | 0.38333 | 0.38333
9:41 | 0.5898 | 0.5898
9:42 | 0.42017 | 0.42017
9:43 | 0.42125 | 0.42125
9:44 | 0.49616 | 0.49616
9:45 | 0.57721 | 0.57721
9:46 | 0.40988 | 0.40988
9:47 | 0.35876 | 0.35876
9:48 | 0.20651 | 0.20651
9:49 | 0.5112 | 0.5112
9:50 | 0.37008 | 0.37008
9:51 | 0.29625 | 0.29625
9:52 | 0.1978 | 0.1978
9:53 | 0.56886 | 0.56886
9:54 | 0.25594 | 0.25594
9:55 | 0.34834 | 0.34834
9:56 | 0.23429 | 0.23429
9:57 | 0.25552 | 0.25552
9:58 | 0.26644 | 0.26644
9:59 | 0.33499 | 0.33499
10:00 | 0.23908 | 0.23908
10:01 | 0.24486 | 0.24486
10:02 | 0.15877 | 0.15877
10:03 | 0.36389 | 0.36389
10:04 | 0.32305 | 0.32305
10:05 | 0.24183 | 0.24183
10:06 | 0.23604 | 0.23604
10:07 | 0.26039 | 0.26039
10:08 | 0.32439 | 0.32439
10:09 | 0.20427 | 0.20427
10:10 | 0.096265 | 0.096265
10:11 | 0.28471 | 0.28471
10:12 | 0.44292 | 0.44292
10:13 | 0.22199 | 0.22199
10:14 | 0.22531 | 0.22531
10:15 | 0.22101 | 0.22101
10:16 | 0.12381 | 0.12381
10:17 | 0.19653 | 0.19653
10:18 | 0.16905 | 0.16905
10:19 | 0.29869 | 0.29869
10:20 | 0.3281 | 0.3281
10:21 | 0.121 | 0.121
10:22 | 0.18068 | 0.18068
10:23 | 0.2651 | 0.2651
10:24 | 0.24722 | 0.24722
10:25 | 0.24634 | 0.24634
10:26 | 0.2784 | 0.2784
10:27 | 0.28678 | 0.28678
10:28 | 0.18999 | 0.18999
10:29 | 0.33508 | 0.33508
10:30 | 0.25285 | 0.25285
10:31 | 0.12423 | 0.12423
10:32 | 0.21329 | 0.21329
10:33 | 0.37031 | 0.37031
10:34 | 0.17223 | 0.17223
10:35 | 0.16793 | 0.16793
10:36 | 0.23852 | 0.23852
10:37 | 0.18622 | 0.18622
10:38 | 0.33338 | 0.33338
10:39 | 0.24542 | 0.24542
10:40 | 0.19959 | 0.19959
10:41 | 0.15744 | 0.15744
10:42 | 0.17906 | 0.17906
10:43 | 0.19012 | 0.19012
10:44 | 0.14181 | 0.14181
10:45 | 0.26492 | 0.26492
10:46 | 0.15617 | 0.15617
10:47 | 0.23477 | 0.23477
10:48 | 0.2119 | 0.2119
10:49 | 0.19859 | 0.19859
10:50 | 0.25832 | 0.25832
10:51 | 0.1768 | 0.1768
10:52 | 0.22094 | 0.22094
10:53 | 0.32687 | 0.32687
10:54 | 0.21072 | 0.21072
10:55 | 0.17945 | 0.17945
10:56 | 0.055041 | 0.055041
10:57 | 0.25649 | 0.25649
10:58 | 0.15821 | 0.15821
10:59 | 0.25451 | 0.25451
11:00 | 0.21635 | 0.21635
11:01 | 0.11398 | 0.11398
11:02 | 0.043486 | 0.043486
11:03 | 0.14986 | 0.14986
11:04 | 0.018229 | 0.018229
11:05 | 0.094238 | 0.094238
11:06 | 0 | 0
11:07 | 0.12207 | 0.12207
11:08 | 0.21511 | 0.21511
11:09 | 0.2646 | 0.2646
11:10 | 0.23071 | 0.23071
11:11 | 1.0097 | 1.0097
11:12 | 0.3143 | 0.3143
11:13 | 0.23004 | 0.23004
11:14 | 0.19279 | 0.19279
11:15 | 0.1581 | 0.1581
11:16 | 0.2607 | 0.2607
11:17 | 0.13533 | 0.13533
11:18 | 0.21793 | 0.21793
11:19 | 0.13376 | 0.13376
11:20 | 0.28949 | 0.28949
11:21 | 0.41683 | 0.41683
11:22 | 0.32508 | 0.32508
11:23 | 0.11167 | 0.11167
11:24 | 0.2627 | 0.2627
11:25 | 0.448 | 0.448
11:26 | 0.18389 | 0.18389
11:27 | 3.0678 | 3.0678
11:28 | 2.9421 | 2.9421
11:29 | 0.30155 | 0.30155
11:30 | 0 | 0
11:31 | 0.028164 | 0.028164
11:32 | 0.14665 | 0.14665
11:33 | 1.8283 | 1.8283
11:34 | 1.674 | 1.674
11:35 | 1.3667 | 1.3667
11:36 | 0.29025 | 0.29025
11:37 | 0.3584 | 0.3584
11:38 | 0.89198 | 0.89198
11:39 | 0.10522 | 0.10522
11:40 | 0.050346 | 0.050346
11:41 | 0.51323 | 0.51323
11:42 | 0.48181 | 0.48181
11:43 | 0.2785 | 0.2785
11:44 | 0.72311 | 0.72311
11:45 | 0.2211 | 0.2211
11:46 | 0.14222 | 0.14222
11:47 | 0.15088 | 0.15088
11:48 | 0.44064 | 0.44064
11:49 | 3.0028 | 3.0028
11:50 | 0.48443 | 0.48443
11:51 | 0.9565 | 0.9565
11:52 | 0.30732 | 0.30732
11:53 | 0.08113 | 0.08113
11:54 | 0.03794 | 0.03794
11:55 | 0 | 0
11:56 | 1.2095 | 1.2095
11:57 | 0 | 0
11:58 | 0 | 0
11:59 | 0 | 0
12:00 | 0 | 0
12:01 | 1.6801 | 1.6801
12:02 | 1.9497 | 1.9497
12:03 | 0.98868 | 0.98868
12:04 | 0 | 0
12:05 | 0 | 0
12:06 | 0.18505 | 0.18505
12:07 | 1.5197 | 1.5197
12:08 | 2.192 | 2.192
12:09 | 1.1216 | 1.1216
12:10 | 0.37193 | 0.37193
12:11 | 0.2485 | 0.2485
12:12 | 0.22073 | 0.22073
12:13 | 0 | 0
12:14 | 0 | 0
12:15 | 0.1866 | 0.1866
12:16 | 0 | 0
12:17 | 3.0985 | 3.0985
12:18 | 0.79749 | 0.79749
12:19 | 0.021275 | 0.021275
12:20 | 0 | 0
12:21 | 0.56295 | 0.56295
12:22 | 0.97476 | 0.97476
12:23 | 0.88511 | 0.88511
12:24 | 0 | 0
12:25 | 0 | 0
12:26 | 0 | 0
12:27 | 0 | 0
12:28 | 0 | 0
12:29 | 0 | 0
12:30 | 0 | 0
12:31 | 0 | 0
12:32 | 2.7578 | 2.7578
12:33 | 0.35639 | 0.35639
12:34 | 0.020483 | 0.020483
12:35 | 0.57918 | 0.57918
12:36 | 1.5085 | 1.5085
12:37 | 0.64083 | 0.64083
12:38 | 1.5146 | 1.5146
12:39 | 0 | 0
12:40 | 0 | 0
12:41 | 0 | 0
12:42 | 0.10797 | 0.10797
12:43 | 2.1532 | 2.1532
12:44 | 1.0721 | 1.0721
12:45 | 0 | 0
12:46 | 0 | 0
12:47 | 0 | 0
12:48 | 0.23731 | 0.23731
12:49 | 0.95015 | 0.95015
12:50 | 0.3543 | 0.3543
12:51 | 0 | 0
12:52 | 2.117 | 2.117
12:53 | 0.41485 | 0.41485
12:54 | 1.489 | 1.489
12:55 | 0.68794 | 0.68794
12:56 | 0.56316 | 0.56316
12:57 | 0 | 0
12:58 | 0.053269 | 0.053269
12:59 | 0 | 0
13:00 | 0 | 0
13:01 | 0 | 0
13:02 | 0 | 0
13:03 | 0 | 0
13:04 | 0 | 0
13:05 | 0 | 0
13:06 | 0.57868 | 0.57868
13:07 | 0.26835 | 0.26835
13:08 | 0.46157 | 0.46157
13:09 | 1.234 | 1.234
13:10 | 3.409 | 3.409
13:11 | 0.83859 | 0.83859
13:12 | 0.37511 | 0.37511
13:13 | 2.2268 | 2.2268
13:14 | 0.67731 | 0.67731
13:15 | 0.88837 | 0.88837
13:16 | 1.2136 | 1.2136
13:17 | 1.6529 | 1.6529
13:18 | 2.144 | 2.144
13:19 | 2.5699 | 2.5699
13:20 | 1.4063 | 1.4063
13:21 | 0.53928 | 0.53928
13:22 | 0.83588 | 0.83588
13:23 | 0.55624 | 0.55624
13:24 | 2.8189 | 2.8189
13:25 | 2.9331 | 2.9331
13:26 | 0.59346 | 0.59346
13:27 | 0 | 0
13:28 | 0 | 0
13:29 | 0.080782 | 0.080782
13:30 | 0.34775 | 0.34775
13:31 | 0.37398 | 0.37398
13:32 | 0.23533 | 0.23533
13:33 | 0.0912 | 0.0912
13:34 | 0.72314 | 0.72314
13:35 | 0.41254 | 0.41254
13:36 | 0.21116 | 0.21116
13:37 | 1.855 | 1.855
13:38 | 2.9214 | 2.9214
13:39 | 1.1237 | 1.1237
13:40 | 0.3336 | 0.3336
13:41 | 0.78069 | 0.78069
13:42 | 0.24223 | 0.24223
13:43 | 3.3771 | 3.3771
13:44 | 1.2706 | 1.2706
13:45 | 2.2014 | 2.2014
13:46 | 1.1184 | 1.1184
13:47 | 0.1248 | 0.1248
13:48 | 0.72096 | 0.72096
13:49 | 0.72413 | 0.72413
13:50 | 0 | 0
13:51 | 0 | 0
13:52 | 0 | 0
13:53 | 0.31373 | 0.31373
13:54 | 0.42493 | 0.42493
13:55 | 3.498 | 3.498
13:56 | 0.27304 | 0.27304
13:57 | 1.1073 | 1.1073
13:58 | 1.2753 | 1.2753
13:59 | 0.63002 | 0.63002
14:00 | 0.35314 | 0.35314
14:01 | 0.078718 | 0.078718
14:02 | 2.0044 | 2.0044
14:03 | 0.29743 | 0.29743
14:04 | 0.42208 | 0.42208
14:05 | 1.286 | 1.286
14:06 | 0.47172 | 0.47172
14:07 | 0.39941 | 0.39941
14:08 | 0.52897 | 0.52897
14:09 | 0 | 0
14:10 | 0.14457 | 0.14457
14:11 | 0 | 0
14:12 | 0 | 0
14:13 | 0 | 0
14:14 | 0.055568 | 0.055568
14:15 | 0.37928 | 0.37928
14:16 | 0.1373 | 0.1373
14:17 | 0 | 0
14:18 | 0.43428 | 0.43428
14:19 | 1.6347 | 1.6347
14:20 | 0.53222 | 0.53222
14:21 | 0.063905 | 0.063905
14:22 | 0.68368 | 0.68368
14:23 | 0.07628 | 0.07628
14:24 | 0.26965 | 0.26965
14:25 | 0.67779 | 0.67779
14:26 | 0.41323 | 0.41323
14:27 | 0.29089 | 0.29089
14:28 | 0 | 0
14:29 | 0.50564 | 0.50564
14:30 | 1.6489 | 1.6489
14:31 | 0.077689 | 0.077689
14:32 | 2.8084 | 2.8084
14:33 | 0.512 | 0.512
14:34 | 0 | 0
14:35 | 0.31464 | 0.31464
14:36 | 3.0649 | 3.0649
14:37 | 0.52756 | 0.52756
14:38 | 0 | 0
14:39 | 0.023622 | 0.023622
14:40 | 0.10287 | 0.10287
14:41 | 0.01248 | 0.01248
14:42 | 0 | 0
14:43 | 0.036879 | 0.036879
14:44 | 1.6583 | 1.6583
14:45 | 0.60236 | 0.60236
14:46 | 1.0004 | 1.0004
14:47 | 1.4247 | 1.4247
14:48 | 0 | 0
14:49 | 0 | 0
14:50 | 0 | 0
14:51 | 1.6191 | 1.6191
14:52 | 2.7669 | 2.7669
14:53 | 0.53347 | 0.53347
14:54 | 0.71807 | 0.71807
14:55 | 1.671 | 1.671
14:56 | 0 | 0
14:57 | 0 | 0
14:58 | 0 | 0
14:59 | 0.49339 | 0.49339
15:00 | 0.5464 | 0.5464
15:01 | 0.31157 | 0.31157
15:02 | 0.15211 | 0.15211
15:03 | 0 | 0
15:04 | 0.026982 | 0.026982
15:05 | 0 | 0
15:06 | 0.05759 | 0.05759
15:07 | 0.32171 | 0.32171
15:08 | 0.37299 | 0.37299
15:09 | 0 | 0
15:10 | 0.31857 | 0.31857
15:11 | 0.72736 | 0.72736
15:12 | 0.10848 | 0.10848
15:13 | 0.49709 | 0.49709
15:14 | 0.55478 | 0.55478
15:15 | 1.634 | 1.634
15:16 | 0.18514 | 0.18514
15:17 | 0 | 0
15:18 | 0 | 0
15:19 | 0 | 0
15:20 | 0 | 0
15:21 | 0.045527 | 0.045527
15:22 | 0 | 0
15:23 | 0 | 0
15:24 | 0.16002 | 0.16002
15:25 | 0.25517 | 0.25517
15:26 | 0.66058 | 0.66058
15:27 | 0 | 0
15:28 | 0 | 0
15:29 | 0.02876 | 0.02876
15:30 | 1.3512 | 1.3512
15:31 | 1.4697 | 1.4697
15:32 | 1.4639 | 1.4639
15:33 | 1.2923 | 1.2923
15:34 | 0.088976 | 0.088976
15:35 | 0 | 0
15:36 | 0 | 0
15:37 | 0.038735 | 0.038735
15:38 | 0.6792 | 0.6792
15:39 | 0 | 0
15:40 | 0.1839 | 0.1839
15:41 | 0 | 0
15:42 | 0.76198 | 0.76198
15:43 | 1.1934 | 1.1934
15:44 | 0.30616 | 0.30616
15:45 | 0 | 0
15:46 | 0 | 0
15:47 | 0.0064456 | 0.0064456
15:48 | 0.0042481 | 0.0042481
15:49 | 0 | 0
15:50 | 0 | 0
15:51 | 0 | 0
15:52 | 0 | 0
15:53 | 0 | 0
15:54 | 0 | 0
15:55 | 0.011231 | 0.011231
15:56 | 0.83066 | 0.83066
15:57 | 0.26678 | 0.26678
15:58 | 0.1819 | 0.1819
15:59 | 0.55875 | 0.55875
16:00 | 1.6378 | 1.6378
Note on B2: enter 1-m g/h data for full run in col a&b

## 1-min gph by phase
Phase 1 |  | Phase 2 |  | Phase 3 |  | Phase 4 |  | Phase 5 |  | Phase 6 |  | Phase 7 |  | Phase 8 |  | Phase 9 |  | Phase 10
avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM
0.68736 | 0.6759 | 0.22782 | 0.22402 | 0.52173 | 1.0348 | 0.60036 | 1.7911 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h
9:01 | 0 | 10:01 | 0.24486 | 11:01 | 0.11398 | 13:01 | 0 | 0:00 | 0 | 0:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9:02 | 0 | 10:02 | 0.15877 | 11:02 | 0.043486 | 13:02 | 0
9:03 | 0.3571 | 10:03 | 0.36389 | 11:03 | 0.14986 | 13:03 | 0
9:04 | 0.14348 | 10:04 | 0.32305 | 11:04 | 0.018229 | 13:04 | 0
9:05 | 0.20812 | 10:05 | 0.24183 | 11:05 | 0.094238 | 13:05 | 0
9:06 | 0.46421 | 10:06 | 0.23604 | 11:06 | 0 | 13:06 | 0.57868
9:07 | 0.25947 | 10:07 | 0.26039 | 11:07 | 0.12207 | 13:07 | 0.26835
9:08 | 0.60684 | 10:08 | 0.32439 | 11:08 | 0.21511 | 13:08 | 0.46157
9:09 | 3.3043 | 10:09 | 0.20427 | 11:09 | 0.2646 | 13:09 | 1.234
9:10 | 2.167 | 10:10 | 0.096265 | 11:10 | 0.23071 | 13:10 | 3.409
9:11 | 1.7622 | 10:11 | 0.28471 | 11:11 | 1.0097 | 13:11 | 0.83859
9:12 | 0.92858 | 10:12 | 0.44292 | 11:12 | 0.3143 | 13:12 | 0.37511
9:13 | 0.38468 | 10:13 | 0.22199 | 11:13 | 0.23004 | 13:13 | 2.2268
9:14 | 0.28337 | 10:14 | 0.22531 | 11:14 | 0.19279 | 13:14 | 0.67731
9:15 | 0.58625 | 10:15 | 0.22101 | 11:15 | 0.1581 | 13:15 | 0.88837
9:16 | 3.3944 | 10:16 | 0.12381 | 11:16 | 0.2607 | 13:16 | 1.2136
9:17 | 2.14 | 10:17 | 0.19653 | 11:17 | 0.13533 | 13:17 | 1.6529
9:18 | 1.676 | 10:18 | 0.16905 | 11:18 | 0.21793 | 13:18 | 2.144
9:19 | 1.8125 | 10:19 | 0.29869 | 11:19 | 0.13376 | 13:19 | 2.5699
9:20 | 1.0494 | 10:20 | 0.3281 | 11:20 | 0.28949 | 13:20 | 1.4063
9:21 | 0.62361 | 10:21 | 0.121 | 11:21 | 0.41683 | 13:21 | 0.53928
9:22 | 1.1426 | 10:22 | 0.18068 | 11:22 | 0.32508 | 13:22 | 0.83588
9:23 | 0.89078 | 10:23 | 0.2651 | 11:23 | 0.11167 | 13:23 | 0.55624
9:24 | 0.83799 | 10:24 | 0.24722 | 11:24 | 0.2627 | 13:24 | 2.8189
9:25 | 1.0905 | 10:25 | 0.24634 | 11:25 | 0.448 | 13:25 | 2.9331
9:26 | 0.93312 | 10:26 | 0.2784 | 11:26 | 0.18389 | 13:26 | 0.59346
9:27 | 0.88127 | 10:27 | 0.28678 | 11:27 | 3.0678 | 13:27 | 0
9:28 | 0.58933 | 10:28 | 0.18999 | 11:28 | 2.9421 | 13:28 | 0
9:29 | 0.58387 | 10:29 | 0.33508 | 11:29 | 0.30155 | 13:29 | 0.080782
9:30 | 0.50811 | 10:30 | 0.25285 | 11:30 | 0 | 13:30 | 0.34775
9:31 | 0.53677 | 10:31 | 0.12423 | 11:31 | 0.028164 | 13:31 | 0.37398
9:32 | 0.69778 | 10:32 | 0.21329 | 11:32 | 0.14665 | 13:32 | 0.23533
9:33 | 0.5228 | 10:33 | 0.37031 | 11:33 | 1.8283 | 13:33 | 0.0912
9:34 | 0.3892 | 10:34 | 0.17223 | 11:34 | 1.674 | 13:34 | 0.72314
9:35 | 0.1658 | 10:35 | 0.16793 | 11:35 | 1.3667 | 13:35 | 0.41254
9:36 | 0.44257 | 10:36 | 0.23852 | 11:36 | 0.29025 | 13:36 | 0.21116
9:37 | 0.38946 | 10:37 | 0.18622 | 11:37 | 0.3584 | 13:37 | 1.855
9:38 | 0.36739 | 10:38 | 0.33338 | 11:38 | 0.89198 | 13:38 | 2.9214
9:39 | 0.37887 | 10:39 | 0.24542 | 11:39 | 0.10522 | 13:39 | 1.1237
9:40 | 0.38333 | 10:40 | 0.19959 | 11:40 | 0.050346 | 13:40 | 0.3336
9:41 | 0.5898 | 10:41 | 0.15744 | 11:41 | 0.51323 | 13:41 | 0.78069
9:42 | 0.42017 | 10:42 | 0.17906 | 11:42 | 0.48181 | 13:42 | 0.24223
9:43 | 0.42125 | 10:43 | 0.19012 | 11:43 | 0.2785 | 13:43 | 3.3771
9:44 | 0.49616 | 10:44 | 0.14181 | 11:44 | 0.72311 | 13:44 | 1.2706
9:45 | 0.57721 | 10:45 | 0.26492 | 11:45 | 0.2211 | 13:45 | 2.2014
9:46 | 0.40988 | 10:46 | 0.15617 | 11:46 | 0.14222 | 13:46 | 1.1184
9:47 | 0.35876 | 10:47 | 0.23477 | 11:47 | 0.15088 | 13:47 | 0.1248
9:48 | 0.20651 | 10:48 | 0.2119 | 11:48 | 0.44064 | 13:48 | 0.72096
9:49 | 0.5112 | 10:49 | 0.19859 | 11:49 | 3.0028 | 13:49 | 0.72413
9:50 | 0.37008 | 10:50 | 0.25832 | 11:50 | 0.48443 | 13:50 | 0
9:51 | 0.29625 | 10:51 | 0.1768 | 11:51 | 0.9565 | 13:51 | 0
9:52 | 0.1978 | 10:52 | 0.22094 | 11:52 | 0.30732 | 13:52 | 0
9:53 | 0.56886 | 10:53 | 0.32687 | 11:53 | 0.08113 | 13:53 | 0.31373
9:54 | 0.25594 | 10:54 | 0.21072 | 11:54 | 0.03794 | 13:54 | 0.42493
9:55 | 0.34834 | 10:55 | 0.17945 | 11:55 | 0 | 13:55 | 3.498
9:56 | 0.23429 | 10:56 | 0.055041 | 11:56 | 1.2095 | 13:56 | 0.27304
9:57 | 0.25552 | 10:57 | 0.25649 | 11:57 | 0 | 13:57 | 1.1073
9:58 | 0.26644 | 10:58 | 0.15821 | 11:58 | 0 | 13:58 | 1.2753
9:59 | 0.33499 | 10:59 | 0.25451 | 11:59 | 0 | 13:59 | 0.63002
10:00 | 0.23908 | 11:00 | 0.21635 | 12:00 | 0 | 14:00 | 0.35314
|  |  |  | 12:01 | 1.6801 | 14:01 | 0.078718
|  |  |  | 12:02 | 1.9497 | 14:02 | 2.0044
|  |  |  | 12:03 | 0.98868 | 14:03 | 0.29743
|  |  |  | 12:04 | 0 | 14:04 | 0.42208
|  |  |  | 12:05 | 0 | 14:05 | 1.286
|  |  |  | 12:06 | 0.18505 | 14:06 | 0.47172
|  |  |  | 12:07 | 1.5197 | 14:07 | 0.39941
|  |  |  | 12:08 | 2.192 | 14:08 | 0.52897
|  |  |  | 12:09 | 1.1216 | 14:09 | 0
|  |  |  | 12:10 | 0.37193 | 14:10 | 0.14457
|  |  |  | 12:11 | 0.2485 | 14:11 | 0
|  |  |  | 12:12 | 0.22073 | 14:12 | 0
|  |  |  | 12:13 | 0 | 14:13 | 0
|  |  |  | 12:14 | 0 | 14:14 | 0.055568
|  |  |  | 12:15 | 0.1866 | 14:15 | 0.37928
|  |  |  | 12:16 | 0 | 14:16 | 0.1373
|  |  |  | 12:17 | 3.0985 | 14:17 | 0
|  |  |  | 12:18 | 0.79749 | 14:18 | 0.43428
|  |  |  | 12:19 | 0.021275 | 14:19 | 1.6347
|  |  |  | 12:20 | 0 | 14:20 | 0.53222
|  |  |  | 12:21 | 0.56295 | 14:21 | 0.063905
|  |  |  | 12:22 | 0.97476 | 14:22 | 0.68368
|  |  |  | 12:23 | 0.88511 | 14:23 | 0.07628
|  |  |  | 12:24 | 0 | 14:24 | 0.26965
|  |  |  | 12:25 | 0 | 14:25 | 0.67779
|  |  |  | 12:26 | 0 | 14:26 | 0.41323
|  |  |  | 12:27 | 0 | 14:27 | 0.29089
|  |  |  | 12:28 | 0 | 14:28 | 0
|  |  |  | 12:29 | 0 | 14:29 | 0.50564
|  |  |  | 12:30 | 0 | 14:30 | 1.6489
|  |  |  | 12:31 | 0 | 14:31 | 0.077689
|  |  |  | 12:32 | 2.7578 | 14:32 | 2.8084
|  |  |  | 12:33 | 0.35639 | 14:33 | 0.512
|  |  |  | 12:34 | 0.020483 | 14:34 | 0
|  |  |  | 12:35 | 0.57918 | 14:35 | 0.31464
|  |  |  | 12:36 | 1.5085 | 14:36 | 3.0649
|  |  |  | 12:37 | 0.64083 | 14:37 | 0.52756
|  |  |  | 12:38 | 1.5146 | 14:38 | 0
|  |  |  | 12:39 | 0 | 14:39 | 0.023622
|  |  |  | 12:40 | 0 | 14:40 | 0.10287
|  |  |  | 12:41 | 0 | 14:41 | 0.01248
|  |  |  | 12:42 | 0.10797 | 14:42 | 0
|  |  |  | 12:43 | 2.1532 | 14:43 | 0.036879
|  |  |  | 12:44 | 1.0721 | 14:44 | 1.6583
|  |  |  | 12:45 | 0 | 14:45 | 0.60236
|  |  |  | 12:46 | 0 | 14:46 | 1.0004
|  |  |  | 12:47 | 0 | 14:47 | 1.4247
|  |  |  | 12:48 | 0.23731 | 14:48 | 0
|  |  |  | 12:49 | 0.95015 | 14:49 | 0
|  |  |  | 12:50 | 0.3543 | 14:50 | 0
|  |  |  | 12:51 | 0 | 14:51 | 1.6191
|  |  |  | 12:52 | 2.117 | 14:52 | 2.7669
|  |  |  | 12:53 | 0.41485 | 14:53 | 0.53347
|  |  |  | 12:54 | 1.489 | 14:54 | 0.71807
|  |  |  | 12:55 | 0.68794 | 14:55 | 1.671
|  |  |  | 12:56 | 0.56316 | 14:56 | 0
|  |  |  | 12:57 | 0 | 14:57 | 0
|  |  |  | 12:58 | 0.053269 | 14:58 | 0
|  |  |  | 12:59 | 0 | 14:59 | 0.49339
|  |  |  | 13:00 | 0 | 15:00 | 0.5464
[6 empty] | 15:01 | 0.31157
[6 empty] | 15:02 | 0.15211
[6 empty] | 15:03 | 0
[6 empty] | 15:04 | 0.026982
[6 empty] | 15:05 | 0
[6 empty] | 15:06 | 0.05759
[6 empty] | 15:07 | 0.32171
[6 empty] | 15:08 | 0.37299
[6 empty] | 15:09 | 0
[6 empty] | 15:10 | 0.31857
[6 empty] | 15:11 | 0.72736
[6 empty] | 15:12 | 0.10848
[6 empty] | 15:13 | 0.49709
[6 empty] | 15:14 | 0.55478
[6 empty] | 15:15 | 1.634
[6 empty] | 15:16 | 0.18514
[6 empty] | 15:17 | 0
[6 empty] | 15:18 | 0
[6 empty] | 15:19 | 0
[6 empty] | 15:20 | 0
[6 empty] | 15:21 | 0.045527
[6 empty] | 15:22 | 0
[6 empty] | 15:23 | 0
[6 empty] | 15:24 | 0.16002
[6 empty] | 15:25 | 0.25517
[6 empty] | 15:26 | 0.66058
[6 empty] | 15:27 | 0
[6 empty] | 15:28 | 0
[6 empty] | 15:29 | 0.02876
[6 empty] | 15:30 | 1.3512
[6 empty] | 15:31 | 1.4697
[6 empty] | 15:32 | 1.4639
[6 empty] | 15:33 | 1.2923
[6 empty] | 15:34 | 0.088976
[6 empty] | 15:35 | 0
[6 empty] | 15:36 | 0
[6 empty] | 15:37 | 0.038735
[6 empty] | 15:38 | 0.6792
[6 empty] | 15:39 | 0
[6 empty] | 15:40 | 0.1839
[6 empty] | 15:41 | 0
[6 empty] | 15:42 | 0.76198
[6 empty] | 15:43 | 1.1934
[6 empty] | 15:44 | 0.30616
[6 empty] | 15:45 | 0
[6 empty] | 15:46 | 0
[6 empty] | 15:47 | 0.0064456
[6 empty] | 15:48 | 0.0042481
[6 empty] | 15:49 | 0
[6 empty] | 15:50 | 0
[6 empty] | 15:51 | 0
[6 empty] | 15:52 | 0
[6 empty] | 15:53 | 0
[6 empty] | 15:54 | 0
[6 empty] | 15:55 | 0.011231
[6 empty] | 15:56 | 0.83066
[6 empty] | 15:57 | 0.26678
[6 empty] | 15:58 | 0.1819
[6 empty] | 15:59 | 0.55875
[6 empty] | 16:00 | 1.6378
Note on B6: enter 1-m g/hata for full run in col a&b

## results table
| Teom | Teom | % PM | FP equiv | FP equiv | full run g/h from filter pull:
| g/h | PM, g | of Total | g/h | PM, g
Phase 1 | 0.68736 | 0.6759 | 18.1414 | #DIV/0! | #DIV/0!
Phase 2 | 0.22782 | 0.22402 | 6.0127 | #DIV/0! | #DIV/0!
Phase 3 | 0.52173 | 1.0348 | 27.7735 | #DIV/0! | #DIV/0!
Phase 4 | 0.60036 | 1.7911 | 48.0725 | #DIV/0! | #DIV/0! | Ratio of Teom to filterpull full run g/h:
Phase 5 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0!
sum: |  | 3.7258 | 100 |  | #DIV/0!
Note: delete unused phases above since they show up as 0.
Note on K2: enter full run fp gph in k2