## 1-min gph
time | g/h | g/hr neg=0 | 2020-01-22 | full run Teom g/h avg: |  |  | full run Teom grams PM | Notes:
9:01 | 0 | 0 | PRE ESP 8 |  | 1.0612 |  | 7.411 | 1. Teom g/h on this tab should have neg values set to 0, and missing minutes interpolated, per the BNL SOP
9:02 | 0.54087 | 0.54087 | [5 empty] | and should use actual tunnel flow for conversion from ug/m3 to g/h
9:03 | 0.15309 | 0.15309 | [5 empty] | 2. The BNL SOP says Teom PM should be at local t/p or at conditions used for reporting filter pull data and tunnel flows [??]
9:04 | 0.2239 | 0.2239
9:05 | 0 | 0
9:06 | 0.30381 | 0.30381 |  | QC checks: |  | result:
9:07 | 0.31683 | 0.31683 |  | min g/h: | 0 | should be zero, not negative
9:08 | 1.5624 | 1.5624 |  | Count: | 420
9:09 | 2.4557 | 2.4557 |  | # test min: | 420
9:10 | 1.7802 | 1.7802 |  | Diff: | 0 | should be 0
9:11 | 1.5831 | 1.5831
9:12 | 0.42736 | 0.42736
9:13 | 0.60833 | 0.60833
9:14 | 0.33248 | 0.33248
9:15 | 0.63683 | 0.63683
9:16 | 2.134 | 2.134
9:17 | 2.0651 | 2.0651
9:18 | 2.006 | 2.006
9:19 | 2.5923 | 2.5923
9:20 | 1.8459 | 1.8459
9:21 | 1.8626 | 1.8626
9:22 | 1.4807 | 1.4807
9:23 | 1.6542 | 1.6542
9:24 | 1.8041 | 1.8041
9:25 | 1.8695 | 1.8695
9:26 | 2.0329 | 2.0329
9:27 | 2.2411 | 2.2411
9:28 | 1.9135 | 1.9135
9:29 | 2.0385 | 2.0385
9:30 | 1.7534 | 1.7534
9:31 | 1.8947 | 1.8947
9:32 | 2.0604 | 2.0604
9:33 | 1.5811 | 1.5811
9:34 | 1.7255 | 1.7255
9:35 | 1.5836 | 1.5836
9:36 | 1.6467 | 1.6467
9:37 | 1.8315 | 1.8315
9:38 | 1.4784 | 1.4784
9:39 | 1.968 | 1.968
9:40 | 1.6854 | 1.6854
9:41 | 1.704 | 1.704
9:42 | 1.3344 | 1.3344
9:43 | 1.721 | 1.721
9:44 | 1.9159 | 1.9159
9:45 | 1.7249 | 1.7249
9:46 | 1.5755 | 1.5755
9:47 | 1.4012 | 1.4012
9:48 | 1.4733 | 1.4733
9:49 | 1.3829 | 1.3829
9:50 | 1.2713 | 1.2713
9:51 | 1.5977 | 1.5977
9:52 | 1.5095 | 1.5095
9:53 | 1.2935 | 1.2935
9:54 | 1.2446 | 1.2446
9:55 | 1.299 | 1.299
9:56 | 1.4952 | 1.4952
9:57 | 1.2039 | 1.2039
9:58 | 1.0391 | 1.0391
9:59 | 1.0029 | 1.0029
10:00 | 1.0855 | 1.0855
10:01 | 1.003 | 1.003
10:02 | 1.3094 | 1.3094
10:03 | 1.4386 | 1.4386
10:04 | 1.5419 | 1.5419
10:05 | 1.4884 | 1.4884
10:06 | 1.4034 | 1.4034
10:07 | 1.0667 | 1.0667
10:08 | 1.6576 | 1.6576
10:09 | 1.3368 | 1.3368
10:10 | 1.0687 | 1.0687
10:11 | 1.3683 | 1.3683
10:12 | 1.6138 | 1.6138
10:13 | 1.4117 | 1.4117
10:14 | 1.3701 | 1.3701
10:15 | 1.3865 | 1.3865
10:16 | 1.0446 | 1.0446
10:17 | 1.2427 | 1.2427
10:18 | 1.3571 | 1.3571
10:19 | 1.1708 | 1.1708
10:20 | 1.4036 | 1.4036
10:21 | 1.2554 | 1.2554
10:22 | 1.2954 | 1.2954
10:23 | 1.5958 | 1.5958
10:24 | 1.3126 | 1.3126
10:25 | 1.2198 | 1.2198
10:26 | 1.4004 | 1.4004
10:27 | 1.298 | 1.298
10:28 | 1.2837 | 1.2837
10:29 | 1.3552 | 1.3552
10:30 | 1.2529 | 1.2529
10:31 | 1.0804 | 1.0804
10:32 | 1.5047 | 1.5047
10:33 | 1.503 | 1.503
10:34 | 1.1917 | 1.1917
10:35 | 1.0504 | 1.0504
10:36 | 1.3744 | 1.3744
10:37 | 1.093 | 1.093
10:38 | 1.3469 | 1.3469
10:39 | 1.1287 | 1.1287
10:40 | 1.03 | 1.03
10:41 | 1.088 | 1.088
10:42 | 1.1346 | 1.1346
10:43 | 1.2512 | 1.2512
10:44 | 1.1698 | 1.1698
10:45 | 1.002 | 1.002
10:46 | 1.116 | 1.116
10:47 | 1.1038 | 1.1038
10:48 | 0.79779 | 0.79779
10:49 | 0.92254 | 0.92254
10:50 | 1.2614 | 1.2614
10:51 | 1.1551 | 1.1551
10:52 | 1.4077 | 1.4077
10:53 | 1.3671 | 1.3671
10:54 | 1.0486 | 1.0486
10:55 | 1.1723 | 1.1723
10:56 | 1.3722 | 1.3722
10:57 | 1.5319 | 1.5319
10:58 | 1.1157 | 1.1157
10:59 | 1.1459 | 1.1459
11:00 | 1.1156 | 1.1156
11:01 | 1.0344 | 1.0344
11:02 | 0.96581 | 0.96581
11:03 | 0.69111 | 0.69111
11:04 | 0.31072 | 0.31072
11:05 | 0.21336 | 0.21336
11:06 | 0 | 0
11:07 | 0.55109 | 0.55109
11:08 | 1.1704 | 1.1704
11:09 | 1.8075 | 1.8075
11:10 | 1.6274 | 1.6274
11:11 | 1.6043 | 1.6043
11:12 | 1.2648 | 1.2648
11:13 | 0.71469 | 0.71469
11:14 | 0.741 | 0.741
11:15 | 0.70664 | 0.70664
11:16 | 1.1732 | 1.1732
11:17 | 0.80211 | 0.80211
11:18 | 1.0085 | 1.0085
11:19 | 0.75271 | 0.75271
11:20 | 1.0212 | 1.0212
11:21 | 0.95004 | 0.95004
11:22 | 1.0255 | 1.0255
11:23 | 0.93048 | 0.93048
11:24 | 0.59347 | 0.59347
11:25 | 0.45803 | 0.45803
11:26 | 0.75506 | 0.75506
11:27 | 0 | 0
11:28 | 0 | 0
11:29 | 0.48081 | 0.48081
11:30 | 0.75106 | 0.75106
11:31 | 0.61995 | 0.61995
11:32 | 0.39008 | 0.39008
11:33 | 0 | 0
11:34 | 0 | 0
11:35 | 0.48106 | 0.48106
11:36 | 0.12773 | 0.12773
11:37 | 0 | 0
11:38 | 0 | 0
11:39 | 1.1681 | 1.1681
11:40 | 1.4173 | 1.4173
11:41 | 1.2054 | 1.2054
11:42 | 1.2612 | 1.2612
11:43 | 1.4624 | 1.4624
11:44 | 1.1545 | 1.1545
11:45 | 1.0976 | 1.0976
11:46 | 1.3846 | 1.3846
11:47 | 1.04 | 1.04
11:48 | 0.34048 | 0.34048
11:49 | 0 | 0
11:50 | 1.2722 | 1.2722
11:51 | 1.5945 | 1.5945
11:52 | 1.4149 | 1.4149
11:53 | 1.4803 | 1.4803
11:54 | 1.2353 | 1.2353
11:55 | 1.1279 | 1.1279
11:56 | 0.56743 | 0.56743
11:57 | 1.6232 | 1.6232
11:58 | 0.97889 | 0.97889
11:59 | 1.2774 | 1.2774
12:00 | 0.50258 | 0.50258
12:01 | 0 | 0
12:02 | 0 | 0
12:03 | 0.40996 | 0.40996
12:04 | 0.84706 | 0.84706
12:05 | 1.0647 | 1.0647
12:06 | 0.98323 | 0.98323
12:07 | 0 | 0
12:08 | 0.061632 | 0.061632
12:09 | 0.01522 | 0.01522
12:10 | 0.22827 | 0.22827
12:11 | 0.61329 | 0.61329
12:12 | 0.57909 | 0.57909
12:13 | 0.62822 | 0.62822
12:14 | 0.74298 | 0.74298
12:15 | 1.1921 | 1.1921
12:16 | 0.80736 | 0.80736
12:17 | 0.56889 | 0.56889
12:18 | 1.0643 | 1.0643
12:19 | 1.5051 | 1.5051
12:20 | 0.93714 | 0.93714
12:21 | 0.32295 | 0.32295
12:22 | 1.039 | 1.039
12:23 | 0.62371 | 0.62371
12:24 | 1.4096 | 1.4096
12:25 | 1.6736 | 1.6736
12:26 | 1.5683 | 1.5683
12:27 | 1.4419 | 1.4419
12:28 | 1.4723 | 1.4723
12:29 | 1.1698 | 1.1698
12:30 | 0.97059 | 0.97059
12:31 | 0.41224 | 0.41224
12:32 | 0 | 0
12:33 | 1.2991 | 1.2991
12:34 | 0.31911 | 0.31911
12:35 | 0.63261 | 0.63261
12:36 | 0.46717 | 0.46717
12:37 | 0.33343 | 0.33343
12:38 | 0.55288 | 0.55288
12:39 | 0.88582 | 0.88582
12:40 | 1.4885 | 1.4885
12:41 | 1.377 | 1.377
12:42 | 0.50891 | 0.50891
12:43 | 0.20903 | 0.20903
12:44 | 1.2343 | 1.2343
12:45 | 1.2542 | 1.2542
12:46 | 1.4291 | 1.4291
12:47 | 1.529 | 1.529
12:48 | 0.04184 | 0.04184
12:49 | 0.52269 | 0.52269
12:50 | 1.7215 | 1.7215
12:51 | 1.4413 | 1.4413
12:52 | 0 | 0
12:53 | 0.0093913 | 0.0093913
12:54 | 0 | 0
12:55 | 0.79895 | 0.79895
12:56 | 1.3639 | 1.3639
12:57 | 1.4285 | 1.4285
12:58 | 1.4119 | 1.4119
12:59 | 1.271 | 1.271
13:00 | 1.5984 | 1.5984
13:01 | 1.5882 | 1.5882
13:02 | 1.6524 | 1.6524
13:03 | 1.379 | 1.379
13:04 | 1.2092 | 1.2092
13:05 | 0.22188 | 0.22188
13:06 | 0.16856 | 0.16856
13:07 | 1.1803 | 1.1803
13:08 | 0.41132 | 0.41132
13:09 | 0.51636 | 0.51636
13:10 | 0 | 0
13:11 | 0.77093 | 0.77093
13:12 | 0.38287 | 0.38287
13:13 | 0.020092 | 0.020092
13:14 | 0.32867 | 0.32867
13:15 | 0.44377 | 0.44377
13:16 | 0.28789 | 0.28789
13:17 | 0.68516 | 0.68516
13:18 | 1.5969 | 1.5969
13:19 | 0.52697 | 0.52697
13:20 | 1.0942 | 1.0942
13:21 | 1.0707 | 1.0707
13:22 | 1.3557 | 1.3557
13:23 | 1.6102 | 1.6102
13:24 | 0.60132 | 0.60132
13:25 | 0.46582 | 0.46582
13:26 | 1.3266 | 1.3266
13:27 | 1.2114 | 1.2114
13:28 | 1.0025 | 1.0025
13:29 | 1.4846 | 1.4846
13:30 | 1.434 | 1.434
13:31 | 1.3771 | 1.3771
13:32 | 0.90629 | 0.90629
13:33 | 1.6537 | 1.6537
13:34 | 1.3285 | 1.3285
13:35 | 1.574 | 1.574
13:36 | 1.5421 | 1.5421
13:37 | 0.49118 | 0.49118
13:38 | 0.4021 | 0.4021
13:39 | 1.267 | 1.267
13:40 | 1.2679 | 1.2679
13:41 | 1.2676 | 1.2676
13:42 | 0.88908 | 0.88908
13:43 | 2.1479 | 2.1479
13:44 | 2.288 | 2.288
13:45 | 1.969 | 1.969
13:46 | 1.9551 | 1.9551
13:47 | 1.4063 | 1.4063
13:48 | 1.7474 | 1.7474
13:49 | 1.4251 | 1.4251
13:50 | 0.65088 | 0.65088
13:51 | 0.61791 | 0.61791
13:52 | 1.6067 | 1.6067
13:53 | 1.5912 | 1.5912
13:54 | 1.6012 | 1.6012
13:55 | 1.2385 | 1.2385
13:56 | 0.93242 | 0.93242
13:57 | 1.3747 | 1.3747
13:58 | 1.6036 | 1.6036
13:59 | 1.5367 | 1.5367
14:00 | 1.3332 | 1.3332
14:01 | 0.96779 | 0.96779
14:02 | 0 | 0
14:03 | 0.8979 | 0.8979
14:04 | 1.3932 | 1.3932
14:05 | 1.354 | 1.354
14:06 | 1.5047 | 1.5047
14:07 | 1.4431 | 1.4431
14:08 | 1.2187 | 1.2187
14:09 | 1.0545 | 1.0545
14:10 | 0.96595 | 0.96595
14:11 | 0.79295 | 0.79295
14:12 | 0.77415 | 0.77415
14:13 | 0.64954 | 0.64954
14:14 | 1.2163 | 1.2163
14:15 | 1.3824 | 1.3824
14:16 | 1.3784 | 1.3784
14:17 | 0.97154 | 0.97154
14:18 | 0.077774 | 0.077774
14:19 | 1.5493 | 1.5493
14:20 | 1.4864 | 1.4864
14:21 | 1.2844 | 1.2844
14:22 | 1.3696 | 1.3696
14:23 | 0.79186 | 0.79186
14:24 | 1.4 | 1.4
14:25 | 1.5384 | 1.5384
14:26 | 2.0221 | 2.0221
14:27 | 1.327 | 1.327
14:28 | 1.0382 | 1.0382
14:29 | 0 | 0
14:30 | 0.22004 | 0.22004
14:31 | 1.2348 | 1.2348
14:32 | 0.72027 | 0.72027
14:33 | 1.2946 | 1.2946
14:34 | 1.2401 | 1.2401
14:35 | 0.17883 | 0.17883
14:36 | 0.40023 | 0.40023
14:37 | 0.77738 | 0.77738
14:38 | 0.656 | 0.656
14:39 | 1.5372 | 1.5372
14:40 | 1.6767 | 1.6767
14:41 | 1.4566 | 1.4566
14:42 | 1.7065 | 1.7065
14:43 | 1.5411 | 1.5411
14:44 | 0.38098 | 0.38098
14:45 | 1.2155 | 1.2155
14:46 | 0.46047 | 0.46047
14:47 | 0.94762 | 0.94762
14:48 | 0.97796 | 0.97796
14:49 | 0.60719 | 0.60719
14:50 | 0.84735 | 0.84735
14:51 | 0.00064379 | 0.00064379
14:52 | 0.015459 | 0.015459
14:53 | 1.6338 | 1.6338
14:54 | 0.68872 | 0.68872
14:55 | 0.9633 | 0.9633
14:56 | 0.32138 | 0.32138
14:57 | 0.4093 | 0.4093
14:58 | 0.86368 | 0.86368
14:59 | 0 | 0
15:00 | 1.2532 | 1.2532
15:01 | 1.1221 | 1.1221
15:02 | 0.84828 | 0.84828
15:03 | 1.0218 | 1.0218
15:04 | 0.87932 | 0.87932
15:05 | 0.62861 | 0.62861
15:06 | 1.1101 | 1.1101
15:07 | 1.3859 | 1.3859
15:08 | 1.3286 | 1.3286
15:09 | 0.42724 | 0.42724
15:10 | 1.531 | 1.531
15:11 | 1.4591 | 1.4591
15:12 | 1.1007 | 1.1007
15:13 | 1.3593 | 1.3593
15:14 | 0.55011 | 0.55011
15:15 | 1.2351 | 1.2351
15:16 | 0.96369 | 0.96369
15:17 | 0.67616 | 0.67616
15:18 | 0.71378 | 0.71378
15:19 | 0.78883 | 0.78883
15:20 | 0.88237 | 0.88237
15:21 | 1.2549 | 1.2549
15:22 | 0.63285 | 0.63285
15:23 | 0.76171 | 0.76171
15:24 | 1.1278 | 1.1278
15:25 | 0.10469 | 0.10469
15:26 | 0.69793 | 0.69793
15:27 | 0.87862 | 0.87862
15:28 | 1.07 | 1.07
15:29 | 1.2521 | 1.2521
15:30 | 0.08889 | 0.08889
15:31 | 0.29067 | 0.29067
15:32 | 0.20487 | 0.20487
15:33 | 1.3068 | 1.3068
15:34 | 1.2891 | 1.2891
15:35 | 0.85357 | 0.85357
15:36 | 0.82223 | 0.82223
15:37 | 0.94261 | 0.94261
15:38 | 0.39661 | 0.39661
15:39 | 1.6026 | 1.6026
15:40 | 1.6929 | 1.6929
15:41 | 1.7565 | 1.7565
15:42 | 0.49393 | 0.49393
15:43 | 1.6682 | 1.6682
15:44 | 1.4462 | 1.4462
15:45 | 1.2183 | 1.2183
15:46 | 1.2406 | 1.2406
15:47 | 0.95636 | 0.95636
15:48 | 1.2213 | 1.2213
15:49 | 1.0404 | 1.0404
15:50 | 1.1472 | 1.1472
15:51 | 1.1686 | 1.1686
15:52 | 1.3756 | 1.3756
15:53 | 1.2625 | 1.2625
15:54 | 1.9942 | 1.9942
15:55 | 1.6358 | 1.6358
15:56 | 0.15523 | 0.15523
15:57 | 0.77583 | 0.77583
15:58 | 1.1672 | 1.1672
15:59 | 0 | 0
16:00 | 0.31937 | 0.31937
Note on B2: enter 1-m g/h data for full run in col a&b

## 1-min gph by phase
Phase 1 |  | Phase 2 |  | Phase 3 |  | Phase 4 |  | Phase 5 |  | Phase 6 |  | Phase 7 |  | Phase 8 |  | Phase 9 |  | Phase 10
avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM
1.4325 | 1.4086 | 1.2589 | 1.2379 | 0.83177 | 1.6497 | 1.0246 | 3.0567 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h
9:01 | 0 | 10:01 | 1.003 | 11:01 | 1.0344 | 13:01 | 1.5882 | 0:00 | 0 | 0:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9:02 | 0.54087 | 10:02 | 1.3094 | 11:02 | 0.96581 | 13:02 | 1.6524
9:03 | 0.15309 | 10:03 | 1.4386 | 11:03 | 0.69111 | 13:03 | 1.379
9:04 | 0.2239 | 10:04 | 1.5419 | 11:04 | 0.31072 | 13:04 | 1.2092
9:05 | 0 | 10:05 | 1.4884 | 11:05 | 0.21336 | 13:05 | 0.22188
9:06 | 0.30381 | 10:06 | 1.4034 | 11:06 | 0 | 13:06 | 0.16856
9:07 | 0.31683 | 10:07 | 1.0667 | 11:07 | 0.55109 | 13:07 | 1.1803
9:08 | 1.5624 | 10:08 | 1.6576 | 11:08 | 1.1704 | 13:08 | 0.41132
9:09 | 2.4557 | 10:09 | 1.3368 | 11:09 | 1.8075 | 13:09 | 0.51636
9:10 | 1.7802 | 10:10 | 1.0687 | 11:10 | 1.6274 | 13:10 | 0
9:11 | 1.5831 | 10:11 | 1.3683 | 11:11 | 1.6043 | 13:11 | 0.77093
9:12 | 0.42736 | 10:12 | 1.6138 | 11:12 | 1.2648 | 13:12 | 0.38287
9:13 | 0.60833 | 10:13 | 1.4117 | 11:13 | 0.71469 | 13:13 | 0.020092
9:14 | 0.33248 | 10:14 | 1.3701 | 11:14 | 0.741 | 13:14 | 0.32867
9:15 | 0.63683 | 10:15 | 1.3865 | 11:15 | 0.70664 | 13:15 | 0.44377
9:16 | 2.134 | 10:16 | 1.0446 | 11:16 | 1.1732 | 13:16 | 0.28789
9:17 | 2.0651 | 10:17 | 1.2427 | 11:17 | 0.80211 | 13:17 | 0.68516
9:18 | 2.006 | 10:18 | 1.3571 | 11:18 | 1.0085 | 13:18 | 1.5969
9:19 | 2.5923 | 10:19 | 1.1708 | 11:19 | 0.75271 | 13:19 | 0.52697
9:20 | 1.8459 | 10:20 | 1.4036 | 11:20 | 1.0212 | 13:20 | 1.0942
9:21 | 1.8626 | 10:21 | 1.2554 | 11:21 | 0.95004 | 13:21 | 1.0707
9:22 | 1.4807 | 10:22 | 1.2954 | 11:22 | 1.0255 | 13:22 | 1.3557
9:23 | 1.6542 | 10:23 | 1.5958 | 11:23 | 0.93048 | 13:23 | 1.6102
9:24 | 1.8041 | 10:24 | 1.3126 | 11:24 | 0.59347 | 13:24 | 0.60132
9:25 | 1.8695 | 10:25 | 1.2198 | 11:25 | 0.45803 | 13:25 | 0.46582
9:26 | 2.0329 | 10:26 | 1.4004 | 11:26 | 0.75506 | 13:26 | 1.3266
9:27 | 2.2411 | 10:27 | 1.298 | 11:27 | 0 | 13:27 | 1.2114
9:28 | 1.9135 | 10:28 | 1.2837 | 11:28 | 0 | 13:28 | 1.0025
9:29 | 2.0385 | 10:29 | 1.3552 | 11:29 | 0.48081 | 13:29 | 1.4846
9:30 | 1.7534 | 10:30 | 1.2529 | 11:30 | 0.75106 | 13:30 | 1.434
9:31 | 1.8947 | 10:31 | 1.0804 | 11:31 | 0.61995 | 13:31 | 1.3771
9:32 | 2.0604 | 10:32 | 1.5047 | 11:32 | 0.39008 | 13:32 | 0.90629
9:33 | 1.5811 | 10:33 | 1.503 | 11:33 | 0 | 13:33 | 1.6537
9:34 | 1.7255 | 10:34 | 1.1917 | 11:34 | 0 | 13:34 | 1.3285
9:35 | 1.5836 | 10:35 | 1.0504 | 11:35 | 0.48106 | 13:35 | 1.574
9:36 | 1.6467 | 10:36 | 1.3744 | 11:36 | 0.12773 | 13:36 | 1.5421
9:37 | 1.8315 | 10:37 | 1.093 | 11:37 | 0 | 13:37 | 0.49118
9:38 | 1.4784 | 10:38 | 1.3469 | 11:38 | 0 | 13:38 | 0.4021
9:39 | 1.968 | 10:39 | 1.1287 | 11:39 | 1.1681 | 13:39 | 1.267
9:40 | 1.6854 | 10:40 | 1.03 | 11:40 | 1.4173 | 13:40 | 1.2679
9:41 | 1.704 | 10:41 | 1.088 | 11:41 | 1.2054 | 13:41 | 1.2676
9:42 | 1.3344 | 10:42 | 1.1346 | 11:42 | 1.2612 | 13:42 | 0.88908
9:43 | 1.721 | 10:43 | 1.2512 | 11:43 | 1.4624 | 13:43 | 2.1479
9:44 | 1.9159 | 10:44 | 1.1698 | 11:44 | 1.1545 | 13:44 | 2.288
9:45 | 1.7249 | 10:45 | 1.002 | 11:45 | 1.0976 | 13:45 | 1.969
9:46 | 1.5755 | 10:46 | 1.116 | 11:46 | 1.3846 | 13:46 | 1.9551
9:47 | 1.4012 | 10:47 | 1.1038 | 11:47 | 1.04 | 13:47 | 1.4063
9:48 | 1.4733 | 10:48 | 0.79779 | 11:48 | 0.34048 | 13:48 | 1.7474
9:49 | 1.3829 | 10:49 | 0.92254 | 11:49 | 0 | 13:49 | 1.4251
9:50 | 1.2713 | 10:50 | 1.2614 | 11:50 | 1.2722 | 13:50 | 0.65088
9:51 | 1.5977 | 10:51 | 1.1551 | 11:51 | 1.5945 | 13:51 | 0.61791
9:52 | 1.5095 | 10:52 | 1.4077 | 11:52 | 1.4149 | 13:52 | 1.6067
9:53 | 1.2935 | 10:53 | 1.3671 | 11:53 | 1.4803 | 13:53 | 1.5912
9:54 | 1.2446 | 10:54 | 1.0486 | 11:54 | 1.2353 | 13:54 | 1.6012
9:55 | 1.299 | 10:55 | 1.1723 | 11:55 | 1.1279 | 13:55 | 1.2385
9:56 | 1.4952 | 10:56 | 1.3722 | 11:56 | 0.56743 | 13:56 | 0.93242
9:57 | 1.2039 | 10:57 | 1.5319 | 11:57 | 1.6232 | 13:57 | 1.3747
9:58 | 1.0391 | 10:58 | 1.1157 | 11:58 | 0.97889 | 13:58 | 1.6036
9:59 | 1.0029 | 10:59 | 1.1459 | 11:59 | 1.2774 | 13:59 | 1.5367
10:00 | 1.0855 | 11:00 | 1.1156 | 12:00 | 0.50258 | 14:00 | 1.3332
|  |  |  | 12:01 | 0 | 14:01 | 0.96779
|  |  |  | 12:02 | 0 | 14:02 | 0
|  |  |  | 12:03 | 0.40996 | 14:03 | 0.8979
|  |  |  | 12:04 | 0.84706 | 14:04 | 1.3932
|  |  |  | 12:05 | 1.0647 | 14:05 | 1.354
|  |  |  | 12:06 | 0.98323 | 14:06 | 1.5047
|  |  |  | 12:07 | 0 | 14:07 | 1.4431
|  |  |  | 12:08 | 0.061632 | 14:08 | 1.2187
|  |  |  | 12:09 | 0.01522 | 14:09 | 1.0545
|  |  |  | 12:10 | 0.22827 | 14:10 | 0.96595
|  |  |  | 12:11 | 0.61329 | 14:11 | 0.79295
|  |  |  | 12:12 | 0.57909 | 14:12 | 0.77415
|  |  |  | 12:13 | 0.62822 | 14:13 | 0.64954
|  |  |  | 12:14 | 0.74298 | 14:14 | 1.2163
|  |  |  | 12:15 | 1.1921 | 14:15 | 1.3824
|  |  |  | 12:16 | 0.80736 | 14:16 | 1.3784
|  |  |  | 12:17 | 0.56889 | 14:17 | 0.97154
|  |  |  | 12:18 | 1.0643 | 14:18 | 0.077774
|  |  |  | 12:19 | 1.5051 | 14:19 | 1.5493
|  |  |  | 12:20 | 0.93714 | 14:20 | 1.4864
|  |  |  | 12:21 | 0.32295 | 14:21 | 1.2844
|  |  |  | 12:22 | 1.039 | 14:22 | 1.3696
|  |  |  | 12:23 | 0.62371 | 14:23 | 0.79186
|  |  |  | 12:24 | 1.4096 | 14:24 | 1.4
|  |  |  | 12:25 | 1.6736 | 14:25 | 1.5384
|  |  |  | 12:26 | 1.5683 | 14:26 | 2.0221
|  |  |  | 12:27 | 1.4419 | 14:27 | 1.327
|  |  |  | 12:28 | 1.4723 | 14:28 | 1.0382
|  |  |  | 12:29 | 1.1698 | 14:29 | 0
|  |  |  | 12:30 | 0.97059 | 14:30 | 0.22004
|  |  |  | 12:31 | 0.41224 | 14:31 | 1.2348
|  |  |  | 12:32 | 0 | 14:32 | 0.72027
|  |  |  | 12:33 | 1.2991 | 14:33 | 1.2946
|  |  |  | 12:34 | 0.31911 | 14:34 | 1.2401
|  |  |  | 12:35 | 0.63261 | 14:35 | 0.17883
|  |  |  | 12:36 | 0.46717 | 14:36 | 0.40023
|  |  |  | 12:37 | 0.33343 | 14:37 | 0.77738
|  |  |  | 12:38 | 0.55288 | 14:38 | 0.656
|  |  |  | 12:39 | 0.88582 | 14:39 | 1.5372
|  |  |  | 12:40 | 1.4885 | 14:40 | 1.6767
|  |  |  | 12:41 | 1.377 | 14:41 | 1.4566
|  |  |  | 12:42 | 0.50891 | 14:42 | 1.7065
|  |  |  | 12:43 | 0.20903 | 14:43 | 1.5411
|  |  |  | 12:44 | 1.2343 | 14:44 | 0.38098
|  |  |  | 12:45 | 1.2542 | 14:45 | 1.2155
|  |  |  | 12:46 | 1.4291 | 14:46 | 0.46047
|  |  |  | 12:47 | 1.529 | 14:47 | 0.94762
|  |  |  | 12:48 | 0.04184 | 14:48 | 0.97796
|  |  |  | 12:49 | 0.52269 | 14:49 | 0.60719
|  |  |  | 12:50 | 1.7215 | 14:50 | 0.84735
|  |  |  | 12:51 | 1.4413 | 14:51 | 0.00064379
|  |  |  | 12:52 | 0 | 14:52 | 0.015459
|  |  |  | 12:53 | 0.0093913 | 14:53 | 1.6338
|  |  |  | 12:54 | 0 | 14:54 | 0.68872
|  |  |  | 12:55 | 0.79895 | 14:55 | 0.9633
|  |  |  | 12:56 | 1.3639 | 14:56 | 0.32138
|  |  |  | 12:57 | 1.4285 | 14:57 | 0.4093
|  |  |  | 12:58 | 1.4119 | 14:58 | 0.86368
|  |  |  | 12:59 | 1.271 | 14:59 | 0
|  |  |  | 13:00 | 1.5984 | 15:00 | 1.2532
[6 empty] | 15:01 | 1.1221
[6 empty] | 15:02 | 0.84828
[6 empty] | 15:03 | 1.0218
[6 empty] | 15:04 | 0.87932
[6 empty] | 15:05 | 0.62861
[6 empty] | 15:06 | 1.1101
[6 empty] | 15:07 | 1.3859
[6 empty] | 15:08 | 1.3286
[6 empty] | 15:09 | 0.42724
[6 empty] | 15:10 | 1.531
[6 empty] | 15:11 | 1.4591
[6 empty] | 15:12 | 1.1007
[6 empty] | 15:13 | 1.3593
[6 empty] | 15:14 | 0.55011
[6 empty] | 15:15 | 1.2351
[6 empty] | 15:16 | 0.96369
[6 empty] | 15:17 | 0.67616
[6 empty] | 15:18 | 0.71378
[6 empty] | 15:19 | 0.78883
[6 empty] | 15:20 | 0.88237
[6 empty] | 15:21 | 1.2549
[6 empty] | 15:22 | 0.63285
[6 empty] | 15:23 | 0.76171
[6 empty] | 15:24 | 1.1278
[6 empty] | 15:25 | 0.10469
[6 empty] | 15:26 | 0.69793
[6 empty] | 15:27 | 0.87862
[6 empty] | 15:28 | 1.07
[6 empty] | 15:29 | 1.2521
[6 empty] | 15:30 | 0.08889
[6 empty] | 15:31 | 0.29067
[6 empty] | 15:32 | 0.20487
[6 empty] | 15:33 | 1.3068
[6 empty] | 15:34 | 1.2891
[6 empty] | 15:35 | 0.85357
[6 empty] | 15:36 | 0.82223
[6 empty] | 15:37 | 0.94261
[6 empty] | 15:38 | 0.39661
[6 empty] | 15:39 | 1.6026
[6 empty] | 15:40 | 1.6929
[6 empty] | 15:41 | 1.7565
[6 empty] | 15:42 | 0.49393
[6 empty] | 15:43 | 1.6682
[6 empty] | 15:44 | 1.4462
[6 empty] | 15:45 | 1.2183
[6 empty] | 15:46 | 1.2406
[6 empty] | 15:47 | 0.95636
[6 empty] | 15:48 | 1.2213
[6 empty] | 15:49 | 1.0404
[6 empty] | 15:50 | 1.1472
[6 empty] | 15:51 | 1.1686
[6 empty] | 15:52 | 1.3756
[6 empty] | 15:53 | 1.2625
[6 empty] | 15:54 | 1.9942
[6 empty] | 15:55 | 1.6358
[6 empty] | 15:56 | 0.15523
[6 empty] | 15:57 | 0.77583
[6 empty] | 15:58 | 1.1672
[6 empty] | 15:59 | 0
[6 empty] | 16:00 | 0.31937
Note on B6: enter 1-m g/hata for full run in col a&b

## results table
| Teom | Teom | % PM | FP equiv | FP equiv | full run g/h from filter pull:
| g/h | PM, g | of Total | g/h | PM, g
Phase 1 | 1.4325 | 1.4086 | 19.1573 | #DIV/0! | #DIV/0!
Phase 2 | 1.2589 | 1.2379 | 16.8361 | #DIV/0! | #DIV/0!
Phase 3 | 0.83177 | 1.6497 | 22.4357 | #DIV/0! | #DIV/0!
Phase 4 | 1.0246 | 3.0567 | 41.5709 | #DIV/0! | #DIV/0! | Ratio of Teom to filterpull full run g/h:
Phase 5 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0!
sum: |  | 7.3529 | 100 |  | #DIV/0!
Note: delete unused phases above since they show up as 0.
Note on K2: enter full run fp gph in k2