## 1-min gph
time | g/h | g/hr neg=0 | 2020-01-23 | full run Teom g/h avg: |  |  | full run Teom grams PM | Notes:
9:55 | 0 | 0 | POST ESP 9 |  | 0.64421 |  | 4.4988 | 1. Teom g/h on this tab should have neg values set to 0, and missing minutes interpolated, per the BNL SOP
9:56 | 0.048094 | 0.048094 | [5 empty] | and should use actual tunnel flow for conversion from ug/m3 to g/h
9:57 | 0.048392 | 0.048392 | [5 empty] | 2. The BNL SOP says Teom PM should be at local t/p or at conditions used for reporting filter pull data and tunnel flows [??]
9:58 | 0.20029 | 0.20029
9:59 | 0.20878 | 0.20878
10:00 | 0.14372 | 0.14372 |  | QC checks: |  | result:
10:01 | 0.0066061 | 0.0066061 |  | min g/h: | 0 | should be zero, not negative
10:02 | 0.21655 | 0.21655 |  | Count: | 420
10:03 | 1.0191 | 1.0191 |  | # test min: | 420
10:04 | 9.1156 | 9.1156 |  | Diff: | 0 | should be 0
10:05 | 3.7959 | 3.7959
10:06 | 0.51338 | 0.51338
10:07 | 0.040278 | 0.040278
10:08 | 0 | 0
10:09 | 0 | 0
10:10 | 0 | 0
10:11 | 5.9692 | 5.9692
10:12 | 2.2028 | 2.2028
10:13 | 1.7785 | 1.7785
10:14 | 2.1084 | 2.1084
10:15 | 1.2115 | 1.2115
10:16 | 1.3629 | 1.3629
10:17 | 0.74705 | 0.74705
10:18 | 1.1112 | 1.1112
10:19 | 0.92499 | 0.92499
10:20 | 1.378 | 1.378
10:21 | 1.2603 | 1.2603
10:22 | 0.8486 | 0.8486
10:23 | 0.70409 | 0.70409
10:24 | 0.60629 | 0.60629
10:25 | 0.79301 | 0.79301
10:26 | 0.52918 | 0.52918
10:27 | 0.67221 | 0.67221
10:28 | 0.62234 | 0.62234
10:29 | 0.75716 | 0.75716
10:30 | 0.40685 | 0.40685
10:31 | 0.57787 | 0.57787
10:32 | 0.42215 | 0.42215
10:33 | 0.41247 | 0.41247
10:34 | 0.4129 | 0.4129
10:35 | 0.48705 | 0.48705
10:36 | 0.23708 | 0.23708
10:37 | 0.64185 | 0.64185
10:38 | 0.37151 | 0.37151
10:39 | 16.1943 | 16.1943
10:40 | 4.0246 | 4.0246
10:41 | 0.22755 | 0.22755
10:42 | 0 | 0
10:43 | 0 | 0
10:44 | 0.064454 | 0.064454
10:45 | 0.12434 | 0.12434
10:46 | 0.21289 | 0.21289
10:47 | 0.25284 | 0.25284
10:48 | 0.25893 | 0.25893
10:49 | 0.17394 | 0.17394
10:50 | 0.42711 | 0.42711
10:51 | 0.44728 | 0.44728
10:52 | 0.26974 | 0.26974
10:53 | 0.24795 | 0.24795
10:54 | 0.21727 | 0.21727
10:55 | 0.31579 | 0.31579
10:56 | 0.37509 | 0.37509
10:57 | 0.2088 | 0.2088
10:58 | 0.37109 | 0.37109
10:59 | 0.20177 | 0.20177
11:00 | 0.32002 | 0.32002
11:01 | 0.30137 | 0.30137
11:02 | 0.2812 | 0.2812
11:03 | 0.19995 | 0.19995
11:04 | 0.24638 | 0.24638
11:05 | 0.41166 | 0.41166
11:06 | 0.48027 | 0.48027
11:07 | 0.31263 | 0.31263
11:08 | 0.125 | 0.125
11:09 | 0.17283 | 0.17283
11:10 | 0.39199 | 0.39199
11:11 | 0.2476 | 0.2476
11:12 | 0.4305 | 0.4305
11:13 | 0.45773 | 0.45773
11:14 | 0.4518 | 0.4518
11:15 | 0.25394 | 0.25394
11:16 | 0.21948 | 0.21948
11:17 | 0.38753 | 0.38753
11:18 | 0.28889 | 0.28889
11:19 | 0.25204 | 0.25204
11:20 | 0.4575 | 0.4575
11:21 | 0.15678 | 0.15678
11:22 | 0.35945 | 0.35945
11:23 | 0.26753 | 0.26753
11:24 | 0.20931 | 0.20931
11:25 | 0.34231 | 0.34231
11:26 | 0.37125 | 0.37125
11:27 | 0.2773 | 0.2773
11:28 | 0.17751 | 0.17751
11:29 | 0.39847 | 0.39847
11:30 | 0.09327 | 0.09327
11:31 | 0.26258 | 0.26258
11:32 | 0.028511 | 0.028511
11:33 | 0.19781 | 0.19781
11:34 | 0.3411 | 0.3411
11:35 | 0.078575 | 0.078575
11:36 | 0.23883 | 0.23883
11:37 | 0.26047 | 0.26047
11:38 | 0.24902 | 0.24902
11:39 | 0.32675 | 0.32675
11:40 | 0.31088 | 0.31088
11:41 | 0.16615 | 0.16615
11:42 | 0.35036 | 0.35036
11:43 | 0.14491 | 0.14491
11:44 | 0.15557 | 0.15557
11:45 | 0.10804 | 0.10804
11:46 | 0.41394 | 0.41394
11:47 | 0.09798 | 0.09798
11:48 | 0.30341 | 0.30341
11:49 | 0.24686 | 0.24686
11:50 | 0.30808 | 0.30808
11:51 | 0.19907 | 0.19907
11:52 | 0.22938 | 0.22938
11:53 | 0.25537 | 0.25537
11:54 | 0.3777 | 0.3777
11:55 | 0.15495 | 0.15495
11:56 | 0.066448 | 0.066448
11:57 | 0.10231 | 0.10231
11:58 | 0 | 0
11:59 | 0.017617 | 0.017617
12:00 | 0 | 0
12:01 | 0 | 0
12:02 | 0 | 0
12:03 | 0.46087 | 0.46087
12:04 | 0.55681 | 0.55681
12:05 | 0.32547 | 0.32547
12:06 | 1.061 | 1.061
12:07 | 0.34552 | 0.34552
12:08 | 0.45839 | 0.45839
12:09 | 0.47991 | 0.47991
12:10 | 0.22777 | 0.22777
12:11 | 0.28495 | 0.28495
12:12 | 0.22888 | 0.22888
12:13 | 0.31849 | 0.31849
12:14 | 0.32787 | 0.32787
12:15 | 0.2953 | 0.2953
12:16 | 0.24766 | 0.24766
12:17 | 0.17885 | 0.17885
12:18 | 0.29338 | 0.29338
12:19 | 0.51578 | 0.51578
12:20 | 2.5524 | 2.5524
12:21 | 0.38488 | 0.38488
12:22 | 0.446 | 0.446
12:23 | 0.46971 | 0.46971
12:24 | 0.26501 | 0.26501
12:25 | 0.2279 | 0.2279
12:26 | 0.17089 | 0.17089
12:27 | 0.59413 | 0.59413
12:28 | 3.9354 | 3.9354
12:29 | 3.4041 | 3.4041
12:30 | 5.13 | 5.13
12:31 | 0.41044 | 0.41044
12:32 | 0.83909 | 0.83909
12:33 | 2.1492 | 2.1492
12:34 | 0.38876 | 0.38876
12:35 | 0 | 0
12:36 | 1.274 | 1.274
12:37 | 0 | 0
12:38 | 0 | 0
12:39 | 0 | 0
12:40 | 0.088239 | 0.088239
12:41 | 0.88923 | 0.88923
12:42 | 1.9538 | 1.9538
12:43 | 0.4193 | 0.4193
12:44 | 0.1523 | 0.1523
12:45 | 3.7029 | 3.7029
12:46 | 0.8435 | 0.8435
12:47 | 0 | 0
12:48 | 0.98387 | 0.98387
12:49 | 2.392 | 2.392
12:50 | 1.0218 | 1.0218
12:51 | 0 | 0
12:52 | 0 | 0
12:53 | 0 | 0
12:54 | 0.56877 | 0.56877
12:55 | 2.4591 | 2.4591
12:56 | 0 | 0
12:57 | 0 | 0
12:58 | 0 | 0
12:59 | 0 | 0
13:00 | 0 | 0
13:01 | 0 | 0
13:02 | 3.9168 | 3.9168
13:03 | 3.7365 | 3.7365
13:04 | 0.43465 | 0.43465
13:05 | 0 | 0
13:06 | 0 | 0
13:07 | 0 | 0
13:08 | 0 | 0
13:09 | 0.95753 | 0.95753
13:10 | 4.4376 | 4.4376
13:11 | 1.3014 | 1.3014
13:12 | 4.8267 | 4.8267
13:13 | 2.0499 | 2.0499
13:14 | 2.5709 | 2.5709
13:15 | 0.37155 | 0.37155
13:16 | 2.2739 | 2.2739
13:17 | 0.27053 | 0.27053
13:18 | 0 | 0
13:19 | 0 | 0
13:20 | 0 | 0
13:21 | 0 | 0
13:22 | 0 | 0
13:23 | 0 | 0
13:24 | 0 | 0
13:25 | 0 | 0
13:26 | 0 | 0
13:27 | 0 | 0
13:28 | 0 | 0
13:29 | 0 | 0
13:30 | 0 | 0
13:31 | 0 | 0
13:32 | 0.066737 | 0.066737
13:33 | 17.2584 | 17.2584
13:34 | 6.3564 | 6.3564
13:35 | 3.7598 | 3.7598
13:36 | 1.0073 | 1.0073
13:37 | 4.2687 | 4.2687
13:38 | 0.52893 | 0.52893
13:39 | 2.5442 | 2.5442
13:40 | 0.13882 | 0.13882
13:41 | 0 | 0
13:42 | 0 | 0
13:43 | 0 | 0
13:44 | 0 | 0
13:45 | 2.4766 | 2.4766
13:46 | 0 | 0
13:47 | 0 | 0
13:48 | 0 | 0
13:49 | 0 | 0
13:50 | 0 | 0
13:51 | 0.10604 | 0.10604
13:52 | 5.1996 | 5.1996
13:53 | 0.3394 | 0.3394
13:54 | 0 | 0
13:55 | 1.6425 | 1.6425
13:56 | 1.0978 | 1.0978
13:57 | 0 | 0
13:58 | 0 | 0
13:59 | 0 | 0
14:00 | 0 | 0
14:01 | 1.572 | 1.572
14:02 | 0.80066 | 0.80066
14:03 | 0.80411 | 0.80411
14:04 | 1.2103 | 1.2103
14:05 | 0.3484 | 0.3484
14:06 | 0.23283 | 0.23283
14:07 | 0 | 0
14:08 | 1.7027 | 1.7027
14:09 | 1.7339 | 1.7339
14:10 | 0.16239 | 0.16239
14:11 | 0.41752 | 0.41752
14:12 | 0.32746 | 0.32746
14:13 | 0.30283 | 0.30283
14:14 | 0.2888 | 0.2888
14:15 | 6.1506 | 6.1506
14:16 | 1.4255 | 1.4255
14:17 | 0.58813 | 0.58813
14:18 | 1.172 | 1.172
14:19 | 0.60584 | 0.60584
14:20 | 0 | 0
14:21 | 0 | 0
14:22 | 0 | 0
14:23 | 0 | 0
14:24 | 1.955 | 1.955
14:25 | 2.2674 | 2.2674
14:26 | 0.23942 | 0.23942
14:27 | 0.6215 | 0.6215
14:28 | 0.38963 | 0.38963
14:29 | 0.032267 | 0.032267
14:30 | 0.127 | 0.127
14:31 | 0.26925 | 0.26925
14:32 | 0.037434 | 0.037434
14:33 | 0.17085 | 0.17085
14:34 | 0.30924 | 0.30924
14:35 | 0.64248 | 0.64248
14:36 | 0 | 0
14:37 | 0 | 0
14:38 | 0 | 0
14:39 | 0.19462 | 0.19462
14:40 | 0.38078 | 0.38078
14:41 | 2.2716 | 2.2716
14:42 | 0.28992 | 0.28992
14:43 | 0 | 0
14:44 | 2.5604 | 2.5604
14:45 | 0.23306 | 0.23306
14:46 | 1.2826 | 1.2826
14:47 | 0.71207 | 0.71207
14:48 | 0.13777 | 0.13777
14:49 | 0.011524 | 0.011524
14:50 | 0 | 0
14:51 | 0 | 0
14:52 | 0 | 0
14:53 | 0 | 0
14:54 | 0.3246 | 0.3246
14:55 | 0.60668 | 0.60668
14:56 | 0.20226 | 0.20226
14:57 | 0 | 0
14:58 | 0 | 0
14:59 | 0.29378 | 0.29378
15:00 | 0.91488 | 0.91488
15:01 | 1.3003 | 1.3003
15:02 | 0.22706 | 0.22706
15:03 | 0.096483 | 0.096483
15:04 | 0 | 0
15:05 | 0 | 0
15:06 | 0 | 0
15:07 | 0.015261 | 0.015261
15:08 | 0.53821 | 0.53821
15:09 | 0.76876 | 0.76876
15:10 | 2.339 | 2.339
15:11 | 1.9967 | 1.9967
15:12 | 0 | 0
15:13 | 0 | 0
15:14 | 0 | 0
15:15 | 0 | 0
15:16 | 0.5418 | 0.5418
15:17 | 0.12627 | 0.12627
15:18 | 0.40718 | 0.40718
15:19 | 0 | 0
15:20 | 0 | 0
15:21 | 0 | 0
15:22 | 0 | 0
15:23 | 0 | 0
15:24 | 0 | 0
15:25 | 0 | 0
15:26 | 0 | 0
15:27 | 0 | 0
15:28 | 0.11562 | 0.11562
15:29 | 0.0090983 | 0.0090983
15:30 | 0 | 0
15:31 | 0.10326 | 0.10326
15:32 | 0.042975 | 0.042975
15:33 | 0 | 0
15:34 | 0.014323 | 0.014323
15:35 | 0 | 0
15:36 | 0.34695 | 0.34695
15:37 | 0.4083 | 0.4083
15:38 | 0 | 0
15:39 | 0 | 0
15:40 | 0.29761 | 0.29761
15:41 | 0.23523 | 0.23523
15:42 | 0.16303 | 0.16303
15:43 | 0 | 0
15:44 | 0.10763 | 0.10763
15:45 | 0.25666 | 0.25666
15:46 | 0.322 | 0.322
15:47 | 0.40282 | 0.40282
15:48 | 0.46428 | 0.46428
15:49 | 0 | 0
15:50 | 0 | 0
15:51 | 0 | 0
15:52 | 0 | 0
15:53 | 0.10154 | 0.10154
15:54 | 0 | 0
15:55 | 0.1468 | 0.1468
15:56 | 0 | 0
15:57 | 0.47805 | 0.47805
15:58 | 0 | 0
15:59 | 0 | 0
16:00 | 0 | 0
16:01 | 0.049647 | 0.049647
16:02 | 0 | 0
16:03 | 0 | 0
16:04 | 0.13233 | 0.13233
16:05 | 0.064306 | 0.064306
16:06 | 0.46981 | 0.46981
16:07 | 0.44919 | 0.44919
16:08 | 0.12549 | 0.12549
16:09 | 0.29854 | 0.29854
16:10 | 0 | 0
16:11 | 0 | 0
16:12 | 0 | 0
16:13 | 0 | 0
16:14 | 0.47256 | 0.47256
16:15 | 0.52384 | 0.52384
16:16 | 0.5605 | 0.5605
16:17 | 0.60017 | 0.60017
16:18 | 0.36465 | 0.36465
16:19 | 0 | 0
16:20 | 0 | 0
16:21 | 0 | 0
16:22 | 0 | 0
16:23 | 0 | 0
16:24 | 0 | 0
16:25 | 2.3418 | 2.3418
16:26 | 0.25376 | 0.25376
16:27 | 4.1203 | 4.1203
16:28 | 0.66606 | 0.66606
16:29 | 0.18579 | 0.18579
16:30 | 0.25064 | 0.25064
16:31 | 0.55355 | 0.55355
16:32 | 0.24588 | 0.24588
16:33 | 0 | 0
16:34 | 0 | 0
16:35 | 0 | 0
16:36 | 0 | 0
16:37 | 0 | 0
16:38 | 0.026619 | 0.026619
16:39 | 0.30522 | 0.30522
16:40 | 0.078782 | 0.078782
16:41 | 0.25185 | 0.25185
16:42 | 0.19027 | 0.19027
16:43 | 0 | 0
16:44 | 0 | 0
16:45 | 0.11322 | 0.11322
16:46 | 0.93838 | 0.93838
16:47 | 0.43052 | 0.43052
16:48 | 0.3123 | 0.3123
16:49 | 0 | 0
16:50 | 0 | 0
16:51 | 0.094945 | 0.094945
16:52 | 1.0002 | 1.0002
16:53 | 0.8729 | 0.8729
16:54 | 0 | 0
Note on B2: enter 1-m g/h data for full run in col a&b

## 1-min gph by phase
Phase 1 |  | Phase 2 |  | Phase 3 |  | Phase 4 |  | Phase 5 |  | Phase 6 |  | Phase 7 |  | Phase 8 |  | Phase 9 |  | Phase 10
avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM
1.1343 | 1.1154 | 0.27446 | 0.26988 | 0.96886 | 1.9216 | 0.38767 | 1.1566 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h
9:55 | 0 | 10:55 | 0.31579 | 11:55 | 0.15495 | 13:55 | 1.6425 | 0:00 | 0 | 0:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9:56 | 0.048094 | 10:56 | 0.37509 | 11:56 | 0.066448 | 13:56 | 1.0978
9:57 | 0.048392 | 10:57 | 0.2088 | 11:57 | 0.10231 | 13:57 | 0
9:58 | 0.20029 | 10:58 | 0.37109 | 11:58 | 0 | 13:58 | 0
9:59 | 0.20878 | 10:59 | 0.20177 | 11:59 | 0.017617 | 13:59 | 0
10:00 | 0.14372 | 11:00 | 0.32002 | 12:00 | 0 | 14:00 | 0
10:01 | 0.0066061 | 11:01 | 0.30137 | 12:01 | 0 | 14:01 | 1.572
10:02 | 0.21655 | 11:02 | 0.2812 | 12:02 | 0 | 14:02 | 0.80066
10:03 | 1.0191 | 11:03 | 0.19995 | 12:03 | 0.46087 | 14:03 | 0.80411
10:04 | 9.1156 | 11:04 | 0.24638 | 12:04 | 0.55681 | 14:04 | 1.2103
10:05 | 3.7959 | 11:05 | 0.41166 | 12:05 | 0.32547 | 14:05 | 0.3484
10:06 | 0.51338 | 11:06 | 0.48027 | 12:06 | 1.061 | 14:06 | 0.23283
10:07 | 0.040278 | 11:07 | 0.31263 | 12:07 | 0.34552 | 14:07 | 0
10:08 | 0 | 11:08 | 0.125 | 12:08 | 0.45839 | 14:08 | 1.7027
10:09 | 0 | 11:09 | 0.17283 | 12:09 | 0.47991 | 14:09 | 1.7339
10:10 | 0 | 11:10 | 0.39199 | 12:10 | 0.22777 | 14:10 | 0.16239
10:11 | 5.9692 | 11:11 | 0.2476 | 12:11 | 0.28495 | 14:11 | 0.41752
10:12 | 2.2028 | 11:12 | 0.4305 | 12:12 | 0.22888 | 14:12 | 0.32746
10:13 | 1.7785 | 11:13 | 0.45773 | 12:13 | 0.31849 | 14:13 | 0.30283
10:14 | 2.1084 | 11:14 | 0.4518 | 12:14 | 0.32787 | 14:14 | 0.2888
10:15 | 1.2115 | 11:15 | 0.25394 | 12:15 | 0.2953 | 14:15 | 6.1506
10:16 | 1.3629 | 11:16 | 0.21948 | 12:16 | 0.24766 | 14:16 | 1.4255
10:17 | 0.74705 | 11:17 | 0.38753 | 12:17 | 0.17885 | 14:17 | 0.58813
10:18 | 1.1112 | 11:18 | 0.28889 | 12:18 | 0.29338 | 14:18 | 1.172
10:19 | 0.92499 | 11:19 | 0.25204 | 12:19 | 0.51578 | 14:19 | 0.60584
10:20 | 1.378 | 11:20 | 0.4575 | 12:20 | 2.5524 | 14:20 | 0
10:21 | 1.2603 | 11:21 | 0.15678 | 12:21 | 0.38488 | 14:21 | 0
10:22 | 0.8486 | 11:22 | 0.35945 | 12:22 | 0.446 | 14:22 | 0
10:23 | 0.70409 | 11:23 | 0.26753 | 12:23 | 0.46971 | 14:23 | 0
10:24 | 0.60629 | 11:24 | 0.20931 | 12:24 | 0.26501 | 14:24 | 1.955
10:25 | 0.79301 | 11:25 | 0.34231 | 12:25 | 0.2279 | 14:25 | 2.2674
10:26 | 0.52918 | 11:26 | 0.37125 | 12:26 | 0.17089 | 14:26 | 0.23942
10:27 | 0.67221 | 11:27 | 0.2773 | 12:27 | 0.59413 | 14:27 | 0.6215
10:28 | 0.62234 | 11:28 | 0.17751 | 12:28 | 3.9354 | 14:28 | 0.38963
10:29 | 0.75716 | 11:29 | 0.39847 | 12:29 | 3.4041 | 14:29 | 0.032267
10:30 | 0.40685 | 11:30 | 0.09327 | 12:30 | 5.13 | 14:30 | 0.127
10:31 | 0.57787 | 11:31 | 0.26258 | 12:31 | 0.41044 | 14:31 | 0.26925
10:32 | 0.42215 | 11:32 | 0.028511 | 12:32 | 0.83909 | 14:32 | 0.037434
10:33 | 0.41247 | 11:33 | 0.19781 | 12:33 | 2.1492 | 14:33 | 0.17085
10:34 | 0.4129 | 11:34 | 0.3411 | 12:34 | 0.38876 | 14:34 | 0.30924
10:35 | 0.48705 | 11:35 | 0.078575 | 12:35 | 0 | 14:35 | 0.64248
10:36 | 0.23708 | 11:36 | 0.23883 | 12:36 | 1.274 | 14:36 | 0
10:37 | 0.64185 | 11:37 | 0.26047 | 12:37 | 0 | 14:37 | 0
10:38 | 0.37151 | 11:38 | 0.24902 | 12:38 | 0 | 14:38 | 0
10:39 | 16.1943 | 11:39 | 0.32675 | 12:39 | 0 | 14:39 | 0.19462
10:40 | 4.0246 | 11:40 | 0.31088 | 12:40 | 0.088239 | 14:40 | 0.38078
10:41 | 0.22755 | 11:41 | 0.16615 | 12:41 | 0.88923 | 14:41 | 2.2716
10:42 | 0 | 11:42 | 0.35036 | 12:42 | 1.9538 | 14:42 | 0.28992
10:43 | 0 | 11:43 | 0.14491 | 12:43 | 0.4193 | 14:43 | 0
10:44 | 0.064454 | 11:44 | 0.15557 | 12:44 | 0.1523 | 14:44 | 2.5604
10:45 | 0.12434 | 11:45 | 0.10804 | 12:45 | 3.7029 | 14:45 | 0.23306
10:46 | 0.21289 | 11:46 | 0.41394 | 12:46 | 0.8435 | 14:46 | 1.2826
10:47 | 0.25284 | 11:47 | 0.09798 | 12:47 | 0 | 14:47 | 0.71207
10:48 | 0.25893 | 11:48 | 0.30341 | 12:48 | 0.98387 | 14:48 | 0.13777
10:49 | 0.17394 | 11:49 | 0.24686 | 12:49 | 2.392 | 14:49 | 0.011524
10:50 | 0.42711 | 11:50 | 0.30808 | 12:50 | 1.0218 | 14:50 | 0
10:51 | 0.44728 | 11:51 | 0.19907 | 12:51 | 0 | 14:51 | 0
10:52 | 0.26974 | 11:52 | 0.22938 | 12:52 | 0 | 14:52 | 0
10:53 | 0.24795 | 11:53 | 0.25537 | 12:53 | 0 | 14:53 | 0
10:54 | 0.21727 | 11:54 | 0.3777 | 12:54 | 0.56877 | 14:54 | 0.3246
|  |  |  | 12:55 | 2.4591 | 14:55 | 0.60668
|  |  |  | 12:56 | 0 | 14:56 | 0.20226
|  |  |  | 12:57 | 0 | 14:57 | 0
|  |  |  | 12:58 | 0 | 14:58 | 0
|  |  |  | 12:59 | 0 | 14:59 | 0.29378
|  |  |  | 13:00 | 0 | 15:00 | 0.91488
|  |  |  | 13:01 | 0 | 15:01 | 1.3003
|  |  |  | 13:02 | 3.9168 | 15:02 | 0.22706
|  |  |  | 13:03 | 3.7365 | 15:03 | 0.096483
|  |  |  | 13:04 | 0.43465 | 15:04 | 0
|  |  |  | 13:05 | 0 | 15:05 | 0
|  |  |  | 13:06 | 0 | 15:06 | 0
|  |  |  | 13:07 | 0 | 15:07 | 0.015261
|  |  |  | 13:08 | 0 | 15:08 | 0.53821
|  |  |  | 13:09 | 0.95753 | 15:09 | 0.76876
|  |  |  | 13:10 | 4.4376 | 15:10 | 2.339
|  |  |  | 13:11 | 1.3014 | 15:11 | 1.9967
|  |  |  | 13:12 | 4.8267 | 15:12 | 0
|  |  |  | 13:13 | 2.0499 | 15:13 | 0
|  |  |  | 13:14 | 2.5709 | 15:14 | 0
|  |  |  | 13:15 | 0.37155 | 15:15 | 0
|  |  |  | 13:16 | 2.2739 | 15:16 | 0.5418
|  |  |  | 13:17 | 0.27053 | 15:17 | 0.12627
|  |  |  | 13:18 | 0 | 15:18 | 0.40718
|  |  |  | 13:19 | 0 | 15:19 | 0
|  |  |  | 13:20 | 0 | 15:20 | 0
|  |  |  | 13:21 | 0 | 15:21 | 0
|  |  |  | 13:22 | 0 | 15:22 | 0
|  |  |  | 13:23 | 0 | 15:23 | 0
|  |  |  | 13:24 | 0 | 15:24 | 0
|  |  |  | 13:25 | 0 | 15:25 | 0
|  |  |  | 13:26 | 0 | 15:26 | 0
|  |  |  | 13:27 | 0 | 15:27 | 0
|  |  |  | 13:28 | 0 | 15:28 | 0.11562
|  |  |  | 13:29 | 0 | 15:29 | 0.0090983
|  |  |  | 13:30 | 0 | 15:30 | 0
|  |  |  | 13:31 | 0 | 15:31 | 0.10326
|  |  |  | 13:32 | 0.066737 | 15:32 | 0.042975
|  |  |  | 13:33 | 17.2584 | 15:33 | 0
|  |  |  | 13:34 | 6.3564 | 15:34 | 0.014323
|  |  |  | 13:35 | 3.7598 | 15:35 | 0
|  |  |  | 13:36 | 1.0073 | 15:36 | 0.34695
|  |  |  | 13:37 | 4.2687 | 15:37 | 0.4083
|  |  |  | 13:38 | 0.52893 | 15:38 | 0
|  |  |  | 13:39 | 2.5442 | 15:39 | 0
|  |  |  | 13:40 | 0.13882 | 15:40 | 0.29761
|  |  |  | 13:41 | 0 | 15:41 | 0.23523
|  |  |  | 13:42 | 0 | 15:42 | 0.16303
|  |  |  | 13:43 | 0 | 15:43 | 0
|  |  |  | 13:44 | 0 | 15:44 | 0.10763
|  |  |  | 13:45 | 2.4766 | 15:45 | 0.25666
|  |  |  | 13:46 | 0 | 15:46 | 0.322
|  |  |  | 13:47 | 0 | 15:47 | 0.40282
|  |  |  | 13:48 | 0 | 15:48 | 0.46428
|  |  |  | 13:49 | 0 | 15:49 | 0
|  |  |  | 13:50 | 0 | 15:50 | 0
|  |  |  | 13:51 | 0.10604 | 15:51 | 0
|  |  |  | 13:52 | 5.1996 | 15:52 | 0
|  |  |  | 13:53 | 0.3394 | 15:53 | 0.10154
|  |  |  | 13:54 | 0 | 15:54 | 0
[6 empty] | 15:55 | 0.1468
[6 empty] | 15:56 | 0
[6 empty] | 15:57 | 0.47805
[6 empty] | 15:58 | 0
[6 empty] | 15:59 | 0
[6 empty] | 16:00 | 0
[6 empty] | 16:01 | 0.049647
[6 empty] | 16:02 | 0
[6 empty] | 16:03 | 0
[6 empty] | 16:04 | 0.13233
[6 empty] | 16:05 | 0.064306
[6 empty] | 16:06 | 0.46981
[6 empty] | 16:07 | 0.44919
[6 empty] | 16:08 | 0.12549
[6 empty] | 16:09 | 0.29854
[6 empty] | 16:10 | 0
[6 empty] | 16:11 | 0
[6 empty] | 16:12 | 0
[6 empty] | 16:13 | 0
[6 empty] | 16:14 | 0.47256
[6 empty] | 16:15 | 0.52384
[6 empty] | 16:16 | 0.5605
[6 empty] | 16:17 | 0.60017
[6 empty] | 16:18 | 0.36465
[6 empty] | 16:19 | 0
[6 empty] | 16:20 | 0
[6 empty] | 16:21 | 0
[6 empty] | 16:22 | 0
[6 empty] | 16:23 | 0
[6 empty] | 16:24 | 0
[6 empty] | 16:25 | 2.3418
[6 empty] | 16:26 | 0.25376
[6 empty] | 16:27 | 4.1203
[6 empty] | 16:28 | 0.66606
[6 empty] | 16:29 | 0.18579
[6 empty] | 16:30 | 0.25064
[6 empty] | 16:31 | 0.55355
[6 empty] | 16:32 | 0.24588
[6 empty] | 16:33 | 0
[6 empty] | 16:34 | 0
[6 empty] | 16:35 | 0
[6 empty] | 16:36 | 0
[6 empty] | 16:37 | 0
[6 empty] | 16:38 | 0.026619
[6 empty] | 16:39 | 0.30522
[6 empty] | 16:40 | 0.078782
[6 empty] | 16:41 | 0.25185
[6 empty] | 16:42 | 0.19027
[6 empty] | 16:43 | 0
[6 empty] | 16:44 | 0
[6 empty] | 16:45 | 0.11322
[6 empty] | 16:46 | 0.93838
[6 empty] | 16:47 | 0.43052
[6 empty] | 16:48 | 0.3123
[6 empty] | 16:49 | 0
[6 empty] | 16:50 | 0
[6 empty] | 16:51 | 0.094945
[6 empty] | 16:52 | 1.0002
[6 empty] | 16:53 | 0.8729
[6 empty] | 16:54 | 0
Note on B6: enter 1-m g/hata for full run in col a&b

## results table
| Teom | Teom | % PM | FP equiv | FP equiv | full run g/h from filter pull:
| g/h | PM, g | of Total | g/h | PM, g
Phase 1 | 1.1343 | 1.1154 | 24.9894 | #DIV/0! | #DIV/0!
Phase 2 | 0.27446 | 0.26988 | 6.0465 | #DIV/0! | #DIV/0!
Phase 3 | 0.96886 | 1.9216 | 43.0519 | #DIV/0! | #DIV/0!
Phase 4 | 0.38767 | 1.1566 | 25.9121 | #DIV/0! | #DIV/0! | Ratio of Teom to filterpull full run g/h:
Phase 5 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0!
sum: |  | 4.4634 | 100 |  | #DIV/0!
Note: delete unused phases above since they show up as 0.
Note on K2: enter full run fp gph in k2