## 1-min gph
time | g/h | g/hr neg=0 | 2020-01-23 | full run Teom g/h avg: |  |  | full run Teom grams PM | Notes:
9:55 | 0 | 0 | PRE ESP 9 |  | 1.0978 |  | 7.6665 | 1. Teom g/h on this tab should have neg values set to 0, and missing minutes interpolated, per the BNL SOP
9:56 | 0 | 0 | [5 empty] | and should use actual tunnel flow for conversion from ug/m3 to g/h
9:57 | 0.15966 | 0.15966 | [5 empty] | 2. The BNL SOP says Teom PM should be at local t/p or at conditions used for reporting filter pull data and tunnel flows [??]
9:58 | 0.22507 | 0.22507
9:59 | 0.1268 | 0.1268
10:00 | 0 | 0 |  | QC checks: |  | result:
10:01 | 0.13134 | 0.13134 |  | min g/h: | 0 | should be zero, not negative
10:02 | 0.23647 | 0.23647 |  | Count: | 420
10:03 | 1.4261 | 1.4261 |  | # test min: | 420
10:04 | 11.5865 | 11.5865 |  | Diff: | 0 | should be 0
10:05 | 2.213 | 2.213
10:06 | 0.73549 | 0.73549
10:07 | 0.052171 | 0.052171
10:08 | 0 | 0
10:09 | 0 | 0
10:10 | 0.094603 | 0.094603
10:11 | 2.1675 | 2.1675
10:12 | 2.5474 | 2.5474
10:13 | 1.8868 | 1.8868
10:14 | 2.2704 | 2.2704
10:15 | 2.0857 | 2.0857
10:16 | 2.1018 | 2.1018
10:17 | 1.8878 | 1.8878
10:18 | 1.9503 | 1.9503
10:19 | 1.5942 | 1.5942
10:20 | 1.8658 | 1.8658
10:21 | 2.1636 | 2.1636
10:22 | 1.7905 | 1.7905
10:23 | 1.7744 | 1.7744
10:24 | 1.6471 | 1.6471
10:25 | 1.8278 | 1.8278
10:26 | 1.7383 | 1.7383
10:27 | 1.8839 | 1.8839
10:28 | 1.9219 | 1.9219
10:29 | 1.8765 | 1.8765
10:30 | 1.3471 | 1.3471
10:31 | 1.4182 | 1.4182
10:32 | 1.3986 | 1.3986
10:33 | 1.6708 | 1.6708
10:34 | 1.7771 | 1.7771
10:35 | 1.712 | 1.712
10:36 | 1.1183 | 1.1183
10:37 | 1.72 | 1.72
10:38 | 1.4269 | 1.4269
10:39 | 0.052003 | 0.052003
10:40 | 0.7005 | 0.7005
10:41 | 1.0601 | 1.0601
10:42 | 0.50079 | 0.50079
10:43 | 0.82043 | 0.82043
10:44 | 0.8634 | 0.8634
10:45 | 1.0179 | 1.0179
10:46 | 0.99208 | 0.99208
10:47 | 0.86993 | 0.86993
10:48 | 1.1232 | 1.1232
10:49 | 1.0927 | 1.0927
10:50 | 0.92222 | 0.92222
10:51 | 1.2129 | 1.2129
10:52 | 1.1285 | 1.1285
10:53 | 0.97158 | 0.97158
10:54 | 0.87091 | 0.87091
10:55 | 1.2645 | 1.2645
10:56 | 1.1548 | 1.1548
10:57 | 1.071 | 1.071
10:58 | 1.1694 | 1.1694
10:59 | 1.0842 | 1.0842
11:00 | 0.99394 | 0.99394
11:01 | 1.1212 | 1.1212
11:02 | 1.0411 | 1.0411
11:03 | 1.1012 | 1.1012
11:04 | 1.0822 | 1.0822
11:05 | 0.9837 | 0.9837
11:06 | 0.91914 | 0.91914
11:07 | 0.53871 | 0.53871
11:08 | 0.21376 | 0.21376
11:09 | 1.046 | 1.046
11:10 | 1.3862 | 1.3862
11:11 | 1.2384 | 1.2384
11:12 | 1.4961 | 1.4961
11:13 | 1.0552 | 1.0552
11:14 | 1.2267 | 1.2267
11:15 | 0.8998 | 0.8998
11:16 | 1.162 | 1.162
11:17 | 1.6883 | 1.6883
11:18 | 1.1866 | 1.1866
11:19 | 1.3967 | 1.3967
11:20 | 1.5755 | 1.5755
11:21 | 1.559 | 1.559
11:22 | 1.8607 | 1.8607
11:23 | 1.0345 | 1.0345
11:24 | 1.1607 | 1.1607
11:25 | 0.849 | 0.849
11:26 | 1.0431 | 1.0431
11:27 | 1.3435 | 1.3435
11:28 | 1.0846 | 1.0846
11:29 | 1.0107 | 1.0107
11:30 | 0.60517 | 0.60517
11:31 | 1.1286 | 1.1286
11:32 | 1.271 | 1.271
11:33 | 1.1937 | 1.1937
11:34 | 1.2975 | 1.2975
11:35 | 0.99355 | 0.99355
11:36 | 1.149 | 1.149
11:37 | 1.3109 | 1.3109
11:38 | 0.86846 | 0.86846
11:39 | 1.2865 | 1.2865
11:40 | 1.2362 | 1.2362
11:41 | 1.2363 | 1.2363
11:42 | 1.4508 | 1.4508
11:43 | 1.4048 | 1.4048
11:44 | 0.97355 | 0.97355
11:45 | 0.93823 | 0.93823
11:46 | 1.3948 | 1.3948
11:47 | 1.3529 | 1.3529
11:48 | 1.5995 | 1.5995
11:49 | 1.6866 | 1.6866
11:50 | 1.2079 | 1.2079
11:51 | 1.1288 | 1.1288
11:52 | 0.98717 | 0.98717
11:53 | 1.0761 | 1.0761
11:54 | 1.2318 | 1.2318
11:55 | 0.9967 | 0.9967
11:56 | 0.85536 | 0.85536
11:57 | 0.78516 | 0.78516
11:58 | 0.31274 | 0.31274
11:59 | 0.067832 | 0.067832
12:00 | 0.23655 | 0.23655
12:01 | 1.3785 | 1.3785
12:02 | 0.79352 | 0.79352
12:03 | 1.9423 | 1.9423
12:04 | 2.1274 | 2.1274
12:05 | 2.231 | 2.231
12:06 | 1.6809 | 1.6809
12:07 | 1.5592 | 1.5592
12:08 | 1.5774 | 1.5774
12:09 | 1.2375 | 1.2375
12:10 | 1.1308 | 1.1308
12:11 | 1.1939 | 1.1939
12:12 | 1.0995 | 1.0995
12:13 | 0.88725 | 0.88725
12:14 | 1.4479 | 1.4479
12:15 | 1.0397 | 1.0397
12:16 | 1.0498 | 1.0498
12:17 | 1.0225 | 1.0225
12:18 | 1.2758 | 1.2758
12:19 | 1.0947 | 1.0947
12:20 | 0 | 0
12:21 | 0.51462 | 0.51462
12:22 | 1.3809 | 1.3809
12:23 | 0.9348 | 0.9348
12:24 | 1.1657 | 1.1657
12:25 | 1.1328 | 1.1328
12:26 | 0.08857 | 0.08857
12:27 | 0 | 0
12:28 | 0.3206 | 0.3206
12:29 | 0 | 0
12:30 | 0 | 0
12:31 | 1.6821 | 1.6821
12:32 | 0 | 0
12:33 | 0.681 | 0.681
12:34 | 1.7398 | 1.7398
12:35 | 0.44402 | 0.44402
12:36 | 0.96572 | 0.96572
12:37 | 1.2991 | 1.2991
12:38 | 1.4282 | 1.4282
12:39 | 0.92931 | 0.92931
12:40 | 1.1175 | 1.1175
12:41 | 0.022034 | 0.022034
12:42 | 1.2811 | 1.2811
12:43 | 1.7279 | 1.7279
12:44 | 0 | 0
12:45 | 0 | 0
12:46 | 1.4351 | 1.4351
12:47 | 1.573 | 1.573
12:48 | 0 | 0
12:49 | 0 | 0
12:50 | 0.87635 | 0.87635
12:51 | 1.6155 | 1.6155
12:52 | 1.1237 | 1.1237
12:53 | 1.3386 | 1.3386
12:54 | 0 | 0
12:55 | 1.179 | 1.179
12:56 | 1.5883 | 1.5883
12:57 | 1.4328 | 1.4328
12:58 | 1.4866 | 1.4866
12:59 | 1.542 | 1.542
13:00 | 1.6863 | 1.6863
13:01 | 1.1154 | 1.1154
13:02 | 0 | 0
13:03 | 0 | 0
13:04 | 1.185 | 1.185
13:05 | 1.6149 | 1.6149
13:06 | 1.8014 | 1.8014
13:07 | 1.5878 | 1.5878
13:08 | 1.43 | 1.43
13:09 | 0 | 0
13:10 | 0 | 0
13:11 | 0.79514 | 0.79514
13:12 | 0.1363 | 0.1363
13:13 | 0.30605 | 0.30605
13:14 | 0.089965 | 0.089965
13:15 | 0.76977 | 0.76977
13:16 | 0.76162 | 0.76162
13:17 | 1.2748 | 1.2748
13:18 | 1.056 | 1.056
13:19 | 1.1449 | 1.1449
13:20 | 1.4401 | 1.4401
13:21 | 1.3153 | 1.3153
13:22 | 1.0373 | 1.0373
13:23 | 1.1689 | 1.1689
13:24 | 1.272 | 1.272
13:25 | 0.80946 | 0.80946
13:26 | 0.74915 | 0.74915
13:27 | 1.3993 | 1.3993
13:28 | 1.8661 | 1.8661
13:29 | 1.257 | 1.257
13:30 | 0.61206 | 0.61206
13:31 | 1.0596 | 1.0596
13:32 | 0.33099 | 0.33099
13:33 | 0 | 0
13:34 | 0 | 0
13:35 | 1.3334 | 1.3334
13:36 | 0.77606 | 0.77606
13:37 | 0 | 0
13:38 | 0.97753 | 0.97753
13:39 | 0 | 0
13:40 | 1.2352 | 1.2352
13:41 | 1.0077 | 1.0077
13:42 | 0.87086 | 0.87086
13:43 | 1.4127 | 1.4127
13:44 | 0.87608 | 0.87608
13:45 | 0.93537 | 0.93537
13:46 | 1.3928 | 1.3928
13:47 | 1.3527 | 1.3527
13:48 | 1.3761 | 1.3761
13:49 | 1.176 | 1.176
13:50 | 1.4219 | 1.4219
13:51 | 2.2908 | 2.2908
13:52 | 0.76148 | 0.76148
13:53 | 2.1395 | 2.1395
13:54 | 1.6406 | 1.6406
13:55 | 0 | 0
13:56 | 0.038982 | 0.038982
13:57 | 1.5119 | 1.5119
13:58 | 1.5715 | 1.5715
13:59 | 1.451 | 1.451
14:00 | 1.5287 | 1.5287
14:01 | 0 | 0
14:02 | 0.44049 | 0.44049
14:03 | 0.30108 | 0.30108
14:04 | 1.8292 | 1.8292
14:05 | 2.2263 | 2.2263
14:06 | 1.5679 | 1.5679
14:07 | 1.3351 | 1.3351
14:08 | 0 | 0
14:09 | 1.3291 | 1.3291
14:10 | 2.1872 | 2.1872
14:11 | 2.1174 | 2.1174
14:12 | 2.059 | 2.059
14:13 | 1.7408 | 1.7408
14:14 | 0.043862 | 0.043862
14:15 | 0 | 0
14:16 | 1.0735 | 1.0735
14:17 | 2.1537 | 2.1537
14:18 | 2.3464 | 2.3464
14:19 | 1.5655 | 1.5655
14:20 | 0.46436 | 0.46436
14:21 | 0.80794 | 0.80794
14:22 | 1.515 | 1.515
14:23 | 1.0678 | 1.0678
14:24 | 0.20684 | 0.20684
14:25 | 1.7906 | 1.7906
14:26 | 1.5225 | 1.5225
14:27 | 2.1601 | 2.1601
14:28 | 1.623 | 1.623
14:29 | 1.3767 | 1.3767
14:30 | 1.8714 | 1.8714
14:31 | 1.5876 | 1.5876
14:32 | 1.6582 | 1.6582
14:33 | 1.6027 | 1.6027
14:34 | 1.666 | 1.666
14:35 | 1.6266 | 1.6266
14:36 | 0.7247 | 0.7247
14:37 | 1.1054 | 1.1054
14:38 | 0.82186 | 0.82186
14:39 | 1.3973 | 1.3973
14:40 | 0.57271 | 0.57271
14:41 | 0.99246 | 0.99246
14:42 | 1.3707 | 1.3707
14:43 | 0.91196 | 0.91196
14:44 | 0.87489 | 0.87489
14:45 | 1.7677 | 1.7677
14:46 | 0 | 0
14:47 | 1.4794 | 1.4794
14:48 | 1.4885 | 1.4885
14:49 | 1.9598 | 1.9598
14:50 | 1.7915 | 1.7915
14:51 | 1.133 | 1.133
14:52 | 0.74525 | 0.74525
14:53 | 1.854 | 1.854
14:54 | 1.6865 | 1.6865
14:55 | 1.365 | 1.365
14:56 | 1.2512 | 1.2512
14:57 | 0.68319 | 0.68319
14:58 | 1.1005 | 1.1005
14:59 | 0.83676 | 0.83676
15:00 | 1.1325 | 1.1325
15:01 | 1.7041 | 1.7041
15:02 | 1.2305 | 1.2305
15:03 | 1.1889 | 1.1889
15:04 | 0.69737 | 0.69737
15:05 | 0.69424 | 0.69424
15:06 | 0.94066 | 0.94066
15:07 | 1.7818 | 1.7818
15:08 | 1.9339 | 1.9339
15:09 | 2.2133 | 2.2133
15:10 | 1.9237 | 1.9237
15:11 | 1.9714 | 1.9714
15:12 | 0 | 0
15:13 | 0.0027502 | 0.0027502
15:14 | 0.14103 | 0.14103
15:15 | 1.4518 | 1.4518
15:16 | 1.5627 | 1.5627
15:17 | 1.8722 | 1.8722
15:18 | 1.0428 | 1.0428
15:19 | 0.83804 | 0.83804
15:20 | 1.1662 | 1.1662
15:21 | 0.79778 | 0.79778
15:22 | 0.45289 | 0.45289
15:23 | 0.27521 | 0.27521
15:24 | 0.64981 | 0.64981
15:25 | 0.31245 | 0.31245
15:26 | 0.65931 | 0.65931
15:27 | 0.85879 | 0.85879
15:28 | 1.3439 | 1.3439
15:29 | 0.74651 | 0.74651
15:30 | 0 | 0
15:31 | 0.81405 | 0.81405
15:32 | 0.79424 | 0.79424
15:33 | 0.7504 | 0.7504
15:34 | 0.84571 | 0.84571
15:35 | 0.53326 | 0.53326
15:36 | 1.4115 | 1.4115
15:37 | 0.60042 | 0.60042
15:38 | 0.119 | 0.119
15:39 | 0.55829 | 0.55829
15:40 | 1.6185 | 1.6185
15:41 | 1.0623 | 1.0623
15:42 | 0.74908 | 0.74908
15:43 | 0.58396 | 0.58396
15:44 | 1.921 | 1.921
15:45 | 1.8907 | 1.8907
15:46 | 1.7292 | 1.7292
15:47 | 1.5416 | 1.5416
15:48 | 0.93778 | 0.93778
15:49 | 0.013066 | 0.013066
15:50 | 0.052424 | 0.052424
15:51 | 0 | 0
15:52 | 0.74217 | 0.74217
15:53 | 1.0541 | 1.0541
15:54 | 0.33984 | 0.33984
15:55 | 2.8552 | 2.8552
15:56 | 1.7358 | 1.7358
15:57 | 1.4826 | 1.4826
15:58 | 0.71954 | 0.71954
15:59 | 1.4849 | 1.4849
16:00 | 0.86226 | 0.86226
16:01 | 0.47137 | 0.47137
16:02 | 0.42151 | 0.42151
16:03 | 1.1708 | 1.1708
16:04 | 0.30988 | 0.30988
16:05 | 0.48317 | 0.48317
16:06 | 1.0686 | 1.0686
16:07 | 1.1299 | 1.1299
16:08 | 1.414 | 1.414
16:09 | 0.82087 | 0.82087
16:10 | 0.29976 | 0.29976
16:11 | 0.84809 | 0.84809
16:12 | 0.29222 | 0.29222
16:13 | 0.4413 | 0.4413
16:14 | 2.7968 | 2.7968
16:15 | 2.7309 | 2.7309
16:16 | 1.2827 | 1.2827
16:17 | 1.3062 | 1.3062
16:18 | 0.60669 | 0.60669
16:19 | 0.29271 | 0.29271
16:20 | 0.36247 | 0.36247
16:21 | 0.5972 | 0.5972
16:22 | 0.38483 | 0.38483
16:23 | 0.93778 | 0.93778
16:24 | 0.25252 | 0.25252
16:25 | 0.16752 | 0.16752
16:26 | 1.2852 | 1.2852
16:27 | 0.28591 | 0.28591
16:28 | 1.2498 | 1.2498
16:29 | 1.6875 | 1.6875
16:30 | 1.5914 | 1.5914
16:31 | 1.6662 | 1.6662
16:32 | 1.4014 | 1.4014
16:33 | 0.18452 | 0.18452
16:34 | 0.31118 | 0.31118
16:35 | 0.46197 | 0.46197
16:36 | 0.28041 | 0.28041
16:37 | 0.93234 | 0.93234
16:38 | 1.4657 | 1.4657
16:39 | 1.3825 | 1.3825
16:40 | 1.5505 | 1.5505
16:41 | 1.9325 | 1.9325
16:42 | 1.2108 | 1.2108
16:43 | 0.63209 | 0.63209
16:44 | 0.39559 | 0.39559
16:45 | 1.4248 | 1.4248
16:46 | 2.0101 | 2.0101
16:47 | 1.2723 | 1.2723
16:48 | 0.61279 | 0.61279
16:49 | 0.32084 | 0.32084
16:50 | 0.81723 | 0.81723
16:51 | 1.3732 | 1.3732
16:52 | 0 | 0
16:53 | 0.35802 | 0.35802
16:54 | 0.90392 | 0.90392
Note on B2: enter 1-m g/h data for full run in col a&b

## 1-min gph by phase
Phase 1 |  | Phase 2 |  | Phase 3 |  | Phase 4 |  | Phase 5 |  | Phase 6 |  | Phase 7 |  | Phase 8 |  | Phase 9 |  | Phase 10
avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM
1.3626 | 1.3399 | 1.1675 | 1.1481 | 0.976 | 1.9357 | 1.0676 | 3.1849 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h
9:55 | 0 | 10:55 | 1.2645 | 11:55 | 0.9967 | 13:55 | 0 | 0:00 | 0 | 0:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9:56 | 0 | 10:56 | 1.1548 | 11:56 | 0.85536 | 13:56 | 0.038982
9:57 | 0.15966 | 10:57 | 1.071 | 11:57 | 0.78516 | 13:57 | 1.5119
9:58 | 0.22507 | 10:58 | 1.1694 | 11:58 | 0.31274 | 13:58 | 1.5715
9:59 | 0.1268 | 10:59 | 1.0842 | 11:59 | 0.067832 | 13:59 | 1.451
10:00 | 0 | 11:00 | 0.99394 | 12:00 | 0.23655 | 14:00 | 1.5287
10:01 | 0.13134 | 11:01 | 1.1212 | 12:01 | 1.3785 | 14:01 | 0
10:02 | 0.23647 | 11:02 | 1.0411 | 12:02 | 0.79352 | 14:02 | 0.44049
10:03 | 1.4261 | 11:03 | 1.1012 | 12:03 | 1.9423 | 14:03 | 0.30108
10:04 | 11.5865 | 11:04 | 1.0822 | 12:04 | 2.1274 | 14:04 | 1.8292
10:05 | 2.213 | 11:05 | 0.9837 | 12:05 | 2.231 | 14:05 | 2.2263
10:06 | 0.73549 | 11:06 | 0.91914 | 12:06 | 1.6809 | 14:06 | 1.5679
10:07 | 0.052171 | 11:07 | 0.53871 | 12:07 | 1.5592 | 14:07 | 1.3351
10:08 | 0 | 11:08 | 0.21376 | 12:08 | 1.5774 | 14:08 | 0
10:09 | 0 | 11:09 | 1.046 | 12:09 | 1.2375 | 14:09 | 1.3291
10:10 | 0.094603 | 11:10 | 1.3862 | 12:10 | 1.1308 | 14:10 | 2.1872
10:11 | 2.1675 | 11:11 | 1.2384 | 12:11 | 1.1939 | 14:11 | 2.1174
10:12 | 2.5474 | 11:12 | 1.4961 | 12:12 | 1.0995 | 14:12 | 2.059
10:13 | 1.8868 | 11:13 | 1.0552 | 12:13 | 0.88725 | 14:13 | 1.7408
10:14 | 2.2704 | 11:14 | 1.2267 | 12:14 | 1.4479 | 14:14 | 0.043862
10:15 | 2.0857 | 11:15 | 0.8998 | 12:15 | 1.0397 | 14:15 | 0
10:16 | 2.1018 | 11:16 | 1.162 | 12:16 | 1.0498 | 14:16 | 1.0735
10:17 | 1.8878 | 11:17 | 1.6883 | 12:17 | 1.0225 | 14:17 | 2.1537
10:18 | 1.9503 | 11:18 | 1.1866 | 12:18 | 1.2758 | 14:18 | 2.3464
10:19 | 1.5942 | 11:19 | 1.3967 | 12:19 | 1.0947 | 14:19 | 1.5655
10:20 | 1.8658 | 11:20 | 1.5755 | 12:20 | 0 | 14:20 | 0.46436
10:21 | 2.1636 | 11:21 | 1.559 | 12:21 | 0.51462 | 14:21 | 0.80794
10:22 | 1.7905 | 11:22 | 1.8607 | 12:22 | 1.3809 | 14:22 | 1.515
10:23 | 1.7744 | 11:23 | 1.0345 | 12:23 | 0.9348 | 14:23 | 1.0678
10:24 | 1.6471 | 11:24 | 1.1607 | 12:24 | 1.1657 | 14:24 | 0.20684
10:25 | 1.8278 | 11:25 | 0.849 | 12:25 | 1.1328 | 14:25 | 1.7906
10:26 | 1.7383 | 11:26 | 1.0431 | 12:26 | 0.08857 | 14:26 | 1.5225
10:27 | 1.8839 | 11:27 | 1.3435 | 12:27 | 0 | 14:27 | 2.1601
10:28 | 1.9219 | 11:28 | 1.0846 | 12:28 | 0.3206 | 14:28 | 1.623
10:29 | 1.8765 | 11:29 | 1.0107 | 12:29 | 0 | 14:29 | 1.3767
10:30 | 1.3471 | 11:30 | 0.60517 | 12:30 | 0 | 14:30 | 1.8714
10:31 | 1.4182 | 11:31 | 1.1286 | 12:31 | 1.6821 | 14:31 | 1.5876
10:32 | 1.3986 | 11:32 | 1.271 | 12:32 | 0 | 14:32 | 1.6582
10:33 | 1.6708 | 11:33 | 1.1937 | 12:33 | 0.681 | 14:33 | 1.6027
10:34 | 1.7771 | 11:34 | 1.2975 | 12:34 | 1.7398 | 14:34 | 1.666
10:35 | 1.712 | 11:35 | 0.99355 | 12:35 | 0.44402 | 14:35 | 1.6266
10:36 | 1.1183 | 11:36 | 1.149 | 12:36 | 0.96572 | 14:36 | 0.7247
10:37 | 1.72 | 11:37 | 1.3109 | 12:37 | 1.2991 | 14:37 | 1.1054
10:38 | 1.4269 | 11:38 | 0.86846 | 12:38 | 1.4282 | 14:38 | 0.82186
10:39 | 0.052003 | 11:39 | 1.2865 | 12:39 | 0.92931 | 14:39 | 1.3973
10:40 | 0.7005 | 11:40 | 1.2362 | 12:40 | 1.1175 | 14:40 | 0.57271
10:41 | 1.0601 | 11:41 | 1.2363 | 12:41 | 0.022034 | 14:41 | 0.99246
10:42 | 0.50079 | 11:42 | 1.4508 | 12:42 | 1.2811 | 14:42 | 1.3707
10:43 | 0.82043 | 11:43 | 1.4048 | 12:43 | 1.7279 | 14:43 | 0.91196
10:44 | 0.8634 | 11:44 | 0.97355 | 12:44 | 0 | 14:44 | 0.87489
10:45 | 1.0179 | 11:45 | 0.93823 | 12:45 | 0 | 14:45 | 1.7677
10:46 | 0.99208 | 11:46 | 1.3948 | 12:46 | 1.4351 | 14:46 | 0
10:47 | 0.86993 | 11:47 | 1.3529 | 12:47 | 1.573 | 14:47 | 1.4794
10:48 | 1.1232 | 11:48 | 1.5995 | 12:48 | 0 | 14:48 | 1.4885
10:49 | 1.0927 | 11:49 | 1.6866 | 12:49 | 0 | 14:49 | 1.9598
10:50 | 0.92222 | 11:50 | 1.2079 | 12:50 | 0.87635 | 14:50 | 1.7915
10:51 | 1.2129 | 11:51 | 1.1288 | 12:51 | 1.6155 | 14:51 | 1.133
10:52 | 1.1285 | 11:52 | 0.98717 | 12:52 | 1.1237 | 14:52 | 0.74525
10:53 | 0.97158 | 11:53 | 1.0761 | 12:53 | 1.3386 | 14:53 | 1.854
10:54 | 0.87091 | 11:54 | 1.2318 | 12:54 | 0 | 14:54 | 1.6865
|  |  |  | 12:55 | 1.179 | 14:55 | 1.365
|  |  |  | 12:56 | 1.5883 | 14:56 | 1.2512
|  |  |  | 12:57 | 1.4328 | 14:57 | 0.68319
|  |  |  | 12:58 | 1.4866 | 14:58 | 1.1005
|  |  |  | 12:59 | 1.542 | 14:59 | 0.83676
|  |  |  | 13:00 | 1.6863 | 15:00 | 1.1325
|  |  |  | 13:01 | 1.1154 | 15:01 | 1.7041
|  |  |  | 13:02 | 0 | 15:02 | 1.2305
|  |  |  | 13:03 | 0 | 15:03 | 1.1889
|  |  |  | 13:04 | 1.185 | 15:04 | 0.69737
|  |  |  | 13:05 | 1.6149 | 15:05 | 0.69424
|  |  |  | 13:06 | 1.8014 | 15:06 | 0.94066
|  |  |  | 13:07 | 1.5878 | 15:07 | 1.7818
|  |  |  | 13:08 | 1.43 | 15:08 | 1.9339
|  |  |  | 13:09 | 0 | 15:09 | 2.2133
|  |  |  | 13:10 | 0 | 15:10 | 1.9237
|  |  |  | 13:11 | 0.79514 | 15:11 | 1.9714
|  |  |  | 13:12 | 0.1363 | 15:12 | 0
|  |  |  | 13:13 | 0.30605 | 15:13 | 0.0027502
|  |  |  | 13:14 | 0.089965 | 15:14 | 0.14103
|  |  |  | 13:15 | 0.76977 | 15:15 | 1.4518
|  |  |  | 13:16 | 0.76162 | 15:16 | 1.5627
|  |  |  | 13:17 | 1.2748 | 15:17 | 1.8722
|  |  |  | 13:18 | 1.056 | 15:18 | 1.0428
|  |  |  | 13:19 | 1.1449 | 15:19 | 0.83804
|  |  |  | 13:20 | 1.4401 | 15:20 | 1.1662
|  |  |  | 13:21 | 1.3153 | 15:21 | 0.79778
|  |  |  | 13:22 | 1.0373 | 15:22 | 0.45289
|  |  |  | 13:23 | 1.1689 | 15:23 | 0.27521
|  |  |  | 13:24 | 1.272 | 15:24 | 0.64981
|  |  |  | 13:25 | 0.80946 | 15:25 | 0.31245
|  |  |  | 13:26 | 0.74915 | 15:26 | 0.65931
|  |  |  | 13:27 | 1.3993 | 15:27 | 0.85879
|  |  |  | 13:28 | 1.8661 | 15:28 | 1.3439
|  |  |  | 13:29 | 1.257 | 15:29 | 0.74651
|  |  |  | 13:30 | 0.61206 | 15:30 | 0
|  |  |  | 13:31 | 1.0596 | 15:31 | 0.81405
|  |  |  | 13:32 | 0.33099 | 15:32 | 0.79424
|  |  |  | 13:33 | 0 | 15:33 | 0.7504
|  |  |  | 13:34 | 0 | 15:34 | 0.84571
|  |  |  | 13:35 | 1.3334 | 15:35 | 0.53326
|  |  |  | 13:36 | 0.77606 | 15:36 | 1.4115
|  |  |  | 13:37 | 0 | 15:37 | 0.60042
|  |  |  | 13:38 | 0.97753 | 15:38 | 0.119
|  |  |  | 13:39 | 0 | 15:39 | 0.55829
|  |  |  | 13:40 | 1.2352 | 15:40 | 1.6185
|  |  |  | 13:41 | 1.0077 | 15:41 | 1.0623
|  |  |  | 13:42 | 0.87086 | 15:42 | 0.74908
|  |  |  | 13:43 | 1.4127 | 15:43 | 0.58396
|  |  |  | 13:44 | 0.87608 | 15:44 | 1.921
|  |  |  | 13:45 | 0.93537 | 15:45 | 1.8907
|  |  |  | 13:46 | 1.3928 | 15:46 | 1.7292
|  |  |  | 13:47 | 1.3527 | 15:47 | 1.5416
|  |  |  | 13:48 | 1.3761 | 15:48 | 0.93778
|  |  |  | 13:49 | 1.176 | 15:49 | 0.013066
|  |  |  | 13:50 | 1.4219 | 15:50 | 0.052424
|  |  |  | 13:51 | 2.2908 | 15:51 | 0
|  |  |  | 13:52 | 0.76148 | 15:52 | 0.74217
|  |  |  | 13:53 | 2.1395 | 15:53 | 1.0541
|  |  |  | 13:54 | 1.6406 | 15:54 | 0.33984
[6 empty] | 15:55 | 2.8552
[6 empty] | 15:56 | 1.7358
[6 empty] | 15:57 | 1.4826
[6 empty] | 15:58 | 0.71954
[6 empty] | 15:59 | 1.4849
[6 empty] | 16:00 | 0.86226
[6 empty] | 16:01 | 0.47137
[6 empty] | 16:02 | 0.42151
[6 empty] | 16:03 | 1.1708
[6 empty] | 16:04 | 0.30988
[6 empty] | 16:05 | 0.48317
[6 empty] | 16:06 | 1.0686
[6 empty] | 16:07 | 1.1299
[6 empty] | 16:08 | 1.414
[6 empty] | 16:09 | 0.82087
[6 empty] | 16:10 | 0.29976
[6 empty] | 16:11 | 0.84809
[6 empty] | 16:12 | 0.29222
[6 empty] | 16:13 | 0.4413
[6 empty] | 16:14 | 2.7968
[6 empty] | 16:15 | 2.7309
[6 empty] | 16:16 | 1.2827
[6 empty] | 16:17 | 1.3062
[6 empty] | 16:18 | 0.60669
[6 empty] | 16:19 | 0.29271
[6 empty] | 16:20 | 0.36247
[6 empty] | 16:21 | 0.5972
[6 empty] | 16:22 | 0.38483
[6 empty] | 16:23 | 0.93778
[6 empty] | 16:24 | 0.25252
[6 empty] | 16:25 | 0.16752
[6 empty] | 16:26 | 1.2852
[6 empty] | 16:27 | 0.28591
[6 empty] | 16:28 | 1.2498
[6 empty] | 16:29 | 1.6875
[6 empty] | 16:30 | 1.5914
[6 empty] | 16:31 | 1.6662
[6 empty] | 16:32 | 1.4014
[6 empty] | 16:33 | 0.18452
[6 empty] | 16:34 | 0.31118
[6 empty] | 16:35 | 0.46197
[6 empty] | 16:36 | 0.28041
[6 empty] | 16:37 | 0.93234
[6 empty] | 16:38 | 1.4657
[6 empty] | 16:39 | 1.3825
[6 empty] | 16:40 | 1.5505
[6 empty] | 16:41 | 1.9325
[6 empty] | 16:42 | 1.2108
[6 empty] | 16:43 | 0.63209
[6 empty] | 16:44 | 0.39559
[6 empty] | 16:45 | 1.4248
[6 empty] | 16:46 | 2.0101
[6 empty] | 16:47 | 1.2723
[6 empty] | 16:48 | 0.61279
[6 empty] | 16:49 | 0.32084
[6 empty] | 16:50 | 0.81723
[6 empty] | 16:51 | 1.3732
[6 empty] | 16:52 | 0
[6 empty] | 16:53 | 0.35802
[6 empty] | 16:54 | 0.90392
Note on B6: enter 1-m g/hata for full run in col a&b

## results table
| Teom | Teom | % PM | FP equiv | FP equiv | full run g/h from filter pull:
| g/h | PM, g | of Total | g/h | PM, g
Phase 1 | 1.3626 | 1.3399 | 17.6105 | #DIV/0! | #DIV/0!
Phase 2 | 1.1675 | 1.1481 | 15.0892 | #DIV/0! | #DIV/0!
Phase 3 | 0.976 | 1.9357 | 25.4415 | #DIV/0! | #DIV/0!
Phase 4 | 1.0676 | 3.1849 | 41.8589 | #DIV/0! | #DIV/0! | Ratio of Teom to filterpull full run g/h:
Phase 5 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0!
sum: |  | 7.6086 | 100 |  | #DIV/0!
Note: delete unused phases above since they show up as 0.
Note on K2: enter full run fp gph in k2