## 1-min gph
time | g/h | g/hr neg=0 | 2020-01-29 | full run Teom g/h avg: |  |  | full run Teom grams PM | Notes:
8:45 | 0.1243 | 0.1243 | POST ESP 10 |  | 0.59583 |  | 4.1609 | 1. Teom g/h on this tab should have neg values set to 0, and missing minutes interpolated, per the BNL SOP
8:46 | 1.0771 | 1.0771 | [5 empty] | and should use actual tunnel flow for conversion from ug/m3 to g/h
8:47 | 0.39152 | 0.39152 | [5 empty] | 2. The BNL SOP says Teom PM should be at local t/p or at conditions used for reporting filter pull data and tunnel flows [??]
8:48 | 0.26994 | 0.26994
8:49 | 0.24203 | 0.24203
8:50 | 0.22476 | 0.22476 |  | QC checks: |  | result:
8:51 | 0.28755 | 0.28755 |  | min g/h: | 0 | should be zero, not negative
8:52 | 0.1684 | 0.1684 |  | Count: | 420
8:53 | 0.1507 | 0.1507 |  | # test min: | 420
8:54 | 0.21832 | 0.21832 |  | Diff: | 0 | should be 0
8:55 | 0.2821 | 0.2821
8:56 | 0.43359 | 0.43359
8:57 | 0.69416 | 0.69416
8:58 | 3.5583 | 3.5583
8:59 | 8.2266 | 8.2266
9:00 | 1.2871 | 1.2871
9:01 | 0.19549 | 0.19549
9:02 | 0 | 0
9:03 | 0.043893 | 0.043893
9:04 | 0.04232 | 0.04232
9:05 | 0.10609 | 0.10609
9:06 | 4.1642 | 4.1642
9:07 | 1.7973 | 1.7973
9:08 | 1.0879 | 1.0879
9:09 | 1.0295 | 1.0295
9:10 | 0.94806 | 0.94806
9:11 | 1.079 | 1.079
9:12 | 1.2644 | 1.2644
9:13 | 1.0251 | 1.0251
9:14 | 0.77283 | 0.77283
9:15 | 0.7879 | 0.7879
9:16 | 0.84811 | 0.84811
9:17 | 0.86889 | 0.86889
9:18 | 0.99564 | 0.99564
9:19 | 0.87898 | 0.87898
9:20 | 0.77902 | 0.77902
9:21 | 0.97563 | 0.97563
9:22 | 0.89525 | 0.89525
9:23 | 0.7009 | 0.7009
9:24 | 0.68559 | 0.68559
9:25 | 0.40846 | 0.40846
9:26 | 0.61405 | 0.61405
9:27 | 0.59391 | 0.59391
9:28 | 0.55598 | 0.55598
9:29 | 0.68893 | 0.68893
9:30 | 0.69092 | 0.69092
9:31 | 0.60403 | 0.60403
9:32 | 0.69512 | 0.69512
9:33 | 0.69466 | 0.69466
9:34 | 0.62056 | 0.62056
9:35 | 0.67537 | 0.67537
9:36 | 0.5911 | 0.5911
9:37 | 0.48745 | 0.48745
9:38 | 0.74719 | 0.74719
9:39 | 0.58647 | 0.58647
9:40 | 0.52608 | 0.52608
9:41 | 0.78334 | 0.78334
9:42 | 0.78987 | 0.78987
9:43 | 0.68915 | 0.68915
9:44 | 0.63071 | 0.63071
9:45 | 0.46521 | 0.46521
9:46 | 0.50155 | 0.50155
9:47 | 0.52553 | 0.52553
9:48 | 0.52166 | 0.52166
9:49 | 0.55836 | 0.55836
9:50 | 0.6688 | 0.6688
9:51 | 0.47778 | 0.47778
9:52 | 0.58862 | 0.58862
9:53 | 0.61167 | 0.61167
9:54 | 0.43816 | 0.43816
9:55 | 0.55431 | 0.55431
9:56 | 0.58863 | 0.58863
9:57 | 0.64663 | 0.64663
9:58 | 0.69547 | 0.69547
9:59 | 0.51456 | 0.51456
10:00 | 0.56841 | 0.56841
10:01 | 0.58163 | 0.58163
10:02 | 0.53051 | 0.53051
10:03 | 0.59991 | 0.59991
10:04 | 0.67235 | 0.67235
10:05 | 0.49066 | 0.49066
10:06 | 0.60368 | 0.60368
10:07 | 0.5644 | 0.5644
10:08 | 0.35773 | 0.35773
10:09 | 0.46535 | 0.46535
10:10 | 0.39591 | 0.39591
10:11 | 0.71328 | 0.71328
10:12 | 0.5157 | 0.5157
10:13 | 0.57496 | 0.57496
10:14 | 0.3838 | 0.3838
10:15 | 0.51614 | 0.51614
10:16 | 0.4971 | 0.4971
10:17 | 0.35413 | 0.35413
10:18 | 0.70251 | 0.70251
10:19 | 0.42497 | 0.42497
10:20 | 0.1973 | 0.1973
10:21 | 0.49171 | 0.49171
10:22 | 0.45779 | 0.45779
10:23 | 0.43778 | 0.43778
10:24 | 0.29034 | 0.29034
10:25 | 0.42735 | 0.42735
10:26 | 0.5184 | 0.5184
10:27 | 0.46794 | 0.46794
10:28 | 0.28646 | 0.28646
10:29 | 0.39601 | 0.39601
10:30 | 0.5218 | 0.5218
10:31 | 0.59254 | 0.59254
10:32 | 0.51574 | 0.51574
10:33 | 0.37026 | 0.37026
10:34 | 0.2872 | 0.2872
10:35 | 0.38294 | 0.38294
10:36 | 0.34079 | 0.34079
10:37 | 0.31451 | 0.31451
10:38 | 0.66504 | 0.66504
10:39 | 0.3608 | 0.3608
10:40 | 0.27888 | 0.27888
10:41 | 0.40083 | 0.40083
10:42 | 0.49147 | 0.49147
10:43 | 0.50517 | 0.50517
10:44 | 0.39599 | 0.39599
10:45 | 0.34674 | 0.34674
10:46 | 0.21371 | 0.21371
10:47 | 0.12944 | 0.12944
10:48 | 0.053947 | 0.053947
10:49 | 0 | 0
10:50 | 0 | 0
10:51 | 0.016101 | 0.016101
10:52 | 0.17706 | 0.17706
10:53 | 0.18238 | 0.18238
10:54 | 1.019 | 1.019
10:55 | 1.3527 | 1.3527
10:56 | 0.57837 | 0.57837
10:57 | 0.78568 | 0.78568
10:58 | 0.54702 | 0.54702
10:59 | 0.69909 | 0.69909
11:00 | 0.55159 | 0.55159
11:01 | 0.4659 | 0.4659
11:02 | 0.55211 | 0.55211
11:03 | 0.32408 | 0.32408
11:04 | 0.55692 | 0.55692
11:05 | 0.58971 | 0.58971
11:06 | 0.54986 | 0.54986
11:07 | 0.2895 | 0.2895
11:08 | 0.23271 | 0.23271
11:09 | 0.15317 | 0.15317
11:10 | 0.26569 | 0.26569
11:11 | 0.16738 | 0.16738
11:12 | 0.27133 | 0.27133
11:13 | 0.39327 | 0.39327
11:14 | 0.28343 | 0.28343
11:15 | 0.19402 | 0.19402
11:16 | 0.37599 | 0.37599
11:17 | 0.1937 | 0.1937
11:18 | 0.58349 | 0.58349
11:19 | 0.43984 | 0.43984
11:20 | 0.3112 | 0.3112
11:21 | 0.60726 | 0.60726
11:22 | 0.45419 | 0.45419
11:23 | 0.46723 | 0.46723
11:24 | 0.4809 | 0.4809
11:25 | 0.5752 | 0.5752
11:26 | 0.44274 | 0.44274
11:27 | 0.37438 | 0.37438
11:28 | 0.44877 | 0.44877
11:29 | 0.26883 | 0.26883
11:30 | 0.1478 | 0.1478
11:31 | 0.36547 | 0.36547
11:32 | 1.3086 | 1.3086
11:33 | 0.89317 | 0.89317
11:34 | 0.31794 | 0.31794
11:35 | 0.22041 | 0.22041
11:36 | 0.33576 | 0.33576
11:37 | 0.33449 | 0.33449
11:38 | 0.55445 | 0.55445
11:39 | 0.40405 | 0.40405
11:40 | 0.55163 | 0.55163
11:41 | 1.2314 | 1.2314
11:42 | 0.45365 | 0.45365
11:43 | 0.18119 | 0.18119
11:44 | 0.10046 | 0.10046
11:45 | 0.1737 | 0.1737
11:46 | 0.27056 | 0.27056
11:47 | 0.40787 | 0.40787
11:48 | 0.27848 | 0.27848
11:49 | 0.14123 | 0.14123
11:50 | 0.27017 | 0.27017
11:51 | 0.48868 | 0.48868
11:52 | 0.12685 | 0.12685
11:53 | 0.40813 | 0.40813
11:54 | 0.11826 | 0.11826
11:55 | 0.53235 | 0.53235
11:56 | 0.43895 | 0.43895
11:57 | 0.14392 | 0.14392
11:58 | 1.1599 | 1.1599
11:59 | 2.425 | 2.425
12:00 | 4.274 | 4.274
12:01 | 0 | 0
12:02 | 0.91301 | 0.91301
12:03 | 0.012975 | 0.012975
12:04 | 0.049829 | 0.049829
12:05 | 0.11418 | 0.11418
12:06 | 0.22793 | 0.22793
12:07 | 1.2214 | 1.2214
12:08 | 5.0023 | 5.0023
12:09 | 0.61748 | 0.61748
12:10 | 0.067361 | 0.067361
12:11 | 0.25583 | 0.25583
12:12 | 5.2429 | 5.2429
12:13 | 0.51897 | 0.51897
12:14 | 0.12248 | 0.12248
12:15 | 0 | 0
12:16 | 0 | 0
12:17 | 0.79907 | 0.79907
12:18 | 3.2408 | 3.2408
12:19 | 0.042506 | 0.042506
12:20 | 0 | 0
12:21 | 0 | 0
12:22 | 0.13585 | 0.13585
12:23 | 0.22058 | 0.22058
12:24 | 3.6771 | 3.6771
12:25 | 4.8847 | 4.8847
12:26 | 0.54934 | 0.54934
12:27 | 1.3372 | 1.3372
12:28 | 0 | 0
12:29 | 0 | 0
12:30 | 0 | 0
12:31 | 2.8756 | 2.8756
12:32 | 3.2211 | 3.2211
12:33 | 0.38482 | 0.38482
12:34 | 0 | 0
12:35 | 0 | 0
12:36 | 0 | 0
12:37 | 0 | 0
12:38 | 0 | 0
12:39 | 0.42917 | 0.42917
12:40 | 3.8492 | 3.8492
12:41 | 1.6741 | 1.6741
12:42 | 0.38486 | 0.38486
12:43 | 1.0143 | 1.0143
12:44 | 1.8601 | 1.8601
12:45 | 0 | 0
12:46 | 0 | 0
12:47 | 0 | 0
12:48 | 0 | 0
12:49 | 0 | 0
12:50 | 2.4817 | 2.4817
12:51 | 5.1354 | 5.1354
12:52 | 0.80226 | 0.80226
12:53 | 1.7339 | 1.7339
12:54 | 0.63727 | 0.63727
12:55 | 0.14179 | 0.14179
12:56 | 0.98255 | 0.98255
12:57 | 1.7348 | 1.7348
12:58 | 0.79253 | 0.79253
12:59 | 0.38824 | 0.38824
13:00 | 0.68147 | 0.68147
13:01 | 3.7877 | 3.7877
13:02 | 2.9509 | 2.9509
13:03 | 0.42344 | 0.42344
13:04 | 0.52192 | 0.52192
13:05 | 1.4679 | 1.4679
13:06 | 2.4916 | 2.4916
13:07 | 3.6476 | 3.6476
13:08 | 1.0089 | 1.0089
13:09 | 0 | 0
13:10 | 0.052038 | 0.052038
13:11 | 0.24469 | 0.24469
13:12 | 1.2172 | 1.2172
13:13 | 1.8377 | 1.8377
13:14 | 0.52175 | 0.52175
13:15 | 3.1499 | 3.1499
13:16 | 0.38756 | 0.38756
13:17 | 0.52901 | 0.52901
13:18 | 3.1042 | 3.1042
13:19 | 1.8227 | 1.8227
13:20 | 0 | 0
13:21 | 5.9304 | 5.9304
13:22 | 3.325 | 3.325
13:23 | 2.1661 | 2.1661
13:24 | 0.33652 | 0.33652
13:25 | 0 | 0
13:26 | 0.24706 | 0.24706
13:27 | 0.23852 | 0.23852
13:28 | 0 | 0
13:29 | 0 | 0
13:30 | 0 | 0
13:31 | 0 | 0
13:32 | 0 | 0
13:33 | 0 | 0
13:34 | 0 | 0
13:35 | 0.48864 | 0.48864
13:36 | 0.29151 | 0.29151
13:37 | 0 | 0
13:38 | 0 | 0
13:39 | 0.16142 | 0.16142
13:40 | 0.051167 | 0.051167
13:41 | 0.75881 | 0.75881
13:42 | 0.9056 | 0.9056
13:43 | 0.20614 | 0.20614
13:44 | 0.060361 | 0.060361
13:45 | 0 | 0
13:46 | 0 | 0
13:47 | 0.095796 | 0.095796
13:48 | 0.12174 | 0.12174
13:49 | 0 | 0
13:50 | 0 | 0
13:51 | 0.4774 | 0.4774
13:52 | 0.51358 | 0.51358
13:53 | 0.40546 | 0.40546
13:54 | 0.91981 | 0.91981
13:55 | 0 | 0
13:56 | 0.70012 | 0.70012
13:57 | 0.019769 | 0.019769
13:58 | 0 | 0
13:59 | 0 | 0
14:00 | 0 | 0
14:01 | 0 | 0
14:02 | 0 | 0
14:03 | 0.33894 | 0.33894
14:04 | 0.025346 | 0.025346
14:05 | 0.1391 | 0.1391
14:06 | 0.089925 | 0.089925
14:07 | 0 | 0
14:08 | 0 | 0
14:09 | 0.79296 | 0.79296
14:10 | 0 | 0
14:11 | 0 | 0
14:12 | 0 | 0
14:13 | 0 | 0
14:14 | 0 | 0
14:15 | 0.01038 | 0.01038
14:16 | 0.16734 | 0.16734
14:17 | 0.18049 | 0.18049
14:18 | 0.43438 | 0.43438
14:19 | 0.056654 | 0.056654
14:20 | 1.0702 | 1.0702
14:21 | 0.0043225 | 0.0043225
14:22 | 0.40626 | 0.40626
14:23 | 0.0076846 | 0.0076846
14:24 | 0.14748 | 0.14748
14:25 | 0 | 0
14:26 | 0.015612 | 0.015612
14:27 | 0.035019 | 0.035019
14:28 | 0.062435 | 0.062435
14:29 | 0 | 0
14:30 | 0.48387 | 0.48387
14:31 | 0 | 0
14:32 | 0.14784 | 0.14784
14:33 | 0.28324 | 0.28324
14:34 | 1.7087 | 1.7087
14:35 | 0.96221 | 0.96221
14:36 | 1.492 | 1.492
14:37 | 0.1936 | 0.1936
14:38 | 0.85519 | 0.85519
14:39 | 0.93343 | 0.93343
14:40 | 0.276 | 0.276
14:41 | 0 | 0
14:42 | 0 | 0
14:43 | 0 | 0
14:44 | 0.41553 | 0.41553
14:45 | 0.15344 | 0.15344
14:46 | 0 | 0
14:47 | 0 | 0
14:48 | 0 | 0
14:49 | 0.13095 | 0.13095
14:50 | 0.20261 | 0.20261
14:51 | 0 | 0
14:52 | 0.34728 | 0.34728
14:53 | 0.10752 | 0.10752
14:54 | 0 | 0
14:55 | 0.85132 | 0.85132
14:56 | 1.3484 | 1.3484
14:57 | 0.58906 | 0.58906
14:58 | 0.22365 | 0.22365
14:59 | 0.4057 | 0.4057
15:00 | 0.087157 | 0.087157
15:01 | 0.11392 | 0.11392
15:02 | 0.14396 | 0.14396
15:03 | 0.32085 | 0.32085
15:04 | 0.49552 | 0.49552
15:05 | 0 | 0
15:06 | 0.072091 | 0.072091
15:07 | 0.043605 | 0.043605
15:08 | 0 | 0
15:09 | 0.41473 | 0.41473
15:10 | 0.48456 | 0.48456
15:11 | 0 | 0
15:12 | 0 | 0
15:13 | 0.45719 | 0.45719
15:14 | 0 | 0
15:15 | 0.15601 | 0.15601
15:16 | 1.0335 | 1.0335
15:17 | 0.39791 | 0.39791
15:18 | 0 | 0
15:19 | 0 | 0
15:20 | 0 | 0
15:21 | 0 | 0
15:22 | 0.71352 | 0.71352
15:23 | 1.3875 | 1.3875
15:24 | 0.25308 | 0.25308
15:25 | 0 | 0
15:26 | 0 | 0
15:27 | 0 | 0
15:28 | 0 | 0
15:29 | 0 | 0
15:30 | 0 | 0
15:31 | 0 | 0
15:32 | 0 | 0
15:33 | 0 | 0
15:34 | 0 | 0
15:35 | 0 | 0
15:36 | 0.13971 | 0.13971
15:37 | 0.60294 | 0.60294
15:38 | 0 | 0
15:39 | 0 | 0
15:40 | 0.051665 | 0.051665
15:41 | 0.069332 | 0.069332
15:42 | 0 | 0
15:43 | 0.09726 | 0.09726
15:44 | 0 | 0
Note on B2: enter 1-m g/h data for full run in col a&b

## 1-min gph by phase
Phase 1 |  | Phase 2 |  | Phase 3 |  | Phase 4 |  | Phase 5 |  | Phase 6 |  | Phase 7 |  | Phase 8 |  | Phase 9 |  | Phase 10
avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM
0.87136 | 0.85684 | 0.48775 | 0.47962 | 0.68309 | 1.3548 | 0.48184 | 1.4375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h
8:45 | 0.1243 | 9:45 | 0.46521 | 10:45 | 0.34674 | 12:45 | 0 | 0:00 | 0 | 0:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8:46 | 1.0771 | 9:46 | 0.50155 | 10:46 | 0.21371 | 12:46 | 0
8:47 | 0.39152 | 9:47 | 0.52553 | 10:47 | 0.12944 | 12:47 | 0
8:48 | 0.26994 | 9:48 | 0.52166 | 10:48 | 0.053947 | 12:48 | 0
8:49 | 0.24203 | 9:49 | 0.55836 | 10:49 | 0 | 12:49 | 0
8:50 | 0.22476 | 9:50 | 0.6688 | 10:50 | 0 | 12:50 | 2.4817
8:51 | 0.28755 | 9:51 | 0.47778 | 10:51 | 0.016101 | 12:51 | 5.1354
8:52 | 0.1684 | 9:52 | 0.58862 | 10:52 | 0.17706 | 12:52 | 0.80226
8:53 | 0.1507 | 9:53 | 0.61167 | 10:53 | 0.18238 | 12:53 | 1.7339
8:54 | 0.21832 | 9:54 | 0.43816 | 10:54 | 1.019 | 12:54 | 0.63727
8:55 | 0.2821 | 9:55 | 0.55431 | 10:55 | 1.3527 | 12:55 | 0.14179
8:56 | 0.43359 | 9:56 | 0.58863 | 10:56 | 0.57837 | 12:56 | 0.98255
8:57 | 0.69416 | 9:57 | 0.64663 | 10:57 | 0.78568 | 12:57 | 1.7348
8:58 | 3.5583 | 9:58 | 0.69547 | 10:58 | 0.54702 | 12:58 | 0.79253
8:59 | 8.2266 | 9:59 | 0.51456 | 10:59 | 0.69909 | 12:59 | 0.38824
9:00 | 1.2871 | 10:00 | 0.56841 | 11:00 | 0.55159 | 13:00 | 0.68147
9:01 | 0.19549 | 10:01 | 0.58163 | 11:01 | 0.4659 | 13:01 | 3.7877
9:02 | 0 | 10:02 | 0.53051 | 11:02 | 0.55211 | 13:02 | 2.9509
9:03 | 0.043893 | 10:03 | 0.59991 | 11:03 | 0.32408 | 13:03 | 0.42344
9:04 | 0.04232 | 10:04 | 0.67235 | 11:04 | 0.55692 | 13:04 | 0.52192
9:05 | 0.10609 | 10:05 | 0.49066 | 11:05 | 0.58971 | 13:05 | 1.4679
9:06 | 4.1642 | 10:06 | 0.60368 | 11:06 | 0.54986 | 13:06 | 2.4916
9:07 | 1.7973 | 10:07 | 0.5644 | 11:07 | 0.2895 | 13:07 | 3.6476
9:08 | 1.0879 | 10:08 | 0.35773 | 11:08 | 0.23271 | 13:08 | 1.0089
9:09 | 1.0295 | 10:09 | 0.46535 | 11:09 | 0.15317 | 13:09 | 0
9:10 | 0.94806 | 10:10 | 0.39591 | 11:10 | 0.26569 | 13:10 | 0.052038
9:11 | 1.079 | 10:11 | 0.71328 | 11:11 | 0.16738 | 13:11 | 0.24469
9:12 | 1.2644 | 10:12 | 0.5157 | 11:12 | 0.27133 | 13:12 | 1.2172
9:13 | 1.0251 | 10:13 | 0.57496 | 11:13 | 0.39327 | 13:13 | 1.8377
9:14 | 0.77283 | 10:14 | 0.3838 | 11:14 | 0.28343 | 13:14 | 0.52175
9:15 | 0.7879 | 10:15 | 0.51614 | 11:15 | 0.19402 | 13:15 | 3.1499
9:16 | 0.84811 | 10:16 | 0.4971 | 11:16 | 0.37599 | 13:16 | 0.38756
9:17 | 0.86889 | 10:17 | 0.35413 | 11:17 | 0.1937 | 13:17 | 0.52901
9:18 | 0.99564 | 10:18 | 0.70251 | 11:18 | 0.58349 | 13:18 | 3.1042
9:19 | 0.87898 | 10:19 | 0.42497 | 11:19 | 0.43984 | 13:19 | 1.8227
9:20 | 0.77902 | 10:20 | 0.1973 | 11:20 | 0.3112 | 13:20 | 0
9:21 | 0.97563 | 10:21 | 0.49171 | 11:21 | 0.60726 | 13:21 | 5.9304
9:22 | 0.89525 | 10:22 | 0.45779 | 11:22 | 0.45419 | 13:22 | 3.325
9:23 | 0.7009 | 10:23 | 0.43778 | 11:23 | 0.46723 | 13:23 | 2.1661
9:24 | 0.68559 | 10:24 | 0.29034 | 11:24 | 0.4809 | 13:24 | 0.33652
9:25 | 0.40846 | 10:25 | 0.42735 | 11:25 | 0.5752 | 13:25 | 0
9:26 | 0.61405 | 10:26 | 0.5184 | 11:26 | 0.44274 | 13:26 | 0.24706
9:27 | 0.59391 | 10:27 | 0.46794 | 11:27 | 0.37438 | 13:27 | 0.23852
9:28 | 0.55598 | 10:28 | 0.28646 | 11:28 | 0.44877 | 13:28 | 0
9:29 | 0.68893 | 10:29 | 0.39601 | 11:29 | 0.26883 | 13:29 | 0
9:30 | 0.69092 | 10:30 | 0.5218 | 11:30 | 0.1478 | 13:30 | 0
9:31 | 0.60403 | 10:31 | 0.59254 | 11:31 | 0.36547 | 13:31 | 0
9:32 | 0.69512 | 10:32 | 0.51574 | 11:32 | 1.3086 | 13:32 | 0
9:33 | 0.69466 | 10:33 | 0.37026 | 11:33 | 0.89317 | 13:33 | 0
9:34 | 0.62056 | 10:34 | 0.2872 | 11:34 | 0.31794 | 13:34 | 0
9:35 | 0.67537 | 10:35 | 0.38294 | 11:35 | 0.22041 | 13:35 | 0.48864
9:36 | 0.5911 | 10:36 | 0.34079 | 11:36 | 0.33576 | 13:36 | 0.29151
9:37 | 0.48745 | 10:37 | 0.31451 | 11:37 | 0.33449 | 13:37 | 0
9:38 | 0.74719 | 10:38 | 0.66504 | 11:38 | 0.55445 | 13:38 | 0
9:39 | 0.58647 | 10:39 | 0.3608 | 11:39 | 0.40405 | 13:39 | 0.16142
9:40 | 0.52608 | 10:40 | 0.27888 | 11:40 | 0.55163 | 13:40 | 0.051167
9:41 | 0.78334 | 10:41 | 0.40083 | 11:41 | 1.2314 | 13:41 | 0.75881
9:42 | 0.78987 | 10:42 | 0.49147 | 11:42 | 0.45365 | 13:42 | 0.9056
9:43 | 0.68915 | 10:43 | 0.50517 | 11:43 | 0.18119 | 13:43 | 0.20614
9:44 | 0.63071 | 10:44 | 0.39599 | 11:44 | 0.10046 | 13:44 | 0.060361
|  |  |  | 11:45 | 0.1737 | 13:45 | 0
|  |  |  | 11:46 | 0.27056 | 13:46 | 0
|  |  |  | 11:47 | 0.40787 | 13:47 | 0.095796
|  |  |  | 11:48 | 0.27848 | 13:48 | 0.12174
|  |  |  | 11:49 | 0.14123 | 13:49 | 0
|  |  |  | 11:50 | 0.27017 | 13:50 | 0
|  |  |  | 11:51 | 0.48868 | 13:51 | 0.4774
|  |  |  | 11:52 | 0.12685 | 13:52 | 0.51358
|  |  |  | 11:53 | 0.40813 | 13:53 | 0.40546
|  |  |  | 11:54 | 0.11826 | 13:54 | 0.91981
|  |  |  | 11:55 | 0.53235 | 13:55 | 0
|  |  |  | 11:56 | 0.43895 | 13:56 | 0.70012
|  |  |  | 11:57 | 0.14392 | 13:57 | 0.019769
|  |  |  | 11:58 | 1.1599 | 13:58 | 0
|  |  |  | 11:59 | 2.425 | 13:59 | 0
|  |  |  | 12:00 | 4.274 | 14:00 | 0
|  |  |  | 12:01 | 0 | 14:01 | 0
|  |  |  | 12:02 | 0.91301 | 14:02 | 0
|  |  |  | 12:03 | 0.012975 | 14:03 | 0.33894
|  |  |  | 12:04 | 0.049829 | 14:04 | 0.025346
|  |  |  | 12:05 | 0.11418 | 14:05 | 0.1391
|  |  |  | 12:06 | 0.22793 | 14:06 | 0.089925
|  |  |  | 12:07 | 1.2214 | 14:07 | 0
|  |  |  | 12:08 | 5.0023 | 14:08 | 0
|  |  |  | 12:09 | 0.61748 | 14:09 | 0.79296
|  |  |  | 12:10 | 0.067361 | 14:10 | 0
|  |  |  | 12:11 | 0.25583 | 14:11 | 0
|  |  |  | 12:12 | 5.2429 | 14:12 | 0
|  |  |  | 12:13 | 0.51897 | 14:13 | 0
|  |  |  | 12:14 | 0.12248 | 14:14 | 0
|  |  |  | 12:15 | 0 | 14:15 | 0.01038
|  |  |  | 12:16 | 0 | 14:16 | 0.16734
|  |  |  | 12:17 | 0.79907 | 14:17 | 0.18049
|  |  |  | 12:18 | 3.2408 | 14:18 | 0.43438
|  |  |  | 12:19 | 0.042506 | 14:19 | 0.056654
|  |  |  | 12:20 | 0 | 14:20 | 1.0702
|  |  |  | 12:21 | 0 | 14:21 | 0.0043225
|  |  |  | 12:22 | 0.13585 | 14:22 | 0.40626
|  |  |  | 12:23 | 0.22058 | 14:23 | 0.0076846
|  |  |  | 12:24 | 3.6771 | 14:24 | 0.14748
|  |  |  | 12:25 | 4.8847 | 14:25 | 0
|  |  |  | 12:26 | 0.54934 | 14:26 | 0.015612
|  |  |  | 12:27 | 1.3372 | 14:27 | 0.035019
|  |  |  | 12:28 | 0 | 14:28 | 0.062435
|  |  |  | 12:29 | 0 | 14:29 | 0
|  |  |  | 12:30 | 0 | 14:30 | 0.48387
|  |  |  | 12:31 | 2.8756 | 14:31 | 0
|  |  |  | 12:32 | 3.2211 | 14:32 | 0.14784
|  |  |  | 12:33 | 0.38482 | 14:33 | 0.28324
|  |  |  | 12:34 | 0 | 14:34 | 1.7087
|  |  |  | 12:35 | 0 | 14:35 | 0.96221
|  |  |  | 12:36 | 0 | 14:36 | 1.492
|  |  |  | 12:37 | 0 | 14:37 | 0.1936
|  |  |  | 12:38 | 0 | 14:38 | 0.85519
|  |  |  | 12:39 | 0.42917 | 14:39 | 0.93343
|  |  |  | 12:40 | 3.8492 | 14:40 | 0.276
|  |  |  | 12:41 | 1.6741 | 14:41 | 0
|  |  |  | 12:42 | 0.38486 | 14:42 | 0
|  |  |  | 12:43 | 1.0143 | 14:43 | 0
|  |  |  | 12:44 | 1.8601 | 14:44 | 0.41553
[6 empty] | 14:45 | 0.15344
[6 empty] | 14:46 | 0
[6 empty] | 14:47 | 0
[6 empty] | 14:48 | 0
[6 empty] | 14:49 | 0.13095
[6 empty] | 14:50 | 0.20261
[6 empty] | 14:51 | 0
[6 empty] | 14:52 | 0.34728
[6 empty] | 14:53 | 0.10752
[6 empty] | 14:54 | 0
[6 empty] | 14:55 | 0.85132
[6 empty] | 14:56 | 1.3484
[6 empty] | 14:57 | 0.58906
[6 empty] | 14:58 | 0.22365
[6 empty] | 14:59 | 0.4057
[6 empty] | 15:00 | 0.087157
[6 empty] | 15:01 | 0.11392
[6 empty] | 15:02 | 0.14396
[6 empty] | 15:03 | 0.32085
[6 empty] | 15:04 | 0.49552
[6 empty] | 15:05 | 0
[6 empty] | 15:06 | 0.072091
[6 empty] | 15:07 | 0.043605
[6 empty] | 15:08 | 0
[6 empty] | 15:09 | 0.41473
[6 empty] | 15:10 | 0.48456
[6 empty] | 15:11 | 0
[6 empty] | 15:12 | 0
[6 empty] | 15:13 | 0.45719
[6 empty] | 15:14 | 0
[6 empty] | 15:15 | 0.15601
[6 empty] | 15:16 | 1.0335
[6 empty] | 15:17 | 0.39791
[6 empty] | 15:18 | 0
[6 empty] | 15:19 | 0
[6 empty] | 15:20 | 0
[6 empty] | 15:21 | 0
[6 empty] | 15:22 | 0.71352
[6 empty] | 15:23 | 1.3875
[6 empty] | 15:24 | 0.25308
[6 empty] | 15:25 | 0
[6 empty] | 15:26 | 0
[6 empty] | 15:27 | 0
[6 empty] | 15:28 | 0
[6 empty] | 15:29 | 0
[6 empty] | 15:30 | 0
[6 empty] | 15:31 | 0
[6 empty] | 15:32 | 0
[6 empty] | 15:33 | 0
[6 empty] | 15:34 | 0
[6 empty] | 15:35 | 0
[6 empty] | 15:36 | 0.13971
[6 empty] | 15:37 | 0.60294
[6 empty] | 15:38 | 0
[6 empty] | 15:39 | 0
[6 empty] | 15:40 | 0.051665
[6 empty] | 15:41 | 0.069332
[6 empty] | 15:42 | 0
[6 empty] | 15:43 | 0.09726
[6 empty] | 15:44 | 0
Note on B6: enter 1-m g/hata for full run in col a&b

## results table
| Teom | Teom | % PM | FP equiv | FP equiv | full run g/h from filter pull:
| g/h | PM, g | of Total | g/h | PM, g
Phase 1 | 0.87136 | 0.85684 | 20.753 | #DIV/0! | #DIV/0!
Phase 2 | 0.48775 | 0.47962 | 11.6166 | #DIV/0! | #DIV/0!
Phase 3 | 0.68309 | 1.3548 | 32.8138 | #DIV/0! | #DIV/0!
Phase 4 | 0.48184 | 1.4375 | 34.8166 | #DIV/0! | #DIV/0! | Ratio of Teom to filterpull full run g/h:
Phase 5 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0!
sum: |  | 4.1288 | 100 |  | #DIV/0!
Note: delete unused phases above since they show up as 0.
Note on K2: enter full run fp gph in k2