## 1-min gph
time | g/h | g/h neg=0 | 2020-01-29 | full run Teom g/h avg: |  |  | full run Teom grams PM | Notes:
8:55 | 0 | 0 | Baseline 4 |  | 0.96564 |  | 6.7434 | 1. Teom g/h on this tab should have neg values set to 0, and missing minutes interpolated, per the BNL SOP
8:56 | 0 | 0 | [5 empty] | and should use actual tunnel flow for conversion from ug/m3 to g/h
8:57 | 0.0072113 | 0.0072113 | [5 empty] | 2. The BNL SOP says Teom PM should be at local t/p or at conditions used for reporting filter pull data and tunnel flows [??]
8:58 | 0.11614 | 0.11614
8:59 | 0.12001 | 0.12001
9:00 | 0.32238 | 0.32238 |  | QC checks: |  | result:
9:01 | 0.40792 | 0.40792 |  | min g/h: | 0 | should be zero, not negative
9:02 | 0.50442 | 0.50442 |  | Count: | 420
9:03 | 3.0658 | 3.0658 |  | # test min: | 420
9:04 | 6.6054 | 6.6054 |  | Diff: | 0 | should be 0
9:05 | 7.1815 | 7.1815
9:06 | 1.1225 | 1.1225
9:07 | 0 | 0
9:08 | 0 | 0
9:09 | 0 | 0
9:10 | 0 | 0
9:11 | 0 | 0
9:12 | 0 | 0
9:13 | 0 | 0
9:14 | 0 | 0
9:15 | 0 | 0
9:16 | 0 | 0
9:17 | 0.036445 | 0.036445
9:18 | 0.22103 | 0.22103
9:19 | 0.35843 | 0.35843
9:20 | 0.3101 | 0.3101
9:21 | 0.52028 | 0.52028
9:22 | 0.53943 | 0.53943
9:23 | 0.559 | 0.559
9:24 | 0.606 | 0.606
9:25 | 0.55468 | 0.55468
9:26 | 0.5893 | 0.5893
9:27 | 0.70947 | 0.70947
9:28 | 0.8208 | 0.8208
9:29 | 0.83341 | 0.83341
9:30 | 0.87109 | 0.87109
9:31 | 0.46446 | 0.46446
9:32 | 0.71211 | 0.71211
9:33 | 0.92746 | 0.92746
9:34 | 1.0781 | 1.0781
9:35 | 0.70085 | 0.70085
9:36 | 0.88019 | 0.88019
9:37 | 1.1263 | 1.1263
9:38 | 1.0287 | 1.0287
9:39 | 0.85322 | 0.85322
9:40 | 0.78499 | 0.78499
9:41 | 0.8571 | 0.8571
9:42 | 0.91563 | 0.91563
9:43 | 0.85553 | 0.85553
9:44 | 1.0598 | 1.0598
9:45 | 1.2566 | 1.2566
9:46 | 1.1194 | 1.1194
9:47 | 0.68685 | 0.68685
9:48 | 0.81084 | 0.81084
9:49 | 0.76177 | 0.76177
9:50 | 1.0094 | 1.0094
9:51 | 1.2097 | 1.2097
9:52 | 0.98143 | 0.98143
9:53 | 0.9083 | 0.9083
9:54 | 1.1178 | 1.1178
9:55 | 1.0452 | 1.0452
9:56 | 1.1997 | 1.1997
9:57 | 1.2963 | 1.2963
9:58 | 1.104 | 1.104
9:59 | 1.2057 | 1.2057
10:00 | 1.1423 | 1.1423
10:01 | 1.1215 | 1.1215
10:02 | 0.7441 | 0.7441
10:03 | 0.89297 | 0.89297
10:04 | 1.1961 | 1.1961
10:05 | 1.0029 | 1.0029
10:06 | 1.0136 | 1.0136
10:07 | 1.0203 | 1.0203
10:08 | 1.1644 | 1.1644
10:09 | 1.2218 | 1.2218
10:10 | 1.0625 | 1.0625
10:11 | 0.94091 | 0.94091
10:12 | 1.1498 | 1.1498
10:13 | 1.0902 | 1.0902
10:14 | 1.2299 | 1.2299
10:15 | 0.77358 | 0.77358
10:16 | 1.1568 | 1.1568
10:17 | 1.1666 | 1.1666
10:18 | 1.0657 | 1.0657
10:19 | 0.97824 | 0.97824
10:20 | 1.3081 | 1.3081
10:21 | 1.0819 | 1.0819
10:22 | 1.0847 | 1.0847
10:23 | 0.92866 | 0.92866
10:24 | 1.1757 | 1.1757
10:25 | 1.3596 | 1.3596
10:26 | 0.89083 | 0.89083
10:27 | 1.1374 | 1.1374
10:28 | 1.189 | 1.189
10:29 | 1.1397 | 1.1397
10:30 | 1.076 | 1.076
10:31 | 1.0029 | 1.0029
10:32 | 1.1134 | 1.1134
10:33 | 1.2414 | 1.2414
10:34 | 1.0882 | 1.0882
10:35 | 1.221 | 1.221
10:36 | 1.3057 | 1.3057
10:37 | 1.26 | 1.26
10:38 | 1.1738 | 1.1738
10:39 | 1.3855 | 1.3855
10:40 | 1.2912 | 1.2912
10:41 | 0.93814 | 0.93814
10:42 | 1.3357 | 1.3357
10:43 | 1.102 | 1.102
10:44 | 1.2335 | 1.2335
10:45 | 1.2313 | 1.2313
10:46 | 1.1756 | 1.1756
10:47 | 1.1536 | 1.1536
10:48 | 1.1955 | 1.1955
10:49 | 1.0767 | 1.0767
10:50 | 1.0474 | 1.0474
10:51 | 1.2549 | 1.2549
10:52 | 0.93663 | 0.93663
10:53 | 0.97551 | 0.97551
10:54 | 0.98875 | 0.98875
10:55 | 0.89436 | 0.89436
10:56 | 0.56055 | 0.56055
10:57 | 0.78415 | 0.78415
10:58 | 0.48697 | 0.48697
10:59 | 0.46287 | 0.46287
11:00 | 0.15965 | 0.15965
11:01 | 0.49685 | 0.49685
11:02 | 0.66293 | 0.66293
11:03 | 0.63993 | 0.63993
11:04 | 0.74245 | 0.74245
11:05 | 0.80445 | 0.80445
11:06 | 0.83533 | 0.83533
11:07 | 0.7244 | 0.7244
11:08 | 0.89886 | 0.89886
11:09 | 1.0871 | 1.0871
11:10 | 1.1416 | 1.1416
11:11 | 1.1358 | 1.1358
11:12 | 1.5102 | 1.5102
11:13 | 1.4313 | 1.4313
11:14 | 1.0616 | 1.0616
11:15 | 0.97193 | 0.97193
11:16 | 0.95265 | 0.95265
11:17 | 0.63056 | 0.63056
11:18 | 0.57967 | 0.57967
11:19 | 0.81534 | 0.81534
11:20 | 0.62869 | 0.62869
11:21 | 0.81052 | 0.81052
11:22 | 1.1243 | 1.1243
11:23 | 0.82632 | 0.82632
11:24 | 0.63959 | 0.63959
11:25 | 0.99877 | 0.99877
11:26 | 1.2484 | 1.2484
11:27 | 1.0326 | 1.0326
11:28 | 1.1038 | 1.1038
11:29 | 1.2369 | 1.2369
11:30 | 1.0687 | 1.0687
11:31 | 0.77193 | 0.77193
11:32 | 0.98789 | 0.98789
11:33 | 0.5737 | 0.5737
11:34 | 1.036 | 1.036
11:35 | 1.1158 | 1.1158
11:36 | 1.1879 | 1.1879
11:37 | 0.79509 | 0.79509
11:38 | 1.0795 | 1.0795
11:39 | 0.85556 | 0.85556
11:40 | 1.0011 | 1.0011
11:41 | 1.1245 | 1.1245
11:42 | 1.0718 | 1.0718
11:43 | 1.0566 | 1.0566
11:44 | 1.1367 | 1.1367
11:45 | 1.1338 | 1.1338
11:46 | 1.1189 | 1.1189
11:47 | 0.77721 | 0.77721
11:48 | 0.89157 | 0.89157
11:49 | 0.87224 | 0.87224
11:50 | 0.7625 | 0.7625
11:51 | 0.82529 | 0.82529
11:52 | 0.7911 | 0.7911
11:53 | 0.82698 | 0.82698
11:54 | 1.0548 | 1.0548
11:55 | 1.3125 | 1.3125
11:56 | 1.1422 | 1.1422
11:57 | 0.92389 | 0.92389
11:58 | 0.96985 | 0.96985
11:59 | 0.87786 | 0.87786
12:00 | 1.0893 | 1.0893
12:01 | 1.051 | 1.051
12:02 | 1.0344 | 1.0344
12:03 | 1.1224 | 1.1224
12:04 | 1.2663 | 1.2663
12:05 | 1.2086 | 1.2086
12:06 | 1.0933 | 1.0933
12:07 | 0.56634 | 0.56634
12:08 | 0.70444 | 0.70444
12:09 | 0.86386 | 0.86386
12:10 | 0.7895 | 0.7895
12:11 | 0.87822 | 0.87822
12:12 | 1.0476 | 1.0476
12:13 | 0.96655 | 0.96655
12:14 | 0.98148 | 0.98148
12:15 | 1.3724 | 1.3724
12:16 | 1.0441 | 1.0441
12:17 | 0.97543 | 0.97543
12:18 | 1.3195 | 1.3195
12:19 | 1.6047 | 1.6047
12:20 | 1.4014 | 1.4014
12:21 | 0.92807 | 0.92807
12:22 | 1.0859 | 1.0859
12:23 | 1.1875 | 1.1875
12:24 | 1.0741 | 1.0741
12:25 | 0.95689 | 0.95689
12:26 | 0.89811 | 0.89811
12:27 | 0.9805 | 0.9805
12:28 | 0.73716 | 0.73716
12:29 | 0.48113 | 0.48113
12:30 | 0.54935 | 0.54935
12:31 | 0.74545 | 0.74545
12:32 | 0.76078 | 0.76078
12:33 | 0.7224 | 0.7224
12:34 | 0.6835 | 0.6835
12:35 | 0.73302 | 0.73302
12:36 | 1.4641 | 1.4641
12:37 | 1.2947 | 1.2947
12:38 | 0.95738 | 0.95738
12:39 | 1.2093 | 1.2093
12:40 | 1.1402 | 1.1402
12:41 | 0.93856 | 0.93856
12:42 | 0.93255 | 0.93255
12:43 | 1.163 | 1.163
12:44 | 0.98691 | 0.98691
12:45 | 0.85925 | 0.85925
12:46 | 0.62845 | 0.62845
12:47 | 0.82101 | 0.82101
12:48 | 0.72818 | 0.72818
12:49 | 0.62809 | 0.62809
12:50 | 0.7697 | 0.7697
12:51 | 1.0841 | 1.0841
12:52 | 1.3732 | 1.3732
12:53 | 1.4269 | 1.4269
12:54 | 1.1819 | 1.1819
12:55 | 1.3599 | 1.3599
12:56 | 1.103 | 1.103
12:57 | 1.0976 | 1.0976
12:58 | 1.0082 | 1.0082
12:59 | 0.56548 | 0.56548
13:00 | 0.5153 | 0.5153
13:01 | 0.56521 | 0.56521
13:02 | 0.37307 | 0.37307
13:03 | 0.61854 | 0.61854
13:04 | 0.83318 | 0.83318
13:05 | 0.47555 | 0.47555
13:06 | 0.40971 | 0.40971
13:07 | 0.56275 | 0.56275
13:08 | 0.95922 | 0.95922
13:09 | 0.81126 | 0.81126
13:10 | 0.62494 | 0.62494
13:11 | 0.77509 | 0.77509
13:12 | 1.1579 | 1.1579
13:13 | 1.1851 | 1.1851
13:14 | 0.93479 | 0.93479
13:15 | 0.84829 | 0.84829
13:16 | 0.90265 | 0.90265
13:17 | 0.76459 | 0.76459
13:18 | 0.79543 | 0.79543
13:19 | 0.85604 | 0.85604
13:20 | 0.90716 | 0.90716
13:21 | 1.0051 | 1.0051
13:22 | 1.1829 | 1.1829
13:23 | 0.86596 | 0.86596
13:24 | 0.59128 | 0.59128
13:25 | 0.99816 | 0.99816
13:26 | 0.78852 | 0.78852
13:27 | 1.1029 | 1.1029
13:28 | 1.3317 | 1.3317
13:29 | 0.7805 | 0.7805
13:30 | 0.69565 | 0.69565
13:31 | 0.93765 | 0.93765
13:32 | 0.81006 | 0.81006
13:33 | 1.4683 | 1.4683
13:34 | 1.2961 | 1.2961
13:35 | 1.0566 | 1.0566
13:36 | 0.7947 | 0.7947
13:37 | 1.0489 | 1.0489
13:38 | 0.88151 | 0.88151
13:39 | 1.0913 | 1.0913
13:40 | 1.107 | 1.107
13:41 | 0.68991 | 0.68991
13:42 | 0.60986 | 0.60986
13:43 | 1.7497 | 1.7497
13:44 | 1.2498 | 1.2498
13:45 | 1.1039 | 1.1039
13:46 | 0.95309 | 0.95309
13:47 | 0.94197 | 0.94197
13:48 | 0.7359 | 0.7359
13:49 | 1.3434 | 1.3434
13:50 | 0.84542 | 0.84542
13:51 | 1.0197 | 1.0197
13:52 | 1.0044 | 1.0044
13:53 | 1.2301 | 1.2301
13:54 | 1.2118 | 1.2118
13:55 | 1.05 | 1.05
13:56 | 1.0016 | 1.0016
13:57 | 0.92883 | 0.92883
13:58 | 0.5685 | 0.5685
13:59 | 0.44478 | 0.44478
14:00 | 0.49692 | 0.49692
14:01 | 0.77416 | 0.77416
14:02 | 0.5593 | 0.5593
14:03 | 0.83883 | 0.83883
14:04 | 0.81863 | 0.81863
14:05 | 1.3239 | 1.3239
14:06 | 1.0025 | 1.0025
14:07 | 1.0106 | 1.0106
14:08 | 0.52857 | 0.52857
14:09 | 0.8248 | 0.8248
14:10 | 1.0773 | 1.0773
14:11 | 1.0488 | 1.0488
14:12 | 1.2286 | 1.2286
14:13 | 1.0985 | 1.0985
14:14 | 0.7102 | 0.7102
14:15 | 0.9511 | 0.9511
14:16 | 0.84855 | 0.84855
14:17 | 1.0403 | 1.0403
14:18 | 0.87587 | 0.87587
14:19 | 0.93395 | 0.93395
14:20 | 1.1149 | 1.1149
14:21 | 1.3054 | 1.3054
14:22 | 1.3355 | 1.3355
14:23 | 1.346 | 1.346
14:24 | 1.1782 | 1.1782
14:25 | 1.3433 | 1.3433
14:26 | 1.874 | 1.874
14:27 | 1.2315 | 1.2315
14:28 | 1.3414 | 1.3414
14:29 | 0.99509 | 0.99509
14:30 | 0.73619 | 0.73619
14:31 | 0.74975 | 0.74975
14:32 | 0.84322 | 0.84322
14:33 | 1.0264 | 1.0264
14:34 | 1.0276 | 1.0276
14:35 | 1.2399 | 1.2399
14:36 | 0.9677 | 0.9677
14:37 | 0.89619 | 0.89619
14:38 | 1.012 | 1.012
14:39 | 1.1621 | 1.1621
14:40 | 0.87121 | 0.87121
14:41 | 0.8248 | 0.8248
14:42 | 0.79139 | 0.79139
14:43 | 0.93217 | 0.93217
14:44 | 0.90263 | 0.90263
14:45 | 1.1106 | 1.1106
14:46 | 1.1043 | 1.1043
14:47 | 0.92581 | 0.92581
14:48 | 1.1931 | 1.1931
14:49 | 1.0519 | 1.0519
14:50 | 0.69675 | 0.69675
14:51 | 0.78655 | 0.78655
14:52 | 0.9495 | 0.9495
14:53 | 0.78006 | 0.78006
14:54 | 0.59207 | 0.59207
14:55 | 0.82838 | 0.82838
14:56 | 1.034 | 1.034
14:57 | 1.0631 | 1.0631
14:58 | 0.99333 | 0.99333
14:59 | 1.2997 | 1.2997
15:00 | 1.2846 | 1.2846
15:01 | 1.0351 | 1.0351
15:02 | 1.173 | 1.173
15:03 | 1.1509 | 1.1509
15:04 | 1.1892 | 1.1892
15:05 | 0.98573 | 0.98573
15:06 | 1.238 | 1.238
15:07 | 0.83496 | 0.83496
15:08 | 0.83561 | 0.83561
15:09 | 0.8055 | 0.8055
15:10 | 1.0329 | 1.0329
15:11 | 0.87527 | 0.87527
15:12 | 0.88407 | 0.88407
15:13 | 1.2126 | 1.2126
15:14 | 1.042 | 1.042
15:15 | 1.3184 | 1.3184
15:16 | 1.7949 | 1.7949
15:17 | 1.4132 | 1.4132
15:18 | 0.87031 | 0.87031
15:19 | 1.0633 | 1.0633
15:20 | 0.84572 | 0.84572
15:21 | 1.2145 | 1.2145
15:22 | 1.6007 | 1.6007
15:23 | 1.415 | 1.415
15:24 | 1.7178 | 1.7178
15:25 | 1.0092 | 1.0092
15:26 | 1.0267 | 1.0267
15:27 | 0.7687 | 0.7687
15:28 | 1.1438 | 1.1438
15:29 | 0.87509 | 0.87509
15:30 | 1.0517 | 1.0517
15:31 | 1.2202 | 1.2202
15:32 | 1.0455 | 1.0455
15:33 | 0.98427 | 0.98427
15:34 | 0.62675 | 0.62675
15:35 | 0.72873 | 0.72873
15:36 | 0.5653 | 0.5653
15:37 | 0.73832 | 0.73832
15:38 | 0.84942 | 0.84942
15:39 | 0.6311 | 0.6311
15:40 | 0.89635 | 0.89635
15:41 | 0.98063 | 0.98063
15:42 | 1.1266 | 1.1266
15:43 | 0.80845 | 0.80845
15:44 | 0.86365 | 0.86365
15:45 | 1.2248 | 1.2248
15:46 | 1.1015 | 1.1015
15:47 | 0.83648 | 0.83648
15:48 | 1.1868 | 1.1868
15:49 | 1.2678 | 1.2678
15:50 | 0.90207 | 0.90207
15:51 | 0.96094 | 0.96094
15:52 | 0.93542 | 0.93542
15:53 | 0.75174 | 0.75174
15:54 | 0.7218 | 0.7218
Note on B2: enter 1-m g/h data for full run in col a&b

## 1-min gph by phase
Phase 1 |  | Phase 2 |  | Phase 3 |  | Phase 4 |  | Phase 5 |  | Phase 6 |  | Phase 7 |  | Phase 8 |  | Phase 9 |  | Phase 10
avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM
0.81815 | 0.80452 | 1.1181 | 1.0994 | 0.94797 | 1.8801 | 0.97578 | 2.9111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h
8:55 | 0 | 9:55 | 1.0452 | 10:55 | 0.89436 | 12:55 | 1.3599 | 0:00 | 0 | 0:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8:56 | 0 | 9:56 | 1.1997 | 10:56 | 0.56055 | 12:56 | 1.103
8:57 | 0.0072113 | 9:57 | 1.2963 | 10:57 | 0.78415 | 12:57 | 1.0976
8:58 | 0.11614 | 9:58 | 1.104 | 10:58 | 0.48697 | 12:58 | 1.0082
8:59 | 0.12001 | 9:59 | 1.2057 | 10:59 | 0.46287 | 12:59 | 0.56548
9:00 | 0.32238 | 10:00 | 1.1423 | 11:00 | 0.15965 | 13:00 | 0.5153
9:01 | 0.40792 | 10:01 | 1.1215 | 11:01 | 0.49685 | 13:01 | 0.56521
9:02 | 0.50442 | 10:02 | 0.7441 | 11:02 | 0.66293 | 13:02 | 0.37307
9:03 | 3.0658 | 10:03 | 0.89297 | 11:03 | 0.63993 | 13:03 | 0.61854
9:04 | 6.6054 | 10:04 | 1.1961 | 11:04 | 0.74245 | 13:04 | 0.83318
9:05 | 7.1815 | 10:05 | 1.0029 | 11:05 | 0.80445 | 13:05 | 0.47555
9:06 | 1.1225 | 10:06 | 1.0136 | 11:06 | 0.83533 | 13:06 | 0.40971
9:07 | 0 | 10:07 | 1.0203 | 11:07 | 0.7244 | 13:07 | 0.56275
9:08 | 0 | 10:08 | 1.1644 | 11:08 | 0.89886 | 13:08 | 0.95922
9:09 | 0 | 10:09 | 1.2218 | 11:09 | 1.0871 | 13:09 | 0.81126
9:10 | 0 | 10:10 | 1.0625 | 11:10 | 1.1416 | 13:10 | 0.62494
9:11 | 0 | 10:11 | 0.94091 | 11:11 | 1.1358 | 13:11 | 0.77509
9:12 | 0 | 10:12 | 1.1498 | 11:12 | 1.5102 | 13:12 | 1.1579
9:13 | 0 | 10:13 | 1.0902 | 11:13 | 1.4313 | 13:13 | 1.1851
9:14 | 0 | 10:14 | 1.2299 | 11:14 | 1.0616 | 13:14 | 0.93479
9:15 | 0 | 10:15 | 0.77358 | 11:15 | 0.97193 | 13:15 | 0.84829
9:16 | 0 | 10:16 | 1.1568 | 11:16 | 0.95265 | 13:16 | 0.90265
9:17 | 0.036445 | 10:17 | 1.1666 | 11:17 | 0.63056 | 13:17 | 0.76459
9:18 | 0.22103 | 10:18 | 1.0657 | 11:18 | 0.57967 | 13:18 | 0.79543
9:19 | 0.35843 | 10:19 | 0.97824 | 11:19 | 0.81534 | 13:19 | 0.85604
9:20 | 0.3101 | 10:20 | 1.3081 | 11:20 | 0.62869 | 13:20 | 0.90716
9:21 | 0.52028 | 10:21 | 1.0819 | 11:21 | 0.81052 | 13:21 | 1.0051
9:22 | 0.53943 | 10:22 | 1.0847 | 11:22 | 1.1243 | 13:22 | 1.1829
9:23 | 0.559 | 10:23 | 0.92866 | 11:23 | 0.82632 | 13:23 | 0.86596
9:24 | 0.606 | 10:24 | 1.1757 | 11:24 | 0.63959 | 13:24 | 0.59128
9:25 | 0.55468 | 10:25 | 1.3596 | 11:25 | 0.99877 | 13:25 | 0.99816
9:26 | 0.5893 | 10:26 | 0.89083 | 11:26 | 1.2484 | 13:26 | 0.78852
9:27 | 0.70947 | 10:27 | 1.1374 | 11:27 | 1.0326 | 13:27 | 1.1029
9:28 | 0.8208 | 10:28 | 1.189 | 11:28 | 1.1038 | 13:28 | 1.3317
9:29 | 0.83341 | 10:29 | 1.1397 | 11:29 | 1.2369 | 13:29 | 0.7805
9:30 | 0.87109 | 10:30 | 1.076 | 11:30 | 1.0687 | 13:30 | 0.69565
9:31 | 0.46446 | 10:31 | 1.0029 | 11:31 | 0.77193 | 13:31 | 0.93765
9:32 | 0.71211 | 10:32 | 1.1134 | 11:32 | 0.98789 | 13:32 | 0.81006
9:33 | 0.92746 | 10:33 | 1.2414 | 11:33 | 0.5737 | 13:33 | 1.4683
9:34 | 1.0781 | 10:34 | 1.0882 | 11:34 | 1.036 | 13:34 | 1.2961
9:35 | 0.70085 | 10:35 | 1.221 | 11:35 | 1.1158 | 13:35 | 1.0566
9:36 | 0.88019 | 10:36 | 1.3057 | 11:36 | 1.1879 | 13:36 | 0.7947
9:37 | 1.1263 | 10:37 | 1.26 | 11:37 | 0.79509 | 13:37 | 1.0489
9:38 | 1.0287 | 10:38 | 1.1738 | 11:38 | 1.0795 | 13:38 | 0.88151
9:39 | 0.85322 | 10:39 | 1.3855 | 11:39 | 0.85556 | 13:39 | 1.0913
9:40 | 0.78499 | 10:40 | 1.2912 | 11:40 | 1.0011 | 13:40 | 1.107
9:41 | 0.8571 | 10:41 | 0.93814 | 11:41 | 1.1245 | 13:41 | 0.68991
9:42 | 0.91563 | 10:42 | 1.3357 | 11:42 | 1.0718 | 13:42 | 0.60986
9:43 | 0.85553 | 10:43 | 1.102 | 11:43 | 1.0566 | 13:43 | 1.7497
9:44 | 1.0598 | 10:44 | 1.2335 | 11:44 | 1.1367 | 13:44 | 1.2498
9:45 | 1.2566 | 10:45 | 1.2313 | 11:45 | 1.1338 | 13:45 | 1.1039
9:46 | 1.1194 | 10:46 | 1.1756 | 11:46 | 1.1189 | 13:46 | 0.95309
9:47 | 0.68685 | 10:47 | 1.1536 | 11:47 | 0.77721 | 13:47 | 0.94197
9:48 | 0.81084 | 10:48 | 1.1955 | 11:48 | 0.89157 | 13:48 | 0.7359
9:49 | 0.76177 | 10:49 | 1.0767 | 11:49 | 0.87224 | 13:49 | 1.3434
9:50 | 1.0094 | 10:50 | 1.0474 | 11:50 | 0.7625 | 13:50 | 0.84542
9:51 | 1.2097 | 10:51 | 1.2549 | 11:51 | 0.82529 | 13:51 | 1.0197
9:52 | 0.98143 | 10:52 | 0.93663 | 11:52 | 0.7911 | 13:52 | 1.0044
9:53 | 0.9083 | 10:53 | 0.97551 | 11:53 | 0.82698 | 13:53 | 1.2301
9:54 | 1.1178 | 10:54 | 0.98875 | 11:54 | 1.0548 | 13:54 | 1.2118
|  |  |  | 11:55 | 1.3125 | 13:55 | 1.05
|  |  |  | 11:56 | 1.1422 | 13:56 | 1.0016
|  |  |  | 11:57 | 0.92389 | 13:57 | 0.92883
|  |  |  | 11:58 | 0.96985 | 13:58 | 0.5685
|  |  |  | 11:59 | 0.87786 | 13:59 | 0.44478
|  |  |  | 12:00 | 1.0893 | 14:00 | 0.49692
|  |  |  | 12:01 | 1.051 | 14:01 | 0.77416
|  |  |  | 12:02 | 1.0344 | 14:02 | 0.5593
|  |  |  | 12:03 | 1.1224 | 14:03 | 0.83883
|  |  |  | 12:04 | 1.2663 | 14:04 | 0.81863
|  |  |  | 12:05 | 1.2086 | 14:05 | 1.3239
|  |  |  | 12:06 | 1.0933 | 14:06 | 1.0025
|  |  |  | 12:07 | 0.56634 | 14:07 | 1.0106
|  |  |  | 12:08 | 0.70444 | 14:08 | 0.52857
|  |  |  | 12:09 | 0.86386 | 14:09 | 0.8248
|  |  |  | 12:10 | 0.7895 | 14:10 | 1.0773
|  |  |  | 12:11 | 0.87822 | 14:11 | 1.0488
|  |  |  | 12:12 | 1.0476 | 14:12 | 1.2286
|  |  |  | 12:13 | 0.96655 | 14:13 | 1.0985
|  |  |  | 12:14 | 0.98148 | 14:14 | 0.7102
|  |  |  | 12:15 | 1.3724 | 14:15 | 0.9511
|  |  |  | 12:16 | 1.0441 | 14:16 | 0.84855
|  |  |  | 12:17 | 0.97543 | 14:17 | 1.0403
|  |  |  | 12:18 | 1.3195 | 14:18 | 0.87587
|  |  |  | 12:19 | 1.6047 | 14:19 | 0.93395
|  |  |  | 12:20 | 1.4014 | 14:20 | 1.1149
|  |  |  | 12:21 | 0.92807 | 14:21 | 1.3054
|  |  |  | 12:22 | 1.0859 | 14:22 | 1.3355
|  |  |  | 12:23 | 1.1875 | 14:23 | 1.346
|  |  |  | 12:24 | 1.0741 | 14:24 | 1.1782
|  |  |  | 12:25 | 0.95689 | 14:25 | 1.3433
|  |  |  | 12:26 | 0.89811 | 14:26 | 1.874
|  |  |  | 12:27 | 0.9805 | 14:27 | 1.2315
|  |  |  | 12:28 | 0.73716 | 14:28 | 1.3414
|  |  |  | 12:29 | 0.48113 | 14:29 | 0.99509
|  |  |  | 12:30 | 0.54935 | 14:30 | 0.73619
|  |  |  | 12:31 | 0.74545 | 14:31 | 0.74975
|  |  |  | 12:32 | 0.76078 | 14:32 | 0.84322
|  |  |  | 12:33 | 0.7224 | 14:33 | 1.0264
|  |  |  | 12:34 | 0.6835 | 14:34 | 1.0276
|  |  |  | 12:35 | 0.73302 | 14:35 | 1.2399
|  |  |  | 12:36 | 1.4641 | 14:36 | 0.9677
|  |  |  | 12:37 | 1.2947 | 14:37 | 0.89619
|  |  |  | 12:38 | 0.95738 | 14:38 | 1.012
|  |  |  | 12:39 | 1.2093 | 14:39 | 1.1621
|  |  |  | 12:40 | 1.1402 | 14:40 | 0.87121
|  |  |  | 12:41 | 0.93856 | 14:41 | 0.8248
|  |  |  | 12:42 | 0.93255 | 14:42 | 0.79139
|  |  |  | 12:43 | 1.163 | 14:43 | 0.93217
|  |  |  | 12:44 | 0.98691 | 14:44 | 0.90263
|  |  |  | 12:45 | 0.85925 | 14:45 | 1.1106
|  |  |  | 12:46 | 0.62845 | 14:46 | 1.1043
|  |  |  | 12:47 | 0.82101 | 14:47 | 0.92581
|  |  |  | 12:48 | 0.72818 | 14:48 | 1.1931
|  |  |  | 12:49 | 0.62809 | 14:49 | 1.0519
|  |  |  | 12:50 | 0.7697 | 14:50 | 0.69675
|  |  |  | 12:51 | 1.0841 | 14:51 | 0.78655
|  |  |  | 12:52 | 1.3732 | 14:52 | 0.9495
|  |  |  | 12:53 | 1.4269 | 14:53 | 0.78006
|  |  |  | 12:54 | 1.1819 | 14:54 | 0.59207
[6 empty] | 14:55 | 0.82838
[6 empty] | 14:56 | 1.034
[6 empty] | 14:57 | 1.0631
[6 empty] | 14:58 | 0.99333
[6 empty] | 14:59 | 1.2997
[6 empty] | 15:00 | 1.2846
[6 empty] | 15:01 | 1.0351
[6 empty] | 15:02 | 1.173
[6 empty] | 15:03 | 1.1509
[6 empty] | 15:04 | 1.1892
[6 empty] | 15:05 | 0.98573
[6 empty] | 15:06 | 1.238
[6 empty] | 15:07 | 0.83496
[6 empty] | 15:08 | 0.83561
[6 empty] | 15:09 | 0.8055
[6 empty] | 15:10 | 1.0329
[6 empty] | 15:11 | 0.87527
[6 empty] | 15:12 | 0.88407
[6 empty] | 15:13 | 1.2126
[6 empty] | 15:14 | 1.042
[6 empty] | 15:15 | 1.3184
[6 empty] | 15:16 | 1.7949
[6 empty] | 15:17 | 1.4132
[6 empty] | 15:18 | 0.87031
[6 empty] | 15:19 | 1.0633
[6 empty] | 15:20 | 0.84572
[6 empty] | 15:21 | 1.2145
[6 empty] | 15:22 | 1.6007
[6 empty] | 15:23 | 1.415
[6 empty] | 15:24 | 1.7178
[6 empty] | 15:25 | 1.0092
[6 empty] | 15:26 | 1.0267
[6 empty] | 15:27 | 0.7687
[6 empty] | 15:28 | 1.1438
[6 empty] | 15:29 | 0.87509
[6 empty] | 15:30 | 1.0517
[6 empty] | 15:31 | 1.2202
[6 empty] | 15:32 | 1.0455
[6 empty] | 15:33 | 0.98427
[6 empty] | 15:34 | 0.62675
[6 empty] | 15:35 | 0.72873
[6 empty] | 15:36 | 0.5653
[6 empty] | 15:37 | 0.73832
[6 empty] | 15:38 | 0.84942
[6 empty] | 15:39 | 0.6311
[6 empty] | 15:40 | 0.89635
[6 empty] | 15:41 | 0.98063
[6 empty] | 15:42 | 1.1266
[6 empty] | 15:43 | 0.80845
[6 empty] | 15:44 | 0.86365
[6 empty] | 15:45 | 1.2248
[6 empty] | 15:46 | 1.1015
[6 empty] | 15:47 | 0.83648
[6 empty] | 15:48 | 1.1868
[6 empty] | 15:49 | 1.2678
[6 empty] | 15:50 | 0.90207
[6 empty] | 15:51 | 0.96094
[6 empty] | 15:52 | 0.93542
[6 empty] | 15:53 | 0.75174
[6 empty] | 15:54 | 0.7218
Note on B6: enter 1-m g/hata for full run in col a&b

## results table
| Teom | Teom | % PM | FP equiv | FP equiv | full run g/h from filter pull:
| g/h | PM, g | of Total | g/h | PM, g
Phase 1 | 0.81815 | 0.80452 | 12.0164 | #DIV/0! | #DIV/0!
Phase 2 | 1.1181 | 1.0994 | 16.4215 | #DIV/0! | #DIV/0!
Phase 3 | 0.94797 | 1.8801 | 28.0821 | #DIV/0! | #DIV/0!
Phase 4 | 0.97578 | 2.9111 | 43.48 | #DIV/0! | #DIV/0! | Ratio of Teom to filterpull full run g/h:
Phase 5 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0!
sum: |  | 6.6952 | 100 |  | #DIV/0!
Note: delete unused phases above since they show up as 0.
Note on K2: enter full run fp gph in k2