## 1-min gph
time | g/h | g/hr neg=0 | 2020-01-21 | full run Teom g/h avg: |  |  | full run Teom grams PM | Notes:
9:25 | 0 | 0 | POST 7 PRE |  | 0.63643 |  | 4.4444 | 1. Teom g/h on this tab should have neg values set to 0, and missing minutes interpolated, per the BNL SOP
9:26 | 0 | 0 | [5 empty] | and should use actual tunnel flow for conversion from ug/m3 to g/h
9:27 | 0.28581 | 0.28581 | [5 empty] | 2. The BNL SOP says Teom PM should be at local t/p or at conditions used for reporting filter pull data and tunnel flows [??]
9:28 | 0.14088 | 0.14088
9:29 | 0.12734 | 0.12734
9:30 | 0.3279 | 0.3279 |  | QC checks: |  | result:
9:31 | 0.35997 | 0.35997 |  | min g/h: | 0 | should be zero, not negative
9:32 | 1.7474 | 1.7474 |  | Count: | 420
9:33 | 5.8602 | 5.8602 |  | # test min: | 420
9:34 | 11.1824 | 11.1824 |  | Diff: | 0 | should be 0
9:35 | 6.9353 | 6.9353
9:36 | 7.8291 | 7.8291
9:37 | 4.1333 | 4.1333
9:38 | 1.5972 | 1.5972
9:39 | 0.79928 | 0.79928
9:40 | 1.4884 | 1.4884
9:41 | 4.0912 | 4.0912
9:42 | 2.1907 | 2.1907
9:43 | 1.6828 | 1.6828
9:44 | 1.9285 | 1.9285
9:45 | 1.7708 | 1.7708
9:46 | 1.5939 | 1.5939
9:47 | 1.7333 | 1.7333
9:48 | 1.909 | 1.909
9:49 | 1.7034 | 1.7034
9:50 | 1.4861 | 1.4861
9:51 | 1.9397 | 1.9397
9:52 | 1.4325 | 1.4325
9:53 | 1.0864 | 1.0864
9:54 | 0.84772 | 0.84772
9:55 | 0.99393 | 0.99393
9:56 | 0.7603 | 0.7603
9:57 | 0.65388 | 0.65388
9:58 | 0.67499 | 0.67499
9:59 | 0.56993 | 0.56993
10:00 | 0.8709 | 0.8709
10:01 | 0.67686 | 0.67686
10:02 | 0.5142 | 0.5142
10:03 | 0.69399 | 0.69399
10:04 | 0.86493 | 0.86493
10:05 | 0.66249 | 0.66249
10:06 | 0.47993 | 0.47993
10:07 | 0.44625 | 0.44625
10:08 | 0.55941 | 0.55941
10:09 | 0.77115 | 0.77115
10:10 | 0.70378 | 0.70378
10:11 | 0.36978 | 0.36978
10:12 | 0.43579 | 0.43579
10:13 | 0.17434 | 0.17434
10:14 | 0.60723 | 0.60723
10:15 | 0.63337 | 0.63337
10:16 | 0.66099 | 0.66099
10:17 | 0.64469 | 0.64469
10:18 | 0.46644 | 0.46644
10:19 | 0.56215 | 0.56215
10:20 | 0.43349 | 0.43349
10:21 | 0.46899 | 0.46899
10:22 | 0.3854 | 0.3854
10:23 | 0.50582 | 0.50582
10:24 | 0.52506 | 0.52506
10:25 | 0.52209 | 0.52209
10:26 | 0.48508 | 0.48508
10:27 | 0.52453 | 0.52453
10:28 | 0.56161 | 0.56161
10:29 | 0.35661 | 0.35661
10:30 | 0.38583 | 0.38583
10:31 | 0.21323 | 0.21323
10:32 | 0.38989 | 0.38989
10:33 | 0.43438 | 0.43438
10:34 | 0.42464 | 0.42464
10:35 | 0.222 | 0.222
10:36 | 0.52592 | 0.52592
10:37 | 0.43287 | 0.43287
10:38 | 0.28561 | 0.28561
10:39 | 0.41617 | 0.41617
10:40 | 0.43368 | 0.43368
10:41 | 0.23715 | 0.23715
10:42 | 0.42186 | 0.42186
10:43 | 0.49536 | 0.49536
10:44 | 0.34225 | 0.34225
10:45 | 0.37618 | 0.37618
10:46 | 0.30822 | 0.30822
10:47 | 0.42345 | 0.42345
10:48 | 0.30124 | 0.30124
10:49 | 0.56658 | 0.56658
10:50 | 0.39954 | 0.39954
10:51 | 0.26231 | 0.26231
10:52 | 0.52443 | 0.52443
10:53 | 0.28311 | 0.28311
10:54 | 0.34855 | 0.34855
10:55 | 0.46255 | 0.46255
10:56 | 0.48211 | 0.48211
10:57 | 0.23033 | 0.23033
10:58 | 0.27427 | 0.27427
10:59 | 0.2531 | 0.2531
11:00 | 0.25551 | 0.25551
11:01 | 0.17475 | 0.17475
11:02 | 0.22754 | 0.22754
11:03 | 0.27746 | 0.27746
11:04 | 0.21485 | 0.21485
11:05 | 0.16823 | 0.16823
11:06 | 0.22694 | 0.22694
11:07 | 0.1014 | 0.1014
11:08 | 0.22062 | 0.22062
11:09 | 0.37584 | 0.37584
11:10 | 0.034545 | 0.034545
11:11 | 0.17627 | 0.17627
11:12 | 0.18874 | 0.18874
11:13 | 0.28124 | 0.28124
11:14 | 0.22543 | 0.22543
11:15 | 0.40828 | 0.40828
11:16 | 0.22396 | 0.22396
11:17 | 0.27432 | 0.27432
11:18 | 0.038466 | 0.038466
11:19 | 0.1381 | 0.1381
11:20 | 0.25829 | 0.25829
11:21 | 0.040636 | 0.040636
11:22 | 0.19633 | 0.19633
11:23 | 0.11654 | 0.11654
11:24 | 0.13828 | 0.13828
11:25 | 0.11821 | 0.11821
11:26 | 0 | 0
11:27 | 0 | 0
11:28 | 0 | 0
11:29 | 0 | 0
11:30 | 0 | 0
11:31 | 0 | 0
11:32 | 0.21698 | 0.21698
11:33 | 0.34463 | 0.34463
11:34 | 0.52542 | 0.52542
11:35 | 0.38088 | 0.38088
11:36 | 7.4696 | 7.4696
11:37 | 3.3535 | 3.3535
11:38 | 3.7735 | 3.7735
11:39 | 1.674 | 1.674
11:40 | 3.0981 | 3.0981
11:41 | 4.6103 | 4.6103
11:42 | 0.96939 | 0.96939
11:43 | 0.47663 | 0.47663
11:44 | 0.48823 | 0.48823
11:45 | 0.18826 | 0.18826
11:46 | 0.02133 | 0.02133
11:47 | 0 | 0
11:48 | 0.083884 | 0.083884
11:49 | 0.029836 | 0.029836
11:50 | 0.19468 | 0.19468
11:51 | 0 | 0
11:52 | 0 | 0
11:53 | 0 | 0
11:54 | 0 | 0
11:55 | 0.0054714 | 0.0054714
11:56 | 0.060002 | 0.060002
11:57 | 0.03289 | 0.03289
11:58 | 0.54774 | 0.54774
11:59 | 0.9272 | 0.9272
12:00 | 0.02605 | 0.02605
12:01 | 0.099719 | 0.099719
12:02 | 0.19135 | 0.19135
12:03 | 0.36718 | 0.36718
12:04 | 0.26282 | 0.26282
12:05 | 0.15792 | 0.15792
12:06 | 1.6431 | 1.6431
12:07 | 3.1311 | 3.1311
12:08 | 4.0151 | 4.0151
12:09 | 0.65447 | 0.65447
12:10 | 2.0315 | 2.0315
12:11 | 0.38084 | 0.38084
12:12 | 1.0725 | 1.0725
12:13 | 1.791 | 1.791
12:14 | 2.0262 | 2.0262
12:15 | 0 | 0
12:16 | 0 | 0
12:17 | 2.5855 | 2.5855
12:18 | 6.5441 | 6.5441
12:19 | 1.1259 | 1.1259
12:20 | 0 | 0
12:21 | 0 | 0
12:22 | 0 | 0
12:23 | 0 | 0
12:24 | 0 | 0
12:25 | 4.3148 | 4.3148
12:26 | 2.1352 | 2.1352
12:27 | 2.8906 | 2.8906
12:28 | 0.067465 | 0.067465
12:29 | 0.69046 | 0.69046
12:30 | 1.5734 | 1.5734
12:31 | 0.3595 | 0.3595
12:32 | 1.5443 | 1.5443
12:33 | 0.55446 | 0.55446
12:34 | 0 | 0
12:35 | 0 | 0
12:36 | 0 | 0
12:37 | 0 | 0
12:38 | 0 | 0
12:39 | 0 | 0
12:40 | 0 | 0
12:41 | 0 | 0
12:42 | 0 | 0
12:43 | 0 | 0
12:44 | 0 | 0
12:45 | 0.17975 | 0.17975
12:46 | 2.6289 | 2.6289
12:47 | 0.18858 | 0.18858
12:48 | 0.023496 | 0.023496
12:49 | 0 | 0
12:50 | 0 | 0
12:51 | 0 | 0
12:52 | 0 | 0
12:53 | 0.10644 | 0.10644
12:54 | 0 | 0
12:55 | 0.28905 | 0.28905
12:56 | 4.6771 | 4.6771
12:57 | 3.3076 | 3.3076
12:58 | 4.1531 | 4.1531
12:59 | 3.6229 | 3.6229
13:00 | 0.76617 | 0.76617
13:01 | 0.22504 | 0.22504
13:02 | 0.53905 | 0.53905
13:03 | 0.020362 | 0.020362
13:04 | 0.12376 | 0.12376
13:05 | 0.039958 | 0.039958
13:06 | 0 | 0
13:07 | 0 | 0
13:08 | 0 | 0
13:09 | 0.18543 | 0.18543
13:10 | 0.4548 | 0.4548
13:11 | 0.38365 | 0.38365
13:12 | 0.19086 | 0.19086
13:13 | 0.20785 | 0.20785
13:14 | 0.14851 | 0.14851
13:15 | 0.056404 | 0.056404
13:16 | 0 | 0
13:17 | 0 | 0
13:18 | 0.31472 | 0.31472
13:19 | 0 | 0
13:20 | 0 | 0
13:21 | 0 | 0
13:22 | 0 | 0
13:23 | 0 | 0
13:24 | 0 | 0
13:25 | 0 | 0
13:26 | 0 | 0
13:27 | 0.023472 | 0.023472
13:28 | 0 | 0
13:29 | 0 | 0
13:30 | 0.044241 | 0.044241
13:31 | 0.15777 | 0.15777
13:32 | 0 | 0
13:33 | 0.12231 | 0.12231
13:34 | 0.28067 | 0.28067
13:35 | 2.6075 | 2.6075
13:36 | 2.1668 | 2.1668
13:37 | 2.7216 | 2.7216
13:38 | 1.9187 | 1.9187
13:39 | 0.43612 | 0.43612
13:40 | 0.22389 | 0.22389
13:41 | 2.7689 | 2.7689
13:42 | 1.5041 | 1.5041
13:43 | 2.3631 | 2.3631
13:44 | 0.3916 | 0.3916
13:45 | 1.5796 | 1.5796
13:46 | 0.18287 | 0.18287
13:47 | 0.79388 | 0.79388
13:48 | 0.21947 | 0.21947
13:49 | 0.37271 | 0.37271
13:50 | 0.77268 | 0.77268
13:51 | 1.0723 | 1.0723
13:52 | 0.72538 | 0.72538
13:53 | 0.46152 | 0.46152
13:54 | 0.53194 | 0.53194
13:55 | 0 | 0
13:56 | 0 | 0
13:57 | 0 | 0
13:58 | 0 | 0
13:59 | 0 | 0
14:00 | 0.032303 | 0.032303
14:01 | 0.53615 | 0.53615
14:02 | 0.15419 | 0.15419
14:03 | 0.4804 | 0.4804
14:04 | 0.15997 | 0.15997
14:05 | 0.026351 | 0.026351
14:06 | 0.067059 | 0.067059
14:07 | 0.33268 | 0.33268
14:08 | 0.2965 | 0.2965
14:09 | 0.13237 | 0.13237
14:10 | 0.67124 | 0.67124
14:11 | 0.23282 | 0.23282
14:12 | 0 | 0
14:13 | 0.19238 | 0.19238
14:14 | 0.24393 | 0.24393
14:15 | 0.3574 | 0.3574
14:16 | 0.029254 | 0.029254
14:17 | 0.15638 | 0.15638
14:18 | 0.11095 | 0.11095
14:19 | 1.1802 | 1.1802
14:20 | 0.16594 | 0.16594
14:21 | 1.1599 | 1.1599
14:22 | 1.1418 | 1.1418
14:23 | 0.061088 | 0.061088
14:24 | 0.22708 | 0.22708
14:25 | 0.40381 | 0.40381
14:26 | 0.18041 | 0.18041
14:27 | 0.46558 | 0.46558
14:28 | 0.29609 | 0.29609
14:29 | 0.17655 | 0.17655
14:30 | 0.26279 | 0.26279
14:31 | 0.033794 | 0.033794
14:32 | 0 | 0
14:33 | 0.38604 | 0.38604
14:34 | 0 | 0
14:35 | 0.10098 | 0.10098
14:36 | 0.030079 | 0.030079
14:37 | 0.88426 | 0.88426
14:38 | 0.28053 | 0.28053
14:39 | 0.59669 | 0.59669
14:40 | 0.37412 | 0.37412
14:41 | 0.11983 | 0.11983
14:42 | 0.17835 | 0.17835
14:43 | 0.043435 | 0.043435
14:44 | 0 | 0
14:45 | 0.024983 | 0.024983
14:46 | 0.010404 | 0.010404
14:47 | 0.24587 | 0.24587
14:48 | 0.27165 | 0.27165
14:49 | 0.59663 | 0.59663
14:50 | 0.50605 | 0.50605
14:51 | 0.43123 | 0.43123
14:52 | 0.13288 | 0.13288
14:53 | 0.12852 | 0.12852
14:54 | 0.34682 | 0.34682
14:55 | 0.39913 | 0.39913
14:56 | 0.10481 | 0.10481
14:57 | 0.77122 | 0.77122
14:58 | 0.52491 | 0.52491
14:59 | 0.40882 | 0.40882
15:00 | 0.58778 | 0.58778
15:01 | 0.47785 | 0.47785
15:02 | 1.0473 | 1.0473
15:03 | 0.43923 | 0.43923
15:04 | 0.58133 | 0.58133
15:05 | 0.43503 | 0.43503
15:06 | 0.22661 | 0.22661
15:07 | 0.0061665 | 0.0061665
15:08 | 0.2217 | 0.2217
15:09 | 0.16704 | 0.16704
15:10 | 0.0074419 | 0.0074419
15:11 | 0 | 0
15:12 | 0.30244 | 0.30244
15:13 | 0.25369 | 0.25369
15:14 | 0 | 0
15:15 | 0 | 0
15:16 | 0 | 0
15:17 | 0.11022 | 0.11022
15:18 | 0 | 0
15:19 | 0.1559 | 0.1559
15:20 | 0.032663 | 0.032663
15:21 | 0.096437 | 0.096437
15:22 | 0.33342 | 0.33342
15:23 | 0.38507 | 0.38507
15:24 | 0.36137 | 0.36137
15:25 | 0.73728 | 0.73728
15:26 | 0.83568 | 0.83568
15:27 | 0.095743 | 0.095743
15:28 | 0.8498 | 0.8498
15:29 | 0.14209 | 0.14209
15:30 | 0.36966 | 0.36966
15:31 | 2.2185 | 2.2185
15:32 | 0 | 0
15:33 | 0.0074803 | 0.0074803
15:34 | 0 | 0
15:35 | 0 | 0
15:36 | 0 | 0
15:37 | 0 | 0
15:38 | 0 | 0
15:39 | 0.053557 | 0.053557
15:40 | 0 | 0
15:41 | 0.027226 | 0.027226
15:42 | 0.10993 | 0.10993
15:43 | 0.052545 | 0.052545
15:44 | 0.054472 | 0.054472
15:45 | 0.069218 | 0.069218
15:46 | 0 | 0
15:47 | 0.25876 | 0.25876
15:48 | 0 | 0
15:49 | 0 | 0
15:50 | 0 | 0
15:51 | 0.14752 | 0.14752
15:52 | 0.62387 | 0.62387
15:53 | 0.050324 | 0.050324
15:54 | 0 | 0
15:55 | 0.30497 | 0.30497
15:56 | 0.1923 | 0.1923
15:57 | 2.4992 | 2.4992
15:58 | 0.25134 | 0.25134
15:59 | 0 | 0
16:00 | 0 | 0
16:01 | 0 | 0
16:02 | 0.19575 | 0.19575
16:03 | 0.37634 | 0.37634
16:04 | 0.80834 | 0.80834
16:05 | 0.81714 | 0.81714
16:06 | 0.13712 | 0.13712
16:07 | 0.060532 | 0.060532
16:08 | 0.60806 | 0.60806
16:09 | 0.29868 | 0.29868
16:10 | 1.1735 | 1.1735
16:11 | 0.26178 | 0.26178
16:12 | 0.27676 | 0.27676
16:13 | 0.20823 | 0.20823
16:14 | 0.37181 | 0.37181
16:15 | 0.40055 | 0.40055
16:16 | 0.86798 | 0.86798
16:17 | 0.50251 | 0.50251
16:18 | 0 | 0
16:19 | 0 | 0
16:20 | 0.14749 | 0.14749
16:21 | 0.13684 | 0.13684
16:22 | 0.050562 | 0.050562
16:23 | 0.44922 | 0.44922
16:24 | 1.4311 | 1.4311
Note on B2: enter 1-m g/h data for full run in col a&b

## 1-min gph by phase
Phase 1 |  | Phase 2 |  | Phase 3 |  | Phase 4 |  | Phase 5 |  | Phase 6 |  | Phase 7 |  | Phase 8 |  | Phase 9 |  | Phase 10
avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM
1.433 | 1.4091 | 0.30982 | 0.30466 | 0.78884 | 1.5645 | 0.37816 | 1.1282 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h
9:25 | 0 | 10:25 | 0.52209 | 11:25 | 0.11821 | 13:25 | 0 | 0:00 | 0 | 0:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9:26 | 0 | 10:26 | 0.48508 | 11:26 | 0 | 13:26 | 0
9:27 | 0.28581 | 10:27 | 0.52453 | 11:27 | 0 | 13:27 | 0.023472
9:28 | 0.14088 | 10:28 | 0.56161 | 11:28 | 0 | 13:28 | 0
9:29 | 0.12734 | 10:29 | 0.35661 | 11:29 | 0 | 13:29 | 0
9:30 | 0.3279 | 10:30 | 0.38583 | 11:30 | 0 | 13:30 | 0.044241
9:31 | 0.35997 | 10:31 | 0.21323 | 11:31 | 0 | 13:31 | 0.15777
9:32 | 1.7474 | 10:32 | 0.38989 | 11:32 | 0.21698 | 13:32 | 0
9:33 | 5.8602 | 10:33 | 0.43438 | 11:33 | 0.34463 | 13:33 | 0.12231
9:34 | 11.1824 | 10:34 | 0.42464 | 11:34 | 0.52542 | 13:34 | 0.28067
9:35 | 6.9353 | 10:35 | 0.222 | 11:35 | 0.38088 | 13:35 | 2.6075
9:36 | 7.8291 | 10:36 | 0.52592 | 11:36 | 7.4696 | 13:36 | 2.1668
9:37 | 4.1333 | 10:37 | 0.43287 | 11:37 | 3.3535 | 13:37 | 2.7216
9:38 | 1.5972 | 10:38 | 0.28561 | 11:38 | 3.7735 | 13:38 | 1.9187
9:39 | 0.79928 | 10:39 | 0.41617 | 11:39 | 1.674 | 13:39 | 0.43612
9:40 | 1.4884 | 10:40 | 0.43368 | 11:40 | 3.0981 | 13:40 | 0.22389
9:41 | 4.0912 | 10:41 | 0.23715 | 11:41 | 4.6103 | 13:41 | 2.7689
9:42 | 2.1907 | 10:42 | 0.42186 | 11:42 | 0.96939 | 13:42 | 1.5041
9:43 | 1.6828 | 10:43 | 0.49536 | 11:43 | 0.47663 | 13:43 | 2.3631
9:44 | 1.9285 | 10:44 | 0.34225 | 11:44 | 0.48823 | 13:44 | 0.3916
9:45 | 1.7708 | 10:45 | 0.37618 | 11:45 | 0.18826 | 13:45 | 1.5796
9:46 | 1.5939 | 10:46 | 0.30822 | 11:46 | 0.02133 | 13:46 | 0.18287
9:47 | 1.7333 | 10:47 | 0.42345 | 11:47 | 0 | 13:47 | 0.79388
9:48 | 1.909 | 10:48 | 0.30124 | 11:48 | 0.083884 | 13:48 | 0.21947
9:49 | 1.7034 | 10:49 | 0.56658 | 11:49 | 0.029836 | 13:49 | 0.37271
9:50 | 1.4861 | 10:50 | 0.39954 | 11:50 | 0.19468 | 13:50 | 0.77268
9:51 | 1.9397 | 10:51 | 0.26231 | 11:51 | 0 | 13:51 | 1.0723
9:52 | 1.4325 | 10:52 | 0.52443 | 11:52 | 0 | 13:52 | 0.72538
9:53 | 1.0864 | 10:53 | 0.28311 | 11:53 | 0 | 13:53 | 0.46152
9:54 | 0.84772 | 10:54 | 0.34855 | 11:54 | 0 | 13:54 | 0.53194
9:55 | 0.99393 | 10:55 | 0.46255 | 11:55 | 0.0054714 | 13:55 | 0
9:56 | 0.7603 | 10:56 | 0.48211 | 11:56 | 0.060002 | 13:56 | 0
9:57 | 0.65388 | 10:57 | 0.23033 | 11:57 | 0.03289 | 13:57 | 0
9:58 | 0.67499 | 10:58 | 0.27427 | 11:58 | 0.54774 | 13:58 | 0
9:59 | 0.56993 | 10:59 | 0.2531 | 11:59 | 0.9272 | 13:59 | 0
10:00 | 0.8709 | 11:00 | 0.25551 | 12:00 | 0.02605 | 14:00 | 0.032303
10:01 | 0.67686 | 11:01 | 0.17475 | 12:01 | 0.099719 | 14:01 | 0.53615
10:02 | 0.5142 | 11:02 | 0.22754 | 12:02 | 0.19135 | 14:02 | 0.15419
10:03 | 0.69399 | 11:03 | 0.27746 | 12:03 | 0.36718 | 14:03 | 0.4804
10:04 | 0.86493 | 11:04 | 0.21485 | 12:04 | 0.26282 | 14:04 | 0.15997
10:05 | 0.66249 | 11:05 | 0.16823 | 12:05 | 0.15792 | 14:05 | 0.026351
10:06 | 0.47993 | 11:06 | 0.22694 | 12:06 | 1.6431 | 14:06 | 0.067059
10:07 | 0.44625 | 11:07 | 0.1014 | 12:07 | 3.1311 | 14:07 | 0.33268
10:08 | 0.55941 | 11:08 | 0.22062 | 12:08 | 4.0151 | 14:08 | 0.2965
10:09 | 0.77115 | 11:09 | 0.37584 | 12:09 | 0.65447 | 14:09 | 0.13237
10:10 | 0.70378 | 11:10 | 0.034545 | 12:10 | 2.0315 | 14:10 | 0.67124
10:11 | 0.36978 | 11:11 | 0.17627 | 12:11 | 0.38084 | 14:11 | 0.23282
10:12 | 0.43579 | 11:12 | 0.18874 | 12:12 | 1.0725 | 14:12 | 0
10:13 | 0.17434 | 11:13 | 0.28124 | 12:13 | 1.791 | 14:13 | 0.19238
10:14 | 0.60723 | 11:14 | 0.22543 | 12:14 | 2.0262 | 14:14 | 0.24393
10:15 | 0.63337 | 11:15 | 0.40828 | 12:15 | 0 | 14:15 | 0.3574
10:16 | 0.66099 | 11:16 | 0.22396 | 12:16 | 0 | 14:16 | 0.029254
10:17 | 0.64469 | 11:17 | 0.27432 | 12:17 | 2.5855 | 14:17 | 0.15638
10:18 | 0.46644 | 11:18 | 0.038466 | 12:18 | 6.5441 | 14:18 | 0.11095
10:19 | 0.56215 | 11:19 | 0.1381 | 12:19 | 1.1259 | 14:19 | 1.1802
10:20 | 0.43349 | 11:20 | 0.25829 | 12:20 | 0 | 14:20 | 0.16594
10:21 | 0.46899 | 11:21 | 0.040636 | 12:21 | 0 | 14:21 | 1.1599
10:22 | 0.3854 | 11:22 | 0.19633 | 12:22 | 0 | 14:22 | 1.1418
10:23 | 0.50582 | 11:23 | 0.11654 | 12:23 | 0 | 14:23 | 0.061088
10:24 | 0.52506 | 11:24 | 0.13828 | 12:24 | 0 | 14:24 | 0.22708
|  |  |  | 12:25 | 4.3148 | 14:25 | 0.40381
|  |  |  | 12:26 | 2.1352 | 14:26 | 0.18041
|  |  |  | 12:27 | 2.8906 | 14:27 | 0.46558
|  |  |  | 12:28 | 0.067465 | 14:28 | 0.29609
|  |  |  | 12:29 | 0.69046 | 14:29 | 0.17655
|  |  |  | 12:30 | 1.5734 | 14:30 | 0.26279
|  |  |  | 12:31 | 0.3595 | 14:31 | 0.033794
|  |  |  | 12:32 | 1.5443 | 14:32 | 0
|  |  |  | 12:33 | 0.55446 | 14:33 | 0.38604
|  |  |  | 12:34 | 0 | 14:34 | 0
|  |  |  | 12:35 | 0 | 14:35 | 0.10098
|  |  |  | 12:36 | 0 | 14:36 | 0.030079
|  |  |  | 12:37 | 0 | 14:37 | 0.88426
|  |  |  | 12:38 | 0 | 14:38 | 0.28053
|  |  |  | 12:39 | 0 | 14:39 | 0.59669
|  |  |  | 12:40 | 0 | 14:40 | 0.37412
|  |  |  | 12:41 | 0 | 14:41 | 0.11983
|  |  |  | 12:42 | 0 | 14:42 | 0.17835
|  |  |  | 12:43 | 0 | 14:43 | 0.043435
|  |  |  | 12:44 | 0 | 14:44 | 0
|  |  |  | 12:45 | 0.17975 | 14:45 | 0.024983
|  |  |  | 12:46 | 2.6289 | 14:46 | 0.010404
|  |  |  | 12:47 | 0.18858 | 14:47 | 0.24587
|  |  |  | 12:48 | 0.023496 | 14:48 | 0.27165
|  |  |  | 12:49 | 0 | 14:49 | 0.59663
|  |  |  | 12:50 | 0 | 14:50 | 0.50605
|  |  |  | 12:51 | 0 | 14:51 | 0.43123
|  |  |  | 12:52 | 0 | 14:52 | 0.13288
|  |  |  | 12:53 | 0.10644 | 14:53 | 0.12852
|  |  |  | 12:54 | 0 | 14:54 | 0.34682
|  |  |  | 12:55 | 0.28905 | 14:55 | 0.39913
|  |  |  | 12:56 | 4.6771 | 14:56 | 0.10481
|  |  |  | 12:57 | 3.3076 | 14:57 | 0.77122
|  |  |  | 12:58 | 4.1531 | 14:58 | 0.52491
|  |  |  | 12:59 | 3.6229 | 14:59 | 0.40882
|  |  |  | 13:00 | 0.76617 | 15:00 | 0.58778
|  |  |  | 13:01 | 0.22504 | 15:01 | 0.47785
|  |  |  | 13:02 | 0.53905 | 15:02 | 1.0473
|  |  |  | 13:03 | 0.020362 | 15:03 | 0.43923
|  |  |  | 13:04 | 0.12376 | 15:04 | 0.58133
|  |  |  | 13:05 | 0.039958 | 15:05 | 0.43503
|  |  |  | 13:06 | 0 | 15:06 | 0.22661
|  |  |  | 13:07 | 0 | 15:07 | 0.0061665
|  |  |  | 13:08 | 0 | 15:08 | 0.2217
|  |  |  | 13:09 | 0.18543 | 15:09 | 0.16704
|  |  |  | 13:10 | 0.4548 | 15:10 | 0.0074419
|  |  |  | 13:11 | 0.38365 | 15:11 | 0
|  |  |  | 13:12 | 0.19086 | 15:12 | 0.30244
|  |  |  | 13:13 | 0.20785 | 15:13 | 0.25369
|  |  |  | 13:14 | 0.14851 | 15:14 | 0
|  |  |  | 13:15 | 0.056404 | 15:15 | 0
|  |  |  | 13:16 | 0 | 15:16 | 0
|  |  |  | 13:17 | 0 | 15:17 | 0.11022
|  |  |  | 13:18 | 0.31472 | 15:18 | 0
|  |  |  | 13:19 | 0 | 15:19 | 0.1559
|  |  |  | 13:20 | 0 | 15:20 | 0.032663
|  |  |  | 13:21 | 0 | 15:21 | 0.096437
|  |  |  | 13:22 | 0 | 15:22 | 0.33342
|  |  |  | 13:23 | 0 | 15:23 | 0.38507
|  |  |  | 13:24 | 0 | 15:24 | 0.36137
[6 empty] | 15:25 | 0.73728
[6 empty] | 15:26 | 0.83568
[6 empty] | 15:27 | 0.095743
[6 empty] | 15:28 | 0.8498
[6 empty] | 15:29 | 0.14209
[6 empty] | 15:30 | 0.36966
[6 empty] | 15:31 | 2.2185
[6 empty] | 15:32 | 0
[6 empty] | 15:33 | 0.0074803
[6 empty] | 15:34 | 0
[6 empty] | 15:35 | 0
[6 empty] | 15:36 | 0
[6 empty] | 15:37 | 0
[6 empty] | 15:38 | 0
[6 empty] | 15:39 | 0.053557
[6 empty] | 15:40 | 0
[6 empty] | 15:41 | 0.027226
[6 empty] | 15:42 | 0.10993
[6 empty] | 15:43 | 0.052545
[6 empty] | 15:44 | 0.054472
[6 empty] | 15:45 | 0.069218
[6 empty] | 15:46 | 0
[6 empty] | 15:47 | 0.25876
[6 empty] | 15:48 | 0
[6 empty] | 15:49 | 0
[6 empty] | 15:50 | 0
[6 empty] | 15:51 | 0.14752
[6 empty] | 15:52 | 0.62387
[6 empty] | 15:53 | 0.050324
[6 empty] | 15:54 | 0
[6 empty] | 15:55 | 0.30497
[6 empty] | 15:56 | 0.1923
[6 empty] | 15:57 | 2.4992
[6 empty] | 15:58 | 0.25134
[6 empty] | 15:59 | 0
[6 empty] | 16:00 | 0
[6 empty] | 16:01 | 0
[6 empty] | 16:02 | 0.19575
[6 empty] | 16:03 | 0.37634
[6 empty] | 16:04 | 0.80834
[6 empty] | 16:05 | 0.81714
[6 empty] | 16:06 | 0.13712
[6 empty] | 16:07 | 0.060532
[6 empty] | 16:08 | 0.60806
[6 empty] | 16:09 | 0.29868
[6 empty] | 16:10 | 1.1735
[6 empty] | 16:11 | 0.26178
[6 empty] | 16:12 | 0.27676
[6 empty] | 16:13 | 0.20823
[6 empty] | 16:14 | 0.37181
[6 empty] | 16:15 | 0.40055
[6 empty] | 16:16 | 0.86798
[6 empty] | 16:17 | 0.50251
[6 empty] | 16:18 | 0
[6 empty] | 16:19 | 0
[6 empty] | 16:20 | 0.14749
[6 empty] | 16:21 | 0.13684
[6 empty] | 16:22 | 0.050562
[6 empty] | 16:23 | 0.44922
[6 empty] | 16:24 | 1.4311
Note on B6: enter 1-m g/hata for full run in col a&b

## results table
| Teom | Teom | % PM | FP equiv | FP equiv | full run g/h from filter pull:
| g/h | PM, g | of Total | g/h | PM, g
Phase 1 | 1.433 | 1.4091 | 31.9784 | #DIV/0! | #DIV/0!
Phase 2 | 0.30982 | 0.30466 | 6.9138 | #DIV/0! | #DIV/0!
Phase 3 | 0.78884 | 1.5645 | 35.5051 | #DIV/0! | #DIV/0!
Phase 4 | 0.37816 | 1.1282 | 25.6027 | #DIV/0! | #DIV/0! | Ratio of Teom to filterpull full run g/h:
Phase 5 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0!
sum: |  | 4.4065 | 100 |  | #DIV/0!
Note: delete unused phases above since they show up as 0.
Note on K2: enter full run fp gph in k2