## 1-min gph
time | g/h | g/hr neg=0 | 2020-01-21 | full run Teom g/h avg: |  |  | full run Teom grams PM | Notes:
9:25 | 0 | 0 | ESP 7 PRE |  | 1.0048 |  | 7.0167 | 1. Teom g/h on this tab should have neg values set to 0, and missing minutes interpolated, per the BNL SOP
9:26 | 0 | 0 | [5 empty] | and should use actual tunnel flow for conversion from ug/m3 to g/h
9:27 | 0.099241 | 0.099241 | [5 empty] | 2. The BNL SOP says Teom PM should be at local t/p or at conditions used for reporting filter pull data and tunnel flows [??]
9:28 | 0.2921 | 0.2921
9:29 | 0.0175 | 0.0175
9:30 | 0.28906 | 0.28906 |  | QC checks: |  | result:
9:31 | 0.23381 | 0.23381 |  | min g/h: | 0 | should be zero, not negative
9:32 | 2.5743 | 2.5743 |  | Count: | 420
9:33 | 2.8374 | 2.8374 |  | # test min: | 420
9:34 | 6.3167 | 6.3167 |  | Diff: | 0 | should be 0
9:35 | 3.1133 | 3.1133
9:36 | 3.2478 | 3.2478
9:37 | 1.8208 | 1.8208
9:38 | 0.51876 | 0.51876
9:39 | 0.6166 | 0.6166
9:40 | 0.60804 | 0.60804
9:41 | 1.4342 | 1.4342
9:42 | 1.2182 | 1.2182
9:43 | 1.327 | 1.327
9:44 | 1.5315 | 1.5315
9:45 | 1.4086 | 1.4086
9:46 | 1.0166 | 1.0166
9:47 | 1.434 | 1.434
9:48 | 1.1024 | 1.1024
9:49 | 1.0631 | 1.0631
9:50 | 1.1498 | 1.1498
9:51 | 1.8201 | 1.8201
9:52 | 1.9139 | 1.9139
9:53 | 1.1295 | 1.1295
9:54 | 1.0609 | 1.0609
9:55 | 1.7542 | 1.7542
9:56 | 1.4654 | 1.4654
9:57 | 1.3725 | 1.3725
9:58 | 1.4877 | 1.4877
9:59 | 1.3734 | 1.3734
10:00 | 1.486 | 1.486
10:01 | 1.3669 | 1.3669
10:02 | 1.4321 | 1.4321
10:03 | 1.2604 | 1.2604
10:04 | 1.548 | 1.548
10:05 | 1.4401 | 1.4401
10:06 | 1.481 | 1.481
10:07 | 1.2792 | 1.2792
10:08 | 1.3456 | 1.3456
10:09 | 1.625 | 1.625
10:10 | 1.1803 | 1.1803
10:11 | 1.3875 | 1.3875
10:12 | 1.0636 | 1.0636
10:13 | 1.0083 | 1.0083
10:14 | 1.1812 | 1.1812
10:15 | 1.2513 | 1.2513
10:16 | 1.277 | 1.277
10:17 | 1.492 | 1.492
10:18 | 1.3331 | 1.3331
10:19 | 1.437 | 1.437
10:20 | 1.3267 | 1.3267
10:21 | 1.4209 | 1.4209
10:22 | 1.2511 | 1.2511
10:23 | 1.3226 | 1.3226
10:24 | 1.0661 | 1.0661
10:25 | 1.3182 | 1.3182
10:26 | 1.1148 | 1.1148
10:27 | 1.5062 | 1.5062
10:28 | 1.3095 | 1.3095
10:29 | 1.4467 | 1.4467
10:30 | 1.07 | 1.07
10:31 | 0.96946 | 0.96946
10:32 | 1.3049 | 1.3049
10:33 | 1.1678 | 1.1678
10:34 | 1.1038 | 1.1038
10:35 | 1.0942 | 1.0942
10:36 | 1.5587 | 1.5587
10:37 | 1.0522 | 1.0522
10:38 | 1.2887 | 1.2887
10:39 | 1.2087 | 1.2087
10:40 | 1.2117 | 1.2117
10:41 | 1.0836 | 1.0836
10:42 | 1.4921 | 1.4921
10:43 | 1.1517 | 1.1517
10:44 | 1.2951 | 1.2951
10:45 | 1.5445 | 1.5445
10:46 | 1.2938 | 1.2938
10:47 | 1.2151 | 1.2151
10:48 | 1.1761 | 1.1761
10:49 | 1.1926 | 1.1926
10:50 | 1.0688 | 1.0688
10:51 | 1.3323 | 1.3323
10:52 | 1.195 | 1.195
10:53 | 1.5993 | 1.5993
10:54 | 1.262 | 1.262
10:55 | 1.433 | 1.433
10:56 | 1.2517 | 1.2517
10:57 | 1.2507 | 1.2507
10:58 | 1.2802 | 1.2802
10:59 | 1.1492 | 1.1492
11:00 | 1.1485 | 1.1485
11:01 | 0.99619 | 0.99619
11:02 | 1.0504 | 1.0504
11:03 | 1.0855 | 1.0855
11:04 | 1.0404 | 1.0404
11:05 | 0.73193 | 0.73193
11:06 | 1.0992 | 1.0992
11:07 | 1.0673 | 1.0673
11:08 | 1.066 | 1.066
11:09 | 1.4065 | 1.4065
11:10 | 1.1388 | 1.1388
11:11 | 1.4316 | 1.4316
11:12 | 1.3778 | 1.3778
11:13 | 1.0141 | 1.0141
11:14 | 1.2523 | 1.2523
11:15 | 1.0354 | 1.0354
11:16 | 1.5862 | 1.5862
11:17 | 1.1227 | 1.1227
11:18 | 1.1585 | 1.1585
11:19 | 0.9351 | 0.9351
11:20 | 0.97253 | 0.97253
11:21 | 0.60823 | 0.60823
11:22 | 0.96813 | 0.96813
11:23 | 1.1309 | 1.1309
11:24 | 1.0928 | 1.0928
11:25 | 0.68396 | 0.68396
11:26 | 0.68792 | 0.68792
11:27 | 0.27616 | 0.27616
11:28 | 0.073384 | 0.073384
11:29 | 0.060319 | 0.060319
11:30 | 0.63606 | 0.63606
11:31 | 0.73764 | 0.73764
11:32 | 1.1076 | 1.1076
11:33 | 1.1572 | 1.1572
11:34 | 0.97527 | 0.97527
11:35 | 1.0302 | 1.0302
11:36 | 0.78292 | 0.78292
11:37 | 0.47706 | 0.47706
11:38 | 0.88326 | 0.88326
11:39 | 1.5024 | 1.5024
11:40 | 0.82124 | 0.82124
11:41 | 0 | 0
11:42 | 0.28866 | 0.28866
11:43 | 0.13094 | 0.13094
11:44 | 1.049 | 1.049
11:45 | 0.50637 | 0.50637
11:46 | 0.44699 | 0.44699
11:47 | 0.58756 | 0.58756
11:48 | 0.89186 | 0.89186
11:49 | 1.1693 | 1.1693
11:50 | 0.99015 | 0.99015
11:51 | 0.80551 | 0.80551
11:52 | 0.99994 | 0.99994
11:53 | 0.9477 | 0.9477
11:54 | 1.0081 | 1.0081
11:55 | 0.95181 | 0.95181
11:56 | 0.80543 | 0.80543
11:57 | 0.85835 | 0.85835
11:58 | 0.97682 | 0.97682
11:59 | 1.0617 | 1.0617
12:00 | 0.89393 | 0.89393
12:01 | 0.65525 | 0.65525
12:02 | 0.4647 | 0.4647
12:03 | 1.11 | 1.11
12:04 | 0.61637 | 0.61637
12:05 | 1.2492 | 1.2492
12:06 | 0.86348 | 0.86348
12:07 | 0.13968 | 0.13968
12:08 | 0 | 0
12:09 | 0.66892 | 0.66892
12:10 | 0.52025 | 0.52025
12:11 | 0.40978 | 0.40978
12:12 | 0.25431 | 0.25431
12:13 | 0.17284 | 0.17284
12:14 | 0.22376 | 0.22376
12:15 | 1.3207 | 1.3207
12:16 | 1.1682 | 1.1682
12:17 | 0.50321 | 0.50321
12:18 | 0.97093 | 0.97093
12:19 | 1.4332 | 1.4332
12:20 | 0.9735 | 0.9735
12:21 | 0.7721 | 0.7721
12:22 | 0.85692 | 0.85692
12:23 | 1.0988 | 1.0988
12:24 | 0.96057 | 0.96057
12:25 | 0.17685 | 0.17685
12:26 | 0.32418 | 0.32418
12:27 | 1.0282 | 1.0282
12:28 | 1.4395 | 1.4395
12:29 | 0.4023 | 0.4023
12:30 | 0.3373 | 0.3373
12:31 | 0.73597 | 0.73597
12:32 | 0.3069 | 0.3069
12:33 | 0.6779 | 0.6779
12:34 | 0.80505 | 0.80505
12:35 | 0.89366 | 0.89366
12:36 | 1.009 | 1.009
12:37 | 0.87513 | 0.87513
12:38 | 0.69919 | 0.69919
12:39 | 0.76483 | 0.76483
12:40 | 0.96593 | 0.96593
12:41 | 0.93804 | 0.93804
12:42 | 1.076 | 1.076
12:43 | 1.1388 | 1.1388
12:44 | 0.94069 | 0.94069
12:45 | 0.3748 | 0.3748
12:46 | 0.19455 | 0.19455
12:47 | 0.98605 | 0.98605
12:48 | 1.1132 | 1.1132
12:49 | 0.77333 | 0.77333
12:50 | 0.88958 | 0.88958
12:51 | 0.961 | 0.961
12:52 | 0.77971 | 0.77971
12:53 | 1.2939 | 1.2939
12:54 | 0.78204 | 0.78204
12:55 | 0.93623 | 0.93623
12:56 | 0.041749 | 0.041749
12:57 | 0.36185 | 0.36185
12:58 | 0.32522 | 0.32522
12:59 | 0 | 0
13:00 | 0.42038 | 0.42038
13:01 | 0.75382 | 0.75382
13:02 | 0.66178 | 0.66178
13:03 | 0.89933 | 0.89933
13:04 | 0.80303 | 0.80303
13:05 | 0.9214 | 0.9214
13:06 | 1.1127 | 1.1127
13:07 | 0.73805 | 0.73805
13:08 | 0.75084 | 0.75084
13:09 | 0.76369 | 0.76369
13:10 | 0.88817 | 0.88817
13:11 | 0.47176 | 0.47176
13:12 | 0.84871 | 0.84871
13:13 | 0.59714 | 0.59714
13:14 | 0.7996 | 0.7996
13:15 | 0.48344 | 0.48344
13:16 | 0.94636 | 0.94636
13:17 | 0.98033 | 0.98033
13:18 | 1.2044 | 1.2044
13:19 | 1.0421 | 1.0421
13:20 | 1.1063 | 1.1063
13:21 | 1.2696 | 1.2696
13:22 | 1.3689 | 1.3689
13:23 | 1.1774 | 1.1774
13:24 | 1.2431 | 1.2431
13:25 | 0.89206 | 0.89206
13:26 | 1.0508 | 1.0508
13:27 | 1.2725 | 1.2725
13:28 | 0.67709 | 0.67709
13:29 | 0.57879 | 0.57879
13:30 | 1.1778 | 1.1778
13:31 | 0.94229 | 0.94229
13:32 | 0.80935 | 0.80935
13:33 | 0.87303 | 0.87303
13:34 | 0.31666 | 0.31666
13:35 | 0.96903 | 0.96903
13:36 | 0.43602 | 0.43602
13:37 | 0.18108 | 0.18108
13:38 | 1.0103 | 1.0103
13:39 | 1.1132 | 1.1132
13:40 | 1.2445 | 1.2445
13:41 | 0.41922 | 0.41922
13:42 | 0.30764 | 0.30764
13:43 | 1.4442 | 1.4442
13:44 | 1.6478 | 1.6478
13:45 | 1.119 | 1.119
13:46 | 1.3417 | 1.3417
13:47 | 1.5489 | 1.5489
13:48 | 1.252 | 1.252
13:49 | 1.182 | 1.182
13:50 | 1.8576 | 1.8576
13:51 | 1.7026 | 1.7026
13:52 | 1.5199 | 1.5199
13:53 | 1.3961 | 1.3961
13:54 | 1.8431 | 1.8431
13:55 | 1.0054 | 1.0054
13:56 | 0.92909 | 0.92909
13:57 | 0.68172 | 0.68172
13:58 | 0.77928 | 0.77928
13:59 | 0.74889 | 0.74889
14:00 | 1.326 | 1.326
14:01 | 0.84992 | 0.84992
14:02 | 1.6932 | 1.6932
14:03 | 0.78 | 0.78
14:04 | 1.0725 | 1.0725
14:05 | 1.0155 | 1.0155
14:06 | 0.85563 | 0.85563
14:07 | 1.1743 | 1.1743
14:08 | 1.2927 | 1.2927
14:09 | 1.1599 | 1.1599
14:10 | 1.0333 | 1.0333
14:11 | 0.76596 | 0.76596
14:12 | 0.56697 | 0.56697
14:13 | 0.95516 | 0.95516
14:14 | 1.0814 | 1.0814
14:15 | 0.91201 | 0.91201
14:16 | 1.0821 | 1.0821
14:17 | 1.1358 | 1.1358
14:18 | 1.1448 | 1.1448
14:19 | 1.2329 | 1.2329
14:20 | 1.0252 | 1.0252
14:21 | 1.2778 | 1.2778
14:22 | 1.2332 | 1.2332
14:23 | 1.1135 | 1.1135
14:24 | 1.0662 | 1.0662
14:25 | 1.5109 | 1.5109
14:26 | 1.0241 | 1.0241
14:27 | 0.83672 | 0.83672
14:28 | 1.2501 | 1.2501
14:29 | 1.0741 | 1.0741
14:30 | 0.90192 | 0.90192
14:31 | 0.68867 | 0.68867
14:32 | 0.86299 | 0.86299
14:33 | 0.80222 | 0.80222
14:34 | 0.6261 | 0.6261
14:35 | 0.7217 | 0.7217
14:36 | 0.94917 | 0.94917
14:37 | 1.2817 | 1.2817
14:38 | 1.1633 | 1.1633
14:39 | 0.96278 | 0.96278
14:40 | 0.88835 | 0.88835
14:41 | 0.59793 | 0.59793
14:42 | 0.9016 | 0.9016
14:43 | 0.70214 | 0.70214
14:44 | 0.90812 | 0.90812
14:45 | 0.57447 | 0.57447
14:46 | 0.76962 | 0.76962
14:47 | 0.97127 | 0.97127
14:48 | 1.3126 | 1.3126
14:49 | 1.2099 | 1.2099
14:50 | 1.2209 | 1.2209
14:51 | 0.72847 | 0.72847
14:52 | 0.79209 | 0.79209
14:53 | 0.89779 | 0.89779
14:54 | 0.98772 | 0.98772
14:55 | 1.0197 | 1.0197
14:56 | 0.7161 | 0.7161
14:57 | 0.93148 | 0.93148
14:58 | 1.2374 | 1.2374
14:59 | 1.1973 | 1.1973
15:00 | 1.4561 | 1.4561
15:01 | 0.81341 | 0.81341
15:02 | 1.266 | 1.266
15:03 | 1.0833 | 1.0833
15:04 | 0.91775 | 0.91775
15:05 | 1.1961 | 1.1961
15:06 | 0.68176 | 0.68176
15:07 | 0.9963 | 0.9963
15:08 | 1.0424 | 1.0424
15:09 | 0.73201 | 0.73201
15:10 | 1.0876 | 1.0876
15:11 | 0.90555 | 0.90555
15:12 | 1.4302 | 1.4302
15:13 | 0.70618 | 0.70618
15:14 | 0.9131 | 0.9131
15:15 | 0.50282 | 0.50282
15:16 | 0.72687 | 0.72687
15:17 | 0.9373 | 0.9373
15:18 | 1.1174 | 1.1174
15:19 | 0.88261 | 0.88261
15:20 | 1.1958 | 1.1958
15:21 | 1.0685 | 1.0685
15:22 | 1.1348 | 1.1348
15:23 | 1.06 | 1.06
15:24 | 1.3297 | 1.3297
15:25 | 1.2383 | 1.2383
15:26 | 0.96188 | 0.96188
15:27 | 0.68836 | 0.68836
15:28 | 0.9689 | 0.9689
15:29 | 0.871 | 0.871
15:30 | 1.6179 | 1.6179
15:31 | 1.3234 | 1.3234
15:32 | 0.39511 | 0.39511
15:33 | 0.96993 | 0.96993
15:34 | 0.50437 | 0.50437
15:35 | 0.7682 | 0.7682
15:36 | 0.6124 | 0.6124
15:37 | 0.85472 | 0.85472
15:38 | 0.70459 | 0.70459
15:39 | 0.85433 | 0.85433
15:40 | 0.52773 | 0.52773
15:41 | 0.95221 | 0.95221
15:42 | 0.9997 | 0.9997
15:43 | 0.82504 | 0.82504
15:44 | 0.37837 | 0.37837
15:45 | 0.85428 | 0.85428
15:46 | 0.79698 | 0.79698
15:47 | 0.46763 | 0.46763
15:48 | 0.20426 | 0.20426
15:49 | 0.27181 | 0.27181
15:50 | 0.5299 | 0.5299
15:51 | 1.3383 | 1.3383
15:52 | 1.3188 | 1.3188
15:53 | 0.78872 | 0.78872
15:54 | 1.0438 | 1.0438
15:55 | 1.1001 | 1.1001
15:56 | 1.9624 | 1.9624
15:57 | 1.0323 | 1.0323
15:58 | 0.68576 | 0.68576
15:59 | 0.29227 | 0.29227
16:00 | 0.86366 | 0.86366
16:01 | 0.63908 | 0.63908
16:02 | 0.98404 | 0.98404
16:03 | 1.401 | 1.401
16:04 | 1.3753 | 1.3753
16:05 | 1.212 | 1.212
16:06 | 0.66329 | 0.66329
16:07 | 0.56369 | 0.56369
16:08 | 1.0993 | 1.0993
16:09 | 1.3375 | 1.3375
16:10 | 1.1471 | 1.1471
16:11 | 1.2189 | 1.2189
16:12 | 0.81583 | 0.81583
16:13 | 0.88457 | 0.88457
16:14 | 0.92353 | 0.92353
16:15 | 1.3278 | 1.3278
16:16 | 1.1732 | 1.1732
16:17 | 1.0208 | 1.0208
16:18 | 0.32722 | 0.32722
16:19 | 0.26873 | 0.26873
16:20 | 1.2094 | 1.2094
16:21 | 0.92367 | 0.92367
16:22 | 1.011 | 1.011
16:23 | 1.0951 | 1.0951
16:24 | 1.6045 | 1.6045
Note on B2: enter 1-m g/h data for full run in col a&b

## 1-min gph by phase
Phase 1 |  | Phase 2 |  | Phase 3 |  | Phase 4 |  | Phase 5 |  | Phase 6 |  | Phase 7 |  | Phase 8 |  | Phase 9 |  | Phase 10
avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM
1.3652 | 1.3424 | 1.1918 | 1.172 | 0.76892 | 1.525 | 0.97953 | 2.9223 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h
9:25 | 0 | 10:25 | 1.3182 | 11:25 | 0.68396 | 13:25 | 0.89206 | 0:00 | 0 | 0:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9:26 | 0 | 10:26 | 1.1148 | 11:26 | 0.68792 | 13:26 | 1.0508
9:27 | 0.099241 | 10:27 | 1.5062 | 11:27 | 0.27616 | 13:27 | 1.2725
9:28 | 0.2921 | 10:28 | 1.3095 | 11:28 | 0.073384 | 13:28 | 0.67709
9:29 | 0.0175 | 10:29 | 1.4467 | 11:29 | 0.060319 | 13:29 | 0.57879
9:30 | 0.28906 | 10:30 | 1.07 | 11:30 | 0.63606 | 13:30 | 1.1778
9:31 | 0.23381 | 10:31 | 0.96946 | 11:31 | 0.73764 | 13:31 | 0.94229
9:32 | 2.5743 | 10:32 | 1.3049 | 11:32 | 1.1076 | 13:32 | 0.80935
9:33 | 2.8374 | 10:33 | 1.1678 | 11:33 | 1.1572 | 13:33 | 0.87303
9:34 | 6.3167 | 10:34 | 1.1038 | 11:34 | 0.97527 | 13:34 | 0.31666
9:35 | 3.1133 | 10:35 | 1.0942 | 11:35 | 1.0302 | 13:35 | 0.96903
9:36 | 3.2478 | 10:36 | 1.5587 | 11:36 | 0.78292 | 13:36 | 0.43602
9:37 | 1.8208 | 10:37 | 1.0522 | 11:37 | 0.47706 | 13:37 | 0.18108
9:38 | 0.51876 | 10:38 | 1.2887 | 11:38 | 0.88326 | 13:38 | 1.0103
9:39 | 0.6166 | 10:39 | 1.2087 | 11:39 | 1.5024 | 13:39 | 1.1132
9:40 | 0.60804 | 10:40 | 1.2117 | 11:40 | 0.82124 | 13:40 | 1.2445
9:41 | 1.4342 | 10:41 | 1.0836 | 11:41 | 0 | 13:41 | 0.41922
9:42 | 1.2182 | 10:42 | 1.4921 | 11:42 | 0.28866 | 13:42 | 0.30764
9:43 | 1.327 | 10:43 | 1.1517 | 11:43 | 0.13094 | 13:43 | 1.4442
9:44 | 1.5315 | 10:44 | 1.2951 | 11:44 | 1.049 | 13:44 | 1.6478
9:45 | 1.4086 | 10:45 | 1.5445 | 11:45 | 0.50637 | 13:45 | 1.119
9:46 | 1.0166 | 10:46 | 1.2938 | 11:46 | 0.44699 | 13:46 | 1.3417
9:47 | 1.434 | 10:47 | 1.2151 | 11:47 | 0.58756 | 13:47 | 1.5489
9:48 | 1.1024 | 10:48 | 1.1761 | 11:48 | 0.89186 | 13:48 | 1.252
9:49 | 1.0631 | 10:49 | 1.1926 | 11:49 | 1.1693 | 13:49 | 1.182
9:50 | 1.1498 | 10:50 | 1.0688 | 11:50 | 0.99015 | 13:50 | 1.8576
9:51 | 1.8201 | 10:51 | 1.3323 | 11:51 | 0.80551 | 13:51 | 1.7026
9:52 | 1.9139 | 10:52 | 1.195 | 11:52 | 0.99994 | 13:52 | 1.5199
9:53 | 1.1295 | 10:53 | 1.5993 | 11:53 | 0.9477 | 13:53 | 1.3961
9:54 | 1.0609 | 10:54 | 1.262 | 11:54 | 1.0081 | 13:54 | 1.8431
9:55 | 1.7542 | 10:55 | 1.433 | 11:55 | 0.95181 | 13:55 | 1.0054
9:56 | 1.4654 | 10:56 | 1.2517 | 11:56 | 0.80543 | 13:56 | 0.92909
9:57 | 1.3725 | 10:57 | 1.2507 | 11:57 | 0.85835 | 13:57 | 0.68172
9:58 | 1.4877 | 10:58 | 1.2802 | 11:58 | 0.97682 | 13:58 | 0.77928
9:59 | 1.3734 | 10:59 | 1.1492 | 11:59 | 1.0617 | 13:59 | 0.74889
10:00 | 1.486 | 11:00 | 1.1485 | 12:00 | 0.89393 | 14:00 | 1.326
10:01 | 1.3669 | 11:01 | 0.99619 | 12:01 | 0.65525 | 14:01 | 0.84992
10:02 | 1.4321 | 11:02 | 1.0504 | 12:02 | 0.4647 | 14:02 | 1.6932
10:03 | 1.2604 | 11:03 | 1.0855 | 12:03 | 1.11 | 14:03 | 0.78
10:04 | 1.548 | 11:04 | 1.0404 | 12:04 | 0.61637 | 14:04 | 1.0725
10:05 | 1.4401 | 11:05 | 0.73193 | 12:05 | 1.2492 | 14:05 | 1.0155
10:06 | 1.481 | 11:06 | 1.0992 | 12:06 | 0.86348 | 14:06 | 0.85563
10:07 | 1.2792 | 11:07 | 1.0673 | 12:07 | 0.13968 | 14:07 | 1.1743
10:08 | 1.3456 | 11:08 | 1.066 | 12:08 | 0 | 14:08 | 1.2927
10:09 | 1.625 | 11:09 | 1.4065 | 12:09 | 0.66892 | 14:09 | 1.1599
10:10 | 1.1803 | 11:10 | 1.1388 | 12:10 | 0.52025 | 14:10 | 1.0333
10:11 | 1.3875 | 11:11 | 1.4316 | 12:11 | 0.40978 | 14:11 | 0.76596
10:12 | 1.0636 | 11:12 | 1.3778 | 12:12 | 0.25431 | 14:12 | 0.56697
10:13 | 1.0083 | 11:13 | 1.0141 | 12:13 | 0.17284 | 14:13 | 0.95516
10:14 | 1.1812 | 11:14 | 1.2523 | 12:14 | 0.22376 | 14:14 | 1.0814
10:15 | 1.2513 | 11:15 | 1.0354 | 12:15 | 1.3207 | 14:15 | 0.91201
10:16 | 1.277 | 11:16 | 1.5862 | 12:16 | 1.1682 | 14:16 | 1.0821
10:17 | 1.492 | 11:17 | 1.1227 | 12:17 | 0.50321 | 14:17 | 1.1358
10:18 | 1.3331 | 11:18 | 1.1585 | 12:18 | 0.97093 | 14:18 | 1.1448
10:19 | 1.437 | 11:19 | 0.9351 | 12:19 | 1.4332 | 14:19 | 1.2329
10:20 | 1.3267 | 11:20 | 0.97253 | 12:20 | 0.9735 | 14:20 | 1.0252
10:21 | 1.4209 | 11:21 | 0.60823 | 12:21 | 0.7721 | 14:21 | 1.2778
10:22 | 1.2511 | 11:22 | 0.96813 | 12:22 | 0.85692 | 14:22 | 1.2332
10:23 | 1.3226 | 11:23 | 1.1309 | 12:23 | 1.0988 | 14:23 | 1.1135
10:24 | 1.0661 | 11:24 | 1.0928 | 12:24 | 0.96057 | 14:24 | 1.0662
|  |  |  | 12:25 | 0.17685 | 14:25 | 1.5109
|  |  |  | 12:26 | 0.32418 | 14:26 | 1.0241
|  |  |  | 12:27 | 1.0282 | 14:27 | 0.83672
|  |  |  | 12:28 | 1.4395 | 14:28 | 1.2501
|  |  |  | 12:29 | 0.4023 | 14:29 | 1.0741
|  |  |  | 12:30 | 0.3373 | 14:30 | 0.90192
|  |  |  | 12:31 | 0.73597 | 14:31 | 0.68867
|  |  |  | 12:32 | 0.3069 | 14:32 | 0.86299
|  |  |  | 12:33 | 0.6779 | 14:33 | 0.80222
|  |  |  | 12:34 | 0.80505 | 14:34 | 0.6261
|  |  |  | 12:35 | 0.89366 | 14:35 | 0.7217
|  |  |  | 12:36 | 1.009 | 14:36 | 0.94917
|  |  |  | 12:37 | 0.87513 | 14:37 | 1.2817
|  |  |  | 12:38 | 0.69919 | 14:38 | 1.1633
|  |  |  | 12:39 | 0.76483 | 14:39 | 0.96278
|  |  |  | 12:40 | 0.96593 | 14:40 | 0.88835
|  |  |  | 12:41 | 0.93804 | 14:41 | 0.59793
|  |  |  | 12:42 | 1.076 | 14:42 | 0.9016
|  |  |  | 12:43 | 1.1388 | 14:43 | 0.70214
|  |  |  | 12:44 | 0.94069 | 14:44 | 0.90812
|  |  |  | 12:45 | 0.3748 | 14:45 | 0.57447
|  |  |  | 12:46 | 0.19455 | 14:46 | 0.76962
|  |  |  | 12:47 | 0.98605 | 14:47 | 0.97127
|  |  |  | 12:48 | 1.1132 | 14:48 | 1.3126
|  |  |  | 12:49 | 0.77333 | 14:49 | 1.2099
|  |  |  | 12:50 | 0.88958 | 14:50 | 1.2209
|  |  |  | 12:51 | 0.961 | 14:51 | 0.72847
|  |  |  | 12:52 | 0.77971 | 14:52 | 0.79209
|  |  |  | 12:53 | 1.2939 | 14:53 | 0.89779
|  |  |  | 12:54 | 0.78204 | 14:54 | 0.98772
|  |  |  | 12:55 | 0.93623 | 14:55 | 1.0197
|  |  |  | 12:56 | 0.041749 | 14:56 | 0.7161
|  |  |  | 12:57 | 0.36185 | 14:57 | 0.93148
|  |  |  | 12:58 | 0.32522 | 14:58 | 1.2374
|  |  |  | 12:59 | 0 | 14:59 | 1.1973
|  |  |  | 13:00 | 0.42038 | 15:00 | 1.4561
|  |  |  | 13:01 | 0.75382 | 15:01 | 0.81341
|  |  |  | 13:02 | 0.66178 | 15:02 | 1.266
|  |  |  | 13:03 | 0.89933 | 15:03 | 1.0833
|  |  |  | 13:04 | 0.80303 | 15:04 | 0.91775
|  |  |  | 13:05 | 0.9214 | 15:05 | 1.1961
|  |  |  | 13:06 | 1.1127 | 15:06 | 0.68176
|  |  |  | 13:07 | 0.73805 | 15:07 | 0.9963
|  |  |  | 13:08 | 0.75084 | 15:08 | 1.0424
|  |  |  | 13:09 | 0.76369 | 15:09 | 0.73201
|  |  |  | 13:10 | 0.88817 | 15:10 | 1.0876
|  |  |  | 13:11 | 0.47176 | 15:11 | 0.90555
|  |  |  | 13:12 | 0.84871 | 15:12 | 1.4302
|  |  |  | 13:13 | 0.59714 | 15:13 | 0.70618
|  |  |  | 13:14 | 0.7996 | 15:14 | 0.9131
|  |  |  | 13:15 | 0.48344 | 15:15 | 0.50282
|  |  |  | 13:16 | 0.94636 | 15:16 | 0.72687
|  |  |  | 13:17 | 0.98033 | 15:17 | 0.9373
|  |  |  | 13:18 | 1.2044 | 15:18 | 1.1174
|  |  |  | 13:19 | 1.0421 | 15:19 | 0.88261
|  |  |  | 13:20 | 1.1063 | 15:20 | 1.1958
|  |  |  | 13:21 | 1.2696 | 15:21 | 1.0685
|  |  |  | 13:22 | 1.3689 | 15:22 | 1.1348
|  |  |  | 13:23 | 1.1774 | 15:23 | 1.06
|  |  |  | 13:24 | 1.2431 | 15:24 | 1.3297
[6 empty] | 15:25 | 1.2383
[6 empty] | 15:26 | 0.96188
[6 empty] | 15:27 | 0.68836
[6 empty] | 15:28 | 0.9689
[6 empty] | 15:29 | 0.871
[6 empty] | 15:30 | 1.6179
[6 empty] | 15:31 | 1.3234
[6 empty] | 15:32 | 0.39511
[6 empty] | 15:33 | 0.96993
[6 empty] | 15:34 | 0.50437
[6 empty] | 15:35 | 0.7682
[6 empty] | 15:36 | 0.6124
[6 empty] | 15:37 | 0.85472
[6 empty] | 15:38 | 0.70459
[6 empty] | 15:39 | 0.85433
[6 empty] | 15:40 | 0.52773
[6 empty] | 15:41 | 0.95221
[6 empty] | 15:42 | 0.9997
[6 empty] | 15:43 | 0.82504
[6 empty] | 15:44 | 0.37837
[6 empty] | 15:45 | 0.85428
[6 empty] | 15:46 | 0.79698
[6 empty] | 15:47 | 0.46763
[6 empty] | 15:48 | 0.20426
[6 empty] | 15:49 | 0.27181
[6 empty] | 15:50 | 0.5299
[6 empty] | 15:51 | 1.3383
[6 empty] | 15:52 | 1.3188
[6 empty] | 15:53 | 0.78872
[6 empty] | 15:54 | 1.0438
[6 empty] | 15:55 | 1.1001
[6 empty] | 15:56 | 1.9624
[6 empty] | 15:57 | 1.0323
[6 empty] | 15:58 | 0.68576
[6 empty] | 15:59 | 0.29227
[6 empty] | 16:00 | 0.86366
[6 empty] | 16:01 | 0.63908
[6 empty] | 16:02 | 0.98404
[6 empty] | 16:03 | 1.401
[6 empty] | 16:04 | 1.3753
[6 empty] | 16:05 | 1.212
[6 empty] | 16:06 | 0.66329
[6 empty] | 16:07 | 0.56369
[6 empty] | 16:08 | 1.0993
[6 empty] | 16:09 | 1.3375
[6 empty] | 16:10 | 1.1471
[6 empty] | 16:11 | 1.2189
[6 empty] | 16:12 | 0.81583
[6 empty] | 16:13 | 0.88457
[6 empty] | 16:14 | 0.92353
[6 empty] | 16:15 | 1.3278
[6 empty] | 16:16 | 1.1732
[6 empty] | 16:17 | 1.0208
[6 empty] | 16:18 | 0.32722
[6 empty] | 16:19 | 0.26873
[6 empty] | 16:20 | 1.2094
[6 empty] | 16:21 | 0.92367
[6 empty] | 16:22 | 1.011
[6 empty] | 16:23 | 1.0951
[6 empty] | 16:24 | 1.6045
Note on B6: enter 1-m g/hata for full run in col a&b

## results table
| Teom | Teom | % PM | FP equiv | FP equiv | full run g/h from filter pull:
| g/h | PM, g | of Total | g/h | PM, g
Phase 1 | 1.3652 | 1.3424 | 19.2832 | #DIV/0! | #DIV/0!
Phase 2 | 1.1918 | 1.172 | 16.8344 | #DIV/0! | #DIV/0!
Phase 3 | 0.76892 | 1.525 | 21.9059 | #DIV/0! | #DIV/0!
Phase 4 | 0.97953 | 2.9223 | 41.9764 | #DIV/0! | #DIV/0! | Ratio of Teom to filterpull full run g/h:
Phase 5 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0!
sum: |  | 6.9617 | 100 |  | #DIV/0!
Note: delete unused phases above since they show up as 0.
Note on K2: enter full run fp gph in k2