## VOC_Large Simple Cycle Gas-Fire
RBLCID | FACILITY_NAME | CORPORATE_OR_COMPANY_NAME | FACILITY_COUNTY | FACILITY_STATE | FACILITY_ZIP_CODE | FACILITY_COUNTRY | FACILTY_CONTACT_NAME | FACILITY_PHONE | FACILITY_CONTACT_EMAIL | EPA_REGION | AGENCY_CODE | AGENCY_NAME | AGENCY_CONTACT | AGENCY_PHONE | AGENCY_EMAIL | OTHER_AGENCY_CONTACT_INFO | PERMIT_NUM | SIC_CODE | NAICS_CODE | FACILITY_REGISTRY_SYSTEM_NUMBER | COMPLETE_APPLICATION_DATE | PERMIT_ISSUANCE_DATE | DATE_DETERMINATION_ENTERED_INTO_RBLC | DATE_DETERMINATION_LAST_UPDATED | PERMIT_TYPE | PERMIT_URL | FACILITY_DESCRIPTION | PERMIT_NOTES | PROCESS_NAME | PROCCESS_TYPE | PRIMARY_FUEL | THROUGHPUT | THROUGHPUT_UNIT | PROCESS_NOTES | POLLUTANT | TESTMETHOD | POLLUTANT_GROUP(S) | CAS_NUMBER | CONTROL_METHOD_CODE | CONTROL_METHOD_DESCRIPTION | EMISSION_LIMIT_1 | EMISSION_LIMIT_1_UNIT | Calc. lb/MMBtu | EMISSION_LIMIT_1_AVG_TIME_CONDITION | CASE-BY-CASE_BASIS | OTHER_ APPLICABLE_REQUIREMENTS | OTHER_FACTORS | PERCENT_EFFICIENCY | COMPLIANCE_VERIFIED | EMISSION_LIMIT_2 | EMISSION_LIMIT_2_UNIT | EMISSION_LIMIT_2_AVGERAGE_TIME_CONDITION | STANDARAD_EMISSION_LIMIT | STANDARD_EMISSION_LIMIT_UNIT | STANDARD_LIMIT_AVERAGE_TIME_CONDITION | COST_EFFECTIVENESS | INCREMENTAL_COST_EFFECTIVENESS | Cost_Verified | DOLLAR_YEAR_USED_IN_COST_ESTIMATES | POLLUTANT_COMPLIANCE_NOTES
FL-0346 | LAUDERDALE PLANT | FLORIDA POWER & LIGHT | BROWARD | FL | 33314 | USA | JOHN HAMPP |  | JOHN.HAMPP@FPL.COM | 4 | FL001 | FLORIDA DEPT. OF ENVIRONMENTAL PROTECTION | MR. DAVID READ | (850) 717-9000 | David.Read@dep.state.fl.us |  | 0110037-011-AC | 4911 | 221112 | 110002000000 | 11/01/2013 &nbsp;ACT | 04/22/2014 &nbsp;ACT | 2015-01-08 | 2016-05-05 | D | http://arm-permit2k.dep.state.fl.us/nontv/0110037.011.AC.F.ZIP | Large natural gas- and oil-fired power facility, consisting of four combined cycle units, and many combustion turbines. Small peaking units being replaced with larger combustion turbines. | In this project, 24 peaking turbines from the Lauderdale facility are being replaced with five 200 MW combustion turbines at Lauderdale. The turbines will fire primarily natural gas, but may also fire ULSD fuel oil. Triggers PSD for NOx, PM, CO, VOC, and GHG. GHG permit issued by US EPA Region 4. Technical evaluation available at http://arm-permit2k.dep.state.fl.us/nontv/0110037.011.AC.D.ZIP | Five 200-MW combustion turbines | 15.11 | Natural gas | 2000 | MMBtu/hr (approx) | Throughput could vary slightly (+/- 120 MMBtu/hr) depending on final selection of turbine model and firing of natural gas or oil. Primary fuel is expected to be gas. Each turbine limited to 3300 hrs per rolling 12-month period. Of these 3300 hrs, no more than 500 may use ULSD fuel oil. | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 320 | (Volatile Organic Compounds (VOC)) | VOC | P | Good combustion practice | 3.77 | LB/H | 0.001885 | THREE ONE-HR RUNS (NATURAL GAS) | BACT-PSD |  | U | 0 | U | 8 | LB/H | THREE ONE-HR RUNS (OIL) | 0 |  |  | 0 | 0 | N |  | Initial and annual stack tests required.
IN-0261 | VERMILLION GENERATING STATION | DUKE ENERGY INDIANA, LLC VERMILLION GENERATING STA | VERMILLION | IN | 47928 | USA | PATRICK COUGHLIN | 3178382108 |  | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | PERMIT WRITER: DEENA P. LEVERING 317-234-5400 DLEVERIN@IDEM.IN.GOV SECTION CHIEF: TRIP SINHA PH.D. 317-234-4907 | 165-36956-00022 | 4911 | 221112 | 110006000000 | 03/16/2016 &nbsp;ACT | 02/28/2017 &nbsp;ACT | 2017-07-07 | 2017-08-09 | C | HTTP:PERMITS.AIR.IDEM.IN.GOV/36956F.PDF | ELECTRIC UTILITY SERVICES |  | SIMPLE CYCLE, NATURAL GAS FIRED COMBUSTION TURBINES | 15.11 | NATURAL GAS | 80 | MW |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | GOOD COMBUSTION PRACTICES | 17.6 | LB/H |  | EACH TURBINE | BACT-PSD |  | N | 0 |  | 1.76 | TON/12 CONSEC. MONTH | COMPLIANCE DETERMINED END OF EACH MONTH | 0 |  |  | 0 | 0 | N |  | THIRD LIMIT: ONLY TWO TURBINES WILL OPERATE DURING LOW LOAD OPERATION
LA-0224 | ARSENAL HILL POWER PLANT | SOUTHWEST ELECTRIC POWER COMPANY (SWEPCO) | CADDO | LA | 71101 | USA | KRIS GAUS | 2147771113 |  | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV |  | PSD-LA-726 | 4911 | 221112 | 110001000000 | 01/07/2008 &nbsp;ACT | 03/20/2008 &nbsp;ACT | 2008-04-18 | 2012-05-18 | B |  | NATURAL GAS FIRED ELECTRICAL GENERATION PLANT. |  | SCN-3 COLD STARTUP CTG-1 SCN-7 COLD STARTUP CTG-2 | 15.11 | NATURAL GAS | 2110 | MMBTU/H |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | N | COMPLETE EVENTS AS QUICKLY AS POSSIBLE ACCORDING TO MANUFACTUREÂ¿S RECOMMENDED PROCEDURES. | 214.07 | LB/H |  | MAX | BACT-PSD | NSPS , OPERATING PERMIT | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
LA-0257 | SABINE PASS LNG TERMINAL | SABINE PASS LNG, LP & SABINE PASS LIQUEFACTION, LL | CAMERON | LA | 70631 | USA | PATRICIA OUTTRIM | 713-375-5212 | PAT.OUTTRIM@CHENIERE.COM | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | Permit writer: Dan Nguyen | PSD-LA-703(M3) | 4925 | 221210 | 110031000000 | 12/22/2010 &nbsp;ACT | 12/06/2011 &nbsp;ACT | 2012-01-23 | 2012-05-11 | B |  | A liquefaction section of the terminal which will include 24 compressor turbines, two generator turbines, two generator engines, flares, acid gas vents, and fugitives |  | Simple Cycle Refrigeration Compressor Turbines (16) | 15.11 | Natural Gas | 286 | MMBTU/H | GE LM2500+G4 | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25A | (Volatile Organic Compounds (VOC)) | VOC | P | Good combustion practices and fueled by natural gas | 0.66 | LB/H | 0.0023077 | HOURLY MAXIMUM | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
LA-0257 | SABINE PASS LNG TERMINAL | SABINE PASS LNG, LP & SABINE PASS LIQUEFACTION, LL | CAMERON | LA | 70631 | USA | PATRICIA OUTTRIM | 713-375-5212 | PAT.OUTTRIM@CHENIERE.COM | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | Permit writer: Dan Nguyen | PSD-LA-703(M3) | 4925 | 221210 | 110031000000 | 12/22/2010 &nbsp;ACT | 12/06/2011 &nbsp;ACT | 2012-01-23 | 2012-05-11 | B |  | A liquefaction section of the terminal which will include 24 compressor turbines, two generator turbines, two generator engines, flares, acid gas vents, and fugitives |  | Simple Cycle Generation Turbines (2) | 15.11 | Natural Gas | 286 | MMBTU/H | GE LM2500+G4 | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25A | (Volatile Organic Compounds (VOC)) | VOC | P | Good combustion practices and fueled by natural gas | 0.66 | LB/H | 0.0023077 | HOURLY MAXIMUM | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
LA-0258 | CALCASIEU PLANT | ENTERGY GULF STATES LA LLC | CALCASIEU | LA | 70665 | USA | CHRISTEE HERBERT | (504) 576-5699 | CHERBER@ENTERGY.COM | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | PERMIT WRITER: TEGAN TREADAWAY, (225) 219-3408 | PSD-LA-746 | 4911 | 221112 | 110007000000 | 11/10/2009 &nbsp;ACT | 12/21/2011 &nbsp;ACT | 2012-02-01 | 2012-04-03 | C |  | 320 MW POWER PLANT COMPRISED OF 2 NATURAL GAS-FIRED SIMPLE CYCLE COMBUSTION TURBINES. | APPLICATION ACCEPTED RECEIVED DATE = DATE OF ADMINISTRATIVE COMPLETENESS PSD TRIGGERED DUE TO RELAXATION OF A FEDERALLY-ENFORCEABLE CONDITION LIMITING POTENTIAL EMISSIONS BELOW MAJOR STATIONARY SOURCE THRESHOLDS. | TURBINE EXHAUST STACK NO. 1 &amp; NO. 2 | 15.11 | NATURAL GAS | 1900 | MM BTU/H EACH |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | DRY LOW NOX COMBUSTORS | 7 | LB/H | 0.0036842 | HOURLY MAXIMUM | BACT-PSD | OPERATING PERMIT | U | 0 | U | 132 | LB/H | HOURLY MAXIMUM / STARTUP & SHUTDOWN ONLY | 3 | PPMVD @ 15% O2 |  | 0 | 0 | N |  | LIMITS ARE PER TURBINE EXHAUST STACK. AGGREGATE VOC EMISSIONS FROM BOTH TURBINE EXHAUST STACKS ARE LIMITED TO 45.24 TONS PER YEAR. STARTUP & SHUTDOWN OPERATIONS ARE LIMITED TO 520 HOURS PER YEAR.
OH-0333 | DAYTON POWER & LIGHT ENERGY LLC | DAYTON POWER & LIGHT COMPANY | MONTGOMERY | OH | 45439 | USA | CARRIE BURKS | 937-331-3042 |  | 5 | OH001 | OHIO ENVIRONMENTAL PROTECTION AGENCY | MR. DANA THOMPSON | 614-644-3701 | Dana.thompson@epa.ohio.gov |  | P0104867 | 4911 | 221112 | 110000000000 | 04/30/2009 &nbsp;ACT | 12/03/2009 &nbsp;ACT | 2010-05-13 | 2010-05-20 | C |  | Seven simple cycle stationary combustion turbines all with rating of 80 MW and nominal heat input of 1115.2 mmBtu/hr using natural gas or No. 2 fuel oil and all with water injection control and last 5 also with low NOx burners. | Simple cycle stationary combution turbines issed in 2 different permits. Four turbines in this permit with dry low NOx combustion and water injection controls. Administrative Modification to original PTI #08-04153 issued 8/7/01, to incorporate low mass emissions methodology as allowed per 40 CFR 75.19 in lieu of methods under Appendix D or E to Part 75, by meeting the requirements of having mass emissions of less than 25 T/YR SO2 and less than 100 T/YR NOx (per turbine) based on 3 years of operation. Modification also reduced permitted formaldehyde emissions by 8.7 tons, recalculated based on the restriction on hours of operation. | Turbines (4), simple cycle, natural gas | 15.11 | NATURAL GAS | 15020 | H/YR | Hours per year for all 4 turbines | Volatile Organic Compounds (VOC) | Other - Method 25 or 25A | (Volatile Organic Compounds (VOC)) | VOC | N |  | 4 | LB/H |  | EACH TURBINE | BACT-PSD | SIP | U | 0 | Y | 31.64 | T/YR | PER ROLLING 12-MO. FOR 4 UNITS &ALL FUEL | 0 |  |  | 0 | 0 | N |  | T/YR limit is for both fuels and for the 4 turbines combined.
SC-0161 | DUKE ENERGY CAROLINAS LLC, W.S. LEE STEAM STATION |  | ANDERSON | SC | 29627 | USA |  | SYSNULL |  | 4 | SC001 | SOUTH CAROLINA DEPT OF HEALTH & ENV CTRL, BUREAU OF AIR QUALITY | MR. DENNIS CAMIT | (803)898-4284 | camitdr@dhec.sc.gov | SHEILA WATTS (803) 898-4123 | 0200-0004-CG | 4911 | 221112 | 110005000000 | 01/16/2013 &nbsp;ACT | 02/19/2014 &nbsp;ACT | 2015-08-25 | 2017-07-24 | B |  |  |  | COMBINED CYCLE COMBUSTION TURBINES (SIEMENS) | 15.11 |  | 0 |  | THE FACILITY PLANS TO INSTALL EITHER TWO GE 7FA.05 OR TWO SIEMENS SGT-5000F(5) NATURAL GAS FIRED COMBUSTION TURBINE GENERATORS, EACH EQUIPPED WITH A DUCT-FIRED HEAT RECOVERY STEAM GENERATOR. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | A | OXIDATION CATALYST | 3 | LB/H |  | CONTINUOUS OPERATION WITHOUT DUCT BURNER | BACT-PSD |  |  | 0 |  | 203 | LB/H | AVERAGE PER STARTUP AND SHUTDOWN EVENT | 1 | PPMVD @ 15% O2 | CONTINUOUS OPERATION WITHOUT DUCT BURNER | 0 | 0 | N |  | THERE ARE ALSO VOC EMISSON LIMITS ASSOCIATED WITH DUCT BURNERS (CONTINUOUS OPERATION) WHICH ARE 2.0 PPMVD @15% O2 AND 7.7 LB/HR.
SC-0161 | DUKE ENERGY CAROLINAS LLC, W.S. LEE STEAM STATION |  | ANDERSON | SC | 29627 | USA |  | SYSNULL |  | 4 | SC001 | SOUTH CAROLINA DEPT OF HEALTH & ENV CTRL, BUREAU OF AIR QUALITY | MR. DENNIS CAMIT | (803)898-4284 | camitdr@dhec.sc.gov | SHEILA WATTS (803) 898-4123 | 0200-0004-CG | 4911 | 221112 | 110005000000 | 01/16/2013 &nbsp;ACT | 02/19/2014 &nbsp;ACT | 2015-08-25 | 2017-07-24 | B |  |  |  | COMBINED CYCLE COMBUSTION TURBINES (GE) | 15.11 |  | 0 |  | THE FACILITY PLANS TO INSTALL EITHER TWO GE 7FA.05 OR TWO SIEMENS SGT-5000F(5) NATURAL GAS FIRED COMBUSTION TURBINE GENERATORS, EACH EQUIPPED WITH A DUCT-FIRED HEAT RECOVERY STEAM GENERATOR. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | A | OXIDATION CATALYST | 2.8 | LB/H |  | CONTINUOUS OPERATION WITHOUT DUCT BURNER | BACT-PSD |  |  | 0 |  | 133.3 | LB/H | AVERAGE PER STARTUP AND SHUTDOWN EVENT | 1 | PPMVD @ 15% O2 | CONTINUOUS OPERATION WITHOUT DUCT BURNER | 0 | 0 | N |  | THERE ARE ALSO VOC EMISSON LIMITS ASSOCIATED WITH DUCT BURNERS (CONTINUOUS OPERATION) WHICH ARE 2.0 PPMVD @15% O2 AND 7.1 LB/HR.
TX-0672 | CORPUS CHRISTI LIQUEFACTION PLANT | CORPUS CHRISTI LIQUEFACTION LLC | GREGORY | TX |  | USA | ANDREW CHARTRAND | (713) 375-5429 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Sean O'Brien 512-239-1137 sean.obrien@tceq.texas.gov | PSDTX1306 105710 | 4925 | 221210 | 110057000000 | 09/04/2012 &nbsp;ACT | 09/12/2014 &nbsp;ACT | 2015-03-13 | 2016-05-05 | A |  | Corpus Christi Liquefaction, LLC (CCL) proposes to construct and operate natural gas liquefaction and export plant and import facilities with regasification capabilities. The liquefied natural gas (LNG) terminal will be capable of processing an annual average of approximately 2.1 billion standard cubic feet per day of pipeline-quality natural gas in the liquefaction mode and 400 million standard cubic feet per day in the vaporization mode. The project will involve liquefying natural gas into LNG to be stored in three 160,000 cubic meters storage tanks. There will be 3 identical trains. LNG will be imported or exported via LNG carriers that will arrive at the projectâ€™s marine terminal. The facility will have the capability to liquefy natural gas from the pipeline system for export as LNG or import LNG and regasify it to send it out into the pipeline system. |  | Refrigeration compressor turbines | 15.11 | natural gas | 40000 | hp | 3 liquefied natural gas trains consisting of a total of (12) GE LM2500+ DLE turbines drive the propane and methane section compressors. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | good combustion practices | 0.6 | LB/H |  | 1 HOUR | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
TX-0794 | HILL COUNTY GENERATING FACILITY | BRAZOS ELECTRIC COOPERATIVE | HILL | TX |  | USA | MIKE MEYERS | (254)750-6228 | MMEYERS@BRAZOSELECTRIC.COM | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Randy Hamilton, (512)239-1512, randy.hamilton@tceq.texas.gov | 130051,PSDTX1450, GHGPSDTX131 | 4911 | 221112 | UNKNOWN | 12/18/2015 &nbsp;ACT | 04/07/2016 &nbsp;ACT | 2016-04-05 | 2016-07-29 | A |  | Four simple cycle combustion turbine electric generators are proposed. Natural gas or ultra-low sulfur diesel fuel oil are the fuels. Turbine model options are: General Electric (GE) 7FA.03, GE 7FA.04, GE 7FA.05, and Siemes SGT6-5000(5)ee. Electric output is between 684 and 928 megawatts (MW). |  | Simple cycle turbine | 15.11 | natural gas | 171 | MW | Each combustion turbine is limited to 2,920 hours of annual operation, including startup and shutdown hours. | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25A | (Volatile Organic Compounds (VOC)) | VOC | P | Premixing of fuel and air enhances combustion efficiency and minimizes emissions. | 5.4 | LB/H |  |  | BACT-PSD |  | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
TX-0816 | CORPUS CHRISTI LIQUEFACTION | CORPUS CHRISTI LIQUEFACTION STAGE III, LLC | SAN PATRICIO | TX |  | USA | KEITH LITTLE | (713) 375-5204 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Mr. Sean O'Brien, (512) 239-1137, Sean.OBrien@tceq.texas.gov | 139479, PSDTX1496, GHGPSDTX157 | 4925 | 221210 | Not Found | 11/16/2016 &nbsp;ACT | 02/14/2017 &nbsp;ACT | 2017-02-07 | 2018-04-18 | B |  | Trains 4 and 5 will consist of 12 natural gas compressor turbines, 2 thermal oxidizers, 2 sets of flares each comprised of one wet gas flare and one dry gas flare, 2 amine surge tanks (maintenance, startup, and shutdown [MSS] only), 3 diesel generators, 3 fire-water pump diesel engines, 6 fixed roof diesel storage tanks, and piping components. |  | Refrigeration compressor turbines | 15.11 | NATURAL GAS | 40000 | HP | 2 liquefied natural gas trains consisting of a total of (12) GE LM2500+ DLE turbines drive the propane, ethylene, and methane section compressors. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Good combustion practices | 0.68 | LB/H |  |  | BACT-PSD |  | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
*KS-0036 | WESTAR ENERGY - EMPORIA ENERGY CENTER | WESTAR ENERGY | LYON | KS | 66801 | USA | STEPHANIE HIRNER | 785-575-8447 |  | 7 | KS001 | KANSAS DEPT. OF HEALTH & ENVIRONMENT, BR. OF AIR & RADIATION, KS | GYANENDRA PRASAI, PE | 785-296-6427 | Gyanendra.X.Prasai@ks.gov | Gerald McIntyre, E-mail address: Gerald.McIntyre@ks.gov; | C-10656 | 4911 | 221112 | Not Found | 10/16/2012 &nbsp;ACT | 03/18/2013 &nbsp;ACT | 2017-08-23 | 2017-08-25 | C |  | The Westar Energy - Emporia Energy Center (Source ID: 1110046) is a fossil fuel power generation facility located in Emporia, Kansas. | This PSD permit with tracking number C-10656 is a modification of PSD permits C-9132 (issued on 5/5/2011) and C-7072 (issued 4/17/2007). | GE LM6000PC SPRINT Simple cycle combustion turbine | 15.11 | Pipeline quality natural gas | 405.3 | MMBTU/hr |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | utilize efficient combustion/design technology | 5.8 | LB/HR | 0.01431 | AT FULL LOAD | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
*KS-0036 | WESTAR ENERGY - EMPORIA ENERGY CENTER | WESTAR ENERGY | LYON | KS | 66801 | USA | STEPHANIE HIRNER | 785-575-8447 |  | 7 | KS001 | KANSAS DEPT. OF HEALTH & ENVIRONMENT, BR. OF AIR & RADIATION, KS | GYANENDRA PRASAI, PE | 785-296-6427 | Gyanendra.X.Prasai@ks.gov | Gerald McIntyre, E-mail address: Gerald.McIntyre@ks.gov; | C-10656 | 4911 | 221112 | Not Found | 10/16/2012 &nbsp;ACT | 03/18/2013 &nbsp;ACT | 2017-08-23 | 2017-08-25 | C |  | The Westar Energy - Emporia Energy Center (Source ID: 1110046) is a fossil fuel power generation facility located in Emporia, Kansas. | This PSD permit with tracking number C-10656 is a modification of PSD permits C-9132 (issued on 5/5/2011) and C-7072 (issued 4/17/2007). | GE 7FA Simple Cycle Combustion Turbine | 15.11 | Pipeline quality natural gas | 1780 | MMBTU/HR |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | will utilize efficient combustion/design technology | 3.2 | LB/HR | 0.0017978 | AT FULL LOAD | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
IN-0173 | MIDWEST FERTILIZER CORPORATION | MIDWEST FERTILIZER CORPORATION | POSEY | IN | 47620 | USA | MICHAEL CHORLTON | 3176258315 |  | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | PERMIT WRITER: DAVID MATOUSEK (317) 232-8253 DMATOUSE@IDEM.IN.GOV SECTION CHIEF: NATHAN BELL (317) 233-5670 NBELL@IDEM.IN.GOV | 129-33576-00059 | 2873 | 325311 | 110060000000 | 08/26/2013 &nbsp;ACT | 06/04/2014 &nbsp;ACT | 2014-07-17 | 2016-05-04 | A | HTTP://PERMITS.AIR.IDEM.IN.GOV/33576F.PDF | A STATIONARY NITROGEN FERTILIZER MANUFACTURING FACILITY |  | STARTUP HEATER | 15.11 | NATURAL GAS | 92.5 | MMBTU/H | NATURAL GAS USAGE SHALL NOT EXCEED 18.14 MMCF/YEAR. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | PROPER DESIGN AND GOOD COMBUSTION PRACTICES | 5.5 | LB/MMCF |  | 3-HR AVERAGE | BACT-PSD |  | N | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N
IN-0180 | MIDWEST FERTILIZER CORPORATION | MIDWEST FERTILIZER CORPORATION | POSEY | IN | 47620 | USA | MICHAEL CHORLTON | 3176258315 |  | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | PERMIT WRITER: DAVID MATOUSEK (317) 232-8253 DMATOUSE@IDEM.IN.GOV SECTION CHIEF: NATHAN BELL (317) 233-5670 NBELL@IDEM.IN.GOV | 129-33576-00059 | 2873 | 325311 | 110060000000 | 08/26/2013 &nbsp;ACT | 06/04/2014 &nbsp;ACT | 2014-08-12 | 2016-05-05 | A | HTTP://PERMITS.AIR.IDEM.IN.GOV/33576F.PDF | A STATIONARY NITROGEN FERTILIZER MANUFACTURING FACILITY |  | STARTUP HEATER | 15.11 | NATURAL GAS | 92.5 | MMBTU/H | NATURAL GAS USAGE SHALL NOT EXCEED 18.14 MMCF/YEAR. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | PROPER DESIGN AND GOOD COMBUSTION PRACTICES | 5.5 | LB/MMCF |  | 3-HR AVERAGE | BACT-PSD |  | N | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N
CA-1176 | ORANGE GROVE PROJECT |  | SAN DIEGO | CA | 92059 | USA |  |  |  | 9 | CA030 | SAN DIEGO COUNTY APCD, CA | MR. GARY SMITH | (858)586-2722 | gary.smith@sdcounty.ca.gov | Camqui Nguyen (858)586-2747 camqui.nguyen@sdcounty.ca.gov | 985708 | 491 | 221122 | UNKNOWN | 11/03/2007 &nbsp;ACT | 12/04/2008 &nbsp;ACT | 2010-09-21 | 2011-06-27 | A |  |  |  | Gas turbine simple cycle | 15.11 | Natural gas | 49.8 | MW | Combustion turbine for peaking power plant | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | A | Oxidation catalyst | 2 | PPM |  | 1 HOUR | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
TX-0788 | NECHES STATION | APEX TEXAS POWER LLC | CHEROKEE | TX |  | USA | DAVID JENKINS | 317-431-1004 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Ruth Alvirez 512-239-5220 Ruth.alvirez@tceq.texas .gov | 122401, PSDTX1428, GHGPSDTX111 | 4911 | 221112 | 110065000000 | 11/06/2015 &nbsp;ACT | 03/24/2016 &nbsp;ACT | 2016-02-19 | 2016-07-29 | A |  | either 4 simple cycle combustion turbine generators (CTGs) or two CTGs operating in simple cycle or combined cycle modes. The CTGs will be one of two options: Siemens or General Electric. |  | Large Combustion Turbines &gt; 25 MW | 15.11 | natural gas | 232 | MW | 4 Simple cycle CTGs, 2,500 hr/yr operational limitation. Facility will consist of either 232 MW (Siemens) or 220 MW (GE) | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | good combustion practices | 2 | PPM |  |  | BACT-PSD | NSPS | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | SUBPARTS KKKK AND TTTT
GA-0139 | DAHLBERG COMBUSDTION TURBINE ELECTRIC GENERATING FACILITY (P | SOUTHERN POWER COMPANY | JACKSON | GA | 30565 | USA | MR. E.S. (SCOTT) DIAL | 704 278-6601 | ESDIAL@SOUTHERNCO.COM | 4 | GA001 | GEORGIA DEPARTMENT OF NATURAL RESOURCES | MR. ERIC CORNWELL | (404) 363-7020 | Eric.Cornwell@dnr.state.ga.us |  | 4911-157-0034-V-04-1 | 4911 | 221112 | UNKNOWN | 07/10/2008 &nbsp;ACT | 05/14/2010 &nbsp;ACT | 2010-09-09 | 2010-09-10 | C |  | PLANT DAHLBERG HAS PROPOSED TO CONSTRUCT AND OPERATE FOUR ADDITIONAL SIMPLE-CYCLE COMBUSTION TURBINES (SOURCE CODES: CT11-CT14) AND ONE FUEL OIL STORAGE TANK. THE PROPOSED PROJECT WILL HAVE A NOMINAL GENERATING CAPACITY OF 760 MW. THE FACILITY IS CURRENTLY PERMITTED TO OPERATE 10 DUAL-FUELED SIMPLE-CYCLE CTG's. AFTER THE EXPANSION, THE FACILITY WILL HAVE A TOTAL NOMINAL GENERATING CAPACITY OF 1530 MW. |  | SIMPLE CYCLE COMBUSTION TURBINE - ELECTRIC GENERATING PLANT | 15.11 | NATURAL GASE | 1530 | MW | THE PROCESS USES FUEL OIL FOR BACKUP AT THE RATE OF 2129 MMBUT/H | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | GOOD COMBUSTION PRACTICES | 5 | PPM@15%02 |  | 3 HOUR AVERAGE/CONTITION 3.3.24 | BACT-PSD | OPERATING PERMIT | U | 0 | N | 5 | PPM@15%02 | 3 HOUR AVERAGE/CONDITION 3.3.28 | 0 |  |  | 0 | 0 | N
CA-1174 | EL CAJON ENERGY LLC | EL CAJON ENERGY LLC | SAN DIEGO | CA | 92020 | USA | GENEVIEVE HUFFMAN |  |  | 9 | CA030 | SAN DIEGO COUNTY APCD, CA | MR. GARY SMITH | (858)586-2722 | gary.smith@sdcounty.ca.gov | Evariste Haury (858)-586-2745 Evariste.Haury@sdcounty.ca.gov | 987824 | 519 | 311999 | 110043000000 | 11/01/2008 &nbsp;ACT | 12/11/2009 &nbsp;ACT | 2010-09-20 | 2011-04-11 | A |  |  |  | Gas turbine simple cycle | 15.11 | Natural gas | 49.95 | MW |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | A | Oxydation catalyst | 2 | PPMV |  | 1 HOUR | BACT-PSD | OTHER | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
TX-0768 | SHAWNEE ENERGY CENTER | SHAWNEE ENERGY CENTER, LLC | HILL | TX |  | USA | NEIL O'DONOVAN | 312-422-1608 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Joseph A. Janecka, P.E., 512-239-1353, joseph.janecka@tceq.texas.gov | PSDTX1442, 125963 | 4911 | 221112 | UNKNOWN | 07/31/2015 &nbsp;ACT | 10/09/2015 &nbsp;ACT | 2015-10-05 | 2016-07-06 | A |  | Electric Generating Utility: The project will consist of four gas fired combustion turbines (CTGs). The CTGs are fueled with pipeline quality natural gas and will operate in simple cycle mode. The gas turbines will be one of two options. |  | Simple cycle turbines greater than 25 megawatts (MW) | 15.11 | natural gas | 230 | MW | Siemens Model SGT6-5000 F5ee â€“ 230 MW or Second turbine option: General Electric Model 7FA.05TP â€“ 227 MW | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Pipeline quality natural gas; limited hours; good combustion practices. | 1.4 | PPMV |  |  | BACT-PSD | NSPS | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | Operation of the turbine is limited to 2,920 hours on a 12-month rolling average.
WY-0070 | CHEYENNE PRAIRIE GENERATING STATION | BLACK HILLS POWER, INC. | LARAMIE | WY | 82009 | USA | TIM ROGERS | (605) 721-2286 | TIM.ROGERS@BLACKHILLSCORP.COM | 8 | WY001 | WYOMING AIR QUAL DIVISION, AIR QUALITY | MR. ANDREW KEYFAUVER | (307)777-7340 | andrew.keyfauver@wyo.gov |  | CT-12636 | 491 | 221112 | Not Found | 03/01/2012 &nbsp;ACT | 08/28/2012 &nbsp;ACT | 2012-08-23 | 2018-05-11 | A |  | A nominal 220 megawatt (MW) gross electrical facility. The station is to consist of five (5) 40 MW GE LM6000 combustion turbine generators with two (2) of the turbines operating in combined cycle mode for an additional 20 MW in generation. |  | Simple Cycle Turbine (EP03) | 15.11 | Natural Gas | 40 | MW |  | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25 | (Volatile Organic Compounds (VOC)) | VOC | A | Oxidation Catalyst | 3 | PPMV AT 15% O2 |  | 3-HOUR AVERAGE | BACT-PSD |  | N | 0 | U | 3 | LB/H | 3-HOUR AVERAGE | 14 | T/YR |  | 0 | 0 | N
WY-0070 | CHEYENNE PRAIRIE GENERATING STATION | BLACK HILLS POWER, INC. | LARAMIE | WY | 82009 | USA | TIM ROGERS | (605) 721-2286 | TIM.ROGERS@BLACKHILLSCORP.COM | 8 | WY001 | WYOMING AIR QUAL DIVISION, AIR QUALITY | MR. ANDREW KEYFAUVER | (307)777-7340 | andrew.keyfauver@wyo.gov |  | CT-12636 | 491 | 221112 | Not Found | 03/01/2012 &nbsp;ACT | 08/28/2012 &nbsp;ACT | 2012-08-23 | 2018-05-11 | A |  | A nominal 220 megawatt (MW) gross electrical facility. The station is to consist of five (5) 40 MW GE LM6000 combustion turbine generators with two (2) of the turbines operating in combined cycle mode for an additional 20 MW in generation. |  | Simple Cycle Trubine (EP04) | 15.11 | Natural Gas | 40 | MW |  | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25 | (Volatile Organic Compounds (VOC)) | VOC | A | Oxidation Catalyst | 3 | PPMV AT 15% O2 |  | 3-HOUR AVERAGE | BACT-PSD |  | N | 0 | U | 3 | LB/H | 3-HOUR AVERAGE | 14 | T/YR |  | 0 | 0 | N
WY-0070 | CHEYENNE PRAIRIE GENERATING STATION | BLACK HILLS POWER, INC. | LARAMIE | WY | 82009 | USA | TIM ROGERS | (605) 721-2286 | TIM.ROGERS@BLACKHILLSCORP.COM | 8 | WY001 | WYOMING AIR QUAL DIVISION, AIR QUALITY | MR. ANDREW KEYFAUVER | (307)777-7340 | andrew.keyfauver@wyo.gov |  | CT-12636 | 491 | 221112 | Not Found | 03/01/2012 &nbsp;ACT | 08/28/2012 &nbsp;ACT | 2012-08-23 | 2018-05-11 | A |  | A nominal 220 megawatt (MW) gross electrical facility. The station is to consist of five (5) 40 MW GE LM6000 combustion turbine generators with two (2) of the turbines operating in combined cycle mode for an additional 20 MW in generation. |  | Simple Cycle Turbine (EP05) | 15.11 | Natural Gas | 40 | MW |  | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25 | (Volatile Organic Compounds (VOC)) | VOC | A | Oxidation Catalyst | 3 | PPMV AT 15% O2 |  | 3-HOUR AVERAGE | BACT-PSD |  | N | 0 | U | 3 | LB/H | 3-HOUR AVERAGE | 14 | T/YR |  | 0 | 0 | N
CA-1175 | ESCONDIDO ENERGY CENTER LLC |  | SAN DIEGO | CA | 92029 | USA |  |  |  | 9 | CA030 | SAN DIEGO COUNTY APCD, CA | MR. GARY SMITH | (858)586-2722 | gary.smith@sdcounty.ca.gov | Arthur Carbonell (858)-586-2741 arthur.carbonell@sdcounty.ca.gov | 985693 | 491 | 221122 | UNKNOWN | &nbsp; | 07/02/2008 &nbsp;ACT | 2010-09-21 | 2011-06-27 | A |  |  |  | Gas turbine simple cycle | 15.11 | Natural gas | 46.5 | MW |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | A | oxydation catalyst | 2 | PPMV@15% OXYGEN |  | 1 HOUR | BACT-PSD | OTHER | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
LA-0316 | CAMERON LNG FACILITY | CAMERON LNG LLC | CAMERON | LA | 70645 | USA | CLAYTON MILLER | 337-680-4531 | CMILLER@CAMERONLNG.COM | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | permit writer: dan nguyen (225)219-3395 | PSD-LA-766(M3) | 4922 | 221210 | 110030000000 | 12/12/2016 &nbsp;ACT | 02/17/2017 &nbsp;ACT | 2017-03-14 | 2017-04-28 | B |  | a facility to liquefy natural gas for export (5 trains) | Permit PSD-LA-766, dated 10/1/13 for liquefaction trains 1,2, and 3 Permit PSD-LA-766(M1), dated 6/26/14, for minor changes; Permit PSD-LA-766(M2), dated 3/3/16, for train 4 and 5 | Gas turbines (9 units) | 15.11 | natural gas | 1069 | mm btu/hr |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | good combustion practices and fueled by natural gas | 1.6 | PPMVD |  | @15%O2 | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
TX-0540 | BOSQUE COUNTY POWER PLANT | BOSQUE POWER COMPANY LLC | BOSQUE | TX | 76644 | USA | MS KATHY FRENCH | 6365322200 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | MS. BRIDGET MALONE (512) 239-4286 | 40620 | 4911 | 221112 | 4803500002 | 10/26/2007 &nbsp;ACT | 02/27/2009 &nbsp;ACT | 2009-11-06 | 2009-11-06 | A |  | BOSQUE POWER COMPANY IS SEEKING TO AMEND THEIR EXISTING PERMIT TO CONSTRUCT DUCT FIRING CAPABILITY TO THE HEAT RECOVERY STEAM GENERATORS (HRSGS) AUTHORIZED FOR THE UNIT 1 AND UNIT 2 GAS TURBINES. EACH COMBUSTION TURBINE IS NOMINALLY RATED AT 170 MEGAWATTS (MW) WHEN OPERATED IN THE SIMPLE CYCLE MODE (UP TO 8,760 HOURS A YEAR). UNITS 1 AND 2 ARE ALSO PERMITTED TO OPERATE IN COMBINED CYCLE MODE. WITH THE AMENDED PERMIT, EACH OF THE HRSGS WILL BE EQUIPPED WITH A 212 MMBTU/HR NATURAL GAS-FIRED DUCT BURNER UNIT TO BE OPERATED AS POWER DEMAND REQUIRES. ADDITIONAL EQUIPMENT ALREADY AUTHORIZED UNDER THE CURRENT PERMIT INCLUDES: TWO MULTI-CELL MECHANICAL COOLING TOWERS, A SMALL 16.8 MMBTU/HR NATURAL GAS FIRED HEATER AND NATURAL GAS PIPING. BOSQUE IS ALSO SEEKING AUTHORIZATION FOR THE ADDITION OF AN AMMONIA STORAGE AND HANDLING SYSTEM WITH THIS PERMIT AMENDMENT/RENEWAL APPLICATION. | PSDTX931M1 | ELECTRICAL GENERATION | 15.11 | NATURAL GAS | 170 | MW | BOSQUE POWER COMPANY IS SEEKING TO AMEND THEIR EXISTING PERMIT TO CONSTRUCT DUCT FIRING CAPABILITY TO THE HEAT RECOVERY STEAM GENERATORS (HRSGS) AUTHORIZED FOR THE UNIT 1 AND UNIT 2 GAS TURBINES. EACH COMBUSTION TURBINE IS NOMINALLY RATED AT 170 MEGAWATTS (MW) WHEN OPERATED IN THE SIMPLE CYCLE MODE (UP TO 8,760 HOURS A YEAR). UNITS 1 AND 2 ARE ALSO PERMITTED TO OPERATE IN COMBINED CYCLE MODE. WITH THE AMENDED PERMIT, EACH OF THE HRSGS WILL BE EQUIPPED WITH A 212 MMBTU/HR NATURAL GAS-FIRED DUCT BURNER UNIT TO BE OPERATED AS POWER DEMAND REQUIRES. ADDITIONAL EQUIPMENT ALREADY AUTHORIZED UNDER THE CURRENT PERMIT INCLUDES: TWO MULTI-CELL MECHANICAL COOLING TOWERS, A SMALL 16.8 MMBTU/HR NATURAL GAS FIRED HEATER AND NATURAL GAS PIPING. BOSQUE IS ALSO SEEKING AUTHORIZATION FOR THE ADDITION OF AN AMMONIA STORAGE AND HANDLING SYSTEM WITH THIS PERMIT AMENDMENT/RENEWAL APPLICATION. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | BACT IS THE USE OF GOOD COMBUSTION PRACTICES TO MINIMIZE THE PRODUCTS OF INCOMPLETE COMBUSTION OF THE NATURAL GAS TO ACHIEVE LESS THAN 4 PPMV OVER A ROLLING 3-HOUR PERIOD. | 4 | PPMVD |  | 3 HOUR | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N
TX-0696 | ROANâ€™S PRAIRIE GENERATING STATION | TENASKA ROANâ€™S PRAIRIE PARTNERS (TRPP), LLC | GRIMES | TX |  | USA | LARRY CARLSON | (402) 938-1661 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Mr. Erik Hendrickson 512-239-1095 erik.hendrickson@tceq.texas.gov | 114698 PSDTX1378 | 4911 | 221112 | 110028000000 | 10/25/2013 &nbsp;ACT | 09/22/2014 &nbsp;ACT | 2015-03-19 | 2016-05-09 | A |  | The proposed project is to construct and operate the RPGS comprised of three new simple cycle combustion turbine generators (CTG), fueled by pipeline quality natural gas. The new CTGs will be peaking units, designed to operate during periods of high electric demand. The three CTGs will produce between 507 and 694 MW of electricity combined, depending on ambient temperature and the model of combustion turbine (CT) selected. The applicant is considering three models of CTs; one model will be selected and the permit revised to reflect the selection before construction begins. The three CT models are: (1) General Electric 7FA.04; (2) General Electric 7FA.05; or (3) Siemens SGT6- 5000F. |  | (2) simple cycle turbines | 15.11 | natural gas | 600 | MW | The three possible CT models are: (1) General Electric 7FA.04; (2) General Electric 7FA.05; or (3) Siemens SGT6- 5000F. will operate 2,920 hours per year at full load for each CT | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | good combustion | 1.4 | PPMVD |  | @15% O2 GE OPTION | BACT-PSD |  | N | 0 | U | 1 | PPMVD | @15% O2 SIEMENS OPTION | 0 |  |  | 0 | 0 | N
TX-0819 | GAINES COUNTY POWER PLANT | SOUTHWESTERN PUBLIC SERVICE COMPANY |  | TX |  | USA | DAVID LOW | 806-378-2730 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Ms. Laura Gibson, P.E., (512) 239-2175, Laura.Gibson@tceq.texas.gov | 135322, PSDTX1470, AND GHGPSDT | 4911 | 221112 | NOT FOUND | 12/15/2016 &nbsp;ACT | 04/28/2017 &nbsp;ACT | 2017-06-05 | 2017-06-12 | A |  | constructed in phases, with natural gas-fired simple cycle combustion turbines (SCCTs) with dry low nitrogen oxide (NOx) burners (DLN) to be converted into 2-on-1 combined cycle combustion turbines (CCCTs) with selective catalytic reduction (SCRs), heat recovery steam generators (HRSGs, one per combustion turbine) and one steam turbine per two CCCTs. Federal control review only applies to the turbines and HRSGs. |  | Simple Cycle Turbine | 15.11 | natural gas | 227.5 | MW | Four Siemens SGT6-5000F5 natural gas fired combustion turbines | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Pipeline quality natural gas; limited hours; good combustion practices | 2 | PPMVD |  | 145% O2 | BACT-PSD |  | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
*TX-0833 | JACKSON COUNTY GENERATORS | SOUTHERN POWER | JACKSON | TX |  | USA | SUSAN COMENSKY | 205-257-2098 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Mr. Marc Sturdivant, (512) 239-1313, Marc.Sturdivant@tceq.texas.gov | PSDTX1422 | 4911 | 221112 | not found | 01/26/2016 &nbsp;ACT | 01/26/2018 &nbsp;ACT | 2018-04-26 | 2018-05-02 | A |  | four natural gas-fired simple-cycle combustion turbines, five fuel gas heaters, and a firewater pump engine |  | Combustion Turbines | 15.11 | natural gas | 920 | MW | 4 identical units, each limited to 2500 hours of operation per year | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Good combustion practices | 2 | PPMVD |  |  | BACT-PSD | NSPS | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | NSPS KKKK
TX-0733 | ANTELOPE ELK ENERGY CENTER | GOLDEN SPREAD ELECTRIC COOPERATIVE, INC. | HALE | TX |  | USA | JOLLY HAYDEN | 806-349-5250 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Laura Gibson, (512)239-2175, laura.gibson@tceq.texas.gov | 109148, PSDTX1358M1 | 4911 | 221112 | 110043000000 | 03/20/2015 &nbsp;ACT | 05/12/2015 &nbsp;ACT | 2015-05-04 | 2016-06-08 | B |  | Golden Spread Electric Cooperative, Inc. (GSEC) is requesting authorization for three additional simple cycle electric generating plants at an existing site to meet increased energy demand in the area. The generating equipment consists of three new GE 7F5-Series natural gas-fired combustion turbine generators (CTGs). Each turbine has a maximum electric output of 202 MW. |  | Simple Cycle Turbine &amp; Generator | 15.11 | natural gas | 202 | MW | 3 additional GE 7F 5-Series Combustion Turbine Generators | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Good combustion practices | 2 | PPMVD @ 15% O2 |  |  | BACT-PSD |  | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | Operation of each turbine is limited to 4,572 hours per year
TX-0764 | NACOGDOCHES POWER ELECTRIC GENERATING PLANT | NACOGDOCHES POWER, LLC | NACOGDOCHES | TX |  | USA | KELLI MCCULLOUGH | 205-257-6720 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Tzvi Shalem 512-239-1310 Tzvi.shalem@tceq.texas.gov | 77679, PSDTX1061M1 & O-3455 | 4911 | 221112 | 110044000000 | 06/25/2015 &nbsp;ACT | 10/14/2015 &nbsp;ACT | 2015-09-16 | 2016-07-06 | B |  | Nacogdoches Power, LLC is requesting authorization for one natural gas fired, simple cycle combustion turbine generator (CTG). The CTG will be a Siemens F5 and have a nominal electric output of 232 megawatts (MW). |  | Natural Gas Simple Cycle Turbine (&gt;25 MW) | 15.11 | natural gas | 232 | MW | One Siemens F5 simple cycle combustion turbine generator | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Pipeline quality natural gas; limited hours; good combustion practices. | 2 | PPMVD @ 15% O2 |  |  | BACT-PSD |  | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | Operation of the turbine is limited to 2,500 hours on a 12-month rolling average.
CO-0073 | PUEBLO AIRPORT GENERATING STATION | BLACK HILLS ELECTRIC GENERATION, LLC | PUEBLO | CO | 81001 | USA | TIM MORDHORST | 605-721-2181 | TIM.MORDHORST@BLACKHILLSCORP.COM | 8 | CO001 | COLORADO DEPT OF HEALTH - AIR POLL CTRL | MR. ROLAND HEA | (303) 692-3252 | Roland.Hea@state.co.us |  | 09PB0591 | 4911 | 221112 | 110055000000 | 09/23/2009 &nbsp;ACT | 07/22/2010 &nbsp;ACT | 2014-10-03 | 2017-09-12 | A |  | Combustion turbine power plant | New power plant consisting of 7 combustion turbines | Three simple cycle combustion turbines | 15.11 | natural gas | 799.7 | MMBTU/H | Three GE, LMS100PA, natural gas-fired, simple cycle CTG rated at 799.7 MMBtu per hour each,based on HHV. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | A | Good Combustion Control and Catalytic Oxidation (CatOx) | 2.5 | PPMVD AT 15% O2 |  | AVE OVER STACK TEST LENGTH | BACT-PSD | OPERATING PERMIT | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
*TX-0833 | JACKSON COUNTY GENERATORS | SOUTHERN POWER | JACKSON | TX |  | USA | SUSAN COMENSKY | 205-257-2098 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Mr. Marc Sturdivant, (512) 239-1313, Marc.Sturdivant@tceq.texas.gov | PSDTX1422 | 4911 | 221112 | not found | 01/26/2016 &nbsp;ACT | 01/26/2018 &nbsp;ACT | 2018-04-26 | 2018-05-02 | A |  | four natural gas-fired simple-cycle combustion turbines, five fuel gas heaters, and a firewater pump engine |  | Combustion Turbines MSS | 15.11 | NATURAL GAS | 0 |  |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Minimizing duration of startup/shutdown, using good air pollution control practices and safe operating practices. | 0.06 | TON/YR |  |  | BACT-PSD |  | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
LA-0307 | MAGNOLIA LNG FACILITY | MAGNOLIA LNG, LLC | CALCASIEU | LA | 70669 | USA | KOMI HASSAN | 713-815-6900 | KHASSAN@MAGNOLIALNG.COM | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | Permit writer: Dan Nguyen - (225)219-3395 | PSD-LA-792 | 4922 | 221210 | 110069000000 | 11/15/2015 &nbsp;ACT | 03/21/2016 &nbsp;ACT | 2017-03-08 | 2017-04-28 | A |  | A new facility to liquefy 8.0 million metric tons per year of natural gas |  | Gas Turbines (8 units) | 15.11 | natural gas | 333 | mm btu/hr |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | good combustion practices and fueled by natural gas | 0 |  |  |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
OR-0050 | TROUTDALE ENERGY CENTER, LLC | TROUTDALE ENERGY CENTER, LLC | MULTNOMAH | OR | 97060 | USA | WILLARD LADD | 914-468-2400 |  | 10 | OR001 | OREGON DEPT OF ENVIRONMENTAL QUALITY | JILL INAHARA | (503) 229-5001 | inahara.jill@deq.state.or.us | George Davis 503-229-5534 | 26-0235 | 4911 | 221112 | 110057000000 | 04/05/2013 &nbsp;ACT | 03/05/2014 &nbsp;ACT | 2015-01-06 | 2016-05-05 | A |  | Troutdale Energy Center (TEC) proposes to construct and operate a 653 megawatt (MW) electric generating plant in Troutdale, Oregon. TEC proposes to generate electricity with three natural gas-fired turbines, one of which will be a combined-cycle unit with duct burner and heat recovery steam generator. |  | GE LMS-100 combustion turbines, simple cycle with water injection | 15.11 | natural gas | 1690 | MMBTU/H |  | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25A | (Volatile Organic Compounds (VOC)) | VOC | A | Oxidation catalyst; Limit the time in startup or shutdown. | 0 |  |  |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N