## All Pollutants_Small RICE 17.21
RBLCID | FACILITY_NAME | CORPORATE_OR_COMPANY_NAME | FACILITY_COUNTY | FACILITY_STATE | FACILITY_ZIP_CODE | FACILITY_COUNTRY | FACILTY_CONTACT_NAME | FACILITY_PHONE | FACILITY_CONTACT_EMAIL | EPA_REGION | AGENCY_CODE | AGENCY_NAME | AGENCY_CONTACT | AGENCY_PHONE | AGENCY_EMAIL | OTHER_AGENCY_CONTACT_INFO | PERMIT_NUM | SIC_CODE | NAICS_CODE | FACILITY_REGISTRY_SYSTEM_NUMBER | COMPLETE_APPLICATION_DATE | PERMIT_ISSUANCE_DATE | DATE_DETERMINATION_ENTERED_INTO_RBLC | DATE_DETERMINATION_LAST_UPDATED | PERMIT_TYPE | PERMIT_URL | FACILITY_DESCRIPTION | PERMIT_NOTES | PROCESS_NAME | PROCCESS_TYPE | PRIMARY_FUEL | THROUGHPUT | THROUGHPUT_UNIT | PROCESS_NOTES | POLLUTANT | TESTMETHOD | POLLUTANT_GROUP(S) | CAS_NUMBER | CONTROL_METHOD_CODE | CONTROL_METHOD_DESCRIPTION | EMISSION_LIMIT_1 | EMISSION_LIMIT_1_UNIT | EMISSION_LIMIT_1_AVG_TIME_CONDITION | CASE-BY-CASE_BASIS | OTHER_ APPLICABLE_REQUIREMENTS | OTHER_FACTORS | PERCENT_EFFICIENCY | COMPLIANCE_VERIFIED | EMISSION_LIMIT_2 | EMISSION_LIMIT_2_UNIT | EMISSION_LIMIT_2_AVGERAGE_TIME_CONDITION | STANDARAD_EMISSION_LIMIT | STANDARD_EMISSION_LIMIT_UNIT | STANDARD_LIMIT_AVERAGE_TIME_CONDITION | COST_EFFECTIVENESS | INCREMENTAL_COST_EFFECTIVENESS | Cost_Verified | DOLLAR_YEAR_USED_IN_COST_ESTIMATES | POLLUTANT_COMPLIANCE_NOTES
IN-0234 | GRAIN PROCESSING CORPORATION | GRAIN PROCESSING CORPORATION | DAVIESS | IN | 47501 | USA | WENDY BOUVIER | 8122572759 | WENDY.BOUVIER@GRAINPROCESSING.COM | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | MADHURIMA MOULIK 317-233-0868 JASON KRAWCZYK, SECTION CHIEF IDEM OFFICE OF AIR QUALITY 100 N. SENATE AVENUE 317-234-5174 | 027-35177-00046 | 2046 | 311221 | 110041204265 | 11/26/2014 &nbsp;ACT | 12/08/2015 &nbsp;ACT | 2016-02-25 | 2016-07-06 | B | HTTP:PERMITS.AIR.IDEM.IN.GOV/35177F.PDF | THIS FACILITY IS A STATIONARY CORN WET MILLING PLANT. |  | EMERGENCY FIRE PUMP ENGINE | 17.21 | DISTILLATE OIL | 0 |  | 425 HP | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | AMOUNT OF DIESEL BURNED SHALL NOT EXCEED 1,128 GALLONS PER 12 MONTH PERIOD | 15 | PPM | SULFUR CONTENT | BACT-PSD |  | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | AMOUNT OF DIESEL BURNED SHALL NOT EXCEED 1,128 GALLONS PER 12 MONTH PERIOD
*IN-0295 | STEEL DYNAMICS, INC. - ENGINEERED BAR PRODUCTS DIVISION | STEEL DYNAMICS, INC. - ENGINEERED BAR PRODUCTS DIV | HENDRICKS | IN | 46167 | USA | MIKE BROOKS | 317-892-7000 | MIKE.BROOKS@STEELDYNAMICS.COM | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | Permit Writer: Kristen Willoughby 317-233-3031 kwilloug@idem.IN.gov Section Chief: Dr. Trip Sinha 317-234-4907 | 063-37891-00037 | 3312 | 331111 | 110056970461 | 11/17/2016 &nbsp;ACT | 02/23/2018 &nbsp;ACT | 2018-08-09 | 2018-08-09 | B | https://www.in.gov/apps/idem/caats/permitDetail.xhtml | Steel Mini Mill |  | Emergency Diesel Generators | 17.21 | Deisel | 150 | hp | 2 units at 75 hp, 1 unit at 150 hp | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | N |  | 15 | PPM | FUEL SULFUR CONTENT | BACT-PSD | NESHAP | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
*IN-0295 | STEEL DYNAMICS, INC. - ENGINEERED BAR PRODUCTS DIVISION | STEEL DYNAMICS, INC. - ENGINEERED BAR PRODUCTS DIV | HENDRICKS | IN | 46167 | USA | MIKE BROOKS | 317-892-7000 | MIKE.BROOKS@STEELDYNAMICS.COM | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | Permit Writer: Kristen Willoughby 317-233-3031 kwilloug@idem.IN.gov Section Chief: Dr. Trip Sinha 317-234-4907 | 063-37891-00037 | 3312 | 331111 | 110056970461 | 11/17/2016 &nbsp;ACT | 02/23/2018 &nbsp;ACT | 2018-08-09 | 2018-08-09 | B | https://www.in.gov/apps/idem/caats/permitDetail.xhtml | Steel Mini Mill |  | Emergency Diesel Generators | 17.21 | Diesel | 250 | hp | 2 units | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | N |  | 15 | PPM | FUEL SULFUR CONTENT | BACT-PSD | NESHAP | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
FL-0354 | LAUDERDALE PLANT | FLORIDA POWER & LIGHT | BROWARD | FL | 33314 | USA | JOHN HAMPP |  | JOHN.HAMPP@FPL.COM | 4 | FL001 | FLORIDA DEPT. OF ENVIRONMENTAL PROTECTION | MR. DAVID READ | (850) 717-9000 | David.Read@dep.state.fl.us |  | 0110037-013-AC | 4911 | 221112 | 110002044065 | 04/20/2015 &nbsp;ACT | 08/25/2015 &nbsp;ACT | 2016-02-17 | 2016-07-06 | D | https://arm-permit2k.dep.state.fl.us/nontv/0110037.013.AC.F.ZIP | Large natural gas- and oil-fired power facility, consisting of four combined cycle units, and many combustion turbines. Small peaking units being replaced with larger combustion turbines. | Re-affirmed BACT determinations in Permit No. 0110037-011-AC. Also, new GHG BACT determination. Technical evaluation available at https://arm-permit2k.dep.state.fl.us/nontv/0110037.013.AC.D.ZIP | Emergency fire pump engine, 300 HP | 17.21 | Diesel | 29 | MMBTU/H | Emergency engine. ULSD only. BACT limits equal NSPS IIII limits. | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Limit in S in fuel | 15 | PPM S IN FUEL | FUEL RECORD KEEPING | BACT-PSD | NSPS , SIP | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | Use of ULSD to control S emissions.
FL-0356 | OKEECHOBEE CLEAN ENERGY CENTER | FLORIDA POWER & LIGHT | OKEECHOBEE | FL | 34972 | USA | JOHN HAMPP |  | JOHN.HAMPP@FPL.COM | 4 | FL001 | FLORIDA DEPT. OF ENVIRONMENTAL PROTECTION | MR. DAVID READ | (850) 717-9000 | David.Read@dep.state.fl.us | John Dawson, john.dawson@dep.state.fl.us, 850-717-9085 | 0930117-001-AC | 4911 | 221112 | Unknown | 09/25/2015 &nbsp;ACT | 03/09/2016 &nbsp;ACT | 2016-03-14 | 2016-07-06 | A | http://depedms.dep.state.fl.us:80/Oculus/servlet/shell?command=getEntity&[guid=75.93290.1]&[profile=Permitting_Authorization] | Fossil-fueled power plant, consisting of a 3-on-1 combined cycle unit and auxiliary equipment. The combined cycle unit consists of three GE 7HA.02 turbines, each with nominal generating capacity of 350 MW. The total generating capacity for the combined cycle unit is 1,600 MW. | Technical evaluation of project available at http://depedms.dep.state.fl.us/Oculus/servlet/shell?command=getEntity&[guid=75.89000.1]&[profile=Permitting_Authorization] | One 422-hp emergency fire pump engine | 17.21 | ULSD | 0 |  | BACT limits equal to NSPS Subpart IIII limits. Will use IIII certified engine. | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Use of ULSD | 15 | PPM SULFUR IN FUEL |  | BACT-PSD | NSPS | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
IN-0158 | ST. JOSEPH ENEGRY CENTER, LLC | ST. JOSEPH ENERGY CENTER, LLC | ST. JOSEPH | IN | 46552 | USA | MR. WILLARD LADD | 9144682404 |  | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | PERMIT WRITER: JOSIAH BALOGUN 317-234-5257 JBALOGUN@IDEM.IN.GOV SECTION CHIEF: MATT STUCKEY 317-233-0203 MSTUCKEY@IDEM.IN.GOV | 141-31003-00579 | 4911 | 221112 | 110054881963 | 10/03/2011 &nbsp;ACT | 12/03/2012 &nbsp;ACT | 2013-08-15 | 2016-05-04 | A | HTTP://PERMITS.AIR.IDEM.IN.GOV/31003F.PDF | STATIONARY ELECTRIC UTILITY GENERATING STATION |  | TWO (2) FIREWATER PUMP DIESEL ENGINES | 17.21 | DIESEL | 371 | BHP, EACH | THE TWO FIREWATER PUMP ENGINES, IDENTIFIED AS FP01 AND FP02, EXHAUSTING THROUGH TWO (2) VENTS. | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | ULTRA LOW SULFUR DISTILLATE AND USAGE LIMITS | 15 | PPM S IN FUEL |  | BACT-PSD |  |  | 0 |  | 0.043 | LB/H |  | 0 |  |  | 0 | 0 | N |  | LIMIT ONE AND TWO ARE FOR EACH FIREWATER PUMP ENGINE. LIMIT THREE: EACH FIRE PUMP SHALL NOT EXCEED 500 HOURS OF OPERATION PER YEAR.
FL-0324 | PALM BEACH RENEWABLE ENERGY PARK | SOLID WASTE AUTHORITY OF PALM BEACH COUNTY | PALM BEACH | FL | 33412 | USA | MARK HAMMOND | 561-640-4000 | MHAMMOND@SWA.ORG | 4 | FL001 | FLORIDA DEPT. OF ENVIRONMENTAL PROTECTION | MR. DAVID READ | (850) 717-9000 | David.Read@dep.state.fl.us | Alvaro Linero, P.E. Administrator alvaro.linero@dep.state.fl.us Phone: 850-717-9076 Robert Bull, Engineer robert.bull@dep.state.fl.us Phone: 850-717-9111 Teresa Heron, Engineer teresa.heron@dep.state.fl.us phone: 850-717-9082 | PSD-FL-413 | 4953 | 221119 | 110043792358 | 11/12/2010 &nbsp;ACT | 12/23/2010 &nbsp;ACT | 2011-04-07 | 2011-12-08 | B |  | The existing Palm Beach Renewable Energy Facility (PBREP-1) consists of Class I and Class III landfills, a biosolids pelletizer facility, a compost facility and a waste-to-energy (WTE) plant known as the North County Resource Recovery Facility (NCRRF). The new facility, PBREP-2, will consist of: â€¢Three nominal 1,000 TPD mass burn MWC, each with an estimated maximum continuous rating (MCR) of 416.7 million Btu per hour heat input (mmBtu/hr) and a peak rating of 458.3 mmBtu/hr; â€¢A 100 megawatt (MW) STG with an air cooled condenser; â€¢One ash building and handling system; â€¢Three lime storage silos and one carbon storage silo; and â€¢Two 250 horsepower (hp) diesel fire pumps and one 250 kilowatt (kW) emergency generator. This facility, is located at 7501 North Jog Road (immediately west of the Turnpike) in West Palm Beach. | This project will consist of three 1,000 TPD mass-burn MWC units each with a maximum steam production rate of 320,100 pounds per hour (lb/hr) on a 4-hour average block basis. The project also includes a 90 to100 MW STG; three lime storage silos; one carbon storage silo; two diesel fire pump engines; one emergency generator; and one ash handling system and building. The proposed work will be conducted at the existing PBREP. The project will incorporate the following pollution control equipment and measures: â€¢For each MWC unit, good combustion practices (GCP), spray dryers (SD), fabric filter (FF) baghouses, activated carbon injection (CI), selective catalytic reduction (SCR), as an option selective non-catalytic reduction (SNCR) and use of inherently clean natural gas as a startup, shutdown and flame stabilization fuel. â€¢Use of inherently clean ultra low sulfur distillate (ULSD) fuel oil and GCP in the emergency generator and emergency fire pump engines; and â€¢Reasonable precautions and best management practices (BMP) to minimize fugitive particulate matter (PM)/(PM10)/(PM2.5) emissions from MSW handling and processing; ash (bottom and fly) handling, storage and shipment; lime handling, storage and processing; and activated carbon handling, storage and processing. The project will incorporate continuous emission monitoring systems (CEMS) for CO, SO2, NOX and Hg and continuous opacity monitoring systems (COMS) for visible emissions (VE). | 250 Kw Emergency Generator | 17.21 | ULSD | 0 |  |  | Sulfur Dioxide (SO2) | Other - Fuel Analysis | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | N |  | 15 | PPM SULFUR IN FUEL |  | BACT-PSD | NSPS | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | The emergency generator shall comply with the following emission limits and demonstrate compliance in accordance with the procedures given in 40 CFR 60, Subpart IIII. Manufacturer certification can be provided to the Department in lieu of actual stack testing.
*KS-0036 | WESTAR ENERGY - EMPORIA ENERGY CENTER | WESTAR ENERGY | LYON | KS | 66801 | USA | STEPHANIE HIRNER | 785-575-8447 |  | 7 | KS001 | KANSAS DEPT. OF HEALTH & ENVIRONMENT, BR. OF AIR & RADIATION, KS | GYANENDRA PRASAI, PE | 785-296-6427 | Gyanendra.X.Prasai@ks.gov | Gerald McIntyre, E-mail address: Gerald.McIntyre@ks.gov; | C-10656 | 4911 | 221112 | Not Found | 10/16/2012 &nbsp;ACT | 03/18/2013 &nbsp;ACT | 2017-08-23 | 2017-08-25 | C |  | The Westar Energy - Emporia Energy Center (Source ID: 1110046) is a fossil fuel power generation facility located in Emporia, Kansas. | This PSD permit with tracking number C-10656 is a modification of PSD permits C-9132 (issued on 5/5/2011) and C-7072 (issued 4/17/2007). | Cummins 6BTA 5.9F-1 Diesel Engine Fire Pump | 17.21 | No. 2 Fuel Oil | 182 | BHP |  | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | use low sulfur fuel oil | 500 | PPM SULFUR IN FUEL |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
NV-0047 | NELLIS AIR FORCE BASE | 99 CIVIL ENGINEER SQUADRON OF USAF | CLARK | NV | 891555210 | USA | SHIMI MATHEW | 7026522548 |  | 9 | NV002 | CLARK CO. DEPT. OF AIR QUALITY | MR. SANTOSH MATHEW | (702)455-5942 | Mathew@ClarkCountyNV.gov | DAVID C. LEE, RBLC COORDINATOR, TEL: 702-455-1673 | 114 | 9711 | 928110 | 110027848319 | 09/26/2007 &nbsp;ACT | 02/26/2008 &nbsp;ACT | 2008-10-21 | 2008-10-21 | A |  | THE FACILITY IS A MILITARY INSTALLATION WITH A LARGE NUMBER OF PROCESSES SUPPORTING THE AIR FORCE'S OPERATIONS. | THIS REPORT IS BASED ON THE PERMIT ISSUED TO THE NELLIS AIR FORCE BASE FOR MODIFICATION 37, REVISION 2. THE FACILITY IS A MAJOR STATIONARY SOURCE FOR NITROGEN OXIDES. THE FACILITY IS LOCATED IN A NON-ATTAINMENT AREA FOR OZONE, PM-10, AND CARBON MONOXIDE. A FEW MINOR PROCESSES, WHICH WERE NOT REVIEWED IN THIS PERMITTING ACTION, ARE NOT INCLUDED IN THIS REPORT. A PART 70 PERMIT FOR THIS NEW MAJOR SOURCE IS YET TO BE ISSUED. | SMALL INTERNAL COMBUSTION ENGINES (&lt;= 500 HP) | 17.21 | DIESEL OIL |  |  | THE PERMITTING ACTION APPROVED A TOTAL OF 42 NEW UNITS. THE FACILITY HAS A TOTAL OF 49 REGULATED UNITS AND 11 EXEMPT UNITS. ALL OF THEM ARE SUBJECT TO THE LIMIT OF OPERATING TIME FOR TESTING AND MAINTENANCE FOR 90 HOURS PER YEAR. UNIT G021 (ONAN GENERATOR, 317 HP) IS SELECTED TO SHOW THE BACT DETERMINATIONS. | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | LIMITING SULFUR CONTENT IN THE DIESEL OIL TO 0.05% | 500 | PPM SULFUR IN FUEL |  | BACT-PSD | SIP , OPERATING PERMIT | N | 0 | Y | 0.69 | LB/H |  | 0.99 | G/B-HP-H |  | 0 | 0 | N
LA-0301 | LAKE CHARLES CHEMICAL COMPLEX ETHYLENE 2 UNIT | SASOL CHEMICALS (USA) LLC | CALCASIEU | LA | 70669 | USA | ERIC RODRIGUEZ | (281) 588-3761 | ERIC.RODRIGUEZ@US.SASOL.COM | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV |  | PSD-LA-779 | 2869 | 325110 | 110017418061 | 05/02/2013 &nbsp;ACT | 05/23/2014 &nbsp;ACT | 2016-09-27 | 2017-04-28 | B |  |  | Complete application date = date of administrative completeness This RBLC entry addresses Ethylene Unit 2 of the Lake Charles Cracker Project. This unit will produce ethylene by thermally cracking ethane in cracking furnaces. | Firewater Pump Nos. 1-3 (EQTs 997, 998, &amp; 999) | 17.21 | Diesel | 500 | HP | Non-emergency use operating time is limited to 100 hr/yr (per engine). | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Compliance with 40 CFR 60 Subpart IIII and operating the engine in accordance with the engine manufacturerâ€™s instructions and/or written procedures (consistent with safe operation) designed to maximize combustion efficiency and minimize fuel usage | 15 | PPM | HOURLY MAXIMUM | BACT-PSD | NSPS , OPERATING PERMIT | U | 0 | U | 0.001 | TPY | ANNUAL MAXIMUM | 0 |  |  | 0 | 0 | N |  | Sulfur content of fuel is limited to 15 ppm. Annual SO2 limit is represented as &lsquo;&lsquo;<0.001 TPY&lsquo;&lsquo; in the permit. BACT is determined to be compliance with the limitations imposed by 40 CFR 60 Subpart IIII and its associated monitoring, recordkeeping, and reporting requirements; and operating the engine in accordance with the engine manufacturerâ€™s instructions and/or written procedures (consistent with safe operation) designed to maximize combustion efficiency and minimize fuel usage.
NJ-0081 | PSEG FOSSIL LLC SEWAREN GENERATING STATION | PSEG FOSSIL LLC | MIDDLESEX COUNTY | NJ | 07077-1439 | USA | DOUGLAS GORDON | (973) 430-6092 | DOUGLAS.GORDON@PSEG.COM | 2 | NJ001 | NEW JERSEY DEPT OF ENV PROTECTION, DIVISION OF AIR QUALITY | ALIYA KHAN | (609) 292-2169 | Aliya.Khan@dep.nj.gov | David J. Owen 609-633-1129 - David.Owen@dep.nj.gov | 18068 -(BOP120002) | 4911 | 221112 | 110000801614 | 01/31/2012 &nbsp;ACT | 03/07/2014 &nbsp;ACT | 2014-08-22 | 2016-05-02 | B | http://datamine2.state.nj.us/DEP_OPRA/OpraMain/ | This is a new 625 MW combined cycle project at an existing facility. The project will comprise of two combustion turbines, EITHER GE7FA.05 OR Siemens SGT6 5000F, with two duct burners, two Heat Recovery Steam Generators (HRSG), one steam turbine, one 250 HP fire pump and a 3-cell auxiliary cooling tower. Each turbine will be equipped with Selective Catalytic Reduction System (SCR) for control of NOx emissions and Oxidation Catalyst for control of CO and VOC. The heat input rate of the Siemens turbine will be 2,356 MMBtu/hr(HHV) with a 62.1 duct burner MMBtu/hr(HHV). The heat input rate of each GE turbine will be 2,312 MMBtu/hr(HHV) with a 164.4 duct burner MMBtu/hr(HHV). | Facility-wide Greenhouse Gas (GHG) emissions increase as CO2e = +2,010,399 tpy | Emergency diesel fire pump | 17.21 | Ultra Low Sulfur Distillate oil | 0 |  | The fire pump has a maximum heat input rate of 2.63 MMBtu/hr (approximately 250 HP) and is permitted for 100 hrs per year for testing and maintenance | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Use of Ultra low sulfur fuel oil | 15 | PPM |  | BACT-PSD | OPERATING PERMIT | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | This project not subject to BACT or LAER for SO2.
NY-0104 | CPV VALLEY ENERGY CENTER | CPV VALLEY LLC | ORANGE | NY | 10940 | USA |  |  |  | 2 | NY001 | NEW YORK DEPT. OF ENVIRONMENTAL CONSERVATION | MR. NICK ONDERDONK-MILNE | (518)402-8403 | nick.onderdonk-milne@dec.ny.gov | DEC Region 3 845-256-3000 | 3-335600136/00001 | 4911 | 221112 | 110043332471 | 08/01/2013 &nbsp;ACT | 08/01/2013 &nbsp;ACT | 2017-08-25 | 2017-09-28 | A |  | CPV Valley Energy Center is a 680 MW combined cycle electric generating facility located in Middletown, NY. The combustion turbines are rated at 2,234 MMBTU/H firing natural gas and 2,145 MMBTU/H firing diesel fuel. The duct burners are rated for 500 MMBTU/H firing natural gas. In addition to the turbines their emission limits for the auxiliary boiler (73.5 MMBTU/H), emergency generator, fire pump, and gas heater. | State Facility Permit | Fire pump | 17.21 | ultra low sulfur diesel | 0 |  |  | Sulfur Dioxide (SO2) | Other - EPA approved method | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Ultra low sulfur diesel with maximum sulfur content 0.0015 percent. | 15 | PPM | 1 H | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
MI-0423 | INDECK NILES, LLC | INDECK NILES, LLC | CASS | MI | 49120 | USA | MICHAEL DUBOIS | 847-520-3212 | MDUBOIS@INDECKENERGY.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Catherine Asselin at 517-284-6786, or at asselinc@michigan.gov, for technical questions regarding the permit. Thank you. | 75-16 | 4911 | 221112 | Not Found | 10/25/2016 &nbsp;ACT | 01/04/2017 &nbsp;ACT | 2017-06-02 | 2018-03-08 | A |  | Natural gas combined cycle power plant. | The permit includes equipment not entered into the RBLC due to a lack of emission limits or material limits; these include a cold cleaner, a number of space heaters, and two fuel tanks. | EUFPENGINE (Emergency engine--diesel fire pump) | 17.21 | Diesel | 1.66 | MMBTU/H | A 260 brake horsepower (bhp) diesel-fueled emergency engine manufactured in 2011 or later and a displacement of <10 liters/cylinder. Powers a fire pump used for a back up during an emergency (EUFPENGINE). Restricted to 1 hour/day, except during emergency conditions and stack testing, and 100 hours/year on a 12-month rolling time period basis. | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Good combustion practices and meeting NSPS Subpart IIII requirements. | 15 | PPM | FUEL SUP. CERT. RECORDS OR SAMPLE TEST | BACT-PSD | NSPS , SIP | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | The Avg. Time/Conditions for the emission limit above is fuel supplier certification records or fuel sample test data, for each delivery of diesel fuel oil. The diesel material limit is 15 ppm of sulfur (0.0015 percent) by weight.
*MI-0433 | MEC NORTH, LLC AND MEC SOUTH LLC | MARSHALL ENERGY CENTER LLC | CALHOUN | MI | 49068 | USA | WILLARD LADD | 914-468-2402 | WLADD@DEVELOPMENTPARTNERS.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | There are two plants (MEC North, LLC and MEC South, LLC) that will operate as separate entities but they are considered a single stationary source and the installation of the two new plants was reviewed as a single project. There are two Air Permits to Install for the two plants (167-17 and 168-17). For technical questions regarding either of the two permits, please contact the permit engineer Ms. Catherine Asselin at 517-284-6786 or at asselinc@michigan.gov. Thank you. | 167-17 AND 168-17 | 4911 | 221112 | Not Found | 05/22/2018 &nbsp;ACT | 06/29/2018 &nbsp;ACT | 2018-08-17 | 2018-08-22 | A |  | Natural gas combined cycle power plant (two plants: north and south) | There are two plants that will operate as separate entities and each received a separate Air Permit to Install, but they are considered one stationary source and were reviewed as one project. | EUFPENGINE (South Plant): Fire pump engine | 17.21 | Diesel | 300 | HP | A 300 HP diesel-fired emergency fire pump engine with a model year of 2011 or later, and a displacement of <30 liters/cylinder. Equipped with a diesel particulate filter. | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Good combustion practices and meeting NSPS Subpart IIII requirements. | 15 | PPM | FUEL SUPPLIER RECORDS OR FUEL SAMPL DATA | BACT-PSD | NSPS , SIP | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | The diesel material limit is 15 ppm of sulfur (0.0015 percent) by weight based on fuel supplier certification records or fuel sample test data, for each delivery of diesel fuel oil.
*MI-0433 | MEC NORTH, LLC AND MEC SOUTH LLC | MARSHALL ENERGY CENTER LLC | CALHOUN | MI | 49068 | USA | WILLARD LADD | 914-468-2402 | WLADD@DEVELOPMENTPARTNERS.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | There are two plants (MEC North, LLC and MEC South, LLC) that will operate as separate entities but they are considered a single stationary source and the installation of the two new plants was reviewed as a single project. There are two Air Permits to Install for the two plants (167-17 and 168-17). For technical questions regarding either of the two permits, please contact the permit engineer Ms. Catherine Asselin at 517-284-6786 or at asselinc@michigan.gov. Thank you. | 167-17 AND 168-17 | 4911 | 221112 | Not Found | 05/22/2018 &nbsp;ACT | 06/29/2018 &nbsp;ACT | 2018-08-17 | 2018-08-22 | A |  | Natural gas combined cycle power plant (two plants: north and south) | There are two plants that will operate as separate entities and each received a separate Air Permit to Install, but they are considered one stationary source and were reviewed as one project. | EUFPENGINE (North Plant): Fire pump engine | 17.21 | Diesel | 300 | HP | A 300 HP diesel-fired emergency fire pump engine with a model year of 2011 or later, and a displacement of <30 liters/cylinder. Equipped with a diesel particulate filter. | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Good combustion practices and meeting NSPS Subpart IIII requirements. | 15 | PPM | FUEL SUPPLIER RECORDS | BACT-PSD | NSPS , SIP | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | The diesel material limit is 15 ppm of sulfur (0.0015 percent) by weight.
*FL-0363 | DANIA BEACH ENERGY CENTER | FLORIDA POWER AND LIGHT COMPANY | BROWARD | FL | 33314 | USA | JOHN HAMPP | 561-691-2894 | JOHN.HAMPP@FPL.COM | 4 | FL001 | FLORIDA DEPT. OF ENVIRONMENTAL PROTECTION | MR. DAVID READ | (850) 717-9000 | David.Read@dep.state.fl.us |  | 0110037-017-AC | 4911 | 221112 | 110002044065 | 07/27/2017 &nbsp;ACT | 12/04/2017 &nbsp;ACT | 2018-04-03 | 2018-04-11 | B | https://arm-permit2k.dep.state.fl.us/nontv/0110037.017.AC.F.ZIP | 1200 megawatt 2-on-1 combined cycle facility, natural gas-fired, with limited ULSD use. GE 7HA turbines | Technical evaluation available at https://arm-permit2k.dep.state.fl.us/nontv/0110037.017.AC.D.ZIP | Emergency Fire Pump Engine (422 hp) | 17.21 | ULSD | 0 |  | Limits equal Subpart IIII limits | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Clean fuel | 15 | PPM S IN FUEL |  | BACT-PSD | NSPS | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | ULSD fuel
FL-0346 | LAUDERDALE PLANT | FLORIDA POWER & LIGHT | BROWARD | FL | 33314 | USA | JOHN HAMPP |  | JOHN.HAMPP@FPL.COM | 4 | FL001 | FLORIDA DEPT. OF ENVIRONMENTAL PROTECTION | MR. DAVID READ | (850) 717-9000 | David.Read@dep.state.fl.us |  | 0110037-011-AC | 4911 | 221112 | 110002044065 | 11/01/2013 &nbsp;ACT | 04/22/2014 &nbsp;ACT | 2015-01-08 | 2016-05-05 | D | http://arm-permit2k.dep.state.fl.us/nontv/0110037.011.AC.F.ZIP | Large natural gas- and oil-fired power facility, consisting of four combined cycle units, and many combustion turbines. Small peaking units being replaced with larger combustion turbines. | In this project, 24 peaking turbines from the Lauderdale facility are being replaced with five 200 MW combustion turbines at Lauderdale. The turbines will fire primarily natural gas, but may also fire ULSD fuel oil. Triggers PSD for NOx, PM, CO, VOC, and GHG. GHG permit issued by US EPA Region 4. Technical evaluation available at http://arm-permit2k.dep.state.fl.us/nontv/0110037.011.AC.D.ZIP | Emergency fire pump engine (300 HP) | 17.21 | USLD | 29 | MMBTU/H | Emergency engine. BACT = NSPS IIII. | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Good combustion practice and ULSD | 15 | PPM SULFUR IN FUEL |  | BACT-PSD | NSPS , NESHAP | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | BACT = NSPS IIII; Certified IIII engine meets BACT. ULSD specified in NSPS.
MD-0040 | CPV ST CHARLES | COMPETITIVE POWER VENTURES, INC./CPV MARYLAND, LLC | CHARLES | MD |  | USA | SHARON K SEGNER | 2407232300 | SSEGNER@CPV.COM | 3 | MD001 | MARYLAND DEPARTMENT OF THE ENVIRONMENT | MR. WILLIAM PAUL | (410)537-3276 | bpaul@mde.state.md.us | WILLIAM PAUL 410-537-3230 BPAUL@MDE.STATE.US | CPCN CASE NO. 9129 | 1731 | 221122 | UNKNOWN | &nbsp; | 11/12/2008 &nbsp;ACT | 2009-01-12 | 2009-02-20 | A |  | 640 MW GENERATING FACILITY |  | INTERNAL COMBUSTION ENGINE - EMERGENCY FIRE WATER PUMP | 17.21 | DIESEL | 300 | HP |  | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P |  | 15 | PPM | SEE NOTE | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | EXCLUSIVE USE OF ULTRA LOW SULFUR DIESEL FUEL WITH A SULFUR CONTENT NOT TO EXCEED 15 PARTS PER MILLION BY WEIGHT
SC-0113 | PYRAMAX CERAMICS, LLC | PYRAMAX CERAMICS, LLC | ALLENDALE | SC | 29810 | USA | RICHARD DERBAWKA | 7705690079 | R.DERBAWKA@PYRAMAXCERAMICS.COM | 4 | SC001 | SOUTH CAROLINA DEPT OF HEALTH & ENV CTRL, BUREAU OF AIR QUALITY | MS. ALYSON HAYES | (803)898-3836 | camitdr@dhec.sc.gov | GEORGE S. ROBINSON (803) 898-4123 | 0160-0023 | 3295 | 327992 | Not Available | 09/16/2011 &nbsp;ACT | 02/08/2012 &nbsp;ACT | 2012-05-09 | 2012-10-17 | A |  | PYRAMAX CERAMICS PLANS TO CONSTRUCT A MANUFACTURING FACILITY FOR THE PRODUCTION OF PROPPANT BEADS FOR USE IN THE OIL AND GAS INDUSTRY. THE MAJOR RAW MATERIAL IS CLAY. THE CLAY IS MIXED WITH CHEMICALS AND THEN FIRED IN A KILN TO PRODUCE CERAMIC BEADS. INITIAL CONSTRUCTION PERMIT FOR A GREENFIELD FACILITY. | INITIAL CONSTRUCTION PERMIT FOR A GREENFIELD FACILITY. | EMERGENCY ENGINE 1 THRU 8 | 17.21 | DIESEL | 29 | HP | THE CONSTRUCTION PERMIT AUTHORIZES THE CONSTRUCTION OF EIGHT (8) IDENTICAL EMERGENCY ENGINES. THIS PROCESS AND POLLUTANT INFORMATION IS FOR ONE SINGLE ENGINE. | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | LOW SULFUR DIESEL. MAXIMUM OF 100 HOURS PER YEAR RUNNING TIME FOR MAINTENANCE AND TESTING. | 15 | PPM |  | BACT-PSD |  | Y | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | DIESEL FUEL SULFUR CONTENT SHALL BE < 0.0015 PERCENT. REPORTS OF FUEL SULFUR CONTENT SHALL BE MAINTAINED.
SC-0113 | PYRAMAX CERAMICS, LLC | PYRAMAX CERAMICS, LLC | ALLENDALE | SC | 29810 | USA | RICHARD DERBAWKA | 7705690079 | R.DERBAWKA@PYRAMAXCERAMICS.COM | 4 | SC001 | SOUTH CAROLINA DEPT OF HEALTH & ENV CTRL, BUREAU OF AIR QUALITY | MS. ALYSON HAYES | (803)898-3836 | camitdr@dhec.sc.gov | GEORGE S. ROBINSON (803) 898-4123 | 0160-0023 | 3295 | 327992 | Not Available | 09/16/2011 &nbsp;ACT | 02/08/2012 &nbsp;ACT | 2012-05-09 | 2012-10-17 | A |  | PYRAMAX CERAMICS PLANS TO CONSTRUCT A MANUFACTURING FACILITY FOR THE PRODUCTION OF PROPPANT BEADS FOR USE IN THE OIL AND GAS INDUSTRY. THE MAJOR RAW MATERIAL IS CLAY. THE CLAY IS MIXED WITH CHEMICALS AND THEN FIRED IN A KILN TO PRODUCE CERAMIC BEADS. INITIAL CONSTRUCTION PERMIT FOR A GREENFIELD FACILITY. | INITIAL CONSTRUCTION PERMIT FOR A GREENFIELD FACILITY. | FIRE PUMP | 17.21 | DIESEL | 500 | HP | THE CONSTRUCTION PERMIT AUTHORIZES THE CONSTRUCTION OF ONE (1) FIRE PUMP. THIS PROCESS AND POLLUTANT INFORMATION IS FOR THIS ONE SINGLE FIRE PUMP. | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | USE OF LOW SULFUR FUEL DIESEL, SULFUR CONTENT LESS THAN 0.0015 PERCENT. OPERATING HOURS LESS THAN 100 HOURS PER YEAR FOR MAINTENACE AND TESTING. | 15 | ppm |  | BACT-PSD |  | Y | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | SULFUR CONTENT OF DIESEL FUEL TO BE LESS THAT 0.0015 PERCENT. SUPPLIER CERTIFICATION OF FUEL SULFUR CONTENT SHALL BE MAINTAINED.
WY-0070 | CHEYENNE PRAIRIE GENERATING STATION | BLACK HILLS POWER, INC. | LARAMIE | WY | 82009 | USA | TIM ROGERS | (605) 721-2286 | TIM.ROGERS@BLACKHILLSCORP.COM | 8 | WY001 | WYOMING AIR QUAL DIVISION, AIR QUALITY | MR. ANDREW KEYFAUVER | (307)777-7340 | andrew.keyfauver@wyo.gov |  | CT-12636 | 491 | 221112 | Not Found | 03/01/2012 &nbsp;ACT | 08/28/2012 &nbsp;ACT | 2012-08-23 | 2018-05-11 | A |  | A nominal 220 megawatt (MW) gross electrical facility. The station is to consist of five (5) 40 MW GE LM6000 combustion turbine generators with two (2) of the turbines operating in combined cycle mode for an additional 20 MW in generation. |  | Diesel Fire Pump Engine (EP16) | 17.21 | Ultra Low Sulfur Diesel | 327 | hp |  | Sulfur Dioxide (SO2) | EPA/OAR Mthd 6 | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Ultra Low Sulfur Diesel | 15 | ppm |  | BACT-PSD | NSPS | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | limited to 250 hours of non-emergency operation per calendar year