## January 2022 ETT List
January 2022 ETT List (Updated 02/24/2022)
Note: Column titled "Est. New ETT Score" is the estimated new score based on the violations that have Returned to Compliance (RTCd) during the Quarter. Please note that this score will likely change on the next quarter's list due to further violations being generated. Comments submitted by Drinking Water Program staff on February 3, 2022.
Staff | RMW | Est. New ETT Score | System Information | 10 Pt. |  | 5 Point | [7 empty] | 1 Point | [11 empty] | General Comments | How to Return to Compliance | Known Hardware Problems
|  |  |  | SW | Nitrate | RTCR | SW | GWR | Nitrate | Arsenic | DBPs | LCR | Rads | RTCR | SW | GWR | Arsenic | DBPs | LCR | IOC | VOC | SOC | Rads | CCR | PN
ZELLMER | DEC | 23 | AKHIOK / AK2250037 (90 / C) | [5 empty] | 2 | [7 empty] | 1 | 6 |  | 1 | 2 |  |  |  |  | Last sampled for annual Nitrate in 2018, Arsenic in 2009, DBPs in 2018, IOCs in 2010, and VOCs in 2018. | Sample for annual Nitrate, Arsenic, DBPs, IOCs, and VOCs. | N/A
VANSANDT | DEC | 60 | AKUTAN / AK2260252 (95 / C) | [5 empty] | 1 |  |  |  |  | 4 | 42 |  |  | 2 | 2 |  | 1 |  |  |  |  | Last sampled for annual Nitrate in 2019, VOCs in 2019, Lead/Copper in 2014, DBPs in 2018, and failed to monitor for LT2 since 2017. Last sampled for TC or associated distribution chlorine residual in 05/2021. System fails to comply with monitoring reportedly due to lack of sufficient funding and staffing. | In 2022, sample for Nitrate, monthly TC, VOCs, Lead/Copper, DBPs, E. coli (LT2). Submit adequate monthly operator reports timely. | N/A
STATZ | YKHC | 77 | ALAKANUK WATER SYSTEM / AK2270362 (570 / C) |  |  | 1 | [8 empty] | 29 |  |  | 32 |  |  | 4 |  |  | 2 |  | Last sampled for VOCs in 2015, and DBPs in 2015. Incomplete E. coli (LT2) sampling in 2021. No CCR submitted for 2020. Overdue corrective actions from 2021 Level 1 assessment. System fails to comply with monthly operator reports. | Sample for VOCs, DBPs, and E. coli (LT2). Submit CCR certification page for 2020. Address corrective actions. Submit adequate monthly operator reports timely. | N/A
VANSANDT | No RMW | 21 | ALASKA RAINBOW LODGE / AK2261680 (36 / NC) | [5 empty] | 2 |  |  |  |  | 9 | [11 empty] | Last sampled for Nitrate in 2018 and TC in 08/2019. | If operating in 2022, sample for Nitrate and TC. | N/A
BJORKMAN | No RMW | 11 | ALPINE INN / AK2244808 (30 / NC) |  |  | 1 | [9 empty] | 1 | [9 empty] | Failed to submit Seasonal Start-Up procedures and conduct a Sanitary Survey. | Submit a SSUP form and conduct a Sanitary Survey. | N/A
LATIMER | DEC | 12 | ANGOON PUBLIC WATER / AK2130017 (450 / C) | [7 empty] | 2 | [12 empty] | 1 |  | Currently exceeding the MCL for TTHM. No CCR submitted for 2020. | Sample for quarterly TTHM to be calculated below the MCL. Submit CCR certification page for 2020. | Working with RMW's to fix multiple issues -recently made repairs to increase filtration efficiency via fixed 2nd source pump, coagulant dosing now flow paced, and more.
MORRISON | YKHC | 34 | ANVIK WATER SYSTEM / AK2280171 (96 / C) | [5 empty] | 3 | [6 empty] | 1 |  | 5 | 8 | 1 | [5 empty] | Last sampled for Nitrate in 2017, TC in 10/2020, DBPs in 2010, Lead/Copper in 2016, IOCs in 2010. Failed to collect a triggered source sample after TC+ result in 2018. | Sample for Nitrate, TC, DBPs, Lead/Copper, and IOCs. | N/A
GILLESPIE | No RMW | 11 | BEAR CREEK RV PARK / AK2240773 (62 / NC) | [5 empty] | 1 | [6 empty] | 1 | [9 empty] | System overdue for Nitrate sample. PWS was closed in 2020 and operating on limited basis in 2021 due to pandemic. | Sample for Nitrate and have a sanitary survey conducted. | N/A
MORRISON | No RMW | 27 | BETHEL-CITY S/D WATER / AK2271999 (1650 / C) | [7 empty] | 5 | [6 empty] | 1 | [7 empty] | Currently exceeding MCL for HAA5. Last sampled for DBPs in 2nd quarter 2021. | Sample for HAA5 to be calculated below the MCL and DBPs | N/A
SHARP | TCC | 16 | CHALKYITSIK VILLAGE WATER / AK2300183 (76 / C) | [7 empty] | 3 | [14 empty] | System currently exceeding DBP LRAA MCL. New operator currently being trained and has begun submitting completed MORs. | Adjust treatment and collect DBP samples until LRAA return to below MCL. | The 2013 upgrades required monitoring to determine when GAC filter media should be changed to ensure the GAC filtration is working. To date guidelines for adequate change out frequency of GAC media have not been fully documented for this WTP. Adequate change out frequency reduces chances of DBP exceedance.
ZELLMER | YKHC | 12 | CITY OF HOOPER BAY / AK2270312 (1200 / C) |  |  |  |  | 1 | [15 empty] | 2 |  | Overdue sanitary survey deficiencies. No CCR submitted for 2019 and 2020. | Address overdue sanitary survey deficiencies. Submit CCR certification page for 2019 and 2020. | N/A
ZELLMER | BBAHC | 21 | CLARKS POINT WATER SYSTEM / AK2260202 (128 / C) | [5 empty] | 3 | [7 empty] | 1 |  |  | 1 | 1 |  |  |  |  | Last sampled for Nitrate in 2017, periodic Arsenic in 2012, IOCs in 2004, VOCs in 2014. | Sample for Nitrate, Arsenic, IOCs, and VOCs. | N/A
ZELLMER | YKHC | 18 | CROOKED CREEK WATERING POINT / AK2280302 (147 / C) |  |  |  |  | 1 | [9 empty] | 8 | 1 | [6 empty] | Overdue sanitary survey deficiencies from 2018 inspection. Last sampled for TC with associated distribution chlorine residual in 2020, annual DBPs in 2016, and Lead/Copper in 2020. | Address sanitary survey deficiencies. Sample for DBPs and Lead/Copper in 2022. | N/A
SHARP | NSHC | 28 | DIOMEDE JOINT UTILITIES / AK2340141 (184 / C) |  | 1 |  |  |  |  | 3 | [15 empty] | Currently exceeding RAA MCL for Arsenic and Nitrate and is performing required quarterly Tier 2 PN and MCL exceedances. New operator currently being trained and has begun submitting MORs and TC samples. | Install treatment to address current Arsenic and Nitrate MCLs. | A PER was finalized. ANTHC conducted a pilot study in July 2021 to help refine the design for treatment plant upgrades. The WST is reported to have some internal corrosion and sediment build-up that may be contributing to water quality issues.
MORRISON | YKHC | 38 | EMMONAK WATER SYSTEM / AK2270299 (820 / C) | [7 empty] | 6 | [12 empty] | 1 | 2 | System has TTHM MCL exceedances and overdue Public Notices. No CCR submitted for 2020. | Continue sampling quarterly DBPs. Submit overdue Public Notices and CCR certification page for 2020. | Hardware improvements funded through VSW.
NAKANISHI | No RMW | 25 | FOREST PARK TC / AK2210794 (175 / C) |  |  |  |  | 2 | [12 empty] | 6 |  | 5 |  |  | Overdue sanitary survey deficiencies from 2016 and 2019 survey. Last sampled Well 2 for VOC in 3rd quarter 2019, and RADs in 1st quarter of 2020. | Address sanitary survey deficiencies. Communicate with DEC engineers regarding NOV. | Modifications to distribution system are temporary.
SHARP | TCC | 39 | GALENA WTP1 - CITY / AK2360272 (490 / C) | [7 empty] | 7 | [7 empty] | 2 | [6 empty] | Currently exceeding the MCL for TTHM and HAA5, and has since 4th quarter 2019. Did not complete routine Lead/Copper monitoring in 2020 due to COVID-19. | Optimize or upgrade treatment system to limit DBP formation and increase TOC removal. Sample for Lead/Copper. | ANTHC is developing a project to rehabilitate WTP1 controls and automation, change coagulants since current polymer is not effective, and expand coagulant testing to see if DBP precursor removal can be improved. A new conventional package WTP to help with DBP reduction is planned. Construction approval was granted for an interim project to install GAC filters and also change the coagulant to help reduce DBP formation. Construction expected by mid February 2022.
LATIMER | No RMW | 13 | GEORGE INLET CANNERY / AK2121501 (129 / NC) |  |  | 1 |  |  | 1 |  |  |  |  | 1 | [11 empty] | System did not operate in 2020 or 2021 season due to dependence on cruise ships for customers and because of COVID-19 there were no ships in port the past two seasons. | In 2022 submit SSUP procedures, and sample for Nitrate and TC. | N/A
STATZ | YKHC | 69 | GRAYLING WATER SYSTEM / AK2280066 (195 / C) | 3 | [10 empty] | 33 |  |  | 2 | 1 |  |  |  |  | 1 |  | System struggles to consistently meet SW turbidity monitoring requirements. Last sampled for E. coli (LT2) in 02/2018, DBPs in 2020, Lead/Copper in 2019. No CCR submitted for 2020. | Submit a completed MOR that meets SWTR requirements. Sample for E. coli (LT2), DBPs, and Lead/Copper. Submit CCR certification page for 2020. | System on long-term BWN due to inadequate treatment.
SMELTER | DEC | 21 | GULKANA VILLAGE / AK2380214 (90 / C) | [7 empty] | 4 | [14 empty] | Currently exceeding the MCL for TTHM. | Optimize or upgrade treatment system to limit DBP formation and increase TOC removal. | Source is reported to be impacted by excess sediment and debris, which has caused issues with water treatment. ANTHC has been working with the operator on O&M to improve infiltration gallery flushing to reduce sediment reaching the WTP.
BJORKMAN | No RMW | 21 | HOLLIS SCHOOL / AK2120541 (42 / NTNC) | [7 empty] | 2 |  |  |  | 7 |  |  | 2 | 1 | [6 empty] | Currently exceeding the MCL for DBPs. Last sampled for E. coli (LT2) in 2020. | Sample for DBPs and submit completed MOR. | System on long-term BWN due to inadequate treatment.
BJORKMAN | DEC | 44 | HYDABURG / AK2120224 (415 / C) | [7 empty] | 8 | [12 empty] | 1 |  | Currently exceeding the LRAA for HAA5. The last few quarters the analyzing lab has not received the HAA5 sample within hold time, only the TTHM results are received. | Collect complete set of DBPs that allow the LRAAs for HAA5 to be calculated below the MCL. | N/A
LATIMER | No RMW | 13 | JERSEY SUBS KASILOF / AK2249994 (42 / NC) |  |  | 2 | [7 empty] | 2 | [11 empty] | Last sampled for TC in 07/2021. No 2021 Seasonal Start-Up Procedures submitted. | In 2022 submit SSUP procedures, and sample for TC. | N/A
BJORKMAN | DEC | 61 | KAKE MUNICIPAL WATER / AK2130083 (415 / C) | [7 empty] | 10 | [14 empty] | Currently exceeding the LRAA for HAA5. | Collect set of DBPs that allow the LRAAs for HAA5 to be calculated below the MCL. | N/A
BJORKMAN | DEC | 53 | KLAWOCK / AK2120169 (904 / C) | [7 empty] | 10 | [14 empty] | Currently exceeding LRAA for HAA5. | Collect set of DBPs that allow the LRAA for HAA5 to be calculated below the MCL. | System is looking into system modifications/upgrades and have projects in process with ANTHC.
GARLAND | No RMW | 99 | KOTZEBUE MUN. WATER SYSTEM / AK2340060 (3234 / C) | [7 empty] | 19 | [14 empty] | Currently exceeding the MCL for TTHM/HAA5, and has been for HAA5 since 2015 and TTHM since 2019. | Upgrade current treatment. | Plans for a new membrane filtration system, which will help reduce DBPs. WTP construction began summer 2021 and completion is expected for fall 2022.
ZELLMER | No RMW | 13 | KSD ANIAK SECONDARY SCHOOL / AK2271732 (80 / NTNC) |  |  |  |  | 1 |  |  |  | 1 | [12 empty] | 1 | Overdue survey deficiencies. Not all required corrosion control steps performed. Has not verified performance of required public notification for Lead/Copper exceedances. | Address sanitary survey deficiencies. Perform required corrosion control steps. Verify public notification requirements have been satisfied. | N/A
STATZ | YKHC | 46 | KWIGILLINGOK WASHETERIA / AK2271700 (338 / C) | [10 empty] | 1 | 34 |  |  | 5 | 1 |  |  |  |  | 1 |  | Last sampled for TC in 8/2021, E. coli (LT2) in 07/2017, TTHM in 2014, Lead/Copper in 2017. Submitted 2020 CCR form late. | Sample for TC, E. coli (LT2), TTHM, and Lead/Copper. Submit 2021 CCR on time. | The system is on a long-term BWN due to heat trace issues/failure.
VANSANDT | No RMW | 15 | L&PSD NEWHALEN SCHOOL / AK2260634 (73 / NTNC) |  |  |  |  | 2 | [17 empty] | School needs to work with DEC engineering section to address their separation distance deficiency (2013 & 2019 survey's outstanding deficiency). | Address survey deficiencies. Specifically, work with DEC engineers on whether to apply for separation distance waiver, resolve with corrective action, or plan with timelines. | N/A
MORRISON | No RMW | 11 | LKSD MEKORYUK NUNIVAARMIUT SC / AK2270972 (67 / NTNC) |  |  |  |  | 1 |  |  | 1 | [14 empty] | Overdue corrective actions from previous sanitary survey. Currently exceeding the MCL for TTHM. | Complete corrective actions to resolve survey deficiencies. Sample of DBPs that allow the LRAA for TTHM to be calculated below the MCL. | N/A
MORRISON | No RMW | 11 | LKSD NAPASKIAK Z J WILLIAMS SC / AK2270980 (148 / NTNC) |  |  |  |  | 2 | [17 empty] | Overdue sanitary survey deficiencies. | Complete corrective actions to resolve survey deficiencies | N/A
MORRISON | No RMW | 20 | LKSD NEWTOK AYAPRUN SCHOOL / AK2272007 (175 / NTNC) | [7 empty] | 3 | [14 empty] | Currently exceeding MCL for TTHM. | Sample of DBPs that allow the LRAA for TTHM to be calculated below the MCL. | N/A
MORRISON | No RMW | 19 | LKSD OSCARVILLE HS & ELEM / AK2270744 (39 / NTNC) | [10 empty] | 15 |  |  |  | 3 | [7 empty] | Last sampled for TC or associated distribution chlorine residual in 02/2020. | Sample for TC. | N/A
MORRISON | YKHC | 19 | LOWER KALSKAG WATER SYSTEM / AK2270697 (302 / C) | [12 empty] | 1 |  | 1 | 1 |  |  |  | 7 | 1 |  | Overdue sanitary survey from 2019. Last sampled for Rads in 2019, Lead/Copper in 07/2020. No CCR submitted for 2020. | Conduct sanitary survey. Sample for Lead/Copper and RADs. Submit CCR certification page for 2020. | N/A
VANSANDT | BBAHC | 14 | MANOKOTAK HEIGHTS W/S / AK2262246 (215 / C) | [13 empty] | 1 |  | 2 | 1 | 1 | 4 |  |  |  | Last sampled for Arsenic in 2014, Lead/Copper in 2013, IOCs in 2008, and VOCs in 2014. | Sample for Arsenic, Lead/Copper, IOCs, and VOCs. Submit an Initial SOC Monitoring Waiver for 2020-2022 period. | N/A
GILLESPIE | No RMW | 36 | MEADOW BROOK SUBDIVISION / AK2220037 (465 / C) | [6 empty] | 7 | [15 empty] | Currently exceeding MCL for Arsenic. System working with DEC engineers to add additional pumps to Well 5 (no Arsenic detected) in order to meet capacity. Intend to disconnect from Wells that exceeds the Arsenic MCL. | Complete approved modifications, disconnect high arsenic wells and maintain arsenic below the MCL. | Complete approved modifications & disconnect from high arsenic wells.
MORRISON | No RMW | 34 | MERTARVIK WATER SYSTEM / AK2272756 (80 / C) | [10 empty] | 14 |  |  |  | 6 | 3 |  | 3 |  | 7 |  |  | Last sampled for TC in 07/20, DBPs and Lead/Copper in 2019, VOCs in 2020, and no Rads sampling history. | Sample for TC, DBPs, Lead/Copper, VOCs, and RADs. | N/A
LATIMER | No RMW | 11 | MOOSE RIVER RV PARK / AK2249009 (100 / NC) |  |  | 1 |  |  | 1 | [16 empty] | Last sampled for Nitrate in 2019. Failed to submit Seasonal Start-Up form. | Sample for Nitrates and submit a SSUP form. | N/A
MORRISON | YKHC | 38 | NEWTOK WATER SYSTEM / AK2271431 (435 / C) | [7 empty] | 1 |  |  |  | 28 | [8 empty] | 1 |  | Incomplete E. coli (LT2) sampling. No CCR submitted for 2020. | Complete E. coli (LT2) sampling according to sample plan. Submit CCR certification page for 2020. | N/A
STATZ | YKHC | 26 | NIGHTMUTE NEW WATERING POINT / AK2271721 (243 / C) |  |  |  |  | 1 | [7 empty] | 1 | 1 |  | 12 |  |  | 4 |  | 1 |  | Overdue sanitary survey deficiencies from 2019 inspection. Last sampled for Arsenic in 2003 and Lead & Copper in 2007. Failed to collect a triggered source sample after TC+ result. CCR for 2020 (due 6/30/21) submitted late. SOC Monitoring Waiver submitted without associated fee. | Address corrective actions. Sample for Arsenic and Lead/Copper. Submit 2021 CCR on time. Submit fee for SOC waiver application for 2020-2022 period. | N/A
VANSANDT | No RMW | 13 | NINA NICHOLSON SUBDIVISION / AK2263010 (31 / C) | [13 empty] | 1 |  | 1 |  | 1 |  |  | 6 |  | Last sampled for Arsenic in 2009, Lead/Copper in 2016, and VOCs in 2015. No CCR submitted for 2020. | Sample for Arsenic, Lead/Copper, VOCs, and submit CCR report & certification. | N/A
ZELLMER | YKHC | 18 | NUNAM IQUA WATER SYSTEM / AK2270207 (213 / C) | [5 empty] | 2 | [5 empty] | 2 |  |  |  | 1 |  | 1 |  |  |  |  | Last sampled for Nitrate in 2018, TTHM/HAA5 in 08/2019, Lead/Copper in 2017, VOCs in 2019. Incomplete E. coli (LT2) sampling. | Sample for Nitrate, TTHM/HAA5, Lead/Copper, and VOCs. Complete LT2 sampling according to sample plan. | PWS's Inline turbidimeter is not functioning correctly.
ZELLMER | No RMW | 20 | OBI SEAFOODS LLC -ALITAK / AK2250315 (197 / NC) | 2 | [21 empty] | System had two months (July & August 2021) not meet the requirement of 95% of CFE turbidities less than or equal to 0.3 NTU. | Achieve one month with at least 95% the daily CFE turbidity readings less than or equal to 0.3 NTU. | System is planning to install additional filters to address turbidity issues and intends to submit engineering plans for approval and have additional filters installed prior to the 2022 operating season.
MORRISON | YKHC | 60 | OSCARVILLE WATERING POINT / AK2270061 (75 / C) | [5 empty] | 2 |  |  |  |  | 21 |  |  | 2 | 2 | 6 | 1 | 2 |  | 7 | 4 |  | System has not sampled for any regulated contaminants or submitted a CCR form since 2018, except for one TC sample on 1/13/2022. | Install filtration/treatment. Sample for regulated contaminants and submit 2018-2020 CCRs. | No WTP to meet GU/SWTR requirements. System is on long-term BWN since 04/2019.
MORRISON | YKHC | 53 | PLATINUM CITY WATER SYSTEM / AK2271059 (51 / C) |  |  |  | 1 | [6 empty] | 6 |  |  |  |  | 19 | 1 | 4 | 4 |  | 9 |  | Last sampled for TC in 04/2021, VOCs and Lead/Cooper in 2012, IOCs in 2010, Rads and SOCs in 2006, and has not submitted a RTCR Sample Siting Plan. No CCR certification page submitted since 2014. | Monitor for regulated contaminants, install filtration/treatment, and submit RTCR Sample Siting Plan. Submit CCR certification page for 2021. | No WTP to meet GU/SWTR requirements. System is on long-term BWN since 2014.
LITTLE | No RMW | 37 | QUIET CIRCLE APARTMENTS / AK2224476 (90 / C) | [6 empty] | 7 | [15 empty] | System is working with an engineering firm to evaluate water quality data to evaluate treatment approach before construction of treatment system. Sampling to occur during first week of February. | Install treatment to address the Arsenic MCL exceedance. | June 2021 system was issued constructional approval to install arsenic POU treatment that includes specific monitoring requirements. Currently evaluating water quality to determine if newly released POU treatment system will be a better fit that previously approved filter.
ZELLMER | No RMW | 13 | RAINBOW KING LODGE / AK2261606 (55 / NC) |  |  | 2 | [7 empty] | 1 | [11 empty] | Failed to submit Seasonal Start-Up procedures in 2019 and 2021. Did not operate in 2020. | Submit SSUP certification. | NA
VANSANDT | No RMW | 16 | RED DOG INN / AK2260749 (145 / NC) | [5 empty] | 1 |  |  |  |  | 9 | [11 empty] | Last sampled for Nitrate in 2019 and TC in 12/20. Attempted TC sample in Feb 2021 reported by BBAHC lab as too long in transit. | Sample for Nitrate and TC. Submit RTCR sampling plan. | N/A
ZELLMER | No RMW | 13 | RENDEZVOUS / AK2250396 (56 / NC) |  |  |  |  | 1 | 1 | [16 empty] | Last sampled for Nitrate in 2019. Overdue sanitary survey deficiencies. | Sample for Nitrate. Submit documentation verifying correction of sanitary survey deficiencies. | N/A
VANSANDT | DEC | 23 | SAINT GEORGE WATER SYSTEM / AK2260074 (65 / C) | [5 empty] | 3 | [9 empty] | 2 |  | 1 |  |  |  |  | Last sampled for Nitrate in 2017, LCR in 2006, and VOCs in 2012. | Sample for Nitrate, Lead/Copper, and VOCs in 2022. | N/A
LATIMER | No RMW | 17 | SALTRY / AK2243161 (75 / NC) |  |  | 2 | [7 empty] | 3 | 3 | [10 empty] | Last sampled Nitrate in 2019 and TC in May 2021. Monthly operator reports submitted late in 2021. No Seasonal Start-Up form submitted for 2021. | Sample TC monthly and Nitrate annually. Submit 2022 SSUP form and monthly operator reports on time. | N/A
MORRISON | YKHC | 36 | SCAMMON BAY WATER SYSTEM / AK2270184 (637 / C) | [11 empty] | 32 |  |  |  | 1 | [6 empty] | Last sampled for Lead/Copper in 2018. System fails to comply with monthly operator report requirements. | Sample for Lead/Copper in 2022. Monthly operator reports must have a daily entry point chlorine residual of 1.1 mg/L or higher. | PWS experiences freezing and high water demand in the winter. Has had to bypass treatment during the past two winters in order to meet consumer demand and prevent system freeze-up.
GARLAND | NSHC | 21 | SHISHMAREF WATER SYSTEM / AK2340484 (572 / C) | [7 empty] | 4 | [14 empty] | Currently exceeding MCL for TTHM. TTHM levels have started to come back down and the 9/22/21 sample was 79.4. TTHM levels were 110.0 on 12/7/2021. While high, it is over half the value in December 2020 (288.0 12/7/2020). | Collect set of DBPs that allow the LRAA for TTHM to be calculated below the MCL. | GAC filter media was not changed at the recommended frequency in 2021, which resulted in high TTHM levels. The GAC has since been changed and is on a regular schedule, so TTHM levels have started to come back down.
LATIMER | No RMW | 12 | STERLING HARBOR MENNONITE CHURCH / AK2249223 (100 / NC) | [10 empty] | 7 | [11 empty] | Last sampled for TC in December 2020 and Nitrate in 2020. Last Sanitary Survey completed in 2015. | Sample for TC monthly and Nitrate annually. Have Sanitary Survey inspection completed. | N/A
HARRIS | DEC | 74 | TATITLEK WATER SYSTEM / AK2291130 (95 / C) | [7 empty] | 14 | [6 empty] | 1 | [7 empty] | Currently exceeding HAA5 MCL. DBP 4Q2021 samples collected from incorrect location and rejected by the State. | Collect set of DBPs that allow the LRAA for HAA5 to be calculated below the MCL. Collect DBP samples from location approved in DBP sample plan. | N/A
MORRISON | YKHC | 13 | TULUKSAK WATER SYSTEM / AK2270223 (373 / C) | [14 empty] | 7 | 1 |  |  |  |  | 1 |  | Last sampled for DBPs in 2016, and missed Lead/Copper in 2019. No CCR Certification submitted for 2020. | Sample for DBPs, and Lead/Copper. Submit CCR certification page for 2020. | In Jan. 2021, the washeteria/ watering point burned down destroying the WTP. The system is currently using a temporary treatment plant that only serves a makeshift watering point.
ZELLMER | YKHC | 17 | TUNTUTULIAK WASHETERIA AND WATERING PT / AK2271211 (350 / C) |  |  |  |  | 1 |  |  |  | 1 |  | 1 |  |  |  |  | 2 |  | 1 |  |  |  |  | Last sampled for VOCs in 2016. Follow-up Lead/Copper corrosion control monitoring/steps have not been completed, but system has satisfactory 2nd half 2020 samples. Overdue sanitary survey deficiencies from 2017 inspection. | Sample for VOCs and address sanitary survey deficiencies. Complete required Lead/Copper corrosion control monitoring/steps or collect satisfactory 1st half 2022 Lead/Copper samples. | NA
GARLAND | NSHC | 40 | UNALAKLEET CITY WATER SUPPLY / AK2340387 (757 / C) | 4 | [21 empty] | System's water treatment plant routinely exceeds turbidity requirements. | Submit monthly operator report showing turbidity, entry point chlorine residual, and distribution chlorine residual requirements are being met. | DEC granted construction approval, July 2020, for WTP improvements to help with turbidity spikes during off-hours. Construction has been delayed due to COVID 19. Additionally, a project to develop a groundwater source that will not require microbial treatment was granted construction approval 12/18/2021. Construction expected to start Summer 2022 and end in 2023.
SHARP | NSHC | 27 | WALES WATER SYSTEM / AK2340191 (173 / C) | [9 empty] | 5 | [9 empty] | 1 |  |  | Currently exceeding RAA MCL for Uranium following the 2nd quarter 2020 results. Exceeded the RAA MCL intermittently since 2011. | Resolve Uranium MCL and collect 1st quarter 2022 Uranium sample to address monitoring violation (continue to monitor quarterly for Uranium thereafter) | Construction of new surface water source and a cartridge filtration WTP delayed due to COVID-19, extension of construction approval granted. Construction expected to start summer 2022 and end summer 2023.
LATIMER | No RMW | 17 | WHALERS COVE LODGE / AK2133333 (65 / NC) |  |  | 1 | [8 empty] | 6 |  |  | 1 | [7 empty] | Monthly operator reports not submitted in 2021. | Submit overdue 2021 monthly operator reports. Submit 2022 operator reports monthly once seasonal operations begin. | N/A

## Definitions
DW Program Staff Contact Information
Mat-Su = Office located in Wasilla, AK. Covers the Mat-Su area. Staff: Amy Hill (Program Coordinator) 376-1861, Tee Little (EPS) 376‐1860, Darryl Gillespie (EPS) 376-1824, Charity Bare (Engineering Supervisor) 262-3400
Northern = Office located in Fairbanks, AK. Covers the Northern Alaska PWSs. Staff: Marci Irwin (Program Coordinator) 451-2168, Karen Garland (EPS) 451‐2137, Michael Sharp (EPS) 451-2178, Johnny Mendez (Engineering Supervisor) 451-5193
Southcentral / ANC= Office located in Anchorage, AK. Covers Anchorage bowl, Bethel/YK Delta, Dillingham area, Aleutian Chain, Pribilof and Kodiak Island area PWSs. Staff: Heather Murray (Program Coordinator) 269-7619, Elizabeth Nakanishi (EPS) 269‐7517, Vacant (EPS) 269‐7521, Doug Zellmer (EPS) 269-3068, Leslie Morrison (EPS) 269-7518, Leah Van Sandt (EPS) 269-7653, Kalah Statz (EPS) 269-7647, Roy Robertson (Engineering Supervisor) 269‐7631. GENERAL ETT QUESTIONS: Jeanine Vance (EPM) 269-2007, Kenna Billups (EPS) 269-8924, Eric Burg (EPS) 262-3401
Kenai / Southeast = Office located in Soldotna, AK. Covers the Kenai Peninsula and Southeast area. Staff: Amy Hill (Program Coordinator) 376-1861, Jamie Bjorkman (EPS) 262‐3423, James Latimer (EPS) 262-3410, Christina Mielke (EPS) 262-3420, Charity Bare (Engineering Supervisor) 262-3400
Link to DW Program Directory (contact information) | http://dec.alaska.gov/eh/dw/contact/
Resource Links
Best Practices (BP) Score
The Best Practices (BP) Score is criteria for assessing operations and maintenance capacity of rural water and wastewater utilities. Used for determining eligibility and prioritization for community sanitation projects. STATEMENT FROM BP SCORE WEBSITE: The most effective way to increase a community's chance of receiving project funding is by improving their Best Practice score.
Link to BP Webpage | https://dec.alaska.gov/water/technical-assistance-and-financing/best-practices/
Alaska Community Database Online
The Community Database Online is a portal for information resources about Alaskan Communities and Places of Interest in an interactive format.
Link to Database Online Webpage | https://dcra-cdo-dcced.opendata.arcgis.com/
Alaska Community Photo Library
The Community Photo Library offers a glimpse into Alaska's communities and lifestyle by providing images of places, people, cultural events, public facilities, landscapes, and other dimensions of community life.
Link to Photo Library Webpage | https://www.commerce.alaska.gov/dcra/dcrarepoext/Pages/PhotoLibrary.aspx
Remote Maintenance Worker (RMW) Service Area Abbreviations
BBAHC= Bristol Bay area Health Corporation | Maniilaq= Maniilaq Health Corporation | TCC= Tanana Chiefs Conference
DEC= AK Department of Environmental Conservation | NSHC= Norton Sound Health Corporation | YKHC= Yukon Kuskokwim Health Corporation
No‐RMW= Not served by an RMW Program
Link to RMW Directory | https://dec.alaska.gov/media/23045/rmw-directory.pdf
Definitions
AL= Action Level | HAA5= Haloacetic Acids (Stage 1 Rule) | Rads= Radionuclides Rule
ANTHC= Alaska Native Tribal Health Consortium | IFE= Individual Filter Effluent | RMW= Remote Maintenance Worker
BACTI or t‐Coli = Total Coliform Sample | IOC= Inorganic Chemicals | RTC= Return to compliance (fall off ETT list)
BWN= Boil Water Notice | LCR= Lead/Copper Rule | RTCR= Revised Total Coliform Rule
CCR= Consumer Confidence Report | LRAA= Locational Running Annual Average (Stage 2) | SOC= Synthetic Organic Chemicals
CFE= Combined Filter Effluent | LT1= Long Term 1 Enhanced Surface Water Treatment Rule | Surface Water (SW)= Surface Water violations Surface Water Treatment Rules (SWTR, LT1, and LT2)
DPB= Disinfection by Products | LT2= Long Term 2 Enhanced Surface Water Treatment Rule
DSRD= Distribution Chlorine Residual | M/R= Monitoring and Reporting (type of violation) | TC= Total Coliform
EHO= Environmental Health Officer | MCL= Maximum Contaminant Level (type of violation) | TOC= Total Organic Carbon
EP= Entry Point | MOR= Monthly operator report | TCR= Total Coliform Rule (Also called Bacti)
EPA= Environmental Protection Agency | NOV= Notice of Violation | TT= Treatment Technique (violation)
EPRD= Entry Point Residual Distribution | OCC= Optimal corrosion control (Pb/Cu Rule) | TTHM= Total Trihalomethanes (Stage 1 Rule)
ETT= Enforcement Targeting Tool | PER= Preliminary Engineering Report | VOC= Volatile Organic Chemicals
FANLs= Facility Analyte Level (refers to SW/Stage 1 monitoring requirements) | PN= Public Notice | VSW= Village Safe Water
GAC= Granular Activated Carbon | PWS= Public Water System | WTP= Water Treatment Plant
GWUDI= Groundwater under the direct influence of surface water | RAA= Running Annual Average