## Slide 1: Sampling refresher

## Slide 2: Site characterization
What am I dealing with

## Slide 3: Site characterization
Identify all the hazards

## Slide 4: Site characterization
Be systematic

## Slide 5: Pictures
Before and after
Organized

## Slide 6: Pictures
Picture quality
Take more pictures than you think you need
Have extra SD cards

## Slide 7: Sample selection
Choose the best 1 or 2 samples
Sample in the proper order

## Slide 8: Sample characterization
Sample container (how am I going to acquire the sample)

## Slide 9: Sample characterization
Can I reach the sample

## Slide 10: Sample characterization
Tool selection

## Slide 11: Sample characterization
Pre-prepared sampling kit

## Slide 12: Sample characterization
Where am I going to put my sampling equipment

## Slide 13: Radiation
Why do we check rad first
Can’t taste, feel, smell, hear it
Equipment is very sensitive
Always lead with rad

## Slide 14: pH
Why do we check pH?

## Slide 15: pH
Corrosiveness is the hazard
Critical for PPE selection

## Slide 16: pH
Don’t care about number just red or blue
Be familiar how your pH paper works
Protect it from the environment during storage

## Slide 17: 5 gas
LEL correction factors (10%)
Sensor poisons
Cross sensitivity
Ionization potential
Sensor saturation

## Slide 18: M8
Aqueous versus organic
Color changes are not definitive

## Slide 19: Starch iodide (oxidizer)
Doesn’t work against nitrates, chlorate, perchlorates
Works well with peroxides and bleach

## Slide 20: Chemical, biological or radiation?
Based on environment and sample characterization we divide into possible chemical, biological, or radiation
  Radiation leave in place

## Slide 21: Chemicals
  We generally use glass sample containers

## Slide 22: Biologicals
  Generally use plastic

## Slide 23: Time for a demonstration