## Sheet1
Gas Monitoring Plan Checklist
Description |  | Page/Section
Project Management
1 | Title Page
2 | Distribution list
3 | Table of contents
4 | Project/task organization – identify key project team members and their respective roles and responsibilities (facility manager, operator, environmental project manager, field sampler, etc). This may be provided in table format
5 | List of acronyms and abbreviations
Background
6 | State purpose of plan, decisions to be made, and outcome to be achieved
7 | Background information – historical, scientific, and regulatory perspective for the monitoring project including:
a. Facility location, local geology and hydrogeology, details on any site investigations pertaining to gas migration, and gas monitoring program history
b. Provide gas well and gas probe logs and any additional installation information (If no probes are installed, include an acknowledgement of the need to install gas probes and/or propose locations for gas probes)
8 | Cite applicable regulatory criteria
Project/Task Description
9 | Provide a summary of the monitoring program and monitoring network (purpose and intent, active vs inactive monitoring locations, monitoring location rationale, etc.)
10 | Facility map with all monitoring locations and all structures on and within one-quarter mile of the facility
11 | Details on the specific locations for each monitoring point within each structure
12 | Monitoring schedule information
a. Frequency of scheduled monitoring events (must be at least quarterly)
b. Timing of scheduled monitoring events (or an acceptable range)
c. Any weather conditions that must be met for sampling events (if ambient air sampling is still applicable)
Special Training/Certification
13 | Identify any specialized training or certifications required and provide documentation of that training for project team members
14 | Outline any confined space access requirements and required trainings
Field Sampling
15 | Provide details about the gas meter and other monitoring equipment (include manufacturer manual - suggested)
16 | Describe instrument checks, operation, and calibration procedures
17 | Describe field sampling procedures (as applicable)
a. Structures
b. Ambient air
c. Gas probes
d. Gas vents/wells
18 | Identify how gas concentrations will be measured at the various types of monitoring locations
19 | Provide copy of gas monitoring logs and field forms
20 | Identify how exceedances of the applicable limits will be identified and documented, and the process for determining and implementing the appropriate corrective action
Data Management: Describe how data will be managed from the initail monitoring to the final reporting
21 | Record keeping – describe and identify all documents that will be produced under the monitoring plan, the format for those documents, how they will be distributed, and the document retention policy
Gas Management Plan
22 | If you are currently performing ambient air monitoring:
a. Include an ambient air monitoring plan which includes the monitoring locations and intervals
b. Include a proposed timeline for the installation of gas probes and a gas probe monitoring plan
23 | Include a plan and timeline for how exceedances of 18 AAC 60.805(h) will be met in the event a gas monitoring limit is exceeded. This must include:
a. Notify DEC by telephone and in writing
b. Take necessary steps to dissipate or reduce the concentrations of the gas
c. Within 30 days of the release submitting a long-term remediation plan for DEC review
d. Within 60 days of the release initiating the long-term remediation plan
Reporting
24 | Provide a reporting schedule and frequency of reporting
25 | Include a statement that DEC will be notified immediately by telephone and in writing if levels exceed limits listed in 18 AAC 60.805(h)