18 AAC 72.511(b) is amended to read:

(b) A conventional onsite wastewater system that serves any combination of residential dwellings or commercial buildings owned by the same entity with a total facility-wide design flow of not more than 2,500 gallons per day may be installed without prior department approval if the system is installed by a person whose work is completed according to a registered engineer's design and the engineer inspects [supervises] construction.  (Eff. 10/1/2023, Register 247; am ____/____/______, Register _____)

Authority:	AS 44.46.020		AS 46.03.050		AS 46.03.110

AS 46.03.020

The introductory language of 18 AAC 72.550(a) is amended to read:

(a) The person described in 18 AAC 72.511(a) - (c) [A person who plans to install a system under 18 AAC 72.511] shall notify the department at least one day before beginning construction or modification of the system. The notification must be on a form provided by the department and include

. . .

The introductory language of 18 AAC 72.550(c) is amended to read:

(c) Not later than 90 days after completing the installation or modification of a conventional onsite wastewater system under 18 AAC 72.511, the person described in 18 AAC 72.511(a) - (c) [responsible for construction of the system] shall register the system by submitting a completed documentation of construction, using a form provided by the department and including

. . .

(Eff. 10/1/2023, Register 247; am ____/____/______, Register _____)

Authority:	AS 44.46.020		AS 46.03.020		AS 46.03.100

AS 44.46.025		AS 46.03.050

The introductory language of 18 AAC 72.611(a)(5) is amended to read:

(5) is one for which the registered engineer, or a person under the responsible charge of the registered engineer, inspects [supervises] construction as necessary to

. . .

(Eff. 10/1/2023, Register 247; am ____/____/______, Register _____)

Authority:	AS 44.46.020		AS 46.03.050		AS 46.03.100

AS 46.03.020

18 AAC 72.650(a) is amended to read:

(a) A registered engineer described in [who plans to install a system under] 18 AAC 72.611(a) shall notify the department at least one day before beginning construction or modification of the alternative onsite wastewater system. The notification must be on a form provided by the department and include

(1) the legal description and physical address of the property where the installation or modification will occur, including directions to the site;

(2) the name and telephone number of the registered engineer responsible for the system design, construction inspection, [installation] and documentation; and

(3) the scheduled date of the installation or modification.

The introductory language of 18 AAC 72.650(c) is amended to read:

(c) Not later than 90 days after completing the installation or modification of an alternative wastewater system under 18 AAC 72.611(a), the registered engineer described in 18 AAC 72.611(a) [responsible for construction of the system] shall submit to the department a completed registration package that includes

. . .

(Eff. 10/1/2023, Register 247; am ____/____/______, Register _____)

Authority:	AS 44.46.020		AS 46.03.020		AS 46.03.100

AS 44.46.025		AS 46.03.050

The introductory language of 18 AAC 72.990(16) is amended to read:

(16) "construction inspection [supervision]" or "inspects [supervising] construction" means providing [oversight and] direction during construction such that the registered [supervising] engineer, or a person under the registered [supervising] engineer's responsible charge

. . .

18 AAC 72.990(78) is amended to read:

(78)  "sealed" means prepared by a registered engineer or a person under that engineer's responsible charge [direct supervision], and bearing the signature and seal of that engineer as required under AS 08.48.221 and 12 AAC 36.185;

18 AAC 72.990(100) is repealed:

(100) repealed ____/____/______;

(Eff. 4/1/99, Register 149; am 3/25/2001, Register 157; am 1/17/2002, Register 161; am 7/29/2006, Register 179; am 5/12/2016, Register 218; am 10/1/2023, Register 247; am ____/____/______, Register _____)

Authority:	AS 44.46.020		AS 46.03.050		AS 46.03.110

AS 46.03.020		AS 46.03.100		AS 46.03.710