## Summary
UAF Calculations - Daily Plant Outage Costs
Actual & Estimated Costs
| Cost per Day | Notes/Assumptions | Reference
These costs/savings are associated with a turbine outage that began on Dec 28, 2021 and ended on June 3, 2022. Support invoicing can be provided if requested.
Costs
Electricity | 8002.0507 | Purchase of Electricity | Table A
Fuel | 54066.0676 | Purchase of Diesel | Table B
Natural Gas | 1793.6901 | Boilers go down, we need to light them for a longer duration. In prior year, no natural gas was used during these months | Table C
Avoided Costs
Coal Delivery | -2459.4203 |  | Table D
Coal | -10254.7068 |  | Table E
Ash Haul | -1711.7808 |  | Table F
Limestone | -1408.3206 |  | Table G
Grand Total | 48027.5799
This spreadsheet does not include the lost revenue from electricity sales to Golden Valley Electric.

## Electricity
Table A. UAF Plant Outage Costs - Electricity
Vendor: GVEA | Utility | Usage | Cost Break Down | Total | Days per Month
01/01/2022- 02/01/2022 | ELECTRIC
|  | Fuel & Purchased | 4,690,000 kwh @ $0.1045 | 490105
|  | Utility Charge | 4,690,000 kwh @ $0.01257 | 58953.3
|  | Demand Charge | 7207.2 KW @30.06 | 216648.43
|  | RCC | 4,690,000 kwh @ $0.001016 | 4765.04
|  | Customer Charge |  | 220
|  | Total: |  | 770691.77 | 31
|  | (About $24,861.02 per day) | 1/28-1/31 (4 days) | 99444.08
02/01/2022- 03/01/2022 | Electric | Fuel & Purchased | 4,424,000 kwh @ $0.12969 | 573748.56
|  | Utility Charge | 4,424,000 kwh @ $0.01257 | 55609.68
|  | Demand Charge | 7737.80 KW @30.06 | 232598.27
|  | RCC | 4424000 kwh @ $0.001016 | 4494.78
|  | Customer Charge |  | 220
|  | Total: |  | 866671.29 | 28
(About $30,952.55 per day)
03/01/2022- 04/01/2022 | Electric | Fuel & Purchased | 4,564,000 kwh @0.12969 | 591905.16
|  | Utility Charge | 4,564,000 kwh @0.01257 | 57369.48
|  | Demand Charge | 6941.20 KW @30.06 | 208652.47
|  | RCC | 4,564,000 kwh @0.001016 | 4637.02
|  | Customer Charge |  | 220
|  | Total: |  | 862784.13 | 31
(About $27,831.75 per day)
04/01/2022- 05/01/2022 | Electric | Fuel & Purchased | 4,368,000 kwh @0.12969 | 566485.92
|  | Utility Charge | 4,368,000 kwh @0.01257 | 54905.76
|  | Demand Charge | 6,844.6 KW @30.06 | 205748.68
|  | RCC | 4,368,000 kwh @0.001016 | 4437.89
|  | Customer Charge |  | 220
|  | Total: |  | 831798.25 | 30
(About $27,726.61 per day)
05/01/2022- 06/01/2022 | Electric | Fuel & Purchased | 3,906,000 kwh @0.14036 | 548246.16
|  | Utility Charge | 3,906,000 kwh @0.01257 | 49098.42
|  | Demand Charge | 7,267.4 KW @30.06 | 218458.04
|  | RCC | 3,906,000 kwh @0.001016 | 3968.5
|  | Customer Charge |  | 220
|  | Total: |  | 819991.12 | 31
(About $26,637.69 per day)
06/01/2022- 07/01/2022 | Electric | Fuel & Purchased | 42,000 kwh @0.14036 | 5895.12
|  | Utility Charge | 42,000 kwh @0.01257 | 527.94
|  | Demand Charge | 7,827.4 KW @30.06 | 235291.64
|  | RCC | 42,000 kwh @0.000893 | 37.51
|  | Customer Charge |  | 220
|  | Total: |  | 241972.21 | 30
(About $146,282.96 per day)
[5 empty] | 181 | total Days
|  |  | Grand Electric Total (1/28-6/3/22): | 3722661.08
|  |  | Remove "Customer Charge" | -1320 | Paid monthly regardless of usage
|  | Electric Costs (1/28-6/3/22) |  | 3721341.08
12/01/2021- 01/01/2022 | ELECTRIC
|  | Fuel & Purchased | 1,694,000 kwh @ $0.1045 | 177023
|  | Utility Charge | 1,694,000 kwh @ $0.01257 | 21293.58
|  | Demand Charge | 6,804 KW @30.06 | 204528.24
|  | RCC | 1,694,000 kwh @ $0.001016 | 1721.1
|  | Customer Charge |  | 220
|  | Total: |  | 404785.92 | 4 | Days
01/01/2022- 02/01/2022 | ELECTRIC
|  | Fuel & Purchased | 4,690,000 kwh @ $0.1045 | 490105
|  | Utility Charge | 4,690,000 kwh @ $0.01257 | 58953.3
|  | Demand Charge | 7207.2 KW @30.06 | 216648.43
|  | RCC | 4,690,000 kwh @ $0.001016 | 4765.04
|  | Customer Charge |  | 220
|  | Total: |  | 770691.77
|  | (About $24,861.02 per day) | 1/1-1/27 (27 days) | 671247.54
|  |  | Grand Electric Total (12/19/21-1/27/22): | 1076033.46
|  |  | Remove "Customer Charge" | -440 | Paid monthly regardless of usage
|  |  | Electric Costs (12/19/21-1/27/22) | 1075593.46
|  | Total Electric costs (12/19/2021 - 6/3/2022) |  | 1480379.38
|  |  | Total Days | 185
|  |  | Cost Per Day | 8002.0507

## Fuel
Table B. UAF Plant Outage Costs - Diesel Fuel
Vendor & Delivery Date | Invoice # | Delivery | Cost Break Down | Total | # Days/ Month
Alaska Petroleum |  | Gallons | per gal & SOA Fee
2021-12-21 | 651087 | 8904 | 2.87 | 25936.35
2021-12-21 | 651088 | 8900 | 2.87 | 25924.7
2021-12-24 | 677512 | 8206 | 3.02 | 25180.01
2021-12-24 | 677513 | 8204 | 3.02 | 25173.87
2021-12-24 | 677514 | 8204 | 3.02 | 25173.87
2021-12-26 | 677518 | 6801 | 3.02 | 20868.78
2021-12-26 | 677517 | 7120 | 3.02 | 21847.63
2021-12-28 | 681603 | 9598 | 3.02 | 29451.34
2021-12-28 | 681602 | 9599 | 3.02 | 29454.41
2021-12-29 | 677526 | 3802 | 3.08 | 11897.93
2021-12-29 | 677527 | 3802 | 3.08 | 11897.93
2021-12-29 | 677528 | 3802 | 3.08 | 11897.93
2021-12-29 | 677636 | 11067 | 3.08 | 34632.93
2021-12-30 | 677633 | 10622 | 3.1 | 33383.74
2021-12-30 | 677635 | 9801 | 3.1 | 30803.43
2021-12-30 | 672948 | 9703 | 3.1 | 30495.43
2021-12-30 | 672949 | 9602 | 3.1 | 30178
2021-12-31 | 616240 | 9602 | 3.12 | 30372.92 | 10
2022-01-01 | 677544 | 8705 | 3.09 | 27284.61
2022-01-01 | 672918 | 9603 | 3.09 | 30099.26
2022-01-01 | 616239 | 9602 | 3.09 | 30096.13
2022-01-01 | 616241 | 9602 | 3.09 | 30096.13
2022-01-02 | 672919 | 9603 | 3.09 | 30099.26
2022-01-02 | 672499 | 9603 | 3.09 | 30099.26
2022-01-03 | 672920 | 9607 | 3.09 | 30111.8
2022-01-03 | 672925 | 9603 | 3.09 | 30099.26
2022-01-03 | 672926 | 9608 | 3.09 | 30114.94
2022-01-03 | 677553 | 8705 | 3.09 | 27284.61
2022-01-04 | 672910 | 9606 | 3.22 | 31347.9
2022-01-04 | 672908 | 9605 | 3.22 | 31344.64
2022-01-05 | 672922 | 9602 | 3.3 | 32130.13
2022-01-05 | 672497 | 9602 | 3.3 | 32130.13
2022-01-06 | 672911 | 9605 | 3.34 | 32545.73
2022-01-06 | 672921 | 9604 | 3.34 | 32542.34
2022-01-07 | 672913 | 9603 | 3.34 | 32578.91
2022-01-07 | 672914 | 9605 | 3.34 | 32585.7
2022-01-08 | 672887 | 9703 | 3.34 | 32918.17
2022-01-08 | 672923 | 9703 | 3.34 | 32918.17
2022-01-08 | 672888 | 9703 | 3.34 | 32918.17
2022-01-11 | 676832 | 9703 | 3.4 | 33526.81
2022-01-11 | 676833 | 9703 | 3.4 | 33526.81
2022-01-11 | 676834 | 9705 | 3.4 | 33533.72
2022-01-12 | 676835 | 9704 | 3.43 | 33782.41
2022-01-12 | 676836 | 9703 | 3.43 | 33778.93
2022-01-12 | 676837 | 9704 | 3.43 | 33782.41
2022-01-13 | 676838 | 9703 | 3.4 | 33476.58
2022-01-13 | 676839 | 9700 | 3.4 | 33466.23
2002-01-13 | 676840 | 9699 | 3.4 | 33462.78
2022-01-14 | 676841 | 9698 | 3.44 | 33811.73
2022-01-14 | 676842 | 9700 | 3.44 | 33818.7
2022-01-14 | 676843 | 9700 | 3.44 | 33818.7
2022-01-15 | 676844 | 9602 | 3.43 | 33477.03
2022-01-15 | 676845 | 9603 | 3.43 | 33480.51
2022-01-15 | 676846 | 9451 | 3.43 | 32950.57
2022-01-15 | 676847 | 9450 | 3.43 | 32947.09
2022-01-15 | 677560 | 9396 | 3.43 | 32758.82
2022-01-16 | 676848 | 9792 | 3.43 | 34139.46
2022-01-16 | 676849 | 9790 | 3.43 | 34132.48
2022-01-16 | 676850 | 9802 | 3.43 | 34174.32
2022-01-16 | 676851 | 9958 | 3.43 | 34718.21
2022-01-17 | 677565 | 8300 | 3.43 | 28937.65
2022-01-19 | 677574 | 8200 | 3.45 | 28738.82
2022-01-19 | 677575 | 8200 | 3.45 | 28738.82
2022-01-19 | 677576 | 8205 | 3.45 | 28756.34
2022-01-20 | 677577 | 8200 | 3.43 | 28568.2
2022-01-20 | 677578 | 8200 | 3.43 | 28567.2
2022-01-20 | 677579 | 8200 | 3.43 | 28568.2
2022-01-21 | 676852 | 9453 | 3.45 | 33119.7
2022-01-21 | 676853 | 9453 | 3.45 | 33119.7
2022-01-21 | 676854 | 9453 | 3.45 | 33119.7
2022-01-22 | 676855 | 8802 | 3.45 | 30838.84
2022-01-22 | 676856 | 8803 | 3.45 | 30842.35
2022-01-24 | 676857 | 8971 | 3.34 | 30394.74
2022-01-24 | 670007 | 9053 | 3.34 | 30672.57
2022-01-24 | 670008 | 9058 | 3.34 | 30689.51
2022-01-25 | 670009 | 9275 | 3.38 | 31817.29
2022-01-25 | 670010 | 9285 | 3.38 | 31851.6
2022-01-25 | 670011 | 9286 | 3.38 | 31855.03
2022-01-26 | 670012 | 9309 | 3.45 | 32641.63
2022-01-26 | 670013 | 9302 | 3.45 | 32617.09
2022-01-26 | 670014 | 9294 | 3.45 | 32589.04
2022-01-27 | 670017 | 9294 | 3.5 | 33018.26
2022-01-27 | 670018 | 9307 | 3.5 | 33064.44
2022-01-28 | 670019 | 9307 | 3.49 | 32979.42
2022-01-28 | 670020 | 9308 | 3.49 | 32982.96
2022-01-28 | 670021 | 9315 | 3.49 | 33007.77
2022-01-29 | 670022 | 9309 | 3.49 | 32986.51
2022-01-31 | 670028 | 9324 | 3.46 | 32790.76 | 31
2022-01-31 | 670027 | 9338 | 3.46 | 32840
2022-02-03 | 670050 | 9342 | 3.45 | 32667.27
2022-02-03 | 670051 | 9335 | 3.45 | 32642.79
2022-02-03 | 675818 | 4509 | 3.45 | 15767.15
2022-02-04 | 670055 | 9328 | 3.48 | 32955.37
2022-02-07 | 670060 | 8929 | 3.41 | 30914.03
2022-02-16 | 686694 | 8901 | 3.31 | 29932.61
2022-02-23 | 686728 | 9512 | 3.28 | 31714.08
2022-02-25 | 686734 | 9092 | 3.36 | 31008.65
2022-02-25 | 686735 | 9094 | 3.36 | 31015.47
2022-02-25 | 686736 | 9084 | 3.36 | 30981.36
2022-02-28 | 686548 | 9506 | 3.52 | 34005.88 | 28
2022-03-01 | 680982 | 9705 | 3.74 | 36882.92
2022-03-01 | 680983 | 4500 | 3.74 | 17101.82
2022-03-01 | 680984 | 5214 | 3.74 | 19815.3
2022-03-01 | 680985 | 5526 | 3.74 | 21001.03
2022-03-01 | 671050 | 8584 | 3.74 | 32622.66
2022-03-01 | 671051 | 8481 | 3.74 | 32231.22
2022-03-01 | 680553 | 9812 | 3.74 | 37289.56
2022-03-05 | 686765 | 8373 | 4.45 | 37792.74
2022-03-05 | 686766 | 8364 | 4.45 | 37752.12
2022-03-05 | 686767 | 8355 | 4.45 | 37711.5
2022-03-07 | 687520 | 8352 | 4.62 | 39183.17
2022-03-07 | 676634 | 8172 | 4.62 | 38338.71
2022-03-07 | 671017 | 8159 | 4.62 | 38277.72
2022-03-08 | 687522 | 8350 | 5.15 | 43630.08
2022-03-08 | 687523 | 8346 | 5.15 | 43609.18
2022-03-09 | 687835 | 9310 | 4.17 | 39451.72
2022-03-09 | 660744 | 8953 | 4.17 | 37938.91
2022-03-09 | 660745 | 8951 | 4.17 | 37930.44
2022-03-10 | 687537 | 9069 | 4.02 | 36975.15
2022-03-10 | 687538 | 9068 | 4.02 | 36971.08
2022-03-10 | 687539 | 9067 | 4.02 | 36967
2022-03-12 | 687544 | 9083 | 4.15 | 38243.64
2022-03-12 | 687545 | 9086 | 4.15 | 38256.27
2022-03-12 | 687546 | 9080 | 4.15 | 38231.01
2022-03-13 | 687856 | 9093 | 4.15 | 38285.75
2022-03-13 | 687857 | 9067 | 4.15 | 38176.27
2022-03-14 | 687549 | 9089 | 3.97 | 36642.48
2022-03-14 | 687550 | 9083 | 3.97 | 36618.29
2022-03-14 | 688722 | 8624 | 3.97 | 34767.82
2022-03-14 | 688723 | 8619 | 3.97 | 34747.66
2022-03-14 | 687859 | 9335 | 3.97 | 37634.23
2022-03-16 | 688291 | 9381 | 3.8 | 36141.95
2022-03-16 | 688292 | 9370 | 3.8 | 36099.58
2022-03-17 | 687551 | 9090 | 4.3 | 38640.32
2022-03-17 | 687552 | 9073 | 4.3 | 38568.06
2022-03-18 | 687554 | 9082 | 4.3 | 39626.77
2022-03-18 | 687555 | 9073 | 4.3 | 39587.51
2022-03-19 | 687556 | 9097 | 4.3 | 39692.22
2022-03-19 | 687557 | 9088 | 4.3 | 39652.95
2022-03-19 | 687558 | 9079 | 4.3 | 39613.68
2022-03-20 | 671021 | 9382 | 4.3 | 40935.74
2022-03-20 | 671022 | 9390 | 4.3 | 40970.65
2022-03-21 | 687928 | 9081 | 4.5 | 41491.66
2022-03-22 | 671026 | 8682 | 4.56 | 40226.42
2022-03-22 | 671027 | 8682 | 4.56 | 40226.42
2022-03-22 | 671028 | 8688 | 4.56 | 40254.22
2022-03-22 | 688435 | 8377 | 4.56 | 38813.26
2022-03-22 | 687933 | 9359 | 4.56 | 43363.17
2022-03-24 | 687936 | 9085 | 4.81 | 44345.48
2022-03-24 | 687937 | 9076 | 4.81 | 44301.55
2022-03-24 | 687938 | 9067 | 4.81 | 44257.62
2022-03-24 | 670083 | 8375 | 4.81 | 40879.85
2022-03-24 | 670084 | 8359 | 4.81 | 40801.75
2022-03-27 | 687943 | 9046 | 4.77 | 43798.86
2022-03-27 | 687944 | 9038 | 4.77 | 43760.13
2022-03-28 | 687566 | 9047 | 4.44 | 40762.39
2022-03-28 | 687567 | 9042 | 4.44 | 40739.87
2022-03-28 | 687568 | 9032 | 4.44 | 40694.81
2022-03-29 | 687570 | 8846 | 4.37 | 39252.5
2022-03-29 | 687571 | 8834 | 4.37 | 39199.25
2022-03-29 | 687572 | 8824 | 4.37 | 39154.88
2022-03-29 | 669595 | 8333 | 4.37 | 36976.16
2022-03-30 | 687573 | 9050 | 4.14 | 38007.33
2022-03-30 | 687574 | 9047 | 4.14 | 37994.73 | 31
2022-04-02 | 671033 | 8502 | 4.13 | 35680
2022-04-05 | 687963 | 9060 | 4.18 | 38428.19
2022-04-05 | 687964 | 9051 | 4.18 | 38390.02
2022-04-06 | 687576 | 9049 | 4.06 | 37251.82
2022-04-06 | 671036 | 8848 | 4.06 | 36424.36
2022-04-06 | 671037 | 8829 | 4.06 | 36346.15
2022-04-06 | 671038 | 8834 | 4.06 | 36366.73
2022-04-07 | 687970 | 8540 | 3.98 | 34485.52
2022-04-07 | 688837 | 9063 | 3.98 | 36597.45
2022-04-07 | 688838 | 9046 | 3.98 | 36528.8
2022-04-07 | 688839 | 9051 | 3.98 | 36548.99
2022-04-08 | 672486 | 9877 | 4.03 | 40383.73
2022-04-08 | 672487 | 9882 | 4.03 | 40404.17
2022-04-09 | 672485 | 9919 | 4.03 | 40555.45
2022-04-09 | 474187 | 9874 | 4.03 | 40371.46
2022-04-10 | 687972 | 9067 | 4.03 | 37071.91
2022-04-11 | 671042 | 9141 | 3.93 | 36424.39
2022-04-13 | 671046 | 8630 | 4.37 | 38314.18
2022-04-13 | 671047 | 8614 | 4.37 | 38243.15
2022-04-13 | 688847 | 9034 | 4.37 | 40107.8
2022-04-13 | 688848 | 9043 | 4.37 | 40147.76
2022-04-14 | 688849 | 9046 | 4.51 | 41413.46
2022-04-14 | 688850 | 9032 | 4.51 | 41349.37
2022-04-14 | 688851 | 9018 | 4.51 | 41285.28
2022-04-15 | 688852 | 9048 | 4.51 | 41422.62
2022-04-15 | 688853 | 9039 | 4.51 | 41381.42
2022-04-15 | 688854 | 9028 | 4.51 | 41331.06
2022-04-17 | 663673 | 9026 | 4.51 | 41321.9
2022-04-18 | 663607 | 8607 | 4.51 | 39062.97
2022-04-18 | 671049 | 8624 | 4.51 | 39140.12
2022-04-19 | 688866 | 9019 | 4.42 | 40485.19
2022-04-19 | 688867 | 9002 | 4.42 | 40408.88
2022-04-20 | 688869 | 9023 | 4.53 | 41521.56
2022-04-20 | 688870 | 9006 | 4.53 | 41443.33
2022-04-21 | 688871 | 9040 | 4.46 | 40936.39
2022-04-21 | 688872 | 9024 | 4.46 | 40863.94
2022-04-21 | 688873 | 8999 | 4.46 | 40750.73
2022-04-22 | 688878 | 3828 | 4.5 | 17481.44
2022-04-25 | 669938 | 8798 | 4.65 | 41538.11
2022-04-26 | 688887 | 8992 | 4.62 | 42193.02
2022-04-26 | 688888 | 3816 | 4.62 | 17905.76
2022-04-27 | 651134 | 8484 | 4.65 | 40040.12
2022-04-27 | 688891 | 8993 | 4.65 | 42442.34
2022-04-27 | 688892 | 8995 | 4.65 | 42451.78
2022-04-28 | 651137 | 4037 | 4.71 | 19316.04
2022-04-28 | 688893 | 9008 | 4.71 | 43101.03
2022-04-28 | 688894 | 8997 | 4.71 | 43048.4
2022-04-28 | 688895 | 8969 | 4.71 | 42914.43
2022-04-29 | 688899 | 3836 | 4.72 | 18388.57
2022-04-30 | 688900 | 9009 | 4.72 | 43186.29
2022-04-30 | 688901 | 8975 | 4.72 | 43023.3 | 30
2022-05-03 | 688904 | 8966 | 4.79 | 43621.74
2022-05-03 | 688905 | 8960 | 4.79 | 43592.55
2022-05-05 | 688906 | 8993 | 4.75 | 43329.57
2022-05-05 | 688907 | 8970 | 4.75 | 43218.75
2022-05-05 | 688908 | 8976 | 4.75 | 43247.66
2022-05-09 | 688922 | 8992 | 4.54 | 41440.96
2022-05-11 | 672428 | 9831 | 4.66 | 46468.11
2022-05-11 | 672429 | 9805 | 4.66 | 46345.22
2022-05-12 | 672837 | 9832 | 4.6 | 45873.07
2022-05-12 | 672837 | 9821 | 4.6 | 45821.75
2022-05-13 | 672839 | 9837 | 4.71 | 47045.63
2022-05-13 | 672840 | 9823 | 4.71 | 46978.67
2022-05-17 | 662097 | 8955 | 4.56 | 41355.88
2022-05-17 | 662098 | 8974 | 4.56 | 41443.63
2022-05-18 | 662101 | 8960 | 4.42 | 40185.79
2022-05-18 | 662102 | 8953 | 4.42 | 40154.39
2022-05-19 | 662105 | 8948 | 4.62 | 41983.83
2022-05-19 | 662106 | 8932 | 4.62 | 41908.76
2022-05-21 | 676350 | 9664 | 4.6 | 45167.71
2022-05-21 | 676351 | 9647 | 4.6 | 45088.26
2022-05-21 | 676352 | 9649 | 4.6 | 45097.6
2022-05-23 | 662118 | 8922 | 4.69 | 42466.77
2022-05-24 | 662275 | 8411 | 4.7 | 40145.51
2022-05-26 | 662125 | 8936 | 4.89 | 44340.16
2022-05-26 | 662126 | 8917 | 4.89 | 44245.88
2022-05-26 | 662127 | 8906 | 4.89 | 44191.3
2022-05-29 | 662136 | 8681 | 4.98 | 43888.13
2022-05-31 | 662245 | 8704 | 5.03 | 44399.32
2022-05-31 | 662139 | 3792 | 5.03 | 19343.09
2022-05-31 | 662140 | 3787 | 5.03 | 19317.58 | 31
| Totals | 2170984
Fuel Delivered (12/21/22-5/31/22):
NET EXPENSE
|  |  | Total Fuel Expenses | 8704636.89
|  |  | Total Days | 161
|  |  | Cost Per Day | 54066.0676

## Natural Gas
Table C. UAF Plant Outage Costs - Natural Gas
Vendor | Utility | Usage (CCF) | Cost (per CCF) | Total | Days in a month
Interior Gas Utilty | Natural Gas
2022-01 |  | 5855 | 19.5 | 114172.5 | 31
2022-01 |  |  |  | 500
2022-02 |  | 4360 | 19.5 | 85020 | 28
2022-02 |  |  |  | 500
2022-03 |  | 992 | 19.5 | 19344 | 31
2022-03 |  |  |  | 500
2022-04 |  | 0 |  | 500
2022-05-01 |  | 1397 | 19.5 | 27241.5 | 31
2022-05-01 |  |  |  | 500
|  |  | Total Natural Gas Charges (1/28-6/03/22) | 219536.5
|  |  | Remove "Service Charge" | -2500 | Paid monthly regardless of usage
NET EXPENSE
|  |  | NG Expense | 217036.5
|  |  | Total Days | 121
|  |  | Cost per Day | 1793.6901

## Coal Delivery
Table D. UAF Plant Outage Costs - Coal Transport (Avoided Cost Calculation)
Vendor | Utility | Usage | AKRR Invoices | Invoice # | Tons | Cost (per ton) | Total
Usibelli | Coal |  | 2022-01-31 | 226005543 | 442.2 | 14.39 | 6363.26
1/28-1/31/21 |  | 931 | 2022-02-01 | 226005646 | 265.8 |  | 3824.86
2021-02-01 |  | 9117.8 | 2022-02-03 | 226005655 | 271.4 |  | 3905.45
2021-03-01 |  | 8887.5 | 2022-02-07 | 226005662 | 262 |  | 3770.19
2021-04-01 |  | 6848.2 | 2022-02-08 | 226005669 | 730.55 |  | 10512.62
2021-05-01 |  | 1718.4 | 2022-02-09 | 226005786 | 258 |  | 3712.62
6/1-6/3/21 |  | 1216.3 | 2022-02-11 | 226005794 | 459 |  | 6605.01
|  |  | 2022-02-14 | 226005809 | 262.8 |  | 3781.69
|  |  | 2022-02-15 | 226005813 | 357.3 |  | 5141.54
|  |  | 2022-02-16 | 226005825 | 261.5 |  | 3763
|  |  | 2022-02-17 | 226005844 | 351.85 |  | 5063.12
|  |  | 2022-02-18 | 226005854 | 341.8 |  | 4918.5
|  |  | 2022-02-22 | 226005858 | 425.95 |  | 6129.42
|  |  | 2022-02-23 | 226005881 | 339.85 |  | 4890.44
|  |  | 2022-02-24 | 226005883 | 364.55 |  | 5245.87
|  |  | 2022-02-25 | 226005887 | 454.7 |  | 6543.13
|  |  | 2022-02-28 | 226005907 | 357.5 |  | 5144.43
|  |  | 2022-05-16 | 226006619 | 582.7 |  | 8385.06
|  |  | 2022-05-25 | 226006728 | 178.9 |  | 2574.37
|  |  | 2022-05-26 | 226006737 | 183.05 |  | 2634.09
|  |  | 2022-05-31 | 226006768 | 540.2 |  | 7773.48
|  |  | 2022-06-01 | 226006878 | 551.5 |  | 7936.09
|  |  | 2022-06-02 | 226006881 | 452.45 |  | 6510.76
|  |  | 2022-06-03 | 226006896 | 526.8 |  | 7580.65
|  |  | Actual Spent 1/28-6/3 |  |  |  | 132709.65
[6 empty] | Average Daily Burn: | 226.1354
Average Daily Burn: |  | 226.1354 |  |  |  | Transport Cost per ton (ARR): | 14.39
[6 empty] | Days coal would be burned (1/28/22-6/3/22): | 127 | 127
[6 empty] | Would be consumed Coal (tons): | 28719.2
[6 empty] | Cost for Transport (ARR): | 413269.288
[6 empty] | Net Savings (1/28-6/3/22): | 280559.638
[6 empty] | Days coal would be burned (12/19/21-1/27/22): | 40 | 40
[6 empty] | Would be consumed Coal (tons): | 9045.4173
[6 empty] | Cost for Transport (ARR): | 130163.5553
[6 empty] | Net Savings (12/19/21-1/27/22): | 130163.5553
NET SAVINGS
[5 empty] | Coal Delivery Cost |  | 410723.1933
[5 empty] | Total Days |  | 167
[5 empty] | Savings per Day |  | 2459.4203

## Coal
Table E. UAF Plant Outage Costs - Coal (Avoided Cost Calculation)
Vendor | Utility | Usage | Invoices | Invoice # | Tons | Invoice Amount
Usibelli | Coal
1/28-1/31/21 |  | 931 | 2022-01-31 | 70775 | 442.2 | 26532
2021-02-01 |  | 9117.8 | 2022-02-01 | 70779 | 265.8 | 15948
2021-03-01 |  | 8887.5 | 2022-02-03 | 70789 | 271.4 | 16284
2021-04-01 |  | 6848.2 | 2022-02-07 | 70793 | 262 | 15720
2021-05-01 |  | 1718.4 | 2022-02-08 | 70797 | 730.55 | 43833
6/1-6/3/21 |  | 1216.3 | 2022-02-09 | 70801 | 258 | 15480
Average Daily Burn: |  | 226.1354 | 2022-02-11 | 70808 | 459 | 27540
|  |  | 2022-02-14 | 70812 | 262.8 | 15768
|  |  | 2022-02-15 | 70816 | 357.3 | 21438
| Average Daily Burn: | 226.1354 | 2022-02-16 | 70820 | 261.5 | 15690
| Cost per ton (UCM): | 60 | 2022-02-17 | 70824 | 351.85 | 21111
| Days coal would be burned (1/28/22-6/3/22): | 127 | 2022-02-18 | 70828 | 341.8 | 20508
| Would be consumed Coal (tons): | 28719.2 | 2022-02-22 | 70832 | 425.95 | 25557
| Cost (UCM): | 1723152 | 2022-02-23 | 70836 | 339.85 | 20391
| Net Savings (1/28-6/3/22): | 1169811 | 2022-02-24 | 70840 | 364.55 | 21873
|  |  | 2022-02-25 | 70844 | 454.7 | 27282
|  |  | 2022-02-28 | 70848 | 357.5 | 21450
|  |  | 2022-05-16 | 70995 | 582.7 | 34962
| Days coal would be burned (12/19/21-1/27/22): | 40 | 2022-05-25 | 71007 | 178.9 | 10734
| Would be consumed Coal (tons): | 9045.4173 | 2022-05-26 | 71011 | 183.05 | 10983
| Cost (UCM): | 542725.0394 | 2002-05-31 | 71015 | 540.2 | 32412
| Net Savings (12/19/21-1/27/22): | 542725.0394 | 2022-06-01 | 71021 | 551.5 | 33090
|  |  | 2022-06-02 | 71025 | 452.45 | 27147
|  |  | 2022-06-03 | 71031 | 526.8 | 31608
| Net Savings |  | Total Spent 1/28-6/3/22 |  |  | 553341
| Total Coal Expenses | 1712536.0394
| Total Days | 167
| Total Net Savings per Day | 10254.7068

## Ash Haul
Table F. UAF Plant Outage Costs - Ash Hauling (Avoided Cost Calculation)
Vendor | Utility | Usage (truckful) | Cost (per truckful) | Total | Days/Month
Aurora Energy | Ash Haul
2nd half | 2020-12-01 | 22 | 880 | 19360 | 15.5
| 2021-01-01 | 48 | 880 | 42240 | 31
| 2021-02-01 | 58 | 880 | 51040 | 28
| 2021-03-01 | 60 | 880 | 52800 | 31
| 2021-04-01 | 56 | 880 | 49280 | 30
| 2021-05-01 | 12 | 880 | 10560 | 31
| 2021-06-01 | 50 | 880 | 44000 | 30
| 2021-07-01 | 59 | 880 | 51920 | 31
| Aug 2021 | 81 | 880 | 71280 | 31
| Sept 2021 | 74 | 880 | 65120 | 30
| Oct 2021 | 66 | 880 | 58080 | 31
| Nov 2021 | 69 | 880 | 60720 | 30
1st half | Dec 2021 | 55 | 880 | 48400 | 15.5
NET SAVINGS
|  |  | Ash Haul Expenses | 624800
|  |  | Total Days | 365
|  |  | Savings per Day | 1711.7808

## Limestone
Table G. UAF Plant Outage Costs - Limestone (Avoided Cost Calculation)
Vendor | Utility | Usage (tons or hours) |  | Cost (per ton) | Total | Days in Month
Globe Creek | Limestone
| 2021-07-01 | 206.79 | tons | 290.86 | 60146.9394 | 31
| 2021-07-01 | 13.25 | hours | 182.85 | 2422.7625 |  |  | Column C: please identify if the first line in the month is tons and the second one hours
| Aug 2021 | 194.92 | tons | 287.63 | 56064.8396 | 31
| Aug 2021 | 12.25 | hours | 180.42 | 2210.145
| Sept 2021 | 114.1 | tons | 287.63 | 32818.583 | 30
| Sept 2021 | 7.25 | hours | 180.42 | 1308.045
| Oct 2021 | 171.28 | tons | 287.63 | 49265.2664 | 31
| Oct 2021 | 10.75 | hours | 180.42 | 1939.515
| Nov 2021 | 214.27 | tons | 287.63 | 61630.4801 | 30
| Nov 2021 | 14.75 | hours | 180.42 | 2661.195
1st half | Dec 2021 | 84.22 | tons | 287.63 | 24224.1986 | 15.5
1st half | Dec 2021 | 3.75 | hours | 180.42 | 676.575
Total Spent 7/1-12/14 |  |  |  |  | 270467.771
|  |  |  | Average monthly tons: | 180.27
|  |  |  | Average monthly hours: | 11.65
|  |  |  | Cost per ton: | 287.63
|  |  |  | Cost per hour: | 180.42
|  |  | Months of usage (1/28/22-06/03/22): |  | 4.23 |  | 181 | Total Days
|  |  |  | Expected tons: | 763
|  |  |  | Expected hours: | 49
|  |  |  | Total Cost (1/28/22-06/03/22): | 228223.42
Total cost for Limestone (Savings Projection): |  |  |  |  | 228223.42
Vendor | Utility | U/M | Usage | Rate | Total | Invoice #
Globe Creek | Limestone
| 2022-02-04 | hours | 27 | 175 | 4725 | 21102
| 2022-02-08 | tons | 30 | 287.63 | 8628.9 | 21105
| 2022-02-08 | hours | 2 | 180.42 | 360.84 | 21105
| 2022-02-16 | tons | 50.04 | 287.63 | 14393.01 | 21106
| 2022-02-16 | hours | 3 | 180.42 | 541.26 | 21106
| 2022-02-22 | tons | 27.52 | 287.63 | 7915.58 | 21108
| 2022-02-22 | hours | 1.75 | 180.42 | 315.74 | 21108
Total Spent 1/28-6/3 |  |  | 27 |  | 36880.32
|  |  |  | Net Savings (1/28-6/3/22): | 191343.11
Vendor | Utility | U/M | Usage | Cost (per ton) | Total | Invoice #
Globe Creek | Limestone
2021-12-21 | 2021-12-01 | tons | 28.02 | 287.63 | 8059.39 | 21098
2021-12-21 | 2021-12-01 | hours | 1.75 | 180.42 | 315.74 | 21098
Total Spent 1/28-6/3 |  |  | 198.08 |  | 8375.13
|  |  |  | Months of usage (12/19/21-01/27/22): | 1.33
|  |  |  | Expected tons: | 240
|  |  |  | Expected hours: | 16
|  |  |  | Total Cost (12/19/21-01/27/22): | 71938.04
|  |  | Net Savings (12/19/21-1/27/22): |  | 63562.91
|  |  | Total Net Saving (112/19/21 - 6/3/22) |  | 254906.02
|  |  |  | Total Days | 181
|  |  |  | Totals Net Saving per Day | 1408.3206